IAEA-TERC-2022-01 World Wide Open Proficiency Test Exercise, Pie-charts, S-Shapes and Reported Results with Scores

Terrestrial Environmental Radiochemistry Laboratory, International Atomic Energy Agency November 3, 2022

Contents

- Introduction	1

1.1   Evaluation criteria	1

- Data Evaluation	3

- Proficiency Test Parameters	3

- Intercomparison Parameters	73

- Gamma spectrum analysis exercise results (Sample 7)	112

- References	168

- Contributors to evaluation and report	169

Abstract

This report describes the evaluation method for the Proficiency Test Exercise on the determination of anthro- pogenic and natural radionuclides in water, soil (gamma-ray spectrum analysis exercise), and simulated contam- inated surface samples IAEA-TERC-2022-01. The evaluation is performed by the proficiency test team of the Ter- restrial Environmental Radiochemistry Laboratory of the IAEA using their standard approach.

# Introduction

The following figures show the results (displayed in pie charts, characteristic S-shape graphs and tables) for the World Wide Open Proficiency Test. In the S-shape graphs, the vertical axis displays the activity in [Bq/kg] and the horizontal axis shows the labcodes for the participating laboratories. The range on the vertical axis is limited to ± 2 x Maximum acceptable relative bias (MARB). The red line is the target value for the exercise, whereas the green lines are the assigned uncertainty for each analyte. The results are grouped by samples, then analytes.

Disclaimer: This report has been generated automatically to provide information on-line to the participants. A more detailed evaluation will be published in the final report. If you find that any information provided in this report might be incorrect please contact us as soon as possible.

## Evaluation criteria

The data is evaluated according to the following steps:

    - The relative bias between the reported and the target value (the best estimation of the true value) is expressed by the following equation:

Biasrelative  =

V a l u e r e p o r t e d − V a l u e t a r g e t V aluetar get

∗ 100%

    - The relative bias is compared to the Maximum Acceptable Relative Bias (MARB) which has been determined for each analyte, considering the radioanalytical methods, the level of radioactivity and the complexity of the analysis.

If the |Biasrelati ve | ≤ M ARB , the result will be "Accepted" for accuracy.

    - Based on fit-for-purpose and good laboratory practice principles, the expanded relative combined uncertainty should cover the relative bias:

「

a utar get t2

P =

a urepor ted t2

+

∗ 100

｜ Atar get

Arepor ted

|Biasrelati ve | ≤ k ∗ P

where k is the coverage factor, for the 99% confidential level, k = 2.58.

    - If the result is between the ±M ARB values, but it is not overlapping the target value within the uncertainty,

this equation is used to decide if they are significantly different or not.

    - The P value is compared to the MARB also. If both the:

and

P ≤ M ARB

|Biasrelati ve | ≤ k ∗ P

are fulfilled, the reported results will be "Accepted" for precision. The result will be assigned "Not Accepted" for precision if either conditions are not fulfilled.

    - The final score is assigned according to the detailed evaluation described above. The possible scores are listed below:

- "Accepted" when both, accuracy and precision achieved "Accepted" status

- "Not Accepted" when the accuracy is "Not Accepted"

- "Warning" when accuracy is "Accepted" but the precision is "Not Accepted"

    - As additional information, a Z-Score parameter is shown in the evaluation tables that is calculated by using the robust standard deviation described in [2]:

V aluerepor ted

V aluetar get

−

z =

robust sd

    - If the analyte is included in the proficiency test evaluation scheme, the stated target value is used to calculate the Z-Score. For those analytes, which are subject of an intercomparison only, the robust mean of the values reported is used instead.

    - For analytes evaluated by intercomparison, the final scores (Z-Score evaluation) are assigned as follows:

- "Accepted" for Z-Scores less than 2

- "Not Accepted" Z-Scores above 3

- "Warning" for Z-Scores less than 3 and larger than 2

# Data Evaluation

A total of 287 laboratories from 70 different countries successfully reported data in the IAEA-TERC-2022-01 profi- ciency test exercise.

For each of the analytes evaluated, the target value, target uncertainty and the MARB are listed. A pie chart showing the distribution of accepted, warning, not acceptable and not reported results, the s-shape graph, and a detailed table listing all evaluation results for the analyte (sorted by the laboratory code) are provided. The data points are coloured in blue, yellow and red, corresponding to a result of "Accepted", "Warning", and "Not Accepted", respectively.

For analytes evaluated by intercomparison (IC) parameters, the target value table lists the robust mean, robust standard deviation (SD)and the number of results evaluated (N). All results are combined from the World Wide Open and ALMERA exercises for the purposes of calculating the robust statistics. A detailed table listing all evaluation results for the analyte (sorted by the laboratory code) are provided, where the Z-Scores are calculated using the robust mean as the V aluetar get in the equation listed in 1.1 Evaluation criteria, point 7.

# Proficiency Test Parameters

Reported Results for Co-60 Determination in Sample 1

TABLE 1. Target values

| Parameter | Value |
| --- | --- |
| Target Value, Bq/kg | 17.7 |
| UNC, Bq/kg | 1.1 |
| MARB, % | 20 |

Accepted 83%

Not Reported 12%

Warning 1%

Not Accepted 4%

FIGURE 1. Percentage of Accepted vs. Warnings vs. Not Accepted vs. Not Reported results

Concentration [ Bq/kg ]

18

20

22

24

12

14

16

297

42

305

299

153

284

265

288

113

219

306

155

251

86

80

25

231

296

55

62

75

67

106

137

46

63

87

13

218

161

266

223

227

287

166

215

160

133

183

95

269

6

51

78

178

43

147

220

7

68

289

238

124

105

163

21

191

56

58

164

202

130

264

134

230

298

26

216

256

39

140

222

177

84

198

128

98

156

274

169

201

120

36

1

50

45

61

37

217

31

228

221

18

12

60

115

210

213

103

102

173

207

57

271

79

243

92

188

126

171

35

38

292

187

158

94

273

290

114

53

168

194

Labcode

FIGURE 2. Reported results and evaluation parameters for Co-60. Blue points represent accepted scores, whereas yellow and red represent warning and not accepted scores respectively.

TABLE 2. Evaluation Results for Co-60 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 18 | 0.7 | 1.69 | 7.33 | A | A | A | 0.27 |
| 4 | 16.92 | 0.24 | -4.41 | 6.37 | A | A | A | 0.71 |
| 5 | 15.77 | 0.53 | -10.90 | 7.07 | A | A | A | 1.75 |
| 6 | 17.39 | 1.15 | -1.75 | 9.07 | A | A | A | 0.28 |
| 7 | 17.5 | 0.8 | -1.13 | 7.71 | A | A | A | 0.18 |
| 8 | 17.7 | 1.4 | 0.00 | 10.06 | A | A | A | 0.00 |
| 9 | 26.88 | 0.55 | 51.86 | 6.54 | N | N | N | 8.35 |
| 11 | 17.5 | 1.1 | -1.13 | 8.84 | A | A | A | 0.18 |
| 12 | 18.2 | 0.5 | 2.82 | 6.79 | A | A | A | 0.45 |
| 13 | 17 | 1 | -3.95 | 8.56 | A | A | A | 0.64 |
| 14 | 18.06 | 0.90 | 2.03 | 7.97 | A | A | A | 0.33 |
| 16 | 16.37 | 0.73 | -7.51 | 7.65 | A | A | A | 1.21 |
| 17 | 18.0 | 2.0 | 1.69 | 12.73 | A | A | A | 0.27 |
| 18 | 18.18 | 1.48 | 2.71 | 10.24 | A | A | A | 0.44 |
| 19 | 17.88 | 1.69 | 1.02 | 11.31 | A | A | A | 0.16 |
| 20 | 16 | 1 | -9.60 | 8.81 | A | A | A | 1.55 |
| 21 | 17.6 | 0.6 | -0.56 | 7.09 | A | A | A | 0.09 |
| 22 | 17.001 | 0.267 | -3.95 | 6.41 | A | A | A | 0.64 |
| 23 | 17.56 | 0.51 | -0.79 | 6.86 | A | A | A | 0.13 |
| 24 | 17.5 | 1.0 | -1.13 | 8.44 | A | A | A | 0.18 |
| 25 | 16.49 | 0.81 | -6.84 | 7.92 | A | A | A | 1.10 |
| 26 | 17.8 | 0.5 | 0.56 | 6.82 | A | A | A | 0.09 |
| 28 | 17.8 | 0.9 | 0.56 | 8.01 | A | A | A | 0.09 |
| 29 | 19.25 | 0.38 | 8.76 | 6.52 | A | A | A | 1.41 |
| 31 | 18.1 | 1.4 | 2.26 | 9.92 | A | A | A | 0.36 |
| 32 | 18.7 | 0.4 | 5.65 | 6.57 | A | A | A | 0.91 |
| 33 | 16.84 | 0.65 | -4.86 | 7.32 | A | A | A | 0.78 |
| 34 | 17.40 | 1.03 | -1.69 | 8.58 | A | A | A | 0.27 |
| 35 | 18.9 | 0.5 | 6.78 | 6.75 | A | A | A | 1.09 |
| 36 | 18 | 3 | 1.69 | 17.79 | A | A | A | 0.27 |

TABLE 2. Evaluation Results for Co-60 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 37 | 18.1 | 1.0 | 2.26 | 8.32 | A | A | A | 0.36 |
| 38 | 19 | 1.3 | 7.34 | 9.24 | A | A | A | 1.18 |
| 39 | 17.8 | 0.8 | 0.56 | 7.67 | A | A | A | 0.09 |
| 40 | 17.4 | 0.2 | -1.69 | 6.32 | A | A | A | 0.27 |
| 41 | 17.6 | 1.06 | -0.56 | 8.65 | A | A | A | 0.09 |
| 42 | 4.77 | 0.18 | -73.05 | 7.27 | N | N | N | 11.75 |
| 43 | 17.4 | 0.7 | -1.69 | 7.40 | A | A | A | 0.27 |
| 45 | 18.02 | 0.37 | 1.81 | 6.55 | A | A | A | 0.29 |
| 46 | 16.9 | 0.7 | -4.52 | 7.47 | A | A | A | 0.73 |
| 47 | 19.5 | 2.1 | 10.17 | 12.43 | A | A | A | 1.64 |
| 49 | 18.6 | 0.6 | 5.08 | 7.00 | A | A | A | 0.82 |
| 50 | 18.0 | 0.3 | 1.69 | 6.43 | A | A | A | 0.27 |
| 51 | 17.4 | 0.3 | -1.69 | 6.45 | A | A | A | 0.27 |
| 52 | 16.51 | 1.14 | -6.72 | 9.29 | A | A | A | 1.08 |
| 53 | 21.02 | 0.55 | 18.76 | 6.74 | A | N | W | 3.02 |
| 55 | 16.7 | 0.56 | -5.65 | 7.06 | A | A | A | 0.91 |
| 56 | 17.6 | 0.9 | -0.56 | 8.05 | A | A | A | 0.09 |
| 57 | 18.52 | 0.88 | 4.63 | 7.82 | A | A | A | 0.75 |
| 58 | 17.65 | 0.39 | -0.28 | 6.60 | A | A | A | 0.05 |
| 59 | 17.8 | 0.6 | 0.56 | 7.07 | A | A | A | 0.09 |
| 60 | 18.2 | 1.5 | 2.82 | 10.32 | A | A | A | 0.45 |
| 61 | 18.1 | 0.91 | 2.26 | 7.99 | A | A | A | 0.36 |
| 62 | 16.7 | 0.6 | -5.65 | 7.18 | A | A | A | 0.91 |
| 63 | 16.94 | 0.56 | -4.29 | 7.04 | A | A | A | 0.69 |
| 64 | 18.1 | 1 | 2.26 | 8.32 | A | A | A | 0.36 |
| 67 | 16.82 | 1.12 | -4.97 | 9.11 | A | A | A | 0.80 |
| 68 | 17.5 | 0.9 | -1.13 | 8.07 | A | A | A | 0.18 |
| 69 | 16.81 | 0.16 | -5.03 | 6.29 | A | A | A | 0.81 |
| 70 | 17.8 | 0.5 | 0.56 | 6.82 | A | A | A | 0.09 |
| 71 | 16.63 | 0.45 | -6.05 | 6.78 | A | A | A | 0.97 |
| 72 | 17 | 1 | -3.95 | 8.56 | A | A | A | 0.64 |
| 74 | 17.95 | 0.99 | 1.41 | 8.31 | A | A | A | 0.23 |
| 75 | 16.8 | 0.8 | -5.08 | 7.83 | A | A | A | 0.82 |
| 76 | 17.8 | 0.60 | 0.56 | 7.07 | A | A | A | 0.09 |
| 77 | 18.2 | 0.900 | 2.82 | 7.94 | A | A | A | 0.45 |
| 78 | 17.4 | 0.5 | -1.69 | 6.85 | A | A | A | 0.27 |
| 79 | 18.6 | 1.1 | 5.08 | 8.58 | A | A | A | 0.82 |
| 80 | 16.43 | 0.49 | -7.18 | 6.89 | A | A | A | 1.15 |
| 81 | 15.0 | 1.4 | -15.25 | 11.21 | A | A | A | 2.45 |
| 83 | 16.98 | 0.77 | -4.07 | 7.69 | A | A | A | 0.65 |
| 84 | 17.825 | 0.846 | 0.71 | 7.82 | A | A | A | 0.11 |
| 86 | 16.4 | 1.23 | -7.34 | 9.74 | A | A | A | 1.18 |
| 87 | 17 | 0.7 | -3.95 | 7.46 | A | A | A | 0.64 |
| 88 | 19.3 | 0.8 | 9.04 | 7.47 | A | A | A | 1.45 |
| 89 | 17.7 | 1.2 | 0.00 | 9.20 | A | A | A | 0.00 |
| 90 | 17.4 | 0.54 | -1.69 | 6.95 | A | A | A | 0.27 |
| 91 | 16.9 | 1.2 | -4.52 | 9.44 | A | A | A | 0.73 |
| 92 | 18.66 | 0.59 | 5.42 | 6.97 | A | A | A | 0.87 |
| 93 | 17.7 | 0.31 | 0.00 | 6.46 | A | A | A | 0.00 |
| 94 | 19.3 | 1.0 | 9.04 | 8.09 | A | A | A | 1.45 |
| 95 | 17.28 | 0.37 | -2.37 | 6.57 | A | A | A | 0.38 |
| 96 | 17.45 | 0.31 | -1.41 | 6.46 | A | A | A | 0.23 |
| 97 | 16.47 | 0.67 | -6.95 | 7.43 | A | A | A | 1.12 |
| 98 | 17.9 | 1.1 | 1.13 | 8.74 | A | A | A | 0.18 |

TABLE 2. Evaluation Results for Co-60 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 101 | 17.8 | 1.5 | 0.56 | 10.47 | A | A | A | 0.09 |
| 102 | 18.4 | 0.757 | 3.95 | 7.45 | A | A | A | 0.64 |
| 103 | 18.3 | 1.0 | 3.39 | 8.28 | A | A | A | 0.55 |
| 105 | 17.55 | 0.999 | -0.85 | 8.43 | A | A | A | 0.14 |
| 106 | 16.87 | 0.627 | -4.69 | 7.24 | A | A | A | 0.75 |
| 107 | 17.8 | 0.56 | 0.56 | 6.97 | A | A | A | 0.09 |
| 109 | 18.40 | 0.70 | 3.95 | 7.29 | A | A | A | 0.64 |
| 110 | 18.3 | 1.09 | 3.39 | 8.61 | A | A | A | 0.55 |
| 111 | 18.2 | 1.11 | 2.82 | 8.71 | A | A | A | 0.45 |
| 113 | 15.98 | 0.16 | -9.72 | 6.29 | A | A | A | 1.56 |
| 114 | 20.2 | 0.9 | 14.12 | 7.65 | A | A | A | 2.27 |
| 115 | 18.26 | 0.92 | 3.16 | 8.00 | A | A | A | 0.51 |
| 117 | 17.1 | 0.6 | -3.39 | 7.14 | A | A | A | 0.55 |
| 118 | 18 | 1 | 1.69 | 8.34 | A | A | A | 0.27 |
| 119 | 17.252 | 1.811 | -2.53 | 12.20 | A | A | A | 0.41 |
| 120 | 18.0 | 0.7 | 1.69 | 7.33 | A | A | A | 0.27 |
| 121 | 17.945 | 0.539 | 1.38 | 6.90 | A | A | A | 0.22 |
| 123 | 18.1 | 1.0 | 2.26 | 8.32 | A | A | A | 0.36 |
| 124 | 17.52 | 0.44 | -1.02 | 6.70 | A | A | A | 0.16 |
| 125 | 17.15 | 1.20 | -3.11 | 9.36 | A | A | A | 0.50 |
| 126 | 18.8 | 1.1 | 6.21 | 8.54 | A | A | A | 1.00 |
| 127 | 17.55 | 1.41 | -0.85 | 10.16 | A | A | A | 0.14 |
| 128 | 17.9 | 0.6 | 1.13 | 7.06 | A | A | A | 0.18 |
| 129 | 16.7 | 0.9 | -5.65 | 8.23 | A | A | A | 0.91 |
| 130 | 17.7 | 0.3 | 0.00 | 6.44 | A | A | A | 0.00 |
| 132 | 16.4 | 0.5 | -7.34 | 6.92 | A | A | A | 1.18 |
| 133 | 17.2 | 1.8 | -2.82 | 12.17 | A | A | A | 0.45 |
| 134 | 17.7 | 0.9 | 0.00 | 8.03 | A | A | A | 0.00 |
| 135 | 16.2 | 4.1 | -8.47 | 26.06 | A | N | W | 1.36 |
| 136 | 17.8 | 1.4 | 0.56 | 10.02 | A | A | A | 0.09 |
| 137 | 16.90 | 0.27 | -4.52 | 6.42 | A | A | A | 0.73 |
| 138 | 17.274 | 0.511 | -2.41 | 6.88 | A | A | A | 0.39 |
| 139 | 17.9 | 0.25 | 1.13 | 6.37 | A | A | A | 0.18 |
| 140 | 17.8 | 1.1 | 0.56 | 8.76 | A | A | A | 0.09 |
| 143 | 17.8 | 0.82 | 0.56 | 7.74 | A | A | A | 0.09 |
| 145 | 16.0 | 0.9 | -9.60 | 8.38 | A | A | A | 1.55 |
| 146 | 16.751 | 0.0416 | -5.36 | 6.22 | A | A | A | 0.86 |
| 147 | 17.48 | 0.81 | -1.24 | 7.75 | A | A | A | 0.20 |
| 148 | 17.05 | 0.81 | -3.67 | 7.82 | A | A | A | 0.59 |
| 149 | 16.0 | 0.7 | -9.60 | 7.60 | A | A | A | 1.55 |
| 150 | 17.167 | 0.978 | -3.01 | 8.43 | A | A | A | 0.48 |
| 152 | 16.9 | 1.1 | -4.52 | 9.00 | A | A | A | 0.73 |
| 153 | 14.9 | 0.3 | -15.82 | 6.53 | A | A | A | 2.55 |
| 154 | 17.2 | 0.75 | -2.82 | 7.59 | A | A | A | 0.45 |
| 155 | 16.03 | 0.95 | -9.44 | 8.59 | A | A | A | 1.52 |
| 156 | 17.9 | 1.4 | 1.13 | 9.99 | A | A | A | 0.18 |
| 157 | 17.6 | 1.4 | -0.56 | 10.09 | A | A | A | 0.09 |
| 158 | 19.240 | 0.770 | 8.70 | 7.39 | A | A | A | 1.40 |
| 159 | 18.0 | 2.0 | 1.69 | 12.73 | A | A | A | 0.27 |
| 160 | 17.2 | 0.3 | -2.82 | 6.45 | A | A | A | 0.45 |
| 161 | 17.05 | 0.8 | -3.67 | 7.79 | A | A | A | 0.59 |
| 162 | 16.6 | 0.8 | -6.21 | 7.86 | A | A | A | 1.00 |
| 163 | 17.59 | 0.91 | -0.62 | 8.09 | A | A | A | 0.10 |
| 164 | 17.68 | 0.72 | -0.11 | 7.43 | A | A | A | 0.02 |

TABLE 2. Evaluation Results for Co-60 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 165 | 18.45 | 0.52 | 4.24 | 6.82 | A | A | A | 0.68 |
| 166 | 17.2 | 0.5 | -2.82 | 6.86 | A | A | A | 0.45 |
| 167 | 17.6 | 1.0 | -0.56 | 8.42 | A | A | A | 0.09 |
| 168 | 21.97 | 0.49 | 24.12 | 6.60 | N | N | N | 3.88 |
| 169 | 17.95 | 0.43 | 1.41 | 6.66 | A | A | A | 0.23 |
| 171 | 18.9 | 1.1 | 6.78 | 8.51 | A | A | A | 1.09 |
| 172 | 17.05 | 0.84 | -3.67 | 7.93 | A | A | A | 0.59 |
| 173 | 18.41 | 0.35 | 4.01 | 6.50 | A | A | A | 0.65 |
| 175 | 18.1 | 0.9 | 2.26 | 7.96 | A | A | A | 0.36 |
| 177 | 17.8 | 0.8 | 0.56 | 7.67 | A | A | A | 0.09 |
| 178 | 17.4 | 0.6 | -1.69 | 7.11 | A | A | A | 0.27 |
| 179 | 18.657 | 0.49252 | 5.41 | 6.75 | A | A | A | 0.87 |
| 180 | 19.0 | 0.9 | 7.34 | 7.81 | A | A | A | 1.18 |
| 182 | 19.1 | 0.5 | 7.91 | 6.74 | A | A | A | 1.27 |
| 183 | 17.27 | 0.46 | -2.43 | 6.76 | A | A | A | 0.39 |
| 184 | 17.9 | 0.7 | 1.13 | 7.34 | A | A | A | 0.18 |
| 187 | 19.2 | 1.0 | 8.47 | 8.11 | A | A | A | 1.36 |
| 188 | 18.7 | 1.25 | 5.65 | 9.13 | A | A | A | 0.91 |
| 189 | 18.26 | 1.49 | 3.16 | 10.26 | A | A | A | 0.51 |
| 191 | 17.6 | 0.5 | -0.56 | 6.83 | A | A | A | 0.09 |
| 192 | 18.10 | 0.73 | 2.26 | 7.41 | A | A | A | 0.36 |
| 193 | 2.059 | 0.131 | -88.37 | 8.89 | N | N | N | 14.22 |
| 194 | 63 | 6 | 255.93 | 11.37 | N | N | N | 41.18 |
| 195 | 15.5 | 0.7 | -12.43 | 7.68 | A | A | A | 2.00 |
| 196 | 17.5 | 0.587 | -1.13 | 7.06 | A | A | A | 0.18 |
| 197 | 15.8 | 3.7 | -10.73 | 24.23 | A | N | W | 1.73 |
| 198 | 17.89 | 0.71 | 1.07 | 7.37 | A | A | A | 0.17 |
| 201 | 18.0 | 0.5 | 1.69 | 6.81 | A | A | A | 0.27 |
| 202 | 17.7 | 0.91 | 0.00 | 8.07 | A | A | A | 0.00 |
| 203 | 17.9 | 0.6 | 1.13 | 7.06 | A | A | A | 0.18 |
| 204 | 17.5 | 1.1 | -1.13 | 8.84 | A | A | A | 0.18 |
| 206 | 19.6 | 0.07 | 10.73 | 6.22 | A | A | A | 1.73 |
| 207 | 18.47 | 0.57 | 4.35 | 6.94 | A | A | A | 0.70 |
| 210 | 18.3 | 1.0 | 3.39 | 8.28 | A | A | A | 0.55 |
| 213 | 18.3 | 1.0 | 3.39 | 8.28 | A | A | A | 0.55 |
| 214 | 17.2 | 0.6 | -2.82 | 7.13 | A | A | A | 0.45 |
| 215 | 17.2 | 0.92 | -2.82 | 8.20 | A | A | A | 0.45 |
| 216 | 17.8 | 0.3 | 0.56 | 6.44 | A | A | A | 0.09 |
| 217 | 18.1 | 1.1 | 2.26 | 8.69 | A | A | A | 0.36 |
| 218 | 17.04 | 0.74 | -3.73 | 7.58 | A | A | A | 0.60 |
| 219 | 16.0 | 0.43 | -9.60 | 6.77 | A | A | A | 1.55 |
| 220 | 17.5 | 0.8 | -1.13 | 7.71 | A | A | A | 0.18 |
| 221 | 18.13 | 0.48 | 2.43 | 6.76 | A | A | A | 0.39 |
| 222 | 17.8 | 0.8 | 0.56 | 7.67 | A | A | A | 0.09 |
| 223 | 17.11 | 0.11 | -3.33 | 6.25 | A | A | A | 0.54 |
| 224 | 17.19 | 0.18 | -2.88 | 6.30 | A | A | A | 0.46 |
| 226 | 19.2 | 0.448 | 8.47 | 6.64 | A | A | A | 1.36 |
| 227 | 17.15 | 0.9 | -3.11 | 8.13 | A | A | A | 0.50 |
| 228 | 18.1 | 2.1 | 2.26 | 13.16 | A | A | A | 0.36 |
| 230 | 17.7 | 1.3 | 0.00 | 9.62 | A | A | A | 0.00 |
| 231 | 16.57 | 1.66 | -6.38 | 11.79 | A | A | A | 1.03 |
| 233 | 13.2 | 0.8 | -25.42 | 8.68 | N | N | N | 4.09 |
| 234 | 17.30 | 0.40 | -2.26 | 6.63 | A | A | A | 0.36 |
| 235 | 17.2 | 0.28 | -2.82 | 6.42 | A | A | A | 0.45 |

TABLE 2. Evaluation Results for Co-60 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 237 | 17.74 | 0.17 | 0.23 | 6.29 | A | A | A | 0.04 |
| 238 | 17.5 | 0.6 | -1.13 | 7.10 | A | A | A | 0.18 |
| 239 | 18.16 | 2.63 | 2.60 | 15.76 | A | A | A | 0.42 |
| 241 | 18.48 | 0.77 | 4.41 | 7.48 | A | A | A | 0.71 |
| 243 | 18.62 | 0.95 | 5.20 | 8.04 | A | A | A | 0.84 |
| 244 | 18.9 | 1.7 | 6.78 | 10.93 | A | A | A | 1.09 |
| 246 | 18.0 | 0.4 | 1.69 | 6.60 | A | A | A | 0.27 |
| 247 | 18.56 | 0.92 | 4.86 | 7.95 | A | A | A | 0.78 |
| 248 | 18.74 | 0.59 | 5.88 | 6.97 | A | A | A | 0.95 |
| 249 | 11.2 | 4 | -36.72 | 36.25 | N | N | N | 5.91 |
| 250 | 17.68 | 0.34 | -0.11 | 6.51 | A | A | A | 0.02 |
| 251 | 16.24 | 0.88 | -8.25 | 8.25 | A | A | A | 1.33 |
| 253 | 17.62 | 0.27 | -0.45 | 6.40 | A | A | A | 0.07 |
| 255 | 17.7 | 0.4 | 0.00 | 6.61 | A | A | A | 0.00 |
| 256 | 17.8 | 0.68 | 0.56 | 7.29 | A | A | A | 0.09 |
| 258 | 18.3 | 0.34 | 3.39 | 6.49 | A | A | A | 0.55 |
| 259 | 18.21 | 1.26 | 2.88 | 9.30 | A | A | A | 0.46 |
| 262 | 18.6 | 2.41 | 5.08 | 14.37 | A | A | A | 0.82 |
| 263 | 17.962 | 1.193 | 1.48 | 9.10 | A | A | A | 0.24 |
| 264 | 17.7 | 1.7 | 0.00 | 11.44 | A | A | A | 0.00 |
| 265 | 15.53 | 0.40 | -12.26 | 6.73 | A | A | A | 1.97 |
| 266 | 17.06 | 0.59 | -3.62 | 7.11 | A | A | A | 0.58 |
| 269 | 17.3 | 1.02 | -2.26 | 8.57 | A | A | A | 0.36 |
| 271 | 18.6 | 0.9 | 5.08 | 7.88 | A | A | A | 0.82 |
| 272 | 21.45 | 2.10 | 21.19 | 11.60 | N | A | N | 3.41 |
| 273 | 19.5 | 0.9 | 10.17 | 7.74 | A | A | A | 1.64 |
| 274 | 17.95 | 2.947 | 1.41 | 17.55 | A | A | A | 0.23 |
| 276 | 20.86 | 1.33 | 17.85 | 8.90 | A | A | A | 2.87 |
| 278 | 19.0 | 0.97 | 7.34 | 8.04 | A | A | A | 1.18 |
| 281 | 18.0 | 1.0 | 1.69 | 8.34 | A | A | A | 0.27 |
| 284 | 15.31 | 0.68 | -13.50 | 7.64 | A | A | A | 2.17 |
| 285 | 17.32 | 1.14 | -2.15 | 9.05 | A | A | A | 0.35 |
| 286 | 17.5 | 1.4 | -1.13 | 10.13 | A | A | A | 0.18 |
| 287 | 17.185 | 0.614 | -2.91 | 7.17 | A | A | A | 0.47 |
| 288 | 15.8 | 1.6 | -10.73 | 11.88 | A | A | A | 1.73 |
| 289 | 17.5 | 1.0 | -1.13 | 8.44 | A | A | A | 0.18 |
| 290 | 19.52 | 0.88 | 10.28 | 7.68 | A | A | A | 1.65 |
| 292 | 19.0 | 2.7 | 7.34 | 15.51 | A | A | A | 1.18 |
| 295 | 14.86 | 0.62 | -16.05 | 7.49 | A | A | A | 2.58 |
| 296 | 16.6 | 0.6 | -6.21 | 7.19 | A | A | A | 1.00 |
| 297 | 0.14 | 0.09 | -99.21 | 64.59 | N | N | N | 15.96 |
| 298 | 17.77 | 0.25 | 0.40 | 6.37 | A | A | A | 0.06 |
| 299 | 14.36 | 0.07 | -18.87 | 6.23 | A | N | W | 3.04 |
| 301 | 18.8 | 0.5 | 6.21 | 6.76 | A | A | A | 1.00 |
| 303 | 17.66 | 0.26 | -0.23 | 6.39 | A | A | A | 0.04 |
| 305 | 11.611 | 1.346 | -34.40 | 13.15 | N | N | N | 5.54 |
| 306 | 16.0 | 0.5 | -9.60 | 6.96 | A | A | A | 1.55 |
| 307 | 112.00 | 25.1 | 532.77 | 23.26 | N | N | N | 85.73 |
| 309 | 18.38 | 1.71 | 3.84 | 11.19 | A | A | A | 0.62 |
| 310 | 17.5 | 1.9 | -1.13 | 12.51 | A | A | A | 0.18 |
| 312 | 17.40 | 0.65 | -1.69 | 7.25 | A | A | A | 0.27 |
| 313 | 18.1 | 1.2 | 2.26 | 9.09 | A | A | A | 0.36 |

25

30

Reported Results for Sr-90 Determination in Sample 1

TABLE 3. Target values

| Parameter | Value |
| --- | --- |
| Target Value, Bq/kg | 26.4 |
| UNC, Bq/kg | 1.6 |
| MARB, % | 30 |

Not Accepted 3%

Warning 1%

Accepted 31%

Not Reported 65%

35

40

FIGURE 3. Percentage of Accepted vs. Warnings vs. Not Accepted vs. Not Reported results

Concentration [ Bq/kg ]

10

15

20

10

9

140

121

258

272

83

262

159

250

216

177

234

7

239

276

284

110

143

45

164

93

96

36

247

118

42

49

187

17

199

157

53

87

57

80

123

24

228

188

14

137

41

92

99

90

230

149

98

156

23

27

240

217

61

211

88

186

309

50

8

74

65

31

241

171

68

4

261

138

128

273

16

60

184

47

248

204

214

196

69

94

203

81

192

13

281

103

62

113

119

133

236

76

134

78

Labcode

FIGURE 4. Reported results and evaluation parameters for Sr-90. Blue points represent accepted scores, whereas yellow and red represent warning and not accepted scores respectively.

TABLE 4. Evaluation Results for Sr-90 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4 | 27.33 | 1.24 | 3.52 | 7.57 | A | A | A | 0.58 |
| 7 | 23.7 | 0.6 | -10.23 | 6.57 | A | A | A | 1.69 |
| 8 | 27.0 | 1.4 | 2.27 | 7.98 | A | A | A | 0.38 |
| 9 | 7.15 | 2.18 | -72.92 | 31.09 | N | N | N | 12.03 |
| 10 | 7.07 | 0.36 | -73.22 | 7.92 | N | N | N | 12.08 |
| 13 | 29.4 | 1.6 | 11.36 | 8.15 | A | A | A | 1.88 |
| 14 | 26.33 | 0.56 | -0.27 | 6.42 | A | A | A | 0.04 |
| 16 | 27.6 | 1.67 | 4.55 | 8.56 | A | A | A | 0.75 |
| 17 | 25.7 | 2.8 | -2.65 | 12.47 | A | A | A | 0.44 |
| 23 | 26.88 | 1.24 | 1.82 | 7.62 | A | A | A | 0.30 |
| 24 | 26.3 | 1.1 | -0.38 | 7.36 | A | A | A | 0.06 |
| 27 | 26.9 | 1.48 | 1.89 | 8.19 | A | A | A | 0.31 |
| 31 | 27.2 | 1.6 | 3.03 | 8.45 | A | A | A | 0.50 |
| 36 | 25 | 2 | -5.30 | 10.04 | A | A | A | 0.87 |
| 41 | 26.4 | 1.5 | 0.00 | 8.31 | A | A | A | 0.00 |
| 42 | 25.28 | 2.836 | -4.24 | 12.75 | A | A | A | 0.70 |
| 45 | 24.4 | 1.9 | -7.58 | 9.87 | A | A | A | 1.25 |
| 47 | 28.1 | 2.0 | 6.44 | 9.35 | A | A | A | 1.06 |
| 49 | 25.4 | 1.0 | -3.79 | 7.23 | A | A | A | 0.62 |
| 50 | 27.0 | 1.1 | 2.27 | 7.30 | A | A | A | 0.38 |
| 53 | 25.72 | 0.78 | -2.58 | 6.78 | A | A | A | 0.42 |
| 57 | 26.14 | 0.63 | -0.98 | 6.52 | A | A | A | 0.16 |
| 60 | 27.6 | 2.5 | 4.55 | 10.90 | A | A | A | 0.75 |
| 61 | 27.0 | 3.1 | 2.27 | 12.98 | A | A | A | 0.38 |
| 62 | 30.7 | 1.4 | 16.29 | 7.58 | A | A | A | 2.69 |
| 65 | 27.15 | 1.4 | 2.84 | 7.96 | A | A | A | 0.47 |
| 68 | 27.32 | 1.34 | 3.48 | 7.80 | A | A | A | 0.58 |
| 69 | 28.78 | 0.27 | 9.02 | 6.13 | A | A | A | 1.49 |
| 74 | 27.1 | 1.4 | 2.65 | 7.96 | A | A | A | 0.44 |
| 76 | 35.1 | 0.71 | 32.95 | 6.39 | N | N | N | 5.44 |
| 78 | 47.42 | 4.87 | 79.62 | 11.92 | N | N | N | 13.14 |
| 80 | 26.28 | 1.20 | -0.45 | 7.59 | A | A | A | 0.07 |
| 81 | 29.0 | 0.2 | 9.85 | 6.10 | A | A | A | 1.63 |
| 83 | 20.8 | 0.7 | -21.21 | 6.93 | A | N | W | 3.50 |
| 87 | 25.84 | 1.42 | -2.12 | 8.18 | A | A | A | 0.35 |
| 88 | 27.0 | 3.0 | 2.27 | 12.66 | A | A | A | 0.38 |
| 90 | 26.5 | 0.87 | 0.38 | 6.89 | A | A | A | 0.06 |
| 92 | 26.4 | 1.4 | 0.00 | 8.05 | A | A | A | 0.00 |
| 93 | 24.92 | 0.55 | -5.61 | 6.45 | A | A | A | 0.92 |
| 94 | 28.8 | 3.7 | 9.09 | 14.21 | A | A | A | 1.50 |
| 96 | 24.96 | 0.25 | -5.45 | 6.14 | A | A | A | 0.90 |
| 98 | 26.8 | 3.3 | 1.52 | 13.72 | A | A | A | 0.25 |
| 99 | 26.47 | 2.65 | 0.27 | 11.70 | A | A | A | 0.04 |
| 103 | 30.1 | 2.24 | 14.02 | 9.60 | A | A | A | 2.31 |
| 110 | 24.3 | 0.756 | -7.95 | 6.81 | A | A | A | 1.31 |
| 113 | 30.81 | 0.98 | 16.70 | 6.84 | A | A | A | 2.76 |
| 118 | 25 | 1 | -5.30 | 7.26 | A | A | A | 0.87 |
| 119 | 31.560 | 5.523 | 19.55 | 18.52 | A | A | A | 3.22 |
| 121 | 13.37 | 0.06 | -49.36 | 6.08 | N | N | N | 8.14 |
| 123 | 26.3 | 1.8 | -0.38 | 9.14 | A | A | A | 0.06 |
| 128 | 27.6 | 2.5 | 4.55 | 10.90 | A | A | A | 0.75 |
| 133 | 31.6 | 5.5 | 19.70 | 18.43 | A | A | A | 3.25 |
| 134 | 40.5 | 2.2 | 53.41 | 8.14 | N | N | N | 8.81 |

TABLE 4. Evaluation Results for Sr-90 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 137 | 26.40 | 1.39 | 0.00 | 8.03 | A | A | A | 0.00 |
| 138 | 27.47 | 0.08 | 4.05 | 6.07 | A | A | A | 0.67 |
| 140 | 8.5 | 1.3 | -67.80 | 16.45 | N | N | N | 11.19 |
| 143 | 24.3 | 0.67 | -7.95 | 6.66 | A | A | A | 1.31 |
| 149 | 26.6 | 0.4 | 0.76 | 6.24 | A | A | A | 0.13 |
| 156 | 26.8 | 1.9 | 1.52 | 9.33 | A | A | A | 0.25 |
| 157 | 25.7 | 2.3 | -2.65 | 10.81 | A | A | A | 0.44 |
| 159 | 22.5 | 2.0 | -14.77 | 10.76 | A | A | A | 2.44 |
| 164 | 24.6 | 1.2 | -6.82 | 7.78 | A | A | A | 1.12 |
| 171 | 27.3 | 0.9 | 3.41 | 6.90 | A | A | A | 0.56 |
| 177 | 23.4 | 2.5 | -11.36 | 12.28 | A | A | A | 1.88 |
| 184 | 27.8 | 2.4 | 5.30 | 10.55 | A | A | A | 0.88 |
| 186 | 27.0 | 4.8 | 2.27 | 18.78 | A | A | A | 0.38 |
| 187 | 25.6 | 1.8 | -3.03 | 9.28 | A | A | A | 0.50 |
| 188 | 26.3 | 1.0 | -0.38 | 7.15 | A | A | A | 0.06 |
| 192 | 29.07 | 2.10 | 10.11 | 9.43 | A | A | A | 1.67 |
| 196 | 28.6 | 2.55 | 8.33 | 10.78 | A | A | A | 1.38 |
| 199 | 25.70 | 1.53 | -2.65 | 8.50 | A | A | A | 0.44 |
| 203 | 28.8 | 2.6 | 9.09 | 10.87 | A | A | A | 1.50 |
| 204 | 28.3 | 1.9 | 7.20 | 9.04 | A | A | A | 1.19 |
| 211 | 27.0 | 0.7 | 2.27 | 6.59 | A | A | A | 0.38 |
| 214 | 28.57 | 0.5 | 8.22 | 6.31 | A | A | A | 1.36 |
| 216 | 23.0 | 0.9 | -12.88 | 7.21 | A | A | A | 2.12 |
| 217 | 26.9 | 1.3 | 1.89 | 7.75 | A | A | A | 0.31 |
| 228 | 26.3 | 2.6 | -0.38 | 11.60 | A | A | A | 0.06 |
| 230 | 26.5 | 1.06 | 0.38 | 7.26 | A | A | A | 0.06 |
| 234 | 23.60 | 3.00 | -10.61 | 14.08 | A | A | A | 1.75 |
| 236 | 32.58 | 1.46 | 23.41 | 7.54 | A | N | W | 3.86 |
| 239 | 23.91 | 3.47 | -9.43 | 15.73 | A | A | A | 1.56 |
| 240 | 26.9 | 1.60 | 1.89 | 8.49 | A | A | A | 0.31 |
| 241 | 27.24 | 0.12 | 3.18 | 6.08 | A | A | A | 0.52 |
| 247 | 25.0 | 1.2 | -5.30 | 7.73 | A | A | A | 0.87 |
| 248 | 28.1 | 2.3 | 6.44 | 10.18 | A | A | A | 1.06 |
| 250 | 22.60 | 2.00 | -14.39 | 10.73 | A | A | A | 2.37 |
| 258 | 17.30 | 7.06 | -34.47 | 41.26 | N | N | N | 5.69 |
| 261 | 27.4 | 1.4 | 3.79 | 7.93 | A | A | A | 0.62 |
| 262 | 21.7 | 2.81 | -17.80 | 14.30 | A | A | A | 2.94 |
| 272 | 20.74 | 0.48 | -21.44 | 6.49 | A | N | W | 3.54 |
| 273 | 27.6 | 1.5 | 4.55 | 8.14 | A | A | A | 0.75 |
| 276 | 24.04 | 1.41 | -8.94 | 8.43 | A | A | A | 1.47 |
| 281 | 30.0 | 2.0 | 13.64 | 9.01 | A | A | A | 2.25 |
| 284 | 24.15 | 1.77 | -8.52 | 9.51 | A | A | A | 1.41 |
| 309 | 27 | 2.65 | 2.27 | 11.54 | A | A | A | 0.38 |

16

18

Reported Results for Cs-134 Determination in Sample 1

TABLE 5. Target values

| Parameter | Value |
| --- | --- |
| Target Value, Bq/kg | 15.9 |
| UNC, Bq/kg | 1 |
| MARB, % | 20 |

Accepted 84%

Not Reported 10%

Warning 1%

Not Accepted 5%

20

22

FIGURE 5. Percentage of Accepted vs. Warnings vs. Not Accepted vs. Not Reported results

Concentration [ Bq/kg ]

10

12

14

297

135

249

284

155

307

52

160

305

226

138

197

195

109

276

162

146

134

1

183

246

161

304

139

215

11

32

143

63

217

148

281

188

55

301

16

91

46

192

163

235

21

263

179

101

120

261

296

264

177

218

309

253

87

288

117

140

258

127

251

40

85

47

238

213

95

207

29

57

74

184

289

178

158

171

271

234

115

187

310

31

172

182

23

58

76

214

39

106

313

13

292

147

8

241

237

65

7

68

136

60

19

196

210

191

272

173

17

51

114

262

79

119

312

248

243

34

107

290

12

53

168

49

94

206

194

Labcode

FIGURE 6. Reported results and evaluation parameters for Cs-134. Blue points represent accepted scores, whereas yellow and red represent warning and not accepted scores respectively.

TABLE 6. Evaluation Results for Cs-134 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 14.5 | 0.52 | -8.81 | 7.24 | A | A | A | 1.40 |
| 4 | 15.68 | 0.50 | -1.38 | 7.05 | A | A | A | 0.22 |
| 6 | 15.27 | 1.04 | -3.96 | 9.27 | A | A | A | 0.63 |
| 7 | 16.1 | 0.7 | 1.26 | 7.65 | A | A | A | 0.20 |
| 8 | 16.0 | 1.2 | 0.63 | 9.79 | A | A | A | 0.10 |
| 9 | 16.61 | 0.51 | 4.47 | 7.00 | A | A | A | 0.71 |
| 10 | 54.34 | 8.56 | 241.76 | 16.96 | N | N | N | 38.44 |
| 11 | 14.86 | 0.95 | -6.54 | 8.97 | A | A | A | 1.04 |
| 12 | 16.8 | 0.6 | 5.66 | 7.23 | A | A | A | 0.90 |
| 13 | 16 | 1 | 0.63 | 8.87 | A | A | A | 0.10 |
| 14 | 16.05 | 0.60 | 0.94 | 7.32 | A | A | A | 0.15 |
| 16 | 15.29 | 0.29 | -3.84 | 6.57 | A | A | A | 0.61 |
| 17 | 16.3 | 2.1 | 2.52 | 14.34 | A | A | A | 0.40 |
| 18 | 15.68 | 1.27 | -1.38 | 10.25 | A | A | A | 0.22 |
| 19 | 16.17 | 1.52 | 1.70 | 11.31 | A | A | A | 0.27 |
| 20 | 16.7 | 0.8 | 5.03 | 7.91 | A | A | A | 0.80 |
| 21 | 15.4 | 0.7 | -3.14 | 7.76 | A | A | A | 0.50 |
| 22 | 16.062 | 0.193 | 1.02 | 6.40 | A | A | A | 0.16 |
| 23 | 15.91 | 0.39 | 0.06 | 6.75 | A | A | A | 0.01 |
| 24 | 15.9 | 0.6 | 0.00 | 7.33 | A | A | A | 0.00 |
| 25 | 12.99 | 0.69 | -18.30 | 8.23 | A | A | A | 2.91 |
| 26 | 15.4 | 0.5 | -3.14 | 7.08 | A | A | A | 0.50 |
| 27 | 16.8 | 0.69 | 5.66 | 7.51 | A | A | A | 0.90 |
| 28 | 15.5 | 0.8 | -2.52 | 8.14 | A | A | A | 0.40 |
| 29 | 15.74 | 0.65 | -1.01 | 7.52 | A | A | A | 0.16 |
| 31 | 15.9 | 1.3 | 0.00 | 10.32 | A | A | A | 0.00 |
| 32 | 14.9 | 0.3 | -6.29 | 6.60 | A | A | A | 1.00 |
| 33 | 13.66 | 0.72 | -14.09 | 8.21 | A | A | A | 2.24 |
| 34 | 16.66 | 0.98 | 4.78 | 8.61 | A | A | A | 0.76 |
| 35 | 16.7 | 0.4 | 5.03 | 6.73 | A | A | A | 0.80 |
| 36 | 16 | 4 | 0.63 | 25.78 | A | N | W | 0.10 |
| 37 | 15.8 | 0.9 | -0.63 | 8.49 | A | A | A | 0.10 |
| 38 | 16 | 1 | 0.63 | 8.87 | A | A | A | 0.10 |
| 39 | 16.0 | 0.9 | 0.63 | 8.44 | A | A | A | 0.10 |
| 40 | 15.7 | 0.3 | -1.26 | 6.57 | A | A | A | 0.20 |
| 41 | 15.7 | 1.19 | -1.26 | 9.85 | A | A | A | 0.20 |
| 42 | 7.76 | 0.30 | -51.19 | 7.38 | N | N | N | 8.14 |
| 43 | 16.3 | 1.1 | 2.52 | 9.22 | A | A | A | 0.40 |
| 45 | 15.35 | 0.66 | -3.46 | 7.62 | A | A | A | 0.55 |
| 46 | 15.3 | 0.6 | -3.77 | 7.41 | A | A | A | 0.60 |
| 47 | 15.7 | 1.1 | -1.26 | 9.42 | A | A | A | 0.20 |
| 49 | 17.3 | 0.7 | 8.81 | 7.48 | A | A | A | 1.40 |
| 50 | 17.1 | 0.2 | 7.55 | 6.40 | A | A | A | 1.20 |
| 51 | 16.3 | 0.3 | 2.52 | 6.55 | A | A | A | 0.40 |
| 52 | 13.05 | 1.14 | -17.92 | 10.76 | A | A | A | 2.85 |
| 53 | 16.93 | 0.42 | 6.48 | 6.76 | A | A | A | 1.03 |
| 55 | 15.2 | 0.54 | -4.40 | 7.22 | A | A | A | 0.70 |
| 56 | 14.6 | 0.9 | -8.18 | 8.81 | A | A | A | 1.30 |
| 57 | 15.78 | 0.76 | -0.75 | 7.92 | A | A | A | 0.12 |
| 58 | 15.99 | 0.24 | 0.57 | 6.47 | A | A | A | 0.09 |
| 59 | 16.0 | 0.9 | 0.63 | 8.44 | A | A | A | 0.10 |
| 60 | 16.1 | 1.4 | 1.26 | 10.73 | A | A | A | 0.20 |
| 61 | 16.2 | 0.61 | 1.89 | 7.33 | A | A | A | 0.30 |

TABLE 6. Evaluation Results for Cs-134 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 62 | 15.9 | 0.6 | 0.00 | 7.33 | A | A | A | 0.00 |
| 63 | 14.96 | 0.64 | -5.91 | 7.61 | A | A | A | 0.94 |
| 64 | 15.6 | 0.8 | -1.89 | 8.12 | A | A | A | 0.30 |
| 65 | 16.07 | 0.20 | 1.07 | 6.41 | A | A | A | 0.17 |
| 67 | 15.78 | 1.32 | -0.75 | 10.47 | A | A | A | 0.12 |
| 68 | 16.1 | 0.8 | 1.26 | 8.02 | A | A | A | 0.20 |
| 69 | 14.66 | 0.13 | -7.80 | 6.35 | A | A | A | 1.24 |
| 70 | 16.5 | 0.4 | 3.77 | 6.74 | A | A | A | 0.60 |
| 71 | 15.52 | 0.24 | -2.39 | 6.48 | A | A | A | 0.38 |
| 72 | 14.8 | 0.9 | -6.92 | 8.75 | A | A | A | 1.10 |
| 74 | 15.78 | 0.98 | -0.75 | 8.84 | A | A | A | 0.12 |
| 75 | 15.6 | 0.6 | -1.89 | 7.37 | A | A | A | 0.30 |
| 76 | 16.0 | 0.60 | 0.63 | 7.32 | A | A | A | 0.10 |
| 77 | 15.4 | 0.812 | -3.14 | 8.21 | A | A | A | 0.50 |
| 78 | 15.6 | 0.5 | -1.89 | 7.06 | A | A | A | 0.30 |
| 79 | 16.4 | 1.0 | 3.14 | 8.76 | A | A | A | 0.50 |
| 80 | 13.45 | 0.38 | -15.41 | 6.89 | A | A | A | 2.45 |
| 81 | 16.0 | 0.8 | 0.63 | 8.03 | A | A | A | 0.10 |
| 83 | 15.70 | 0.65 | -1.26 | 7.53 | A | A | A | 0.20 |
| 84 | 15.885 | 0.736 | -0.09 | 7.81 | A | A | A | 0.02 |
| 85 | 15.7 | 0.52 | -1.26 | 7.11 | A | A | A | 0.20 |
| 86 | 14.5 | 1.05 | -8.81 | 9.59 | A | A | A | 1.40 |
| 87 | 15.6 | 0.55 | -1.89 | 7.21 | A | A | A | 0.30 |
| 88 | 16.9 | 0.6 | 6.29 | 7.22 | A | A | A | 1.00 |
| 89 | 16.3 | 1.1 | 2.52 | 9.22 | A | A | A | 0.40 |
| 90 | 15.2 | 0.50 | -4.40 | 7.10 | A | A | A | 0.70 |
| 91 | 15.3 | 1.1 | -3.77 | 9.55 | A | A | A | 0.60 |
| 92 | 16.10 | 0.50 | 1.26 | 7.01 | A | A | A | 0.20 |
| 93 | 16.2 | 0.25 | 1.89 | 6.48 | A | A | A | 0.30 |
| 94 | 17.6 | 0.9 | 10.69 | 8.11 | A | A | A | 1.70 |
| 95 | 15.71 | 0.33 | -1.19 | 6.63 | A | A | A | 0.19 |
| 96 | 15.83 | 0.21 | -0.44 | 6.43 | A | A | A | 0.07 |
| 97 | 15.64 | 0.70 | -1.64 | 7.72 | A | A | A | 0.26 |
| 98 | 16.0 | 0.8 | 0.63 | 8.03 | A | A | A | 0.10 |
| 99 | 15.58 | 1.87 | -2.01 | 13.55 | A | A | A | 0.32 |
| 101 | 15.5 | 1.5 | -2.52 | 11.54 | A | A | A | 0.40 |
| 102 | 15.8 | 0.765 | -0.63 | 7.94 | A | A | A | 0.10 |
| 103 | 16.0 | 0.81 | 0.63 | 8.07 | A | A | A | 0.10 |
| 105 | 14.58 | 1.499 | -8.30 | 12.05 | A | A | A | 1.32 |
| 106 | 16.00 | 0.596 | 0.63 | 7.31 | A | A | A | 0.10 |
| 107 | 16.7 | 0.62 | 5.03 | 7.30 | A | A | A | 0.80 |
| 109 | 13.90 | 0.53 | -12.58 | 7.35 | A | A | A | 2.00 |
| 110 | 15.9 | 0.993 | 0.00 | 8.86 | A | A | A | 0.00 |
| 111 | 15.9 | 0.98 | 0.00 | 8.81 | A | A | A | 0.00 |
| 113 | 14.83 | 0.16 | -6.73 | 6.38 | A | A | A | 1.07 |
| 114 | 16.3 | 0.7 | 2.52 | 7.62 | A | A | A | 0.40 |
| 115 | 15.90 | 0.86 | 0.00 | 8.30 | A | A | A | 0.00 |
| 117 | 15.6 | 0.6 | -1.89 | 7.37 | A | A | A | 0.30 |
| 118 | 15 | 1 | -5.66 | 9.17 | A | A | A | 0.90 |
| 119 | 16.442 | 1.726 | 3.41 | 12.24 | A | A | A | 0.54 |
| 120 | 15.5 | 0.7 | -2.52 | 7.74 | A | A | A | 0.40 |
| 121 | 15.431 | 0.47 | -2.95 | 6.99 | A | A | A | 0.47 |
| 123 | 16.4 | 0.9 | 3.14 | 8.35 | A | A | A | 0.50 |
| 124 | 12.41 | 0.25 | -21.95 | 6.60 | N | N | N | 3.49 |

TABLE 6. Evaluation Results for Cs-134 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 125 | 19.96 | 1.40 | 25.53 | 9.42 | N | N | N | 4.06 |
| 126 | 16.6 | 1.2 | 4.40 | 9.58 | A | A | A | 0.70 |
| 127 | 15.660 | 1.25 | -1.51 | 10.16 | A | A | A | 0.24 |
| 128 | 16.2 | 0.7 | 1.89 | 7.63 | A | A | A | 0.30 |
| 129 | 15.3 | 0.9 | -3.77 | 8.61 | A | A | A | 0.60 |
| 130 | 15.5 | 0.15 | -2.52 | 6.36 | A | A | A | 0.40 |
| 132 | 14.3 | 0.4 | -10.06 | 6.88 | A | A | A | 1.60 |
| 133 | 16.4 | 1.7 | 3.14 | 12.12 | A | A | A | 0.50 |
| 134 | 14.4 | 0.6 | -9.43 | 7.54 | A | A | A | 1.50 |
| 135 | 5.9 | 0.6 | -62.89 | 11.96 | N | N | N | 10.00 |
| 136 | 16.1 | 1.3 | 1.26 | 10.23 | A | A | A | 0.20 |
| 137 | 13.10 | 0.29 | -17.61 | 6.67 | A | N | W | 2.80 |
| 138 | 13.481 | 0.405 | -15.21 | 6.97 | A | A | A | 2.42 |
| 139 | 14.8 | 0.26 | -6.92 | 6.53 | A | A | A | 1.10 |
| 140 | 15.6 | 1.0 | -1.89 | 8.98 | A | A | A | 0.30 |
| 143 | 14.9 | 0.67 | -6.29 | 7.73 | A | A | A | 1.00 |
| 145 | 16.3 | 0.7 | 2.52 | 7.62 | A | A | A | 0.40 |
| 146 | 14.376 | 0.0359 | -9.58 | 6.29 | A | A | A | 1.52 |
| 147 | 16.0 | 0.55 | 0.63 | 7.17 | A | A | A | 0.10 |
| 148 | 15.01 | 0.84 | -5.60 | 8.42 | A | A | A | 0.89 |
| 149 | 13.5 | 0.5 | -15.09 | 7.30 | A | A | A | 2.40 |
| 150 | 15.764 | 1.039 | -0.86 | 9.11 | A | A | A | 0.14 |
| 152 | 15.0 | 0.8 | -5.66 | 8.25 | A | A | A | 0.90 |
| 153 | 11.5 | 0.2 | -27.67 | 6.53 | N | N | N | 4.40 |
| 154 | 15.4 | 0.66 | -3.14 | 7.61 | A | A | A | 0.50 |
| 155 | 12.41 | 0.77 | -21.95 | 8.83 | N | A | N | 3.49 |
| 156 | 15.9 | 1.2 | 0.00 | 9.82 | A | A | A | 0.00 |
| 157 | 15.9 | 1.2 | 0.00 | 9.82 | A | A | A | 0.00 |
| 158 | 15.876 | 0.953 | -0.15 | 8.69 | A | A | A | 0.02 |
| 159 | 15.7 | 1.5 | -1.26 | 11.44 | A | A | A | 0.20 |
| 160 | 13.2 | 0.3 | -16.98 | 6.69 | A | A | A | 2.70 |
| 161 | 14.62 | 0.8 | -8.05 | 8.34 | A | A | A | 1.28 |
| 162 | 14.3 | 0.9 | -10.06 | 8.90 | A | A | A | 1.60 |
| 163 | 15.37 | 0.75 | -3.33 | 7.96 | A | A | A | 0.53 |
| 164 | 14.95 | 0.75 | -5.97 | 8.05 | A | A | A | 0.95 |
| 165 | 16.22 | 0.51 | 2.01 | 7.03 | A | A | A | 0.32 |
| 166 | 16.3 | 0.5 | 2.52 | 7.00 | A | A | A | 0.40 |
| 167 | 15.5 | 1.0 | -2.52 | 9.01 | A | A | A | 0.40 |
| 168 | 17.08 | 0.38 | 7.42 | 6.67 | A | A | A | 1.18 |
| 169 | 14.76 | 0.44 | -7.17 | 6.96 | A | A | A | 1.14 |
| 171 | 15.9 | 1.0 | 0.00 | 8.89 | A | A | A | 0.00 |
| 172 | 15.9 | 0.72 | 0.00 | 7.75 | A | A | A | 0.00 |
| 173 | 16.27 | 0.39 | 2.33 | 6.73 | A | A | A | 0.37 |
| 175 | 16.0 | 0.8 | 0.63 | 8.03 | A | A | A | 0.10 |
| 177 | 15.5 | 0.9 | -2.52 | 8.56 | A | A | A | 0.40 |
| 178 | 15.8 | 0.7 | -0.63 | 7.69 | A | A | A | 0.10 |
| 179 | 15.437 | 0.40893 | -2.91 | 6.82 | A | A | A | 0.46 |
| 180 | 15.9 | 0.8 | 0.00 | 8.05 | A | A | A | 0.00 |
| 182 | 15.9 | 0.4 | 0.00 | 6.77 | A | A | A | 0.00 |
| 183 | 14.56 | 0.33 | -8.43 | 6.69 | A | A | A | 1.34 |
| 184 | 15.8 | 0.6 | -0.63 | 7.35 | A | A | A | 0.10 |
| 185 | 14.1 | 1.9 | -11.32 | 14.87 | A | A | A | 1.80 |
| 187 | 15.9 | 0.8 | 0.00 | 8.05 | A | A | A | 0.00 |
| 188 | 15.1 | 1.05 | -5.03 | 9.38 | A | A | A | 0.80 |

TABLE 6. Evaluation Results for Cs-134 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 189 | 16.22 | 1.33 | 2.01 | 10.33 | A | A | A | 0.32 |
| 191 | 16.2 | 0.9 | 1.89 | 8.39 | A | A | A | 0.30 |
| 192 | 15.34 | 1.48 | -3.52 | 11.52 | A | A | A | 0.56 |
| 193 | 1.695 | 0.094 | -89.34 | 8.39 | N | N | N | 14.20 |
| 194 | 44.9 | 5 | 182.39 | 12.79 | N | N | N | 29.00 |
| 195 | 13.7 | 0.6 | -13.84 | 7.66 | A | A | A | 2.20 |
| 196 | 16.2 | 0.843 | 1.89 | 8.16 | A | A | A | 0.30 |
| 197 | 13.5 | 3.2 | -15.09 | 24.52 | A | N | W | 2.40 |
| 198 | 15.91 | 0.89 | 0.06 | 8.42 | A | A | A | 0.01 |
| 201 | 16.1 | 0.6 | 1.26 | 7.31 | A | A | A | 0.20 |
| 202 | 15.6 | 0.8 | -1.89 | 8.12 | A | A | A | 0.30 |
| 203 | 15.7 | 0.5 | -1.26 | 7.05 | A | A | A | 0.20 |
| 204 | 15.5 | 1.0 | -2.52 | 9.01 | A | A | A | 0.40 |
| 206 | 18.32 | 0.08 | 15.22 | 6.30 | A | A | A | 2.42 |
| 207 | 15.71 | 0.58 | -1.19 | 7.29 | A | A | A | 0.19 |
| 209 | 14.88 | 3 | -6.42 | 21.12 | A | N | W | 1.02 |
| 210 | 16.2 | 0.9 | 1.89 | 8.39 | A | A | A | 0.30 |
| 213 | 15.7 | 1.0 | -1.26 | 8.95 | A | A | A | 0.20 |
| 214 | 16.0 | 0.3 | 0.63 | 6.56 | A | A | A | 0.10 |
| 215 | 14.8 | 0.85 | -6.92 | 8.52 | A | A | A | 1.10 |
| 216 | 15.5 | 0.2 | -2.52 | 6.42 | A | A | A | 0.40 |
| 217 | 15.0 | 1.0 | -5.66 | 9.17 | A | A | A | 0.90 |
| 218 | 15.51 | 0.75 | -2.45 | 7.93 | A | A | A | 0.39 |
| 219 | 14.4 | 0.35 | -9.43 | 6.74 | A | A | A | 1.50 |
| 220 | 16.0 | 0.75 | 0.63 | 7.84 | A | A | A | 0.10 |
| 221 | 16.53 | 0.43 | 3.96 | 6.81 | A | A | A | 0.63 |
| 222 | 15.1 | 1.0 | -5.03 | 9.13 | A | A | A | 0.80 |
| 223 | 15.33 | 0.09 | -3.58 | 6.32 | A | A | A | 0.57 |
| 224 | 15.18 | 0.09 | -4.53 | 6.32 | A | A | A | 0.72 |
| 226 | 13.36 | 0.585 | -15.97 | 7.66 | A | A | A | 2.54 |
| 227 | 16.12 | 0.36 | 1.38 | 6.67 | A | A | A | 0.22 |
| 228 | 16.1 | 2.3 | 1.26 | 15.61 | A | A | A | 0.20 |
| 230 | 15.5 | 1.1 | -2.52 | 9.48 | A | A | A | 0.40 |
| 231 | 10.6 | 1.1 | -33.33 | 12.13 | N | N | N | 5.30 |
| 233 | 15.94 | 0.91 | 0.25 | 8.49 | A | A | A | 0.04 |
| 234 | 15.90 | 0.40 | 0.00 | 6.77 | A | A | A | 0.00 |
| 235 | 15.4 | 0.32 | -3.14 | 6.62 | A | A | A | 0.50 |
| 237 | 16.06 | 0.22 | 1.01 | 6.44 | A | A | A | 0.16 |
| 238 | 15.7 | 0.5 | -1.26 | 7.05 | A | A | A | 0.20 |
| 239 | 17.55 | 2.54 | 10.38 | 15.78 | A | A | A | 1.65 |
| 241 | 16.01 | 0.55 | 0.69 | 7.17 | A | A | A | 0.11 |
| 243 | 16.61 | 0.92 | 4.47 | 8.38 | A | A | A | 0.71 |
| 244 | 16.0 | 1.6 | 0.63 | 11.81 | A | A | A | 0.10 |
| 246 | 14.6 | 0.4 | -8.18 | 6.86 | A | A | A | 1.30 |
| 247 | 16.00 | 0.82 | 0.63 | 8.11 | A | A | A | 0.10 |
| 248 | 16.54 | 0.56 | 4.03 | 7.14 | A | A | A | 0.64 |
| 249 | 8.2 | 7 | -48.43 | 85.60 | N | N | N | 7.70 |
| 250 | 15.72 | 0.31 | -1.13 | 6.59 | A | A | A | 0.18 |
| 251 | 15.68 | 0.65 | -1.38 | 7.53 | A | A | A | 0.22 |
| 253 | 15.58 | 0.22 | -2.01 | 6.45 | A | A | A | 0.32 |
| 255 | 17.0 | 0.5 | 6.92 | 6.94 | A | A | A | 1.10 |
| 256 | 16.1 | 0.48 | 1.26 | 6.96 | A | A | A | 0.20 |
| 258 | 15.6 | 0.296 | -1.89 | 6.57 | A | A | A | 0.30 |
| 259 | 14.45 | 0.89 | -9.12 | 8.80 | A | A | A | 1.45 |

TABLE 6. Evaluation Results for Cs-134 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 261 | 15.5 | 1.1 | -2.52 | 9.48 | A | A | A | 0.40 |
| 262 | 16.4 | 2.13 | 3.14 | 14.43 | A | A | A | 0.50 |
| 263 | 15.421 | 1.058 | -3.01 | 9.31 | A | A | A | 0.48 |
| 264 | 15.5 | 1.5 | -2.52 | 11.54 | A | A | A | 0.40 |
| 265 | 13.21 | 0.33 | -16.92 | 6.77 | A | A | A | 2.69 |
| 266 | 15.44 | 0.66 | -2.89 | 7.60 | A | A | A | 0.46 |
| 269 | 14.9 | 0.87 | -6.29 | 8.58 | A | A | A | 1.00 |
| 271 | 15.9 | 1.4 | 0.00 | 10.82 | A | A | A | 0.00 |
| 272 | 16.22 | 1.50 | 2.01 | 11.18 | A | A | A | 0.32 |
| 273 | 15.8 | 0.7 | -0.63 | 7.69 | A | A | A | 0.10 |
| 274 | 18.24 | 2.98 | 14.72 | 17.51 | A | A | A | 2.34 |
| 276 | 14.15 | 0.96 | -11.01 | 9.25 | A | A | A | 1.75 |
| 278 | 15.3 | 0.7 | -3.77 | 7.78 | A | A | A | 0.60 |
| 281 | 15.1 | 0.8 | -5.03 | 8.22 | A | A | A | 0.80 |
| 284 | 11.13 | 0.50 | -30.00 | 7.73 | N | N | N | 4.77 |
| 285 | 13.71 | 0.94 | -13.77 | 9.30 | A | A | A | 2.19 |
| 286 | 15.9 | 0.7 | 0.00 | 7.68 | A | A | A | 0.00 |
| 287 | 13.215 | 0.49 | -16.89 | 7.30 | A | A | A | 2.69 |
| 288 | 15.6 | 1.6 | -1.89 | 12.03 | A | A | A | 0.30 |
| 289 | 15.8 | 1.0 | -0.63 | 8.92 | A | A | A | 0.10 |
| 290 | 16.76 | 0.80 | 5.41 | 7.90 | A | A | A | 0.86 |
| 292 | 16.0 | 2.2 | 0.63 | 15.12 | A | A | A | 0.10 |
| 295 | 15.06 | 0.43 | -5.28 | 6.91 | A | A | A | 0.84 |
| 296 | 15.5 | 0.6 | -2.52 | 7.39 | A | A | A | 0.40 |
| 297 | 1.27 | 0.28 | -92.01 | 22.93 | N | N | N | 14.63 |
| 298 | 15.71 | 0.19 | -1.19 | 6.40 | A | A | A | 0.19 |
| 299 | 15.60 | 0.79 | -1.89 | 8.07 | A | A | A | 0.30 |
| 301 | 15.2 | 0.4 | -4.40 | 6.82 | A | A | A | 0.70 |
| 303 | 14.24 | 0.26 | -10.44 | 6.55 | A | A | A | 1.66 |
| 304 | 14.7 | 0.23 | -7.55 | 6.48 | A | A | A | 1.20 |
| 305 | 13.213 | 1.739 | -16.90 | 14.59 | A | A | A | 2.69 |
| 306 | 15.7 | 0.5 | -1.26 | 7.05 | A | A | A | 0.20 |
| 307 | 12.50 | 0.23 | -21.38 | 6.55 | N | N | N | 3.40 |
| 309 | 15.55 | 1.524 | -2.20 | 11.65 | A | A | A | 0.35 |
| 310 | 15.9 | 1.7 | 0.00 | 12.40 | A | A | A | 0.00 |
| 312 | 16.52 | 0.68 | 3.90 | 7.52 | A | A | A | 0.62 |
| 313 | 16.0 | 1.0 | 0.63 | 8.87 | A | A | A | 0.10 |

25

Reported Results for Cs-137 Determination in Sample 1

TABLE 7. Target values

| Parameter | Value |
| --- | --- |
| Target Value, Bq/kg | 24.2 |
| UNC, Bq/kg | 1.5 |
| MARB, % | 20 |

Accepted 87%

Not Reported 9%

Warning 1%

Not Accepted 3%

30

FIGURE 7. Percentage of Accepted vs. Warnings vs. Not Accepted vs. Not Reported results

Concentration [ Bq/kg ]

15

20

284

297

249

135

290

149

155

6

160

250

239

287

152

162

214

61

38

124

137

296

105

17

276

91

299

72

289

86

198

5

45

47

285

224

307

177

127

97

7

264

52

80

11

115

133

119

121

218

164

62

163

172

196

93

221

204

34

206

138

271

187

167

298

111

234

159

41

75

20

83

33

29

23

215

28

81

8

57

248

64

306

312

258

43

303

128

21

230

37

51

246

213

272

173

201

31

203

60

220

107

156

84

146

202

304

65

123

36

88

95

49

219

114

63

256

147

273

158

209

180

233

171

118

301

125

310

10

Labcode

FIGURE 8. Reported results and evaluation parameters for Cs-137. Blue points represent accepted scores, whereas yellow and red represent warning and not accepted scores respectively.

TABLE 8. Evaluation Results for Cs-137 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 24.5 | 0.92 | 1.24 | 7.25 | A | A | A | 0.20 |
| 4 | 23.04 | 0.30 | -4.79 | 6.33 | A | A | A | 0.77 |
| 5 | 23.5 | 0.72 | -2.89 | 6.91 | A | A | A | 0.47 |
| 6 | 21.98 | 0.94 | -9.17 | 7.53 | A | A | A | 1.48 |
| 7 | 23.7 | 1.1 | -2.07 | 7.74 | A | A | A | 0.33 |
| 8 | 24.3 | 1.5 | 0.41 | 8.75 | A | A | A | 0.07 |
| 9 | 26.11 | 1.00 | 7.89 | 7.29 | A | A | A | 1.27 |
| 10 | 86.09 | 11.41 | 255.74 | 14.63 | N | N | N | 41.26 |
| 11 | 23.8 | 1.2 | -1.65 | 7.99 | A | A | A | 0.27 |
| 12 | 25.5 | 1.2 | 5.37 | 7.78 | A | A | A | 0.87 |
| 13 | 23 | 1 | -4.96 | 7.57 | A | A | A | 0.80 |
| 14 | 24.66 | 0.93 | 1.90 | 7.26 | A | A | A | 0.31 |
| 16 | 24.37 | 0.51 | 0.70 | 6.54 | A | A | A | 0.11 |
| 17 | 23.2 | 2.5 | -4.13 | 12.43 | A | A | A | 0.67 |
| 18 | 23.57 | 1.41 | -2.60 | 8.61 | A | A | A | 0.42 |
| 19 | 24.65 | 2.36 | 1.86 | 11.41 | A | A | A | 0.30 |
| 20 | 24.2 | 0.6 | 0.00 | 6.68 | A | A | A | 0.00 |
| 21 | 24.5 | 1.5 | 1.24 | 8.71 | A | A | A | 0.20 |
| 22 | 24.825 | 0.371 | 2.58 | 6.38 | A | A | A | 0.42 |
| 23 | 24.29 | 0.76 | 0.37 | 6.94 | A | A | A | 0.06 |
| 24 | 24.3 | 0.9 | 0.41 | 7.22 | A | A | A | 0.07 |
| 25 | 22.05 | 0.29 | -8.88 | 6.34 | A | A | A | 1.43 |
| 26 | 24.9 | 1.5 | 2.89 | 8.64 | A | A | A | 0.47 |
| 27 | 24.3 | 0.95 | 0.41 | 7.33 | A | A | A | 0.07 |
| 28 | 24.3 | 1.2 | 0.41 | 7.93 | A | A | A | 0.07 |
| 29 | 24.27 | 0.61 | 0.29 | 6.69 | A | A | A | 0.05 |
| 31 | 24.7 | 1.7 | 2.07 | 9.26 | A | A | A | 0.33 |
| 32 | 25.2 | 0.5 | 4.13 | 6.51 | A | A | A | 0.67 |
| 33 | 24.25 | 1.60 | 0.21 | 9.05 | A | A | A | 0.03 |
| 34 | 24.04 | 1.44 | -0.66 | 8.62 | A | A | A | 0.11 |
| 35 | 24.5 | 1.2 | 1.24 | 7.90 | A | A | A | 0.20 |
| 36 | 25 | 4 | 3.31 | 17.16 | A | A | A | 0.53 |
| 37 | 24.6 | 1.4 | 1.65 | 8.41 | A | A | A | 0.27 |
| 38 | 23 | 1.7 | -4.96 | 9.65 | A | A | A | 0.80 |
| 39 | 24.0 | 1.2 | -0.83 | 7.96 | A | A | A | 0.13 |
| 40 | 24.2 | 0.7 | 0.00 | 6.84 | A | A | A | 0.00 |
| 41 | 24.2 | 1.92 | 0.00 | 10.07 | A | A | A | 0.00 |
| 42 | 12.58 | 0.50 | -48.02 | 7.36 | N | N | N | 7.75 |
| 43 | 24.4 | 0.9 | 0.83 | 7.21 | A | A | A | 0.13 |
| 45 | 23.50 | 0.36 | -2.89 | 6.38 | A | A | A | 0.47 |
| 46 | 23.4 | 1.0 | -3.31 | 7.53 | A | A | A | 0.53 |
| 47 | 23.5 | 1.3 | -2.89 | 8.31 | A | A | A | 0.47 |
| 49 | 25.1 | 0.8 | 3.72 | 6.97 | A | A | A | 0.60 |
| 50 | 25.2 | 0.4 | 4.13 | 6.40 | A | A | A | 0.67 |
| 51 | 24.6 | 0.5 | 1.65 | 6.52 | A | A | A | 0.27 |
| 52 | 23.71 | 1.89 | -2.02 | 10.10 | A | A | A | 0.33 |
| 53 | 29.08 | 0.70 | 20.17 | 6.65 | N | N | N | 3.25 |
| 55 | 23.5 | 0.73 | -2.89 | 6.93 | A | A | A | 0.47 |
| 56 | 22.6 | 1.2 | -6.61 | 8.16 | A | A | A | 1.07 |
| 57 | 24.32 | 1.52 | 0.50 | 8.80 | A | A | A | 0.08 |
| 58 | 23.99 | 0.34 | -0.87 | 6.36 | A | A | A | 0.14 |
| 59 | 25.0 | 0.9 | 3.31 | 7.17 | A | A | A | 0.53 |
| 60 | 24.7 | 1.5 | 2.07 | 8.68 | A | A | A | 0.33 |

TABLE 8. Evaluation Results for Cs-137 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 61 | 23 | 1.1 | -4.96 | 7.83 | A | A | A | 0.80 |
| 62 | 23.9 | 0.9 | -1.24 | 7.25 | A | A | A | 0.20 |
| 63 | 25.26 | 1.58 | 4.38 | 8.81 | A | A | A | 0.71 |
| 64 | 24.4 | 1.8 | 0.83 | 9.64 | A | A | A | 0.13 |
| 65 | 24.93 | 0.32 | 3.02 | 6.33 | A | A | A | 0.49 |
| 67 | 24.80 | 1.55 | 2.48 | 8.80 | A | A | A | 0.40 |
| 68 | 24.3 | 1.0 | 0.41 | 7.44 | A | A | A | 0.07 |
| 69 | 22.59 | 0.23 | -6.65 | 6.28 | A | A | A | 1.07 |
| 70 | 24.6 | 0.7 | 1.65 | 6.82 | A | A | A | 0.27 |
| 71 | 23.68 | 0.27 | -2.15 | 6.30 | A | A | A | 0.35 |
| 72 | 23.4 | 0.6 | -3.31 | 6.71 | A | A | A | 0.53 |
| 74 | 24.07 | 1.46 | -0.54 | 8.67 | A | A | A | 0.09 |
| 75 | 24.2 | 0.5 | 0.00 | 6.53 | A | A | A | 0.00 |
| 76 | 24.0 | 0.60 | -0.83 | 6.68 | A | A | A | 0.13 |
| 77 | 24.6 | 1.14 | 1.65 | 7.74 | A | A | A | 0.27 |
| 78 | 23.4 | 0.7 | -3.31 | 6.88 | A | A | A | 0.53 |
| 79 | 26.0 | 1.2 | 7.44 | 7.73 | A | A | A | 1.20 |
| 80 | 23.75 | 0.78 | -1.86 | 7.01 | A | A | A | 0.30 |
| 81 | 24.3 | 1.0 | 0.41 | 7.44 | A | A | A | 0.07 |
| 83 | 24.21 | 0.6 | 0.04 | 6.68 | A | A | A | 0.01 |
| 84 | 24.837 | 1.103 | 2.63 | 7.63 | A | A | A | 0.42 |
| 85 | 23.9 | 0.78 | -1.24 | 7.01 | A | A | A | 0.20 |
| 86 | 23.4 | 1.71 | -3.31 | 9.58 | A | A | A | 0.53 |
| 87 | 25.6 | 1.25 | 5.79 | 7.89 | A | A | A | 0.93 |
| 88 | 25.0 | 1.2 | 3.31 | 7.84 | A | A | A | 0.53 |
| 89 | 23.4 | 1.5 | -3.31 | 8.92 | A | A | A | 0.53 |
| 90 | 23.5 | 1.44 | -2.89 | 8.72 | A | A | A | 0.47 |
| 91 | 23.3 | 1.5 | -3.72 | 8.94 | A | A | A | 0.60 |
| 92 | 24.22 | 0.79 | 0.08 | 7.00 | A | A | A | 0.01 |
| 93 | 24.0 | 0.57 | -0.83 | 6.64 | A | A | A | 0.13 |
| 95 | 25.07 | 0.39 | 3.60 | 6.39 | A | A | A | 0.58 |
| 96 | 24.69 | 0.42 | 2.02 | 6.43 | A | A | A | 0.33 |
| 97 | 23.67 | 0.29 | -2.19 | 6.32 | A | A | A | 0.35 |
| 98 | 25.0 | 1.3 | 3.31 | 8.09 | A | A | A | 0.53 |
| 99 | 24.10 | 2.41 | -0.41 | 11.77 | A | A | A | 0.07 |
| 100 | 23.74 | 0.3 | -1.90 | 6.33 | A | A | A | 0.31 |
| 101 | 25.0 | 2.5 | 3.31 | 11.77 | A | A | A | 0.53 |
| 102 | 24.5 | 0.896 | 1.24 | 7.20 | A | A | A | 0.20 |
| 103 | 24.7 | 1.23 | 2.07 | 7.95 | A | A | A | 0.33 |
| 105 | 23.17 | 1.53 | -4.26 | 9.06 | A | A | A | 0.69 |
| 106 | 22.44 | 0.829 | -7.27 | 7.22 | A | A | A | 1.17 |
| 107 | 24.8 | 1.44 | 2.48 | 8.49 | A | A | A | 0.40 |
| 109 | 23.70 | 0.90 | -2.07 | 7.27 | A | A | A | 0.33 |
| 110 | 24.8 | 1.47 | 2.48 | 8.58 | A | A | A | 0.40 |
| 111 | 24.2 | 0.79 | 0.00 | 7.01 | A | A | A | 0.00 |
| 113 | 22.94 | 0.32 | -5.21 | 6.35 | A | A | A | 0.84 |
| 114 | 25.2 | 1.0 | 4.13 | 7.36 | A | A | A | 0.67 |
| 115 | 23.8 | 1.2 | -1.65 | 7.99 | A | A | A | 0.27 |
| 117 | 23.5 | 1.5 | -2.89 | 8.90 | A | A | A | 0.47 |
| 118 | 26 | 3 | 7.44 | 13.10 | A | A | A | 1.20 |
| 119 | 23.803 | 2.499 | -1.64 | 12.19 | A | A | A | 0.26 |
| 120 | 23.7 | 0.7 | -2.07 | 6.87 | A | A | A | 0.33 |
| 121 | 23.844 | 0.55 | -1.47 | 6.61 | A | A | A | 0.24 |
| 123 | 25.0 | 1.2 | 3.31 | 7.84 | A | A | A | 0.53 |

TABLE 8. Evaluation Results for Cs-137 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 124 | 23.03 | 0.42 | -4.83 | 6.46 | A | A | A | 0.78 |
| 125 | 26.95 | 1.89 | 11.36 | 9.36 | A | A | A | 1.83 |
| 126 | 25.4 | 1.8 | 4.96 | 9.41 | A | A | A | 0.80 |
| 127 | 23.62 | 1.89 | -2.40 | 10.12 | A | A | A | 0.39 |
| 128 | 24.5 | 0.8 | 1.24 | 7.01 | A | A | A | 0.20 |
| 129 | 23.1 | 1.2 | -4.55 | 8.09 | A | A | A | 0.73 |
| 130 | 23.8 | 0.2 | -1.65 | 6.26 | A | A | A | 0.27 |
| 132 | 22.5 | 1.4 | -7.02 | 8.78 | A | A | A | 1.13 |
| 133 | 23.8 | 2.5 | -1.65 | 12.20 | A | A | A | 0.27 |
| 134 | 24.9 | 0.7 | 2.89 | 6.81 | A | A | A | 0.47 |
| 135 | 21.2 | 3.3 | -12.40 | 16.75 | A | A | A | 2.00 |
| 136 | 23.6 | 1.3 | -2.48 | 8.29 | A | A | A | 0.40 |
| 137 | 23.10 | 0.26 | -4.55 | 6.30 | A | A | A | 0.73 |
| 138 | 24.076 | 0.796 | -0.51 | 7.02 | A | A | A | 0.08 |
| 139 | 23.8 | 0.32 | -1.65 | 6.34 | A | A | A | 0.27 |
| 140 | 23.9 | 1.9 | -1.24 | 10.08 | A | A | A | 0.20 |
| 143 | 25.6 | 1.16 | 5.79 | 7.68 | A | A | A | 0.93 |
| 145 | 24.7 | 0.8 | 2.07 | 6.99 | A | A | A | 0.33 |
| 146 | 24.85 | 0.0368 | 2.69 | 6.20 | A | A | A | 0.43 |
| 147 | 25.41 | 0.79 | 5.00 | 6.93 | A | A | A | 0.81 |
| 148 | 24.09 | 0.60 | -0.45 | 6.68 | A | A | A | 0.07 |
| 149 | 21.8 | 1.1 | -9.92 | 7.99 | A | A | A | 1.60 |
| 150 | 24.051 | 1.574 | -0.62 | 9.01 | A | A | A | 0.10 |
| 152 | 22.6 | 1.2 | -6.61 | 8.16 | A | A | A | 1.07 |
| 153 | 24.3 | 0.7 | 0.41 | 6.84 | A | A | A | 0.07 |
| 154 | 23.62 | 1.08 | -2.40 | 7.70 | A | A | A | 0.39 |
| 155 | 21.86 | 1.38 | -9.67 | 8.85 | A | A | A | 1.56 |
| 156 | 24.8 | 1.4 | 2.48 | 8.38 | A | A | A | 0.40 |
| 157 | 24.4 | 1.8 | 0.83 | 9.64 | A | A | A | 0.13 |
| 158 | 25.505 | 1.020 | 5.39 | 7.38 | A | A | A | 0.87 |
| 159 | 24.2 | 2.0 | 0.00 | 10.33 | A | A | A | 0.00 |
| 160 | 22.2 | 0.6 | -8.26 | 6.76 | A | A | A | 1.33 |
| 161 | 23.35 | 1.1 | -3.51 | 7.79 | A | A | A | 0.57 |
| 162 | 22.7 | 1.4 | -6.20 | 8.74 | A | A | A | 1.00 |
| 163 | 23.91 | 1.22 | -1.20 | 8.03 | A | A | A | 0.19 |
| 164 | 23.9 | 1.6 | -1.24 | 9.12 | A | A | A | 0.20 |
| 165 | 24.19 | 0.73 | -0.04 | 6.89 | A | A | A | 0.01 |
| 166 | 23.6 | 0.7 | -2.48 | 6.87 | A | A | A | 0.40 |
| 167 | 24.1 | 1.4 | -0.41 | 8.50 | A | A | A | 0.07 |
| 168 | 26.55 | 0.77 | 9.71 | 6.84 | A | A | A | 1.57 |
| 169 | 24.72 | 0.98 | 2.15 | 7.36 | A | A | A | 0.35 |
| 171 | 25.8 | 1.8 | 6.61 | 9.33 | A | A | A | 1.07 |
| 172 | 23.97 | 0.88 | -0.95 | 7.20 | A | A | A | 0.15 |
| 173 | 24.67 | 0.52 | 1.94 | 6.55 | A | A | A | 0.31 |
| 175 | 24.4 | 1.2 | 0.83 | 7.91 | A | A | A | 0.13 |
| 177 | 23.6 | 1.0 | -2.48 | 7.51 | A | A | A | 0.40 |
| 178 | 23.1 | 1.5 | -4.55 | 8.98 | A | A | A | 0.73 |
| 179 | 25.710 | 0.66347 | 6.24 | 6.71 | A | A | A | 1.01 |
| 180 | 25.6 | 1.1 | 5.79 | 7.54 | A | A | A | 0.93 |
| 182 | 24.3 | 1.0 | 0.41 | 7.44 | A | A | A | 0.07 |
| 183 | 23.19 | 0.70 | -4.17 | 6.89 | A | A | A | 0.67 |
| 184 | 24.2 | 0.9 | 0.00 | 7.23 | A | A | A | 0.00 |
| 185 | 21.5 | 3.4 | -11.16 | 16.99 | A | A | A | 1.80 |
| 186 | 23.8 | 6.6 | -1.65 | 28.42 | A | N | W | 0.27 |

TABLE 8. Evaluation Results for Cs-137 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 187 | 24.1 | 1.2 | -0.41 | 7.95 | A | A | A | 0.07 |
| 188 | 23.8 | 1.48 | -1.65 | 8.78 | A | A | A | 0.27 |
| 189 | 24.44 | 2.06 | 0.99 | 10.46 | A | A | A | 0.16 |
| 191 | 24.2 | 0.7 | 0.00 | 6.84 | A | A | A | 0.00 |
| 192 | 24.00 | 1.04 | -0.83 | 7.56 | A | A | A | 0.13 |
| 193 | 2.798 | 0.184 | -88.44 | 9.04 | N | N | N | 14.27 |
| 194 | 90 | 5 | 271.90 | 8.32 | N | N | N | 43.87 |
| 195 | 21.0 | 0.8 | -13.22 | 7.28 | A | A | A | 2.13 |
| 196 | 24 | 0.813 | -0.83 | 7.06 | A | A | A | 0.13 |
| 197 | 21.9 | 5.2 | -9.50 | 24.54 | A | N | W | 1.53 |
| 198 | 23.43 | 1.34 | -3.18 | 8.43 | A | A | A | 0.51 |
| 201 | 24.7 | 1.5 | 2.07 | 8.68 | A | A | A | 0.33 |
| 202 | 24.9 | 1.28 | 2.89 | 8.05 | A | A | A | 0.47 |
| 203 | 24.7 | 0.7 | 2.07 | 6.82 | A | A | A | 0.33 |
| 204 | 24.0 | 1.4 | -0.83 | 8.51 | A | A | A | 0.13 |
| 206 | 24.06 | 0.14 | -0.58 | 6.23 | A | A | A | 0.09 |
| 207 | 24.29 | 0.72 | 0.37 | 6.87 | A | A | A | 0.06 |
| 209 | 25.59 | 5 | 5.74 | 20.50 | A | N | W | 0.93 |
| 210 | 25.2 | 1.3 | 4.13 | 8.06 | A | A | A | 0.67 |
| 213 | 24.6 | 1.1 | 1.65 | 7.64 | A | A | A | 0.27 |
| 214 | 22.9 | 0.7 | -5.37 | 6.91 | A | A | A | 0.87 |
| 215 | 24.3 | 1.1 | 0.41 | 7.68 | A | A | A | 0.07 |
| 216 | 24.1 | 0.2 | -0.41 | 6.25 | A | A | A | 0.07 |
| 217 | 25.0 | 1.4 | 3.31 | 8.35 | A | A | A | 0.53 |
| 218 | 23.88 | 1.06 | -1.32 | 7.62 | A | A | A | 0.21 |
| 219 | 25.2 | 0.36 | 4.13 | 6.36 | A | A | A | 0.67 |
| 220 | 24.8 | 0.9 | 2.48 | 7.18 | A | A | A | 0.40 |
| 221 | 24.00 | 0.62 | -0.83 | 6.72 | A | A | A | 0.13 |
| 222 | 23.2 | 1.0 | -4.13 | 7.55 | A | A | A | 0.67 |
| 223 | 23.5 | 0.17 | -2.89 | 6.24 | A | A | A | 0.47 |
| 224 | 23.59 | 0.19 | -2.52 | 6.25 | A | A | A | 0.41 |
| 226 | 23.0 | 0.945 | -4.96 | 7.44 | A | A | A | 0.80 |
| 227 | 24.39 | 0.56 | 0.79 | 6.61 | A | A | A | 0.13 |
| 228 | 24.7 | 2.5 | 2.07 | 11.87 | A | A | A | 0.33 |
| 230 | 24.5 | 1.6 | 1.24 | 9.00 | A | A | A | 0.20 |
| 231 | 21.4 | 2.0 | -11.57 | 11.21 | A | A | A | 1.87 |
| 233 | 25.7 | 1.1 | 6.20 | 7.53 | A | A | A | 1.00 |
| 234 | 24.20 | 0.50 | 0.00 | 6.53 | A | A | A | 0.00 |
| 235 | 24.0 | 0.46 | -0.83 | 6.49 | A | A | A | 0.13 |
| 237 | 24.21 | 0.35 | 0.04 | 6.36 | A | A | A | 0.01 |
| 238 | 23.3 | 0.7 | -3.72 | 6.89 | A | A | A | 0.60 |
| 239 | 22.5 | 3.26 | -7.02 | 15.76 | A | A | A | 1.13 |
| 241 | 22.72 | 1.30 | -6.12 | 8.44 | A | A | A | 0.99 |
| 243 | 24.57 | 1.13 | 1.53 | 7.72 | A | A | A | 0.25 |
| 244 | 23.9 | 1.6 | -1.24 | 9.12 | A | A | A | 0.20 |
| 246 | 24.6 | 1.0 | 1.65 | 7.41 | A | A | A | 0.27 |
| 247 | 23.3 | 1.1 | -3.72 | 7.79 | A | A | A | 0.60 |
| 248 | 24.37 | 0.64 | 0.70 | 6.73 | A | A | A | 0.11 |
| 249 | 16.2 | 4 | -33.06 | 25.46 | N | N | N | 5.33 |
| 250 | 22.33 | 0.44 | -7.73 | 6.50 | A | A | A | 1.25 |
| 251 | 23.61 | 1.01 | -2.44 | 7.53 | A | A | A | 0.39 |
| 253 | 23.83 | 0.35 | -1.53 | 6.37 | A | A | A | 0.25 |
| 255 | 24.4 | 0.7 | 0.83 | 6.83 | A | A | A | 0.13 |
| 256 | 25.34 | 0.78 | 4.71 | 6.92 | A | A | A | 0.76 |

TABLE 8. Evaluation Results for Cs-137 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 258 | 24.4 | 0.307 | 0.83 | 6.32 | A | A | A | 0.13 |
| 259 | 25.42 | 1.19 | 5.04 | 7.77 | A | A | A | 0.81 |
| 261 | 24.2 | 1.4 | 0.00 | 8.48 | A | A | A | 0.00 |
| 262 | 25.1 | 3.36 | 3.72 | 14.75 | A | A | A | 0.60 |
| 263 | 23.970 | 1.470 | -0.95 | 8.72 | A | A | A | 0.15 |
| 264 | 23.7 | 2.2 | -2.07 | 11.16 | A | A | A | 0.33 |
| 265 | 22.30 | 0.51 | -7.85 | 6.61 | A | A | A | 1.27 |
| 266 | 23.87 | 1.51 | -1.36 | 8.86 | A | A | A | 0.22 |
| 269 | 24.1 | 1.41 | -0.41 | 8.52 | A | A | A | 0.07 |
| 271 | 24.1 | 1.1 | -0.41 | 7.70 | A | A | A | 0.07 |
| 272 | 24.65 | 2.06 | 1.86 | 10.40 | A | A | A | 0.30 |
| 273 | 25.5 | 1.1 | 5.37 | 7.55 | A | A | A | 0.87 |
| 274 | 27.09 | 4.948 | 11.94 | 19.29 | A | A | A | 1.93 |
| 276 | 23.22 | 1.66 | -4.05 | 9.46 | A | A | A | 0.65 |
| 278 | 24.2 | 1.3 | 0.00 | 8.20 | A | A | A | 0.00 |
| 281 | 24.4 | 1.3 | 0.83 | 8.17 | A | A | A | 0.13 |
| 284 | 2.24 | 0.99 | -90.74 | 44.63 | N | N | N | 14.64 |
| 285 | 23.52 | 1.62 | -2.81 | 9.27 | A | A | A | 0.45 |
| 286 | 24.9 | 1.0 | 2.89 | 7.39 | A | A | A | 0.47 |
| 287 | 22.52 | 0.92 | -6.94 | 7.42 | A | A | A | 1.12 |
| 288 | 21.8 | 2.2 | -9.92 | 11.84 | A | A | A | 1.60 |
| 289 | 23.4 | 1.5 | -3.31 | 8.92 | A | A | A | 0.53 |
| 290 | 21.47 | 1.08 | -11.28 | 7.98 | A | A | A | 1.82 |
| 292 | 25.3 | 3.5 | 4.55 | 15.16 | A | A | A | 0.73 |
| 295 | 24.26 | 1.25 | 0.25 | 8.06 | A | A | A | 0.04 |
| 296 | 23.1 | 0.8 | -4.55 | 7.10 | A | A | A | 0.73 |
| 297 | 3.64 | 0.05 | -84.96 | 6.35 | N | N | N | 13.71 |
| 298 | 24.16 | 0.29 | -0.17 | 6.31 | A | A | A | 0.03 |
| 299 | 23.35 | 1.20 | -3.51 | 8.05 | A | A | A | 0.57 |
| 301 | 26.4 | 0.6 | 9.09 | 6.60 | A | A | A | 1.47 |
| 303 | 24.47 | 0.34 | 1.12 | 6.35 | A | A | A | 0.18 |
| 304 | 24.9 | 5.9 | 2.89 | 24.49 | A | N | W | 0.47 |
| 305 | 25.587 | 2.003 | 5.73 | 9.98 | A | A | A | 0.92 |
| 306 | 24.4 | 0.8 | 0.83 | 7.01 | A | A | A | 0.13 |
| 307 | 23.60 | 0.44 | -2.48 | 6.47 | A | A | A | 0.40 |
| 309 | 24.85 | 2.440 | 2.69 | 11.61 | A | A | A | 0.43 |
| 310 | 27.2 | 3.1 | 12.40 | 12.97 | A | A | A | 2.00 |
| 312 | 24.4 | 1.6 | 0.83 | 9.02 | A | A | A | 0.13 |
| 313 | 24.6 | 1.6 | 1.65 | 8.98 | A | A | A | 0.27 |

30

40

Reported Results for Po-210 Determination in Sample 1

TABLE 9. Target values

| Parameter | Value |
| --- | --- |
| Target Value, Bq/kg | 31.6 |
| UNC, Bq/kg | 1.9 |
| MARB, % | 30 |

Warning 0%

Not Accepted 7%

Accepted 9%

Not Reported 84%

50

FIGURE 9. Percentage of Accepted vs. Warnings vs. Not Accepted vs. Not Reported results

Concentration [ Bq/kg ]

20

214

92

203

60

4

128

217

119

133

52

164

171

156

118

84

159

13

24

58

8

36

261

84

123

14

68

62

57

16

186

17

97

83

272

81

157

99

247

78

227

155

42

161

71

135

177

163

163

Labcode

FIGURE 10. Reported results and evaluation parameters for Po-210. Blue points represent accepted scores, whereas yellow and red represent warning and not accepted scores respectively.

TABLE 10. Evaluation Results for Po-210 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4 | 20.14 | 1.21 | -36.27 | 8.50 | N | N | N | 6.03 |
| 8 | 30.9 | 1.8 | -2.22 | 8.37 | A | A | A | 0.37 |
| 13 | 30.3 | 1.5 | -4.11 | 7.79 | A | A | A | 0.68 |
| 14 | 32.34 | 1.07 | 2.34 | 6.86 | A | A | A | 0.39 |
| 16 | 33.35 | 0.8 | 5.54 | 6.47 | A | A | A | 0.92 |
| 17 | 35.1 | 4.5 | 11.08 | 14.16 | A | A | A | 1.84 |
| 24 | 30.4 | 1.7 | -3.80 | 8.21 | A | A | A | 0.63 |
| 36 | 31 | 3 | -1.90 | 11.39 | A | A | A | 0.32 |
| 42 | 99.59 | 10.72 | 215.16 | 12.33 | N | N | N | 35.78 |
| 52 | 27.01 | 0.0047 | -14.53 | 6.01 | A | A | A | 2.42 |
| 57 | 32.87 | 2.75 | 4.02 | 10.30 | A | A | A | 0.67 |
| 58 | 30.9 | 0.7 | -2.22 | 6.43 | A | A | A | 0.37 |
| 60 | 18.4 | 1.2 | -41.77 | 8.87 | N | N | N | 6.95 |
| 62 | 32.7 | 1.0 | 3.48 | 6.75 | A | A | A | 0.58 |
| 68 | 32.5 | 2.27 | 2.85 | 9.22 | A | A | A | 0.47 |
| 71 | 103.5 | 2.62 | 227.53 | 6.52 | N | N | N | 37.84 |
| 78 | 86.83 | 5.54 | 174.78 | 8.77 | N | N | N | 29.07 |
| 81 | 45.4 | 1.4 | 43.67 | 6.76 | N | N | N | 7.26 |
| 83 | 41.0 | 2.4 | 29.75 | 8.39 | A | N | W | 4.95 |
| 84 | 30.001 | 1.124 | -5.06 | 7.08 | A | A | A | 0.84 |
| 84 | 31.902 | 1.684 | 0.96 | 8.00 | A | A | A | 0.16 |
| 92 | 14.06 | 1.4 | -55.51 | 11.63 | N | N | N | 9.23 |
| 97 | 36.2 | 1.3 | 14.56 | 7.00 | A | A | A | 2.42 |
| 99 | 82.46 | 15.67 | 160.95 | 19.93 | N | N | N | 26.77 |
| 118 | 28.6 | 3.6 | -9.49 | 13.95 | A | A | A | 1.58 |
| 119 | 26.45 | 4.89 | -16.30 | 19.44 | A | A | A | 2.71 |
| 123 | 31.98 | 3.42 | 1.20 | 12.27 | A | A | A | 0.20 |
| 128 | 24.4 | 3.0 | -22.78 | 13.69 | A | A | A | 3.79 |
| 133 | 26.5 | 4.9 | -16.14 | 19.44 | A | A | A | 2.68 |
| 135 | 105 | 6 | 232.28 | 8.29 | N | N | N | 38.63 |
| 155 | 90.82 | 4.99 | 187.41 | 8.14 | N | N | N | 31.17 |
| 156 | 28.0 | 2.3 | -11.39 | 10.18 | A | A | A | 1.89 |
| 157 | 80.8 | 11.1 | 155.70 | 15.00 | N | N | N | 25.89 |
| 159 | 30.3 | 3.0 | -4.11 | 11.58 | A | A | A | 0.68 |
| 161 | 100.7 | 0.7 | 218.67 | 6.05 | N | N | N | 36.37 |
| 163 | 118.6 | 10.10 | 275.32 | 10.42 | N | N | N | 45.79 |
| 163 | 118.60 | 10.10 | 275.32 | 10.42 | N | N | N | 45.79 |
| 164 | 27.2 | 1.6 | -13.92 | 8.41 | A | A | A | 2.32 |
| 171 | 27.5 | 2.6 | -12.97 | 11.20 | A | A | A | 2.16 |
| 177 | 111.4 | 10.4 | 252.53 | 11.10 | N | N | N | 42.00 |
| 186 | 33.6 | 7.2 | 6.33 | 22.26 | A | A | A | 1.05 |
| 203 | 17.9 | 1.1 | -43.35 | 8.60 | N | N | N | 7.21 |
| 214 | 7.41 | 0.13 | -76.55 | 6.26 | N | N | N | 12.73 |
| 217 | 24.8 | 3.0 | -21.52 | 13.51 | A | A | A | 3.58 |
| 227 | 90.2 | 7 | 185.44 | 9.82 | N | N | N | 30.84 |
| 247 | 83.9 | 12.8 | 165.51 | 16.40 | N | N | N | 27.53 |
| 261 | 31.3 | 1.8 | -0.95 | 8.32 | A | A | A | 0.16 |
| 272 | 42.42 | 2.8 | 34.24 | 8.93 | N | N | N | 5.69 |

30

40

Reported Results for Pb-210 Determination in Sample 1

TABLE 11. Target values

| Parameter | Value |
| --- | --- |
| Target Value, Bq/kg | 31.3 |
| UNC, Bq/kg | 1.9 |
| MARB, % | 30 |

Warning 0%

Not Accepted 1%

Accepted 1

beta

Not Accepted 7%

Warning 3%

gamma

Accepted 39%

1%

Not Reported 88%

Not Reported 51%

50

FIGURE 11. Percentage of Accepted vs. Warnings vs. Not Accepted vs. Not Reported results

Concentration [ Bq/kg ]

20

233

299

128

128

42

186

156

13

171

220

110

123

126

43

218

113

143

117

60

213

140

31

84

221

68

313

32

88

133

119

133

230

8

169

214

119

140

41

202

59

31

165

14

264

106

191

217

41

244

124

107

45

203

166

68

281

177

118

83

247

216

296

51

35

83

227

286

272

28

309

49

21

98

36

135

231

197

271

76

243

155

163

182

9

125

Labcode

FIGURE 12. Reported results and evaluation parameters for Pb-210. Blue points represent accepted scores, whereas yellow and red represent warning and not accepted scores respectively.

TABLE 12. Evaluation Results for Pb-210 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4 | 28.51 | 0.91 | -8.91 | 6.86 | A | A | A | 1.47 |
| 8 | 31.6 | 2.0 | 0.96 | 8.77 | A | A | A | 0.16 |
| 8 | 32.3 | 3.2 | 3.19 | 11.62 | A | A | A | 0.53 |
| 9 | 62.42 | 12.77 | 99.42 | 21.34 | N | N | N | 16.38 |
| 9 | 62.42 | 12.77 | 99.42 | 21.34 | N | N | N | 16.38 |
| 13 | 29 | 4 | -7.35 | 15.07 | A | A | A | 1.21 |
| 14 | 33.32 | 0.67 | 6.45 | 6.39 | A | A | A | 1.06 |
| 14 | 32.09 | 1.57 | 2.52 | 7.80 | A | A | A | 0.42 |

TABLE 12. Evaluation Results for Pb-210 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 16 | 36.01 | 3.95 | 15.05 | 12.54 | A | A | A | 2.48 |
| 17 | 35.1 | 4.5 | 12.14 | 14.18 | A | A | A | 2.00 |
| 17 | 34.0 | 4.4 | 8.63 | 14.29 | A | A | A | 1.42 |
| 18 | 32.71 | 3.17 | 4.50 | 11.44 | A | A | A | 0.74 |
| 20 | 30.3 | 1.8 | -3.19 | 8.49 | A | A | A | 0.53 |
| 21 | 39.5 | 6.5 | 26.20 | 17.54 | A | A | A | 4.32 |
| 24 | 29.3 | 1.5 | -6.39 | 7.94 | A | A | A | 1.05 |
| 24 | 36.5 | 4.0 | 16.61 | 12.53 | A | A | A | 2.74 |
| 28 | 37.8 | 1.9 | 20.77 | 7.88 | A | N | W | 3.42 |
| 31 | 31.2 | 2.9 | -0.32 | 11.10 | A | A | A | 0.05 |
| 31 | 33.1 | 2.8 | 5.75 | 10.41 | A | A | A | 0.95 |
| 32 | 31.9 | 1.5 | 1.92 | 7.68 | A | A | A | 0.32 |
| 35 | 36.8 | 1.5 | 17.57 | 7.31 | A | A | A | 2.89 |
| 36 | 40 | 20 | 27.80 | 50.37 | A | N | W | 4.58 |
| 41 | 32.8 | 2 | 4.79 | 8.60 | A | A | A | 0.79 |
| 41 | 34.1 | 5.64 | 8.95 | 17.62 | A | A | A | 1.47 |
| 42 | 27.07 | 4.33 | -13.51 | 17.11 | A | A | A | 2.23 |
| 43 | 30.0 | 3.0 | -4.15 | 11.70 | A | A | A | 0.68 |
| 45 | 34.6 | 2.4 | 10.54 | 9.22 | A | A | A | 1.74 |
| 49 | 39 | 1 | 24.60 | 6.59 | A | N | W | 4.05 |
| 50 | 39 | 2 | 24.60 | 7.95 | A | N | W | 4.05 |
| 51 | 36.7 | 4.3 | 17.25 | 13.20 | A | A | A | 2.84 |
| 52 | 34.89 | 2.0 | 11.47 | 8.35 | A | A | A | 1.89 |
| 57 | 32.57 | 5.08 | 4.06 | 16.74 | A | A | A | 0.67 |
| 58 | 34.5 | 2.8 | 10.22 | 10.13 | A | A | A | 1.68 |
| 59 | 33.0 | 5.0 | 5.43 | 16.32 | A | A | A | 0.89 |
| 60 | 30.9 | 2.7 | -1.28 | 10.64 | A | A | A | 0.21 |
| 60 | 36.2 | 3.6 | 15.65 | 11.65 | A | A | A | 2.58 |
| 62 | 34.4 | 1.0 | 9.90 | 6.73 | A | A | A | 1.63 |
| 67 | 30.59 | 3.22 | -2.27 | 12.15 | A | A | A | 0.37 |
| 68 | 31.67 | 2.21 | 1.18 | 9.25 | A | A | A | 0.19 |
| 68 | 35.1 | 1.9 | 12.14 | 8.13 | A | A | A | 2.00 |
| 69 | 26.30 | 3.70 | -15.97 | 15.32 | A | A | A | 2.63 |
| 71 | 32.89 | 0.69 | 5.08 | 6.42 | A | A | A | 0.84 |
| 74 | 33.05 | 5.48 | 5.59 | 17.66 | A | A | A | 0.92 |
| 76 | 45.2 | 3.40 | 44.41 | 9.67 | N | N | N | 7.32 |
| 78 | 33.7 | 2.7 | 7.67 | 10.05 | A | A | A | 1.26 |
| 81 | 34.1 | 3.2 | 8.95 | 11.18 | A | A | A | 1.47 |
| 83 | 37.0 | 2.0 | 18.21 | 8.13 | A | A | A | 3.00 |
| 83 | 36.12 | 1.55 | 15.40 | 7.43 | A | A | A | 2.54 |
| 84 | 31.378 | 1.656 | 0.25 | 8.04 | A | A | A | 0.04 |
| 87 | 31.2 | 2.7 | -0.32 | 10.57 | A | A | A | 0.05 |
| 88 | 32 | 3.4 | 2.24 | 12.24 | A | A | A | 0.37 |
| 88 | 32.0 | 3.4 | 2.24 | 12.24 | A | A | A | 0.37 |
| 94 | 37.4 | 2.2 | 19.49 | 8.45 | A | A | A | 3.21 |
| 96 | 29.0 | 14.1 | -7.35 | 49.00 | A | N | W | 1.21 |
| 98 | 39.8 | 2.4 | 27.16 | 8.56 | A | N | W | 4.47 |
| 101 | 40.0 | 4 | 27.80 | 11.70 | A | A | A | 4.58 |
| 104 | 27.36 | 2.54 | -12.59 | 11.09 | A | A | A | 2.07 |
| 106 | 33.72 | 2.26 | 7.73 | 9.04 | A | A | A | 1.27 |
| 107 | 34.5 | 5.13 | 10.22 | 16.06 | A | A | A | 1.68 |
| 110 | 29.6 | 3.06 | -5.43 | 11.99 | A | A | A | 0.89 |
| 111 | 31.7 | 2.87 | 1.28 | 10.90 | A | A | A | 0.21 |
| 113 | 30.28 | 3.54 | -3.26 | 13.17 | A | A | A | 0.54 |

TABLE 12. Evaluation Results for Pb-210 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 114 | 56.7 | 8.34 | 81.15 | 15.91 | N | N | N | 13.37 |
| 115 | 35.1 | 2.0 | 12.14 | 8.33 | A | A | A | 2.00 |
| 117 | 30.6 | 3.4 | -2.24 | 12.66 | A | A | A | 0.37 |
| 118 | 36 | 4 | 15.02 | 12.66 | A | A | A | 2.47 |
| 118 | 30 | 3 | -4.15 | 11.70 | A | A | A | 0.68 |
| 119 | 32.050 | 4.487 | 2.40 | 15.26 | A | A | A | 0.39 |
| 119 | 32.643 | 4.570 | 4.29 | 15.26 | A | A | A | 0.71 |
| 120 | 33.3 | 4.4 | 6.39 | 14.54 | A | A | A | 1.05 |
| 121 | 34.152 | 1.828 | 9.11 | 8.09 | A | A | A | 1.50 |
| 123 | 30.0 | 1.5 | -4.15 | 7.86 | A | A | A | 0.68 |
| 124 | 34.27 | 5.54 | 9.49 | 17.27 | A | A | A | 1.56 |
| 125 | 65.46 | 3.27 | 109.14 | 7.86 | N | N | N | 17.98 |
| 126 | 30 | 2.3 | -4.15 | 9.78 | A | A | A | 0.68 |
| 127 | 30 | 5.4 | -4.15 | 19.00 | A | A | A | 0.68 |
| 128 | 26.7 | 3.3 | -14.70 | 13.77 | A | A | A | 2.42 |
| 128 | 25.5 | 3.5 | -18.53 | 15.01 | A | A | A | 3.05 |
| 129 | 34.2 | 16.9 | 9.27 | 49.79 | A | N | W | 1.53 |
| 130 | 27.06 | 0.26 | -13.55 | 6.15 | A | A | A | 2.23 |
| 132 | 30.6 | 4.5 | -2.24 | 15.91 | A | A | A | 0.37 |
| 133 | 32.1 | 4.4 | 2.56 | 14.99 | A | A | A | 0.42 |
| 133 | 32.0 | 4.3 | 2.24 | 14.74 | A | A | A | 0.37 |
| 135 | 41 | 5 | 30.99 | 13.62 | N | A | N | 5.11 |
| 135 | 40.9 | 5.4 | 30.67 | 14.53 | N | A | N | 5.05 |
| 136 | 37.9 | 4.1 | 21.09 | 12.40 | A | A | A | 3.47 |
| 138 | 38.984 | 8.276 | 24.55 | 22.08 | A | A | A | 4.04 |
| 139 | 33.4 | 1.2 | 6.71 | 7.05 | A | A | A | 1.11 |
| 140 | 31.1 | 3.5 | -0.64 | 12.79 | A | A | A | 0.11 |
| 140 | 32.7 | 5.2 | 4.47 | 17.02 | A | A | A | 0.74 |
| 143 | 30.3 | 2.95 | -3.19 | 11.47 | A | A | A | 0.53 |
| 145 | 31 | 2 | -0.96 | 8.86 | A | A | A | 0.16 |
| 148 | 32.9 | 3.2 | 5.11 | 11.47 | A | A | A | 0.84 |
| 149 | 48.4 | 7.2 | 54.63 | 16.07 | N | N | N | 9.00 |
| 150 | 30.036 | 2.187 | -4.04 | 9.48 | A | A | A | 0.67 |
| 153 | 35.4 | 4.7 | 13.10 | 14.60 | A | A | A | 2.16 |
| 154 | 31.5 | 3.33 | 0.64 | 12.19 | A | A | A | 0.11 |
| 155 | 53.56 | 11.83 | 71.12 | 22.91 | N | N | N | 11.72 |
| 156 | 28.6 | 3.6 | -8.63 | 13.97 | A | A | A | 1.42 |
| 158 | 40.080 | 4.810 | 28.05 | 13.45 | A | A | A | 4.62 |
| 159 | 37.0 | 5.0 | 18.21 | 14.81 | A | A | A | 3.00 |
| 160 | 42.2 | 8.0 | 34.82 | 19.91 | N | A | N | 5.74 |
| 163 | 54.57 | 3.36 | 74.35 | 8.65 | N | N | N | 12.25 |
| 163 | 54.57 | 3.36 | 74.35 | 8.65 | N | N | N | 12.25 |
| 164 | 29.6 | 1.2 | -5.43 | 7.30 | A | A | A | 0.89 |
| 164 | 30.2 | 5.0 | -3.51 | 17.63 | A | A | A | 0.58 |
| 165 | 33.26 | 1.46 | 6.26 | 7.49 | A | A | A | 1.03 |
| 166 | 35 | 8 | 11.82 | 23.65 | A | A | A | 1.95 |
| 169 | 32.50 | 4.00 | 3.83 | 13.72 | A | A | A | 0.63 |
| 169 | 32.50 | 4.00 | 3.83 | 13.72 | A | A | A | 0.63 |
| 171 | 29.3 | 0.8 | -6.39 | 6.66 | A | A | A | 1.05 |
| 172 | 31 | 2.6 | -0.96 | 10.35 | A | A | A | 0.16 |
| 173 | 36.77 | 2.66 | 17.48 | 9.44 | A | A | A | 2.88 |
| 177 | 35.5 | 4.0 | 13.42 | 12.80 | A | A | A | 2.21 |
| 178 | 32 | 5 | 2.24 | 16.76 | A | A | A | 0.37 |
| 180 | 34.8 | 4.1 | 11.18 | 13.25 | A | A | A | 1.84 |

TABLE 12. Evaluation Results for Pb-210 in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 182 | 56.6 | 4.0 | 80.83 | 9.32 | N | N | N | 13.32 |
| 186 | 27.9 | 5.8 | -10.86 | 21.66 | A | A | A | 1.79 |
| 187 | 35.7 | 3.3 | 14.06 | 11.06 | A | A | A | 2.32 |
| 191 | 34.0 | 3.0 | 8.63 | 10.71 | A | A | A | 1.42 |
| 192 | 52.88 | 13.89 | 68.95 | 26.96 | N | A | N | 11.36 |
| 197 | 42 | 10 | 34.19 | 24.57 | N | A | N | 5.63 |
| 198 | 32.17 | 3.86 | 2.78 | 13.45 | A | A | A | 0.46 |
| 199 | 31.95 | 2.36 | 2.08 | 9.56 | A | A | A | 0.34 |
| 202 | 32.9 | 1.8 | 5.11 | 8.17 | A | A | A | 0.84 |
| 203 | 34.8 | 5.9 | 11.18 | 18.01 | A | A | A | 1.84 |
| 213 | 31 | 3 | -0.96 | 11.42 | A | A | A | 0.16 |
| 214 | 32.6 | 3.2 | 4.15 | 11.54 | A | A | A | 0.68 |
| 216 | 36.3 | 1.3 | 15.97 | 7.05 | A | A | A | 2.63 |
| 216 | 36.3 | 1.3 | 15.97 | 7.05 | A | A | A | 2.63 |
| 217 | 29.9 | 1.1 | -4.47 | 7.10 | A | A | A | 0.74 |
| 217 | 34.1 | 5.2 | 8.95 | 16.41 | A | A | A | 1.47 |
| 218 | 30.14 | 4.8 | -3.71 | 17.04 | A | A | A | 0.61 |
| 220 | 29.51 | 3.5 | -5.72 | 13.32 | A | A | A | 0.94 |
| 221 | 31.55 | 1.24 | 0.80 | 7.23 | A | A | A | 0.13 |
| 227 | 37.19 | 5.22 | 18.82 | 15.29 | A | A | A | 3.10 |
| 230 | 32.2 | 2.3 | 2.88 | 9.37 | A | A | A | 0.47 |
| 231 | 41.1 | 4.0 | 31.31 | 11.47 | N | N | N | 5.16 |
| 233 | 1.8 | 0.54 | -94.25 | 30.61 | N | N | N | 15.53 |
| 235 | 31.36 | 2.4 | 0.19 | 9.77 | A | A | A | 0.03 |
| 238 | 37.7 | 3.1 | 20.45 | 10.22 | A | A | A | 3.37 |
| 243 | 50.2 | 4.6 | 60.38 | 10.99 | N | N | N | 9.95 |
| 244 | 34.2 | 4.8 | 9.27 | 15.29 | A | A | A | 1.53 |
| 247 | 29.1 | 2.1 | -7.03 | 9.43 | A | A | A | 1.16 |
| 247 | 36.2 | 2.5 | 15.65 | 9.19 | A | A | A | 2.58 |
| 248 | 33.1 | 1.8 | 5.75 | 8.15 | A | A | A | 0.95 |
| 261 | 31.8 | 1.8 | 1.60 | 8.30 | A | A | A | 0.26 |
| 262 | 41.2 | 5.35 | 31.63 | 14.33 | N | A | N | 5.21 |
| 264 | 33.6 | 5.1 | 7.35 | 16.35 | A | A | A | 1.21 |
| 265 | 9.54 | 1.10 | -69.52 | 13.03 | N | N | N | 11.45 |
| 271 | 25.388 | 2.096 | -18.89 | 10.25 | A | A | A | 3.11 |
| 271 | 42.8 | 4.2 | 36.74 | 11.54 | N | N | N | 6.05 |
| 272 | 37.44 | 0.63 | 19.62 | 6.30 | A | N | W | 3.23 |
| 272 | 39.76 | 3.48 | 27.03 | 10.65 | A | A | A | 4.45 |
| 273 | 34.1 | 3.0 | 8.95 | 10.69 | A | A | A | 1.47 |
| 281 | 35.1 | 2.7 | 12.14 | 9.80 | A | A | A | 2.00 |
| 284 | 42.97 | 7.77 | 37.28 | 19.07 | N | A | N | 6.14 |
| 285 | 36.2 | 8.9 | 15.65 | 25.32 | A | A | A | 2.58 |
| 286 | 37.4 | 4.6 | 19.49 | 13.72 | A | A | A | 3.21 |
| 289 | 32.7 | 2.5 | 4.47 | 9.76 | A | A | A | 0.74 |
| 296 | 36.4 | 2.8 | 16.29 | 9.80 | A | A | A | 2.68 |
| 298 | 32.3 | 0.9 | 3.19 | 6.68 | A | A | A | 0.53 |
| 299 | 22.36 | 2.7 | -28.56 | 13.52 | A | A | A | 4.71 |
| 301 | 37.3 | 1.7 | 19.17 | 7.59 | A | A | A | 3.16 |
| 303 | 54 | 16 | 72.52 | 30.25 | N | N | N | 11.95 |
| 304 | 37.0 | 2.49 | 18.21 | 9.06 | A | A | A | 3.00 |
| 309 | 38.63 | 7.21 | 23.42 | 19.63 | A | A | A | 3.86 |
| 312 | 32.6 | 5.0 | 4.15 | 16.49 | A | A | A | 0.68 |
| 313 | 31.7 | 2.7 | 1.28 | 10.46 | A | A | A | 0.21 |

10

12

14

Reported Results for H-3 Determination in Sample 2

TABLE 13. Target values

| Parameter | Value |
| --- | --- |
| Target Value, Bq/kg | 10.8 |
| UNC, Bq/kg | 0.6 |
| MARB, % | 30 |

Not Accepted 8%

Warning 4%

Accepted 26%

Not Reported 62%

16

FIGURE 13. Percentage of Accepted vs. Warnings vs. Not Accepted vs. Not Reported results

Concentration [ Bq/kg ]

4

6

8

173

175

216

128

41

189

214

226

30

278

284

58

239

42

47

123

50

159

57

187

211

24

78

51

217

296

230

240

62

204

261

36

38

188

68

119

4

160

272

133

289

264

8

89

83

49

157

156

155

80

171

196

137

195

180

121

164

254

273

76

281

177

98

309

96

88

246

263

118

60

250

184

74

99

13

104

221

234

23

247

9

81

241

79

129

69

53

248

95

262

14

236

227

163

163

110

146

134

94

130

87

86

107

1

25

Labcode

FIGURE 14. Reported results and evaluation parameters for H-3. Blue points represent accepted scores, whereas yellow and red represent warning and not accepted scores respectively.

TABLE 14. Evaluation Results for H-3 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 115.6 | 9.3 | 970.37 | 9.78 | N | N | N | 174.67 |
| 4 | 11.06 | 0.59 | 2.41 | 7.70 | A | A | A | 0.43 |
| 8 | 11.1 | 0.7 | 2.78 | 8.40 | A | A | A | 0.50 |
| 9 | 13.20 | 4.81 | 22.22 | 36.86 | A | N | W | 4.00 |
| 13 | 12.5 | 2.1 | 15.74 | 17.69 | A | A | A | 2.83 |
| 14 | 14.96 | 1.89 | 38.52 | 13.80 | N | N | N | 6.93 |
| 23 | 12.93 | 0.59 | 19.72 | 7.19 | A | N | W | 3.55 |
| 24 | 10.7 | 0.6 | -0.93 | 7.89 | A | A | A | 0.17 |
| 25 | 160.00 | 3.32 | 1381.48 | 5.93 | N | N | N | 248.67 |
| 30 | 8.78 | 1.38 | -18.70 | 16.67 | A | A | A | 3.37 |
| 36 | 11 | 2 | 1.85 | 19.01 | A | A | A | 0.33 |
| 38 | 11 | 4 | 1.85 | 36.79 | A | N | W | 0.33 |
| 41 | 7.31 | 1.46 | -32.31 | 20.73 | N | A | N | 5.82 |
| 42 | 9.9 | 1.25 | -8.33 | 13.79 | A | A | A | 1.50 |
| 47 | 10.0 | 0.54 | -7.41 | 7.75 | A | A | A | 1.33 |
| 49 | 11.2 | 0.9 | 3.70 | 9.77 | A | A | A | 0.67 |
| 50 | 10.3 | 0.8 | -4.63 | 9.55 | A | A | A | 0.83 |
| 51 | 10.8 | 1.6 | 0.00 | 15.82 | A | A | A | 0.00 |
| 53 | 14.01 | 1.96 | 29.72 | 15.05 | A | A | A | 5.35 |
| 57 | 10.45 | 0.65 | -3.24 | 8.34 | A | A | A | 0.58 |
| 58 | 9.62 | 0.60 | -10.93 | 8.35 | A | A | A | 1.97 |
| 60 | 12.09 | 0.91 | 11.94 | 9.36 | A | A | A | 2.15 |
| 62 | 10.9 | 0.5 | 0.93 | 7.20 | A | A | A | 0.17 |
| 68 | 11.03 | 0.77 | 2.13 | 8.92 | A | A | A | 0.38 |
| 69 | 13.91 | 1.29 | 28.80 | 10.81 | A | N | W | 5.18 |
| 74 | 12.2 | 1.3 | 12.96 | 12.02 | A | A | A | 2.33 |
| 76 | 11.7 | 2.27 | 8.33 | 20.18 | A | A | A | 1.50 |
| 78 | 10.74 | 0.24 | -0.56 | 5.99 | A | A | A | 0.10 |
| 79 | 13.7 | 0.7 | 26.85 | 7.55 | A | N | W | 4.83 |
| 80 | 11.27 | 0.72 | 4.35 | 8.47 | A | A | A | 0.78 |
| 81 | 13.4 | 1.1 | 24.07 | 9.91 | A | A | A | 4.33 |
| 83 | 11.2 | 0.85 | 3.70 | 9.41 | A | A | A | 0.67 |
| 86 | 39.49 | 1.47 | 265.65 | 6.69 | N | N | N | 47.82 |
| 87 | 36 | 7.2 | 233.33 | 20.76 | N | N | N | 42.00 |
| 88 | 11.9 | 0.9 | 10.19 | 9.38 | A | A | A | 1.83 |
| 89 | 11.2 | 0.64 | 3.70 | 7.97 | A | A | A | 0.67 |
| 94 | 23.2 | 0.9 | 114.81 | 6.78 | N | N | N | 20.67 |
| 95 | 14.16 | 1.04 | 31.11 | 9.21 | N | N | N | 5.60 |
| 96 | 11.9 | 2.2 | 10.19 | 19.30 | A | A | A | 1.83 |
| 98 | 11.8 | 1.5 | 9.26 | 13.87 | A | A | A | 1.67 |
| 99 | 12.40 | 2.48 | 14.81 | 20.76 | A | A | A | 2.67 |
| 104 | 12.68 | 2.08 | 17.41 | 17.32 | A | A | A | 3.13 |
| 107 | 45.75 | 2.95 | 323.61 | 8.51 | N | N | N | 58.25 |
| 110 | 18.8 | 3.44 | 74.07 | 19.12 | N | N | N | 13.33 |
| 118 | 12 | 2 | 11.11 | 17.57 | A | A | A | 2.00 |
| 119 | 11.060 | 2.046 | 2.41 | 19.32 | A | A | A | 0.43 |
| 121 | 11.41 | 0.58 | 5.65 | 7.53 | A | A | A | 1.02 |
| 123 | 10.3 | 1.2 | -4.63 | 12.91 | A | A | A | 0.83 |
| 128 | 7.17 | 0.29 | -33.61 | 6.87 | N | N | N | 6.05 |
| 129 | 13.9 | 1.2 | 28.70 | 10.27 | A | N | W | 5.17 |
| 130 | 27.155 | 1.38 | 151.44 | 7.53 | N | N | N | 27.26 |
| 133 | 11.1 | 2.0 | 2.78 | 18.86 | A | A | A | 0.50 |
| 134 | 22.29 | 3.99 | 106.39 | 18.74 | N | N | N | 19.15 |

TABLE 14. Evaluation Results for H-3 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 137 | 11.30 | 0.66 | 4.63 | 8.06 | A | A | A | 0.83 |
| 146 | 19 |  | 75.93 |  | N |  | N | 13.67 |
| 155 | 11.21 | 2.80 | 3.80 | 25.59 | A | A | A | 0.68 |
| 156 | 11.2 | 0.8 | 3.70 | 9.05 | A | A | A | 0.67 |
| 157 | 11.2 | 0.8 | 3.70 | 9.05 | A | A | A | 0.67 |
| 159 | 10.4 | 1.6 | -3.70 | 16.36 | A | A | A | 0.67 |
| 160 | 11.1 | 0.4 | 2.78 | 6.62 | A | A | A | 0.50 |
| 163 | 17.55 | 1.10 | 62.50 | 8.38 | N | N | N | 11.25 |
| 163 | 17.55 | 1.10 | 62.50 | 8.38 | N | N | N | 11.25 |
| 164 | 11.5 | 2.5 | 6.48 | 22.44 | A | A | A | 1.17 |
| 171 | 11.3 | 0.5 | 4.63 | 7.10 | A | A | A | 0.83 |
| 173 | 6.46 | 0.1 | -40.19 | 5.77 | N | N | N | 7.23 |
| 175 | 6.9 | 1.0 | -36.11 | 15.52 | N | A | N | 6.50 |
| 177 | 11.7 | 1.5 | 8.33 | 13.97 | A | A | A | 1.50 |
| 180 | 11.3 | 0.4 | 4.63 | 6.59 | A | A | A | 0.83 |
| 184 | 12.1 | 1.2 | 12.04 | 11.37 | A | A | A | 2.17 |
| 187 | 10.6 | 1.2 | -1.85 | 12.61 | A | A | A | 0.33 |
| 188 | 11.0 | 0.88 | 1.85 | 9.74 | A | A | A | 0.33 |
| 189 | 8.5 | 1.8 | -21.30 | 21.89 | A | A | A | 3.83 |
| 195 | 11.3 | 1.1 | 4.63 | 11.21 | A | A | A | 0.83 |
| 196 | 11.3 | 4.11 | 4.63 | 36.79 | A | N | W | 0.83 |
| 204 | 10.9 | 0.9 | 0.93 | 9.95 | A | A | A | 0.17 |
| 211 | 10.7 | 1.0 | -0.93 | 10.87 | A | A | A | 0.17 |
| 214 | 8.58 | 0.5 | -20.56 | 8.05 | A | A | A | 3.70 |
| 216 | 7.11 | 3.16 | -34.17 | 44.79 | N | N | N | 6.15 |
| 217 | 10.8 | 0.55 | 0.00 | 7.54 | A | A | A | 0.00 |
| 221 | 12.69 | 1.27 | 17.50 | 11.45 | A | A | A | 3.15 |
| 226 | 8.69 | 1.5 | -19.54 | 18.13 | A | A | A | 3.52 |
| 227 | 16.93 | 0.82 | 56.76 | 7.37 | N | N | N | 10.22 |
| 230 | 10.86 | 0.5 | 0.56 | 7.22 | A | A | A | 0.10 |
| 234 | 12.70 | 0.90 | 17.59 | 9.00 | A | A | A | 3.17 |
| 236 | 16.33 | 0.56 | 51.20 | 6.53 | N | N | N | 9.22 |
| 239 | 9.79 | 1.91 | -9.35 | 20.29 | A | A | A | 1.68 |
| 240 | 10.9 | 3.48 | 0.93 | 32.41 | A | N | W | 0.17 |
| 241 | 13.60 | 0.30 | 25.93 | 5.98 | A | N | W | 4.67 |
| 246 | 12.0 | 1.0 | 11.11 | 10.02 | A | A | A | 2.00 |
| 247 | 13.2 | 1.2 | 22.22 | 10.65 | A | A | A | 4.00 |
| 248 | 14.1 | 0.56 | 30.56 | 6.83 | N | N | N | 5.50 |
| 250 | 12.10 | 1.00 | 12.04 | 9.96 | A | A | A | 2.17 |
| 254 | 11.61 | 1.40 | 7.50 | 13.28 | A | A | A | 1.35 |
| 261 | 11.0 | 0.66 | 1.85 | 8.18 | A | A | A | 0.33 |
| 262 | 14.37 | 1.88 | 33.06 | 14.21 | N | A | N | 5.95 |
| 263 | 12.00 | 0.56 | 11.11 | 7.26 | A | A | A | 2.00 |
| 264 | 11.1 | 0.8 | 2.78 | 9.10 | A | A | A | 0.50 |
| 272 | 11.1 | 0.8 | 2.78 | 9.10 | A | A | A | 0.50 |
| 273 | 11.63 | 0.67 | 7.69 | 8.00 | A | A | A | 1.38 |
| 278 | 9.0 | 3.2 | -16.67 | 35.99 | A | N | W | 3.00 |
| 281 | 11.7 | 2.5 | 8.33 | 22.08 | A | A | A | 1.50 |
| 284 | 9.42 | 0.71 | -12.78 | 9.36 | A | A | A | 2.30 |
| 289 | 11.1 | 0.7 | 2.78 | 8.40 | A | A | A | 0.50 |
| 296 | 10.86 | 0.56 | 0.56 | 7.58 | A | A | A | 0.10 |
| 309 | 11.8 | 2.33 | 9.26 | 20.51 | A | A | A | 1.67 |

Reported Results for Sr-90 Determination in Sample 2

TABLE 15. Target values

| Parameter | Value |
| --- | --- |
| Target Value, Bq/kg | 7.42 |
| UNC, Bq/kg | 0.45 |
| MARB, % | 30 |

Not Accepted 4%

Warning 1%

Accepted 33%

8

Not Reported 62%

10

12

FIGURE 15. Percentage of Accepted vs. Warnings vs. Not Accepted vs. Not Reported results

Concentration [ Bq/kg ]

4

6

10

121

25

52

159

276

134

239

87

164

7

250

204

83

272

262

118

247

143

50

81

234

53

88

228

284

258

216

89

17

51

57

36

24

74

113

93

137

211

13

157

309

8

14

45

49

186

92

203

90

31

188

156

41

23

68

123

273

187

47

138

263

217

296

171

128

99

27

199

230

289

56

240

9

60

76

241

226

149

184

42

16

192

110

94

146

69

133

96

119

214

65

62

303

281

98

177

4

180

80

196

61

78

248

231

141

140

Labcode

FIGURE 16. Reported results and evaluation parameters for Sr-90. Blue points represent accepted scores, whereas yellow and red represent warning and not accepted scores respectively.

TABLE 16. Evaluation Results for Sr-90 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4 | 8.55 | 0.38 | 15.23 | 7.52 | A | A | A | 2.51 |
| 7 | 6.40 | 0.29 | -13.75 | 7.57 | A | A | A | 2.27 |
| 8 | 7.35 | 0.4 | -0.94 | 8.15 | A | A | A | 0.16 |
| 9 | 7.73 | 2.43 | 4.18 | 32.02 | A | N | W | 0.69 |
| 10 | 3.19 | 0.30 | -57.01 | 11.19 | N | N | N | 9.40 |
| 13 | 7.3 | 0.6 | -1.62 | 10.21 | A | A | A | 0.27 |
| 14 | 7.39 | 0.19 | -0.40 | 6.59 | A | A | A | 0.07 |
| 16 | 7.83 | 0.46 | 5.53 | 8.44 | A | A | A | 0.91 |
| 17 | 7.11 | 0.92 | -4.18 | 14.29 | A | A | A | 0.69 |
| 23 | 7.47 | 0.35 | 0.67 | 7.66 | A | A | A | 0.11 |
| 24 | 7.2 | 0.3 | -2.96 | 7.36 | A | A | A | 0.49 |
| 25 | 4.3954 | 0.6 | -40.76 | 14.94 | N | N | N | 6.72 |
| 27 | 7.64 | 0.76 | 2.96 | 11.65 | A | A | A | 0.49 |
| 31 | 7.42 | 0.5 | 0.00 | 9.07 | A | A | A | 0.00 |
| 36 | 7.2 | 0.8 | -2.96 | 12.66 | A | A | A | 0.49 |
| 41 | 7.46 | 0.7 | 0.54 | 11.17 | A | A | A | 0.09 |
| 42 | 7.811 | 0.878 | 5.27 | 12.77 | A | A | A | 0.87 |
| 45 | 7.4 | 1.0 | -0.27 | 14.81 | A | A | A | 0.04 |
| 47 | 7.5 | 0.6 | 1.08 | 10.04 | A | A | A | 0.18 |
| 49 | 7.40 | 0.42 | -0.27 | 8.31 | A | A | A | 0.04 |
| 50 | 6.76 | 0.42 | -8.89 | 8.68 | A | A | A | 1.47 |
| 51 | 7.13 | 0.50 | -3.91 | 9.27 | A | A | A | 0.64 |
| 52 | 4.58 | 0.76 | -38.27 | 17.67 | N | A | N | 6.31 |
| 53 | 6.92 | 0.22 | -6.74 | 6.85 | A | A | A | 1.11 |
| 56 | 7.7 | 0.5 | 3.77 | 8.89 | A | A | A | 0.62 |
| 57 | 7.17 | 0.31 | -3.37 | 7.45 | A | A | A | 0.56 |
| 60 | 7.76 | 0.69 | 4.58 | 10.76 | A | A | A | 0.76 |
| 61 | 10.2 | 1.2 | 37.47 | 13.24 | N | N | N | 6.18 |
| 62 | 8.27 | 0.45 | 11.46 | 8.15 | A | A | A | 1.89 |
| 65 | 8.23 | 0.5 | 10.92 | 8.58 | A | A | A | 1.80 |
| 68 | 7.48 | 0.46 | 0.81 | 8.64 | A | A | A | 0.13 |
| 69 | 8.06 | 0.14 | 8.63 | 6.31 | A | A | A | 1.42 |
| 74 | 7.2 | 0.4 | -2.96 | 8.22 | A | A | A | 0.49 |
| 76 | 7.78 | 0.29 | 4.85 | 7.12 | A | A | A | 0.80 |
| 78 | 11.01 | 1.48 | 48.38 | 14.75 | N | N | N | 7.98 |
| 80 | 9.04 | 0.42 | 21.83 | 7.64 | A | N | W | 3.60 |
| 81 | 6.85 | 0.08 | -7.68 | 6.18 | A | A | A | 1.27 |
| 83 | 6.5 | 0.3 | -12.40 | 7.62 | A | A | A | 2.04 |
| 87 | 6.35 | 0.35 | -14.42 | 8.20 | A | A | A | 2.38 |
| 88 | 6.93 | 0.81 | -6.60 | 13.17 | A | A | A | 1.09 |
| 89 | 7.08 | 0.34 | -4.58 | 7.74 | A | A | A | 0.76 |
| 90 | 7.41 | 0.57 | -0.13 | 9.80 | A | A | A | 0.02 |
| 92 | 7.40 | 0.41 | -0.27 | 8.21 | A | A | A | 0.04 |
| 93 | 7.23 | 0.38 | -2.56 | 8.03 | A | A | A | 0.42 |
| 94 | 8.0 | 1.0 | 7.82 | 13.89 | A | A | A | 1.29 |
| 96 | 8.11 | 0.04 | 9.30 | 6.08 | A | A | A | 1.53 |
| 98 | 8.5 | 1.1 | 14.56 | 14.29 | A | A | A | 2.40 |
| 99 | 7.61 | 0.76 | 2.56 | 11.68 | A | A | A | 0.42 |
| 110 | 7.96 | 0.240 | 7.28 | 6.77 | A | A | A | 1.20 |
| 113 | 7.22 | 0.41 | -2.70 | 8.31 | A | A | A | 0.44 |
| 118 | 6.6 | 0.4 | -11.05 | 8.57 | A | A | A | 1.82 |
| 119 | 8.120 | 1.543 | 9.43 | 19.95 | A | A | A | 1.56 |
| 121 | 4.37 | 0.03 | -41.11 | 6.10 | N | N | N | 6.78 |

TABLE 16. Evaluation Results for Sr-90 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 123 | 7.5 | 0.5 | 1.08 | 9.01 | A | A | A | 0.18 |
| 128 | 7.6 | 0.7 | 2.43 | 11.03 | A | A | A | 0.40 |
| 133 | 8.1 | 1.5 | 9.16 | 19.49 | A | A | A | 1.51 |
| 134 | 6.02 | 0.93 | -18.87 | 16.60 | A | A | A | 3.11 |
| 137 | 7.26 | 0.44 | -2.16 | 8.57 | A | A | A | 0.36 |
| 138 | 7.524 | 0.043 | 1.40 | 6.09 | A | A | A | 0.23 |
| 140 | 28.6 | 2.2 | 285.44 | 9.80 | N | N | N | 47.07 |
| 141 | 22 | 6 | 196.50 | 27.94 | N | N | N | 32.40 |
| 143 | 6.75 | 0.20 | -9.03 | 6.75 | A | A | A | 1.49 |
| 146 | 8.04 |  | 8.36 |  | A |  |  | 1.38 |
| 149 | 7.8 | 0.3 | 5.12 | 7.18 | A | A | A | 0.84 |
| 156 | 7.45 | 0.52 | 0.40 | 9.25 | A | A | A | 0.07 |
| 157 | 7.3 | 0.7 | -1.62 | 11.35 | A | A | A | 0.27 |
| 159 | 4.93 | 0.7 | -33.56 | 15.44 | N | A | N | 5.53 |
| 164 | 6.37 | 0.38 | -14.15 | 8.51 | A | A | A | 2.33 |
| 171 | 7.6 | 0.3 | 2.43 | 7.24 | A | A | A | 0.40 |
| 177 | 8.5 | 1.2 | 14.56 | 15.37 | A | A | A | 2.40 |
| 180 | 8.58 | 0.49 | 15.63 | 8.33 | A | A | A | 2.58 |
| 184 | 7.8 | 0.7 | 5.12 | 10.83 | A | A | A | 0.84 |
| 186 | 7.4 | 1.6 | -0.27 | 22.46 | A | A | A | 0.04 |
| 187 | 7.5 | 0.7 | 1.08 | 11.13 | A | A | A | 0.18 |
| 188 | 7.42 | 0.32 | 0.00 | 7.44 | A | A | A | 0.00 |
| 192 | 7.88 | 0.58 | 6.20 | 9.54 | A | A | A | 1.02 |
| 196 | 9.07 | 1.31 | 22.24 | 15.66 | A | A | A | 3.67 |
| 199 | 7.64 | 0.45 | 2.96 | 8.45 | A | A | A | 0.49 |
| 203 | 7.4 | 0.6 | -0.27 | 10.13 | A | A | A | 0.04 |
| 204 | 6.49 | 0.43 | -12.53 | 8.98 | A | A | A | 2.07 |
| 211 | 7.3 | 0.3 | -1.62 | 7.33 | A | A | A | 0.27 |
| 214 | 8.12 | 0.8 | 9.43 | 11.57 | A | A | A | 1.56 |
| 216 | 7.07 | 0.28 | -4.72 | 7.24 | A | A | A | 0.78 |
| 217 | 7.54 | 0.43 | 1.62 | 8.32 | A | A | A | 0.27 |
| 226 | 7.79 | 0.5 | 4.99 | 8.83 | A | A | A | 0.82 |
| 228 | 6.95 | 1.15 | -6.33 | 17.62 | A | A | A | 1.04 |
| 230 | 7.65 | 0.38 | 3.10 | 7.84 | A | A | A | 0.51 |
| 231 | 18.9 | 2 | 154.72 | 12.20 | N | N | N | 25.51 |
| 234 | 6.88 | 1.20 | -7.28 | 18.47 | A | A | A | 1.20 |
| 239 | 6.3 | 1.23 | -15.09 | 20.44 | A | A | A | 2.49 |
| 240 | 7.72 | 0.478 | 4.04 | 8.67 | A | A | A | 0.67 |
| 241 | 7.79 | 0.08 | 4.99 | 6.15 | A | A | A | 0.82 |
| 247 | 6.7 | 0.4 | -9.70 | 8.51 | A | A | A | 1.60 |
| 248 | 15.0 | 1.92 | 102.16 | 14.16 | N | N | N | 16.84 |
| 250 | 6.44 | 0.6 | -13.21 | 11.12 | A | A | A | 2.18 |
| 258 | 7.06 | 0.05 | -4.85 | 6.11 | A | A | A | 0.80 |
| 262 | 6.60 | 0.86 | -11.05 | 14.37 | A | A | A | 1.82 |
| 263 | 7.53 | 0.34 | 1.48 | 7.56 | A | A | A | 0.24 |
| 272 | 6.54 | 0.34 | -11.86 | 7.99 | A | A | A | 1.96 |
| 273 | 7.5 | 0.4 | 1.08 | 8.08 | A | A | A | 0.18 |
| 276 | 5.63 | 0.33 | -24.12 | 8.43 | A | N | W | 3.98 |
| 281 | 8.44 | 0.83 | 13.75 | 11.55 | A | A | A | 2.27 |
| 284 | 7.04 | 1.03 | -5.12 | 15.84 | A | A | A | 0.84 |
| 289 | 7.7 | 0.3 | 3.77 | 7.21 | A | A | A | 0.62 |
| 296 | 7.56 | 0.58 | 1.89 | 9.78 | A | A | A | 0.31 |
| 303 | 8.31 | 0.30 | 11.99 | 7.06 | A | A | A | 1.98 |

TABLE 16. Evaluation Results for Sr-90 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

Labcode	Rep. Value	Rep. Unc.	Rel. Bias	P Test	Accuracy	Precision	Final Score	Z-Score

309	7.34	0.706	-1.08	11.37	A	A	A	0.18

8

9

10

Reported Results for Cs-137 Determination in Sample 2

TABLE 17. Target values

| Parameter | Value |
| --- | --- |
| Target Value, Bq/kg | 8.36 |
| UNC, Bq/kg | 0.5 |
| MARB, % | 20 |

Accepted 86%

Not Reported 9%

Warning 1%

Not Accepted 4%

11

FIGURE 17. Percentage of Accepted vs. Warnings vs. Not Accepted vs. Not Reported results

Concentration [ Bq/kg ]

5

6

7

297

249

135

186

276

231

288

305

239

285

109

287

214

238

124

169

162

307

113

5

69

90

289

38

86

206

45

87

164

253

263

120

28

281

21

167

180

27

19

136

158

123

18

191

177

230

261

264

161

272

192

83

154

39

133

143

47

60

111

29

207

71

173

184

218

220

247

33

221

64

244

72

17

298

81

91

157

295

85

57

248

150

130

189

92

201

210

216

75

213

132

50

127

58

258

209

179

67

23

202

262

37

96

9

266

226

273

98

20

110

107

95

88

259

35

301

89

11

94

241

114

171

53

274

125

194

Labcode

FIGURE 18. Reported results and evaluation parameters for Cs-137. Blue points represent accepted scores, whereas yellow and red represent warning and not accepted scores respectively.

TABLE 18. Evaluation Results for Cs-137 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 9.25 | 0.44 | 10.65 | 7.64 | A | A | A | 1.78 |
| 4 | 8.02 | 0.15 | -4.07 | 6.27 | A | A | A | 0.68 |
| 5 | 7.97 | 0.29 | -4.67 | 7.00 | A | A | A | 0.78 |
| 6 | 6.83 | 0.46 | -18.30 | 9.01 | A | A | A | 3.06 |
| 7 | 8.26 | 0.45 | -1.20 | 8.09 | A | A | A | 0.20 |
| 8 | 8.24 | 0.56 | -1.44 | 9.05 | A | A | A | 0.24 |
| 9 | 8.64 | 0.49 | 3.35 | 8.24 | A | A | A | 0.56 |
| 10 | 28.75 | 11.00 | 243.90 | 38.73 | N | N | N | 40.78 |
| 11 | 9.05 | 0.88 | 8.25 | 11.42 | A | A | A | 1.38 |
| 12 | 8.85 | 0.4 | 5.86 | 7.50 | A | A | A | 0.98 |
| 13 | 8 | 1 | -4.31 | 13.86 | A | A | A | 0.72 |
| 14 | 8.15 | 0.31 | -2.51 | 7.09 | A | A | A | 0.42 |
| 16 | 8.7 | 0.23 | 4.07 | 6.54 | A | A | A | 0.68 |
| 17 | 8.40 | 1.1 | 0.48 | 14.40 | A | A | A | 0.08 |
| 18 | 8.20 | 0.50 | -1.91 | 8.54 | A | A | A | 0.32 |
| 19 | 8.13 | 0.88 | -2.75 | 12.37 | A | A | A | 0.46 |
| 20 | 8.7 | 0.4 | 4.07 | 7.54 | A | A | A | 0.68 |
| 21 | 8.1 | 0.5 | -3.11 | 8.60 | A | A | A | 0.52 |
| 22 | 8.864 | 0.146 | 6.03 | 6.20 | A | A | A | 1.01 |
| 23 | 8.58 | 0.44 | 2.63 | 7.88 | A | A | A | 0.44 |
| 24 | 8.3 | 0.3 | -0.72 | 6.99 | A | A | A | 0.12 |
| 25 | 7.88 | 0.71 | -5.74 | 10.81 | A | A | A | 0.96 |
| 26 | 8.5 | 0.5 | 1.67 | 8.39 | A | A | A | 0.28 |
| 27 | 8.12 | 0.31 | -2.87 | 7.10 | A | A | A | 0.48 |
| 28 | 8.1 | 0.4 | -3.11 | 7.76 | A | A | A | 0.52 |
| 29 | 8.34 | 0.24 | -0.24 | 6.64 | A | A | A | 0.04 |
| 31 | 8.44 | 0.8 | 0.96 | 11.21 | A | A | A | 0.16 |
| 32 | 8.67 | 0.17 | 3.71 | 6.29 | A | A | A | 0.62 |
| 33 | 8.38 | 0.66 | 0.24 | 9.89 | A | A | A | 0.04 |
| 34 | 8.56 | 0.61 | 2.39 | 9.30 | A | A | A | 0.40 |
| 35 | 8.9 | 0.3 | 6.46 | 6.87 | A | A | A | 1.08 |
| 36 | 8 | 2 | -4.31 | 25.71 | A | N | W | 0.72 |
| 37 | 8.6 | 0.5 | 2.87 | 8.34 | A | A | A | 0.48 |
| 38 | 8 | 0.6 | -4.31 | 9.59 | A | A | A | 0.72 |
| 39 | 8.3 | 0.4 | -0.72 | 7.68 | A | A | A | 0.12 |
| 40 | 8.4 | 0.1 | 0.48 | 6.10 | A | A | A | 0.08 |
| 41 | 8.1 | 0.79 | -3.11 | 11.44 | A | A | A | 0.52 |
| 42 | 4.29 | 0.21 | -48.68 | 7.73 | N | N | N | 8.14 |
| 43 | 8.4 | 0.4 | 0.48 | 7.65 | A | A | A | 0.08 |
| 45 | 8.04 | 0.19 | -3.83 | 6.43 | A | A | A | 0.64 |
| 46 | 8.5 | 0.4 | 1.67 | 7.61 | A | A | A | 0.28 |
| 47 | 8.32 | 0.47 | -0.48 | 8.23 | A | A | A | 0.08 |
| 49 | 8.4 | 0.3 | 0.48 | 6.97 | A | A | A | 0.08 |
| 50 | 8.5 | 0.1 | 1.67 | 6.10 | A | A | A | 0.28 |
| 51 | 8.3 | 0.1 | -0.72 | 6.10 | A | A | A | 0.12 |
| 52 | 8.04 | 0.67 | -3.83 | 10.26 | A | A | A | 0.64 |
| 53 | 9.52 | 0.36 | 13.88 | 7.08 | A | A | A | 2.32 |
| 55 | 8.62 | 0.30 | 3.11 | 6.92 | A | A | A | 0.52 |
| 56 | 8.1 | 0.4 | -3.11 | 7.76 | A | A | A | 0.52 |
| 57 | 8.43 | 0.60 | 0.84 | 9.30 | A | A | A | 0.14 |
| 58 | 8.53 | 0.18 | 2.03 | 6.34 | A | A | A | 0.34 |
| 59 | 8.5 | 0.4 | 1.67 | 7.61 | A | A | A | 0.28 |
| 60 | 8.33 | 0.53 | -0.36 | 8.73 | A | A | A | 0.06 |

TABLE 18. Evaluation Results for Cs-137 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 61 | 8.18 | 0.58 | -2.15 | 9.28 | A | A | A | 0.36 |
| 62 | 8.32 | 0.32 | -0.48 | 7.11 | A | A | A | 0.08 |
| 63 | 8.50 | 0.56 | 1.67 | 8.90 | A | A | A | 0.28 |
| 64 | 8.4 | 0.6 | 0.48 | 9.32 | A | A | A | 0.08 |
| 65 | 8.55 | 0.15 | 2.27 | 6.23 | A | A | A | 0.38 |
| 67 | 8.58 | 0.34 | 2.63 | 7.17 | A | A | A | 0.44 |
| 68 | 8.29 | 0.31 | -0.84 | 7.05 | A | A | A | 0.14 |
| 69 | 7.97 | 0.08 | -4.67 | 6.06 | A | A | A | 0.78 |
| 70 | 8.2 | 0.4 | -1.91 | 7.72 | A | A | A | 0.32 |
| 71 | 8.35 | 0.15 | -0.12 | 6.24 | A | A | A | 0.02 |
| 72 | 8.4 | 0.4 | 0.48 | 7.65 | A | A | A | 0.08 |
| 74 | 8.38 | 0.55 | 0.24 | 8.88 | A | A | A | 0.04 |
| 75 | 8.5 | 0.6 | 1.67 | 9.25 | A | A | A | 0.28 |
| 76 | 8.10 | 0.22 | -3.11 | 6.57 | A | A | A | 0.52 |
| 77 | 9.03 | 0.469 | 8.01 | 7.92 | A | A | A | 1.34 |
| 78 | 8.0 | 0.3 | -4.31 | 7.06 | A | A | A | 0.72 |
| 79 | 8.91 | 0.41 | 6.58 | 7.55 | A | A | A | 1.10 |
| 80 | 8.12 | 0.267 | -2.87 | 6.83 | A | A | A | 0.48 |
| 81 | 8.4 | 0.4 | 0.48 | 7.65 | A | A | A | 0.08 |
| 83 | 8.26 | 0.25 | -1.20 | 6.70 | A | A | A | 0.20 |
| 84 | 8.578 | 0.395 | 2.61 | 7.55 | A | A | A | 0.44 |
| 85 | 8.42 | 0.28 | 0.72 | 6.84 | A | A | A | 0.12 |
| 86 | 8.0 | 0.807 | -4.31 | 11.73 | A | A | A | 0.72 |
| 87 | 8.05 | 0.5 | -3.71 | 8.62 | A | A | A | 0.62 |
| 88 | 8.82 | 0.57 | 5.50 | 8.81 | A | A | A | 0.92 |
| 89 | 8.97 | 0.68 | 7.30 | 9.66 | A | A | A | 1.22 |
| 90 | 7.99 | 0.52 | -4.43 | 8.84 | A | A | A | 0.74 |
| 91 | 8.4 | 0.5 | 0.48 | 8.44 | A | A | A | 0.08 |
| 92 | 8.48 | 0.37 | 1.44 | 7.40 | A | A | A | 0.24 |
| 93 | 8.37 | 0.22 | 0.12 | 6.53 | A | A | A | 0.02 |
| 94 | 9.1 | 0.5 | 8.85 | 8.12 | A | A | A | 1.48 |
| 95 | 8.80 | 0.29 | 5.26 | 6.83 | A | A | A | 0.88 |
| 96 | 8.60 | 0.30 | 2.87 | 6.92 | A | A | A | 0.48 |
| 97 | 8.19 | 0.14 | -2.03 | 6.22 | A | A | A | 0.34 |
| 98 | 8.7 | 0.5 | 4.07 | 8.29 | A | A | A | 0.68 |
| 99 | 8.34 | 0.83 | -0.24 | 11.61 | A | A | A | 0.04 |
| 100 | 33000 | 300 | 394636.84 | 6.05 | N | N | N | 65983.28 |
| 101 | 8.9 | 0.9 | 6.46 | 11.75 | A | A | A | 1.08 |
| 102 | 8.41 | 0.434 | 0.60 | 7.90 | A | A | A | 0.10 |
| 103 | 8.47 | 0.43 | 1.32 | 7.84 | A | A | A | 0.22 |
| 105 | 8.22 | 0.64 | -1.67 | 9.82 | A | A | A | 0.28 |
| 106 | 8.08 | 0.351 | -3.35 | 7.39 | A | A | A | 0.56 |
| 107 | 8.76 | 0.55 | 4.78 | 8.67 | A | A | A | 0.80 |
| 109 | 7.70 | 0.35 | -7.89 | 7.51 | A | A | A | 1.32 |
| 110 | 8.75 | 0.527 | 4.67 | 8.49 | A | A | A | 0.78 |
| 111 | 8.34 | 0.35 | -0.24 | 7.31 | A | A | A | 0.04 |
| 113 | 7.93 | 0.16 | -5.14 | 6.31 | A | A | A | 0.86 |
| 114 | 9.2 | 0.6 | 10.05 | 8.85 | A | A | A | 1.68 |
| 117 | 8.1 | 0.5 | -3.11 | 8.60 | A | A | A | 0.52 |
| 118 | 9.1 | 0.7 | 8.85 | 9.74 | A | A | A | 1.48 |
| 119 | 8.339 | 0.876 | -0.25 | 12.09 | A | A | A | 0.04 |
| 120 | 8.1 | 0.3 | -3.11 | 7.03 | A | A | A | 0.52 |
| 121 | 8.383 | 0.273 | 0.28 | 6.81 | A | A | A | 0.05 |
| 123 | 8.2 | 0.6 | -1.91 | 9.45 | A | A | A | 0.32 |

TABLE 18. Evaluation Results for Cs-137 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 124 | 7.88 | 0.38 | -5.74 | 7.68 | A | A | A | 0.96 |
| 125 | 14.20 | 0.99 | 69.86 | 9.19 | N | N | N | 11.68 |
| 126 | 8.11 | 0.72 | -2.99 | 10.70 | A | A | A | 0.50 |
| 127 | 8.508 | 0.681 | 1.77 | 9.99 | A | A | A | 0.30 |
| 128 | 9.07 | 0.28 | 8.49 | 6.73 | A | A | A | 1.42 |
| 129 | 8.1 | 0.5 | -3.11 | 8.60 | A | A | A | 0.52 |
| 130 | 8.47 | 1.3 | 1.32 | 16.47 | A | A | A | 0.22 |
| 132 | 8.5 | 0.5 | 1.67 | 8.39 | A | A | A | 0.28 |
| 133 | 8.3 | 0.9 | -0.72 | 12.38 | A | A | A | 0.12 |
| 134 | 9.17 | 0.77 | 9.69 | 10.31 | A | A | A | 1.62 |
| 135 | 6.8 | 0.5 | -18.66 | 9.48 | A | A | A | 3.12 |
| 136 | 8.15 | 0.46 | -2.51 | 8.22 | A | A | A | 0.42 |
| 137 | 7.79 | 0.17 | -6.82 | 6.37 | A | A | A | 1.14 |
| 138 | 8.327 | 0.413 | -0.39 | 7.77 | A | A | A | 0.07 |
| 139 | 8.35 | 0.11 | -0.12 | 6.12 | A | A | A | 0.02 |
| 140 | 8.1 | 0.7 | -3.11 | 10.51 | A | A | A | 0.52 |
| 143 | 8.30 | 0.54 | -0.72 | 8.84 | A | A | A | 0.12 |
| 145 | 7.8 | 0.4 | -6.70 | 7.88 | A | A | A | 1.12 |
| 146 | 7.2591 | 0.0871 | -13.17 | 6.10 | A | A | A | 2.20 |
| 147 | 8.77 | 0.31 | 4.90 | 6.95 | A | A | A | 0.82 |
| 148 | 8.09 | 0.50 | -3.23 | 8.60 | A | A | A | 0.54 |
| 149 | 7.6 | 0.5 | -9.09 | 8.89 | A | A | A | 1.52 |
| 150 | 8.453 | 0.565 | 1.11 | 8.97 | A | A | A | 0.19 |
| 152 | 7.82 | 0.39 | -6.46 | 7.79 | A | A | A | 1.08 |
| 153 | 8.6 | 0.3 | 2.87 | 6.92 | A | A | A | 0.48 |
| 154 | 8.29 | 0.5 | -0.84 | 8.49 | A | A | A | 0.14 |
| 155 | 7.34 | 0.53 | -12.20 | 9.38 | A | A | A | 2.04 |
| 156 | 8.42 | 0.58 | 0.72 | 9.12 | A | A | A | 0.12 |
| 157 | 8.4 | 0.8 | 0.48 | 11.25 | A | A | A | 0.08 |
| 158 | 8.187 | 0.327 | -2.07 | 7.19 | A | A | A | 0.35 |
| 159 | 8.36 | 0.5 | 0.00 | 8.46 | A | A | A | 0.00 |
| 160 | 7.9 | 0.2 | -5.50 | 6.49 | A | A | A | 0.92 |
| 161 | 8.22 | 0.5 | -1.67 | 8.53 | A | A | A | 0.28 |
| 162 | 7.9 | 0.5 | -5.50 | 8.71 | A | A | A | 0.92 |
| 163 | 8.46 | 0.45 | 1.20 | 8.00 | A | A | A | 0.20 |
| 164 | 8.07 | 0.60 | -3.47 | 9.54 | A | A | A | 0.58 |
| 165 | 8.26 | 0.29 | -1.20 | 6.94 | A | A | A | 0.20 |
| 166 | 8.6 | 0.4 | 2.87 | 7.58 | A | A | A | 0.48 |
| 167 | 8.1 | 0.5 | -3.11 | 8.60 | A | A | A | 0.52 |
| 168 | 11.43 | 0.54 | 36.72 | 7.62 | N | N | N | 6.14 |
| 169 | 7.88 | 0.34 | -5.74 | 7.37 | A | A | A | 0.96 |
| 171 | 9.35 | 0.4 | 11.84 | 7.35 | A | A | A | 1.98 |
| 172 | 7.98 | 0.48 | -4.55 | 8.48 | A | A | A | 0.76 |
| 173 | 8.36 | 0.29 | 0.00 | 6.91 | A | A | A | 0.00 |
| 175 | 8.5 | 0.4 | 1.67 | 7.61 | A | A | A | 0.28 |
| 177 | 8.2 | 0.5 | -1.91 | 8.54 | A | A | A | 0.32 |
| 178 | 8.0 | 0.6 | -4.31 | 9.59 | A | A | A | 0.72 |
| 179 | 8.5733 | 0.45604 | 2.55 | 8.00 | A | A | A | 0.43 |
| 180 | 8.11 | 0.45 | -2.99 | 8.16 | A | A | A | 0.50 |
| 182 | 8.5 | 0.4 | 1.67 | 7.61 | A | A | A | 0.28 |
| 183 | 8.37 | 0.39 | 0.12 | 7.58 | A | A | A | 0.02 |
| 184 | 8.37 | 0.36 | 0.12 | 7.37 | A | A | A | 0.02 |
| 185 | 7.1 | 1.3 | -15.07 | 19.26 | A | A | A | 2.52 |
| 186 | 7.1 | 2.8 | -15.07 | 39.89 | A | N | W | 2.52 |

TABLE 18. Evaluation Results for Cs-137 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 187 | 8.2 | 0.5 | -1.91 | 8.54 | A | A | A | 0.32 |
| 188 | 7.91 | 0.58 | -5.38 | 9.46 | A | A | A | 0.90 |
| 189 | 8.48 | 0.74 | 1.44 | 10.58 | A | A | A | 0.24 |
| 191 | 8.2 | 0.3 | -1.91 | 7.01 | A | A | A | 0.32 |
| 192 | 8.25 | 0.67 | -1.32 | 10.09 | A | A | A | 0.22 |
| 193 | 1.104 | 0.137 | -86.79 | 13.78 | N | N | N | 14.51 |
| 194 | 30.2 | 5 | 261.24 | 17.60 | N | N | N | 43.68 |
| 195 | 8.6 | 0.42 | 2.87 | 7.72 | A | A | A | 0.48 |
| 196 | 8.21 | 0.364 | -1.79 | 7.44 | A | A | A | 0.30 |
| 198 | 8.35 | 0.80 | -0.12 | 11.29 | A | A | A | 0.02 |
| 201 | 8.5 | 0.5 | 1.67 | 8.39 | A | A | A | 0.28 |
| 202 | 8.6 | 0.5 | 2.87 | 8.34 | A | A | A | 0.48 |
| 203 | 8.2 | 0.5 | -1.91 | 8.54 | A | A | A | 0.32 |
| 204 | 8.59 | 0.53 | 2.75 | 8.59 | A | A | A | 0.46 |
| 206 | 8.01 | 0.05 | -4.19 | 6.01 | A | A | A | 0.70 |
| 207 | 8.35 | 0.36 | -0.12 | 7.37 | A | A | A | 0.02 |
| 209 | 8.57 | 1.6 | 2.51 | 19.60 | A | A | A | 0.42 |
| 210 | 8.5 | 0.5 | 1.67 | 8.39 | A | A | A | 0.28 |
| 213 | 8.5 | 0.4 | 1.67 | 7.61 | A | A | A | 0.28 |
| 214 | 7.8 | 0.3 | -6.70 | 7.11 | A | A | A | 1.12 |
| 215 | 8.22 | 0.74 | -1.67 | 10.81 | A | A | A | 0.28 |
| 216 | 8.5 | 0.1 | 1.67 | 6.10 | A | A | A | 0.28 |
| 217 | 8.43 | 0.54 | 0.84 | 8.76 | A | A | A | 0.14 |
| 218 | 8.37 | 0.66 | 0.12 | 9.90 | A | A | A | 0.02 |
| 219 | 8.5 | 0.17 | 1.67 | 6.31 | A | A | A | 0.28 |
| 220 | 8.38 | 0.45 | 0.24 | 8.04 | A | A | A | 0.04 |
| 221 | 8.39 | 0.23 | 0.36 | 6.58 | A | A | A | 0.06 |
| 222 | 8.2 | 0.4 | -1.91 | 7.72 | A | A | A | 0.32 |
| 223 | 8.38 | 0.1 | 0.24 | 6.10 | A | A | A | 0.04 |
| 224 | 8.53 | 0.11 | 2.03 | 6.12 | A | A | A | 0.34 |
| 226 | 8.69 | 0.56 | 3.95 | 8.79 | A | A | A | 0.66 |
| 227 | 8.65 | 0.23 | 3.47 | 6.55 | A | A | A | 0.58 |
| 228 | 9.45 | 1.28 | 13.04 | 14.81 | A | A | A | 2.18 |
| 230 | 8.2 | 0.6 | -1.91 | 9.45 | A | A | A | 0.32 |
| 231 | 7.3 | 0.7 | -12.68 | 11.30 | A | A | A | 2.12 |
| 233 | 9.8 | 0.23 | 17.22 | 6.42 | A | N | W | 2.88 |
| 234 | 8.40 | 0.40 | 0.48 | 7.65 | A | A | A | 0.08 |
| 235 | 8.4 | 0.23 | 0.48 | 6.58 | A | A | A | 0.08 |
| 237 | 8.21 | 0.20 | -1.79 | 6.46 | A | A | A | 0.30 |
| 238 | 7.8 | 0.3 | -6.70 | 7.11 | A | A | A | 1.12 |
| 239 | 7.61 | 1.1 | -8.97 | 15.64 | A | A | A | 1.50 |
| 241 | 9.14 | 1.00 | 9.33 | 12.47 | A | A | A | 1.56 |
| 243 | 8.58 | 0.41 | 2.63 | 7.66 | A | A | A | 0.44 |
| 244 | 8.4 | 0.8 | 0.48 | 11.25 | A | A | A | 0.08 |
| 246 | 8.8 | 0.5 | 5.26 | 8.25 | A | A | A | 0.88 |
| 247 | 8.38 | 0.40 | 0.24 | 7.65 | A | A | A | 0.04 |
| 248 | 8.43 | 0.29 | 0.84 | 6.90 | A | A | A | 0.14 |
| 249 | 4.14 | 6 | -50.48 | 145.05 | N | N | N | 8.44 |
| 250 | 7.70 | 0.17 | -7.89 | 6.38 | A | A | A | 1.32 |
| 251 | 7.75 | 0.77 | -7.30 | 11.60 | A | A | A | 1.22 |
| 253 | 8.08 | 0.15 | -3.35 | 6.26 | A | A | A | 0.56 |
| 255 | 8.37 | 0.27 | 0.12 | 6.80 | A | A | A | 0.02 |
| 256 | 8.7 | 0.47 | 4.07 | 8.06 | A | A | A | 0.68 |
| 258 | 8.56 | 0.156 | 2.39 | 6.25 | A | A | A | 0.40 |

TABLE 18. Evaluation Results for Cs-137 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 259 | 8.86 | 0.31 | 5.98 | 6.93 | A | A | A | 1.00 |
| 261 | 8.21 | 0.6 | -1.79 | 9.44 | A | A | A | 0.30 |
| 262 | 8.6 | 1.12 | 2.87 | 14.33 | A | A | A | 0.48 |
| 263 | 8.099 | 0.570 | -3.12 | 9.24 | A | A | A | 0.52 |
| 264 | 8.21 | 0.81 | -1.79 | 11.54 | A | A | A | 0.30 |
| 265 | 7.68 | 0.22 | -8.13 | 6.63 | A | A | A | 1.36 |
| 266 | 8.67 | 0.59 | 3.71 | 9.06 | A | A | A | 0.62 |
| 269 | 7.95 | 0.46 | -4.90 | 8.32 | A | A | A | 0.82 |
| 271 | 8.4 | 0.4 | 0.48 | 7.65 | A | A | A | 0.08 |
| 272 | 8.23 | 0.86 | -1.56 | 12.04 | A | A | A | 0.26 |
| 273 | 8.7 | 0.5 | 4.07 | 8.29 | A | A | A | 0.68 |
| 274 | 10.10 | 1.93 | 20.81 | 20.02 | N | N | N | 3.48 |
| 276 | 7.20 | 0.86 | -13.88 | 13.36 | A | A | A | 2.32 |
| 278 | 7.5 | 0.8 | -10.29 | 12.23 | A | A | A | 1.72 |
| 281 | 8.1 | 0.5 | -3.11 | 8.60 | A | A | A | 0.52 |
| 284 | 8.74 | 0.42 | 4.55 | 7.67 | A | A | A | 0.76 |
| 285 | 7.70 | 0.60 | -7.89 | 9.82 | A | A | A | 1.32 |
| 286 | 8.7 | 0.4 | 4.07 | 7.54 | A | A | A | 0.68 |
| 287 | 7.771 | 0.50 | -7.05 | 8.78 | A | A | A | 1.18 |
| 288 | 7.5 | 0.8 | -10.29 | 12.23 | A | A | A | 1.72 |
| 289 | 8.0 | 0.5 | -4.31 | 8.65 | A | A | A | 0.72 |
| 290 | 7.88 | 0.40 | -5.74 | 7.84 | A | A | A | 0.96 |
| 292 | 8.48 | 1.19 | 1.44 | 15.25 | A | A | A | 0.24 |
| 295 | 8.40 | 0.43 | 0.48 | 7.87 | A | A | A | 0.08 |
| 296 | 7.97 | 0.3 | -4.67 | 7.07 | A | A | A | 0.78 |
| 297 | 0.31 | 0.10 | -96.29 | 32.81 | N | N | N | 16.10 |
| 298 | 8.40 | 0.12 | 0.48 | 6.15 | A | A | A | 0.08 |
| 299 | 8.05 | 0.15 | -3.71 | 6.26 | A | A | A | 0.62 |
| 301 | 8.9 | 0.2 | 6.46 | 6.39 | A | A | A | 1.08 |
| 303 | 8.39 | 0.18 | 0.36 | 6.35 | A | A | A | 0.06 |
| 305 | 7.563 | 1.433 | -9.53 | 19.87 | A | A | A | 1.59 |
| 306 | 8.4 | 0.3 | 0.48 | 6.97 | A | A | A | 0.08 |
| 307 | 7.91 | 0.24 | -5.38 | 6.71 | A | A | A | 0.90 |
| 309 | 8.755 | 0.8686 | 4.72 | 11.58 | A | A | A | 0.79 |
| 310 | 8.49 | 0.8 | 1.56 | 11.16 | A | A | A | 0.26 |
| 312 | 8.57 | 0.32 | 2.51 | 7.05 | A | A | A | 0.42 |
| 313 | 8.4 | 0.5 | 0.48 | 8.44 | A | A | A | 0.08 |

5

6

Reported Results for Po-210 Determination in Sample 2

TABLE 19. Target values

| Parameter | Value |
| --- | --- |
| Target Value, Bq/kg | 5.29 |
| UNC, Bq/kg | 0.32 |
| MARB, % | 30 |

Warning 0%

Not Accepted 7%

Accepted 8%

Not Reported 85%

7

8

FIGURE 19. Percentage of Accepted vs. Warnings vs. Not Accepted vs. Not Reported results

Concentration [ Bq/kg ]

2

3

4

214

203

60

163

163

4

133

92

177

17

164

52

217

8

128

13

16

84

118

84

68

261

36

58

123

156

159

14

97

171

83

272

186

157

81

161

78

227

247

99

135

71

42

155

Labcode

FIGURE 20. Reported results and evaluation parameters for Po-210. Blue points represent accepted scores, whereas yellow and red represent warning and not accepted scores respectively.

TABLE 20. Evaluation Results for Po-210 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4 | 3.56 | 0.22 | -32.70 | 8.65 | N | N | N | 5.41 |
| 8 | 4.89 | 0.34 | -7.56 | 9.22 | A | A | A | 1.25 |
| 13 | 4.9 | 0.3 | -7.37 | 8.61 | A | A | A | 1.22 |
| 14 | 5.59 | 0.25 | 5.67 | 7.52 | A | A | A | 0.94 |
| 16 | 4.95 | 0.164 | -6.43 | 6.90 | A | A | A | 1.06 |
| 17 | 4.66 | 0.61 | -11.91 | 14.42 | A | A | A | 1.97 |
| 36 | 5.2 | 0.6 | -1.70 | 13.03 | A | A | A | 0.28 |
| 42 | 16.83 | 1.81 | 218.15 | 12.34 | N | N | N | 36.06 |
| 52 | 4.831 | 0.0053 | -8.68 | 6.05 | A | A | A | 1.43 |
| 58 | 5.2 | 0.3 | -1.70 | 8.36 | A | A | A | 0.28 |
| 60 | 3.29 | 0.21 | -37.81 | 8.79 | N | N | N | 6.25 |
| 68 | 5.18 | 0.36 | -2.08 | 9.21 | A | A | A | 0.34 |
| 71 | 16.43 | 0.37 | 210.59 | 6.45 | N | N | N | 34.81 |
| 78 | 14.46 | 0.82 | 173.35 | 8.29 | N | N | N | 28.66 |
| 81 | 11.9 | 0.4 | 124.95 | 6.92 | N | N | N | 20.66 |
| 83 | 9.0 | 1.0 | 70.13 | 12.65 | N | N | N | 11.59 |
| 84 | 5.110 | 0.139 | -3.40 | 6.63 | A | A | A | 0.56 |
| 84 | 5.035 | 0.486 | -4.82 | 11.39 | A | A | A | 0.80 |
| 92 | 3.82 | 0.38 | -27.79 | 11.64 | A | A | A | 4.59 |
| 97 | 5.60 | 0.20 | 5.86 | 7.02 | A | A | A | 0.97 |
| 99 | 15.82 | 3.01 | 199.05 | 19.97 | N | N | N | 32.91 |
| 118 | 5.1 | 0.7 | -3.59 | 15.00 | A | A | A | 0.59 |
| 123 | 5.21 | 0.52 | -1.51 | 11.67 | A | A | A | 0.25 |
| 128 | 4.9 | 0.7 | -7.37 | 15.51 | A | A | A | 1.22 |
| 133 | 3.7 | 0.7 | -30.06 | 19.86 | N | A | N | 4.97 |
| 135 | 16 | 1 | 202.46 | 8.70 | N | N | N | 33.47 |
| 155 | 18.05 | 0.96 | 241.21 | 8.05 | N | N | N | 39.88 |
| 156 | 5.25 | 0.41 | -0.76 | 9.88 | A | A | A | 0.13 |
| 157 | 11.2 | 1.5 | 111.72 | 14.70 | N | N | N | 18.47 |
| 159 | 5.3 | 1.0 | 0.19 | 19.81 | A | A | A | 0.03 |
| 161 | 12.75 | 1.17 | 141.02 | 10.99 | N | N | N | 23.31 |
| 163 | 3.49 | 0.61 | -34.03 | 18.50 | N | A | N | 5.62 |
| 163 | 3.49 | 0.61 | -34.03 | 18.50 | N | A | N | 5.62 |
| 164 | 4.78 | 0.23 | -9.64 | 7.73 | A | A | A | 1.59 |
| 171 | 6 | 0.3 | 13.42 | 7.85 | A | A | A | 2.22 |
| 177 | 4.1 | 0.4 | -22.50 | 11.48 | A | A | A | 3.72 |
| 186 | 9.5 | 2.8 | 79.58 | 30.09 | N | N | N | 13.16 |
| 203 | 2.97 | 0.22 | -43.86 | 9.56 | N | N | N | 7.25 |
| 214 | 1.42 | 0.04 | -73.16 | 6.67 | N | N | N | 12.09 |
| 217 | 4.86 | 0.66 | -8.13 | 14.87 | A | A | A | 1.34 |
| 227 | 14.8 | 1.1 | 179.77 | 9.58 | N | N | N | 29.72 |
| 247 | 15.3 | 2.4 | 189.22 | 16.81 | N | N | N | 31.28 |
| 261 | 5.20 | 0.41 | -1.70 | 9.94 | A | A | A | 0.28 |
| 272 | 9.45 | 1.1 | 78.64 | 13.12 | N | N | N | 13.00 |

5

6

Reported Results for Pb-210 Determination in Sample 2

TABLE 21. Target values

| Parameter | Value |
| --- | --- |
| Target Value, Bq/kg | 5.2 |
| UNC, Bq/kg | 0.31 |
| MARB, % | 30 |

Not Accepted 3%

Accepted 15%

gamma

Not Reported 80%

Warning 0%

Not Accepted 1%

Accepted 9%

beta

Warning 2%

Not Reported 90%

7

8

FIGURE 21. Percentage of Accepted vs. Warnings vs. Not Accepted vs. Not Reported results

Concentration [ Bq/kg ]

2

3

4

221

175

128

313

312

32

304

71

45

159

14

87

272

214

83

281

133

52

17

18

298

286

78

16

164

217

123

220

4

154

156

84

150

83

171

28

41

68

218

42

60

67

31

8

140

31

165

128

94

301

169

169

68

235

202

247

216

216

118

14

272

172

271

41

247

58

106

164

74

107

138

163

163

153

199

238

309

113

186

262

231

9

9

125

Labcode

FIGURE 22. Reported results and evaluation parameters for Pb-210. Blue points represent accepted scores, whereas yellow and red represent warning and not accepted scores respectively.

TABLE 22. Evaluation Results for Pb-210 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4 | 4.93 | 0.21 | -5.19 | 7.33 | A | A | A | 0.87 |
| 8 | 5.08 | 0.38 | -2.31 | 9.57 | A | A | A | 0.39 |
| 9 | 36.98 | 9.93 | 611.15 | 27.51 | N | N | N | 102.52 |
| 9 | 36.98 | 9.93 | 611.15 | 27.51 | N | N | N | 102.52 |
| 14 | 5.47 | 0.11 | 5.19 | 6.29 | A | A | A | 0.87 |
| 14 | 4.23 | 0.26 | -18.65 | 8.56 | A | A | A | 3.13 |
| 16 | 4.81 | 0.69 | -7.50 | 15.53 | A | A | A | 1.26 |
| 17 | 4.69 | 0.61 | -9.81 | 14.31 | A | A | A | 1.65 |

TABLE 22. Evaluation Results for Pb-210 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 18 | 4.69 | 0.56 | -9.81 | 13.35 | A | A | A | 1.65 |
| 28 | 5.0 | 1.3 | -3.85 | 26.67 | A | A | A | 0.65 |
| 31 | 5.08 | 0.6 | -2.31 | 13.23 | A | A | A | 0.39 |
| 31 | 5.20 | 0.6 | 0.00 | 12.99 | A | A | A | 0.00 |
| 32 | 3.64 | 0.91 | -30.00 | 25.70 | A | A | A | 5.03 |
| 41 | 5.54 | 1.5 | 6.54 | 27.72 | A | A | A | 1.10 |
| 41 | 5 | 1.33 | -3.85 | 27.26 | A | A | A | 0.65 |
| 42 | 5.03 | 0.82 | -3.27 | 17.36 | A | A | A | 0.55 |
| 45 | 4.05 | 0.43 | -22.12 | 12.18 | A | A | A | 3.71 |
| 52 | 4.52 | 0.3 | -13.08 | 8.92 | A | A | A | 2.19 |
| 58 | 5.8 | 0.7 | 11.54 | 13.46 | A | A | A | 1.94 |
| 60 | 5.05 | 0.46 | -2.88 | 10.89 | A | A | A | 0.48 |
| 67 | 5.07 | 0.53 | -2.50 | 12.03 | A | A | A | 0.42 |
| 68 | 5.01 | 0.35 | -3.65 | 9.18 | A | A | A | 0.61 |
| 68 | 5.32 | 0.20 | 2.31 | 7.05 | A | A | A | 0.39 |
| 71 | 4.00 | 0.14 | -23.08 | 6.91 | A | N | W | 3.87 |
| 74 | 6.14 | 1.59 | 18.08 | 26.57 | A | A | A | 3.03 |
| 78 | 4.8 | 0.6 | -7.69 | 13.85 | A | A | A | 1.29 |
| 83 | 4.5 | 0.3 | -13.46 | 8.94 | A | A | A | 2.26 |
| 83 | 4.97 | 0.30 | -4.42 | 8.48 | A | A | A | 0.74 |
| 84 | 4.953 | 0.478 | -4.75 | 11.34 | A | A | A | 0.80 |
| 87 | 4.33 | 0.785 | -16.73 | 19.08 | A | A | A | 2.81 |
| 94 | 5.3 | 0.9 | 1.92 | 18.00 | A | A | A | 0.32 |
| 106 | 6.08 | 1.15 | 16.92 | 19.83 | A | A | A | 2.84 |
| 107 | 6.25 | 1.18 | 20.19 | 19.80 | A | A | A | 3.39 |
| 113 | 7.17 | 1.92 | 37.88 | 27.43 | N | A | N | 6.35 |
| 118 | 5.4 | 0.3 | 3.85 | 8.15 | A | A | A | 0.65 |
| 123 | 4.9 | 0.4 | -5.77 | 10.11 | A | A | A | 0.97 |
| 125 | 76.33 | 3.82 | 1367.88 | 7.78 | N | N | N | 229.45 |
| 128 | 5.3 | 0.8 | 1.92 | 16.23 | A | A | A | 0.32 |
| 128 | 3.0 | 0.4 | -42.31 | 14.61 | N | N | N | 7.10 |
| 133 | 4.5 | 1.0 | -13.46 | 23.01 | A | A | A | 2.26 |
| 138 | 6.328 | 1.509 | 21.69 | 24.58 | A | A | A | 3.64 |
| 140 | 5.2 | 0.6 | 0.00 | 12.99 | A | A | A | 0.00 |
| 150 | 4.96 | 0.944 | -4.62 | 19.94 | A | A | A | 0.77 |
| 153 | 6.5 | 0.9 | 25.00 | 15.08 | A | A | A | 4.19 |
| 154 | 4.94 | 0.67 | -5.00 | 14.82 | A | A | A | 0.84 |
| 156 | 4.94 | 0.51 | -5.00 | 11.92 | A | A | A | 0.84 |
| 159 | 4.1 | 1.6 | -21.15 | 39.48 | A | N | W | 3.55 |
| 163 | 6.49 | 1.16 | 24.81 | 18.84 | A | A | A | 4.16 |
| 163 | 6.49 | 1.16 | 24.81 | 18.84 | A | A | A | 4.16 |
| 164 | 4.82 | 0.26 | -7.31 | 8.04 | A | A | A | 1.23 |
| 164 | 6.1 | 1.1 | 17.31 | 18.99 | A | A | A | 2.90 |
| 165 | 5.23 | 0.82 | 0.58 | 16.77 | A | A | A | 0.10 |
| 169 | 5.31 | 1.76 | 2.12 | 33.68 | A | N | W | 0.35 |
| 169 | 5.31 | 1.76 | 2.12 | 33.68 | A | N | W | 0.35 |
| 171 | 5.0 | 0.2 | -3.85 | 7.18 | A | A | A | 0.65 |
| 172 | 5.49 | 0.83 | 5.58 | 16.25 | A | A | A | 0.94 |
| 175 | 2.3 | 0.8 | -55.77 | 35.29 | N | N | N | 9.35 |
| 186 | 7.6 | 2.3 | 46.15 | 30.84 | N | N | N | 7.74 |
| 199 | 6.50 | 0.50 | 25.00 | 9.73 | A | A | A | 4.19 |
| 202 | 5.37 | 0.35 | 3.27 | 8.83 | A | A | A | 0.55 |
| 214 | 4.5 | 1.2 | -13.46 | 27.32 | A | A | A | 2.26 |
| 216 | 5.4 | 0.7 | 3.85 | 14.27 | A | A | A | 0.65 |

TABLE 22. Evaluation Results for Pb-210 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 216 | 5.4 | 0.7 | 3.85 | 14.27 | A | A | A | 0.65 |
| 217 | 4.82 | 0.26 | -7.31 | 8.04 | A | A | A | 1.23 |
| 218 | 5.02 | 0.95 | -3.46 | 19.84 | A | A | A | 0.58 |
| 220 | 4.91 | 0.9 | -5.58 | 19.28 | A | A | A | 0.94 |
| 221 | 1.92 | 0.08 | -63.08 | 7.27 | N | N | N | 10.58 |
| 231 | 23.2 | 2.3 | 346.15 | 11.57 | N | N | N | 58.06 |
| 235 | 5.33 | 1.0 | 2.50 | 19.69 | A | A | A | 0.42 |
| 238 | 6.5 | 0.8 | 25.00 | 13.68 | A | A | A | 4.19 |
| 247 | 5.39 | 0.40 | 3.65 | 9.52 | A | A | A | 0.61 |
| 247 | 5.7 | 1.0 | 9.62 | 18.53 | A | A | A | 1.61 |
| 262 | 8.95 | 1.16 | 72.12 | 14.27 | N | N | N | 12.10 |
| 271 | 5.524 | 0.472 | 6.23 | 10.42 | A | A | A | 1.05 |
| 272 | 4.4 | 0.41 | -15.38 | 11.06 | A | A | A | 2.58 |
| 272 | 5.49 | 0.71 | 5.58 | 14.24 | A | A | A | 0.94 |
| 281 | 4.5 | 0.9 | -13.46 | 20.87 | A | A | A | 2.26 |
| 286 | 4.8 | 1.8 | -7.69 | 37.97 | A | N | W | 1.29 |
| 298 | 4.7 | 0.5 | -9.62 | 12.19 | A | A | A | 1.61 |
| 301 | 5.3 | 0.7 | 1.92 | 14.49 | A | A | A | 0.32 |
| 304 | 4.0 | 1.5 | -23.08 | 37.97 | A | N | W | 3.87 |
| 309 | 6.508 | 1.52 | 25.15 | 24.10 | A | A | A | 4.22 |
| 312 | 3.5 | 1.1 | -32.69 | 31.99 | N | N | N | 5.48 |
| 313 | 3.4 | 0.7 | -34.62 | 21.43 | N | A | N | 5.81 |

Reported Results for Am-241 Determination in Sample 2

TABLE 23. Target values

| Parameter | Value |
| --- | --- |
| Target Value, Bq/kg | 10.1 |
| UNC, Bq/kg | 0.6 |
| MARB, % | 30 |

Warning 1%

Not Accepted 1%

Accepted 9%

Accepted 75%

gamma

Not Reported 89%

alpha

Not Reported 21%

Not Accepted 3%

Warning 1%

10

12

14

16

FIGURE 23. Percentage of Accepted vs. Warnings vs. Not Accepted vs. Not Reported results

Concentration [ Bq/kg ]

4

6

8

194

256

87

192

299

163

228

106

152

9

201

179

306

239

227

9

7

246

169

258

139

26

155

132

202

148

237

210

120

117

81

238

135

284

93

250

286

214

175

215

198

5

57

303

207

36

62

255

31

135

45

243

154

150

83

111

101

216

288

83

75

167

50

183

172

221

61

196

128

217

133

191

138

16

310

61

147

248

141

88

187

204

289

292

127

55

224

76

262

68

140

156

43

269

37

160

46

272

87

128

94

21

109

309

130

12

278

157

287

273

177

29

32

121

295

77

136

124

153

173

161

146

265

276

53

Labcode

FIGURE 24. Reported results and evaluation parameters for Am-241. Blue points represent accepted scores, whereas yellow and red represent warning and not accepted scores respectively.

TABLE 24. Evaluation Results for Am-241 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 9.15 | 1.21 | -9.41 | 14.50 | A | A | A | 1.58 |
| 4 | 9.94 | 0.17 | -1.58 | 6.18 | A | A | A | 0.27 |
| 5 | 9.94 | 0.37 | -1.58 | 7.01 | A | A | A | 0.27 |
| 7 | 9.5 | 0.8 | -5.94 | 10.31 | A | A | A | 1.00 |
| 8 | 10.2 | 1.0 | 0.99 | 11.46 | A | A | A | 0.17 |
| 9 | 9.12 | 3.02 | -9.70 | 33.64 | A | N | W | 1.63 |
| 9 | 9.46 | 0.90 | -6.34 | 11.22 | A | A | A | 1.07 |
| 11 | 9.80 | 0.72 | -2.97 | 9.45 | A | A | A | 0.50 |

TABLE 24. Evaluation Results for Am-241 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12 | 10.7 | 1.0 | 5.94 | 11.07 | A | A | A | 1.00 |
| 13 | 10 | 1 | -0.99 | 11.63 | A | A | A | 0.17 |
| 14 | 10.10 | 0.32 | 0.00 | 6.73 | A | A | A | 0.00 |
| 14 | 9.82 | 0.37 | -2.77 | 7.03 | A | A | A | 0.47 |
| 16 | 10.23 | 0.25 | 1.29 | 6.42 | A | A | A | 0.22 |
| 18 | 10.47 | 0.91 | 3.66 | 10.53 | A | A | A | 0.62 |
| 19 | 10.72 | 1.42 | 6.14 | 14.52 | A | A | A | 1.03 |
| 20 | 11.3 | 1.2 | 11.88 | 12.17 | A | A | A | 2.00 |
| 21 | 10.6 | 1.1 | 4.95 | 11.96 | A | A | A | 0.83 |
| 22 | 10.020 | 0.729 | -0.79 | 9.39 | A | A | A | 0.13 |
| 24 | 10.3 | 0.8 | 1.98 | 9.78 | A | A | A | 0.33 |
| 26 | 9.7 | 1.01 | -3.96 | 11.99 | A | A | A | 0.67 |
| 26 | 9.7 | 1 | -3.96 | 11.90 | A | A | A | 0.67 |
| 28 | 10.9 | 0.5 | 7.92 | 7.51 | A | A | A | 1.33 |
| 29 | 10.88 | 0.75 | 7.72 | 9.10 | A | A | A | 1.30 |
| 31 | 10.0 | 0.9 | -0.99 | 10.78 | A | A | A | 0.17 |
| 31 | 10.0 | 0.9 | -0.99 | 10.78 | A | A | A | 0.17 |
| 32 | 10.9 | 0.4 | 7.92 | 6.98 | A | A | A | 1.33 |
| 33 | 6.59 | 1.44 | -34.75 | 22.64 | N | A | N | 5.85 |
| 34 | 10.25 | 0.71 | 1.49 | 9.13 | A | A | A | 0.25 |
| 35 | 9.7 | 0.3 | -3.96 | 6.70 | A | A | A | 0.67 |
| 36 | 10 | 1 | -0.99 | 11.63 | A | A | A | 0.17 |
| 36 | 10 | 2 | -0.99 | 20.86 | A | A | A | 0.17 |
| 37 | 10.5 | 0.9 | 3.96 | 10.43 | A | A | A | 0.67 |
| 39 | 10.4 | 0.7 | 2.97 | 8.98 | A | A | A | 0.50 |
| 40 | 9.9 | 0.2 | -1.98 | 6.27 | A | A | A | 0.33 |
| 41 | 10.4 | 1.23 | 2.97 | 13.24 | A | A | A | 0.50 |
| 42 | 5.92 | 0.39 | -41.39 | 8.87 | N | N | N | 6.97 |
| 43 | 10.45 | 0.6 | 3.47 | 8.26 | A | A | A | 0.58 |
| 45 | 10.02 | 0.16 | -0.79 | 6.15 | A | A | A | 0.13 |
| 46 | 10.5 | 0.5 | 3.96 | 7.61 | A | A | A | 0.67 |
| 47 | 10.2 | 1.7 | 0.99 | 17.69 | A | A | A | 0.17 |
| 49 | 10.1 | 0.3 | 0.00 | 6.64 | A | A | A | 0.00 |
| 50 | 10.1 | 0.2 | 0.00 | 6.26 | A | A | A | 0.00 |
| 51 | 10.2 | 0.2 | 0.99 | 6.26 | A | A | A | 0.17 |
| 52 | 10.96 | 0.87 | 8.51 | 9.91 | A | A | A | 1.43 |
| 53 | 15.56 | 1.44 | 54.06 | 11.00 | N | N | N | 9.10 |
| 55 | 10.33 | 0.49 | 2.28 | 7.60 | A | A | A | 0.38 |
| 56 | 9.4 | 0.6 | -6.93 | 8.72 | A | A | A | 1.17 |
| 57 | 9.95 | 1.03 | -1.49 | 11.94 | A | A | A | 0.25 |
| 58 | 9.80 | 0.79 | -2.97 | 10.01 | A | A | A | 0.50 |
| 59 | 10.1 | 0.6 | 0.00 | 8.40 | A | A | A | 0.00 |
| 60 | 10.58 | 0.94 | 4.75 | 10.69 | A | A | A | 0.80 |
| 61 | 10.26 | 2.56 | 1.58 | 25.65 | A | A | A | 0.27 |
| 61 | 10.2 | 0.51 | 0.99 | 7.76 | A | A | A | 0.17 |
| 62 | 10.0 | 0.5 | -0.99 | 7.76 | A | A | A | 0.17 |
| 63 | 10.50 | 0.86 | 3.96 | 10.12 | A | A | A | 0.67 |
| 64 | 10.2 | 1.1 | 0.99 | 12.31 | A | A | A | 0.17 |
| 67 | 9.97 | 0.63 | -1.29 | 8.67 | A | A | A | 0.22 |
| 68 | 10.4 | 0.5 | 2.97 | 7.64 | A | A | A | 0.50 |
| 69 | 9.78 | 0.23 | -3.17 | 6.39 | A | A | A | 0.53 |
| 70 | 11.0 | 1.6 | 8.91 | 15.71 | A | A | A | 1.50 |
| 71 | 10.08 | 0.12 | -0.20 | 6.06 | A | A | A | 0.03 |
| 74 | 10.35 | 0.86 | 2.48 | 10.21 | A | A | A | 0.42 |

TABLE 24. Evaluation Results for Am-241 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 75 | 10.1 | 0.9 | 0.00 | 10.71 | A | A | A | 0.00 |
| 76 | 10.4 | 0.50 | 2.97 | 7.64 | A | A | A | 0.50 |
| 77 | 11.0 | 0.809 | 8.91 | 9.45 | A | A | A | 1.50 |
| 78 | 10.0 | 0.5 | -0.99 | 7.76 | A | A | A | 0.17 |
| 79 | 6.99 | 1.90 | -30.79 | 27.82 | N | A | N | 5.18 |
| 81 | 9.8 | 0.5 | -2.97 | 7.83 | A | A | A | 0.50 |
| 81 | 9.8 | 0.5 | -2.97 | 7.83 | A | A | A | 0.50 |
| 83 | 10.1 | 0.8 | 0.00 | 9.90 | A | A | A | 0.00 |
| 83 | 10.09 | 0.25 | -0.10 | 6.44 | A | A | A | 0.02 |
| 84 | 10.184 | 0.447 | 0.83 | 7.39 | A | A | A | 0.14 |
| 84 | 10.878 | 0.503 | 7.70 | 7.53 | A | A | A | 1.30 |
| 87 | 6.036 | 0.1518 | -40.24 | 6.45 | N | N | N | 6.77 |
| 87 | 10.6 | 0.6 | 4.95 | 8.21 | A | A | A | 0.83 |
| 88 | 10.3 | 0.7 | 1.98 | 9.03 | A | A | A | 0.33 |
| 88 | 10.3 | 0.7 | 1.98 | 9.03 | A | A | A | 0.33 |
| 90 | 9.68 | 1.30 | -4.16 | 14.68 | A | A | A | 0.70 |
| 91 | 10.5 | 0.5 | 3.96 | 7.61 | A | A | A | 0.67 |
| 92 | 8.87 | 0.57 | -12.18 | 8.75 | A | A | A | 2.05 |
| 93 | 9.87 | 0.36 | -2.28 | 6.97 | A | A | A | 0.38 |
| 94 | 10.6 | 0.5 | 4.95 | 7.59 | A | A | A | 0.83 |
| 96 | 9.93 | 0.42 | -1.68 | 7.29 | A | A | A | 0.28 |
| 97 | 11.23 | 0.23 | 11.19 | 6.28 | A | A | A | 1.88 |
| 98 | 10.3 | 0.6 | 1.98 | 8.32 | A | A | A | 0.33 |
| 101 | 10.1 | 1 | 0.00 | 11.55 | A | A | A | 0.00 |
| 106 | 8.84 | 0.354 | -12.48 | 7.16 | A | A | A | 2.10 |
| 107 | 9.87 | 1.02 | -2.28 | 11.92 | A | A | A | 0.38 |
| 109 | 10.60 | 0.79 | 4.95 | 9.53 | A | A | A | 0.83 |
| 110 | 10.3 | 0.755 | 1.98 | 9.44 | A | A | A | 0.33 |
| 111 | 10.1 | 0.41 | 0.00 | 7.20 | A | A | A | 0.00 |
| 113 | 9.33 | 0.22 | -7.62 | 6.39 | A | A | A | 1.28 |
| 114 | 10.7 | 0.6 | 5.94 | 8.17 | A | A | A | 1.00 |
| 115 | 10.07 | 0.57 | -0.30 | 8.21 | A | A | A | 0.05 |
| 117 | 9.8 | 1.0 | -2.97 | 11.81 | A | A | A | 0.50 |
| 118 | 9.8 | 1 | -2.97 | 11.81 | A | A | A | 0.50 |
| 119 | 9.742 | 1.218 | -3.54 | 13.84 | A | A | A | 0.60 |
| 119 | 10.193 | 1.427 | 0.92 | 15.21 | A | A | A | 0.15 |
| 120 | 9.8 | 0.4 | -2.97 | 7.21 | A | A | A | 0.50 |
| 121 | 10.954 | 0.304 | 8.46 | 6.56 | A | A | A | 1.42 |
| 123 | 9.5 | 1.0 | -5.94 | 12.09 | A | A | A | 1.00 |
| 124 | 11.21 | 0.32 | 10.99 | 6.59 | A | A | A | 1.85 |
| 126 | 10.39 | 0.6 | 2.87 | 8.28 | A | A | A | 0.48 |
| 127 | 10.32 | 1.24 | 2.18 | 13.40 | A | A | A | 0.37 |
| 128 | 10.2 | 0.6 | 0.99 | 8.36 | A | A | A | 0.17 |
| 128 | 10.6 | 0.5 | 4.95 | 7.59 | A | A | A | 0.83 |
| 129 | 10.6 | 0.6 | 4.95 | 8.21 | A | A | A | 0.83 |
| 130 | 10.7 | 0.2 | 5.94 | 6.23 | A | A | A | 1.00 |
| 132 | 9.7 | 1.0 | -3.96 | 11.90 | A | A | A | 0.67 |
| 133 | 9.7 | 1.2 | -3.96 | 13.72 | A | A | A | 0.67 |
| 133 | 10.2 | 1.4 | 0.99 | 14.96 | A | A | A | 0.17 |
| 134 | 11.46 | 1.16 | 13.47 | 11.74 | A | A | A | 2.27 |
| 135 | 10 | 1 | -0.99 | 11.63 | A | A | A | 0.17 |
| 135 | 9.8 | 1.2 | -2.97 | 13.61 | A | A | A | 0.50 |
| 136 | 11.0 | 0.8 | 8.91 | 9.39 | A | A | A | 1.50 |
| 137 | 9.47 | 0.29 | -6.24 | 6.68 | A | A | A | 1.05 |

TABLE 24. Evaluation Results for Am-241 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 138 | 10.218 | 1.049 | 1.17 | 11.86 | A | A | A | 0.20 |
| 139 | 9.69 | 0.9 | -4.06 | 11.03 | A | A | A | 0.68 |
| 139 | 10.1 | 0.15 | 0.00 | 6.12 | A | A | A | 0.00 |
| 140 | 10.1 | 0.67 | 0.00 | 8.90 | A | A | A | 0.00 |
| 140 | 10.4 | 1.2 | 2.97 | 12.98 | A | A | A | 0.50 |
| 141 | 10.3 | 1.6 | 1.98 | 16.63 | A | A | A | 0.33 |
| 143 | 10.4 | 0.57 | 2.97 | 8.08 | A | A | A | 0.50 |
| 145 | 10.7 | 0.4 | 5.94 | 7.02 | A | A | A | 1.00 |
| 146 | 11.816 | 0.119 | 16.99 | 6.03 | A | N | W | 2.86 |
| 146 | 11.816 | 0.119 | 16.99 | 6.03 | A | N | W | 2.86 |
| 147 | 10.27 | 0.38 | 1.68 | 7.00 | A | A | A | 0.28 |
| 148 | 9.73 | 0.30 | -3.66 | 6.69 | A | A | A | 0.62 |
| 149 | 15.1 | 1.1 | 49.50 | 9.40 | N | N | N | 8.33 |
| 150 | 10.070 | 0.655 | -0.30 | 8.81 | A | A | A | 0.05 |
| 152 | 9.03 | 0.61 | -10.59 | 9.00 | A | A | A | 1.78 |
| 153 | 11.3 | 0.9 | 11.88 | 9.94 | A | A | A | 2.00 |
| 154 | 10.07 | 0.61 | -0.30 | 8.48 | A | A | A | 0.05 |
| 155 | 9.70 | 0.85 | -3.96 | 10.59 | A | A | A | 0.67 |
| 156 | 10.4 | 0.9 | 2.97 | 10.50 | A | A | A | 0.50 |
| 157 | 10.7 | 1.1 | 5.94 | 11.87 | A | A | A | 1.00 |
| 158 | 10.229 | 0.716 | 1.28 | 9.18 | A | A | A | 0.21 |
| 159 | 10.5 | 0.5 | 3.96 | 7.61 | A | A | A | 0.67 |
| 160 | 10.5 | 0.6 | 3.96 | 8.24 | A | A | A | 0.67 |
| 161 | 11.5 | 1.3 | 13.86 | 12.77 | A | A | A | 2.33 |
| 162 | 10.1 | 1.1 | 0.00 | 12.41 | A | A | A | 0.00 |
| 163 | 8.32 | 0.76 | -17.62 | 10.90 | A | A | A | 2.97 |
| 163 | 8.32 | 0.76 | -17.62 | 10.90 | A | A | A | 2.97 |
| 164 | 10.6 | 1.3 | 4.95 | 13.63 | A | A | A | 0.83 |
| 165 | 10.77 | 0.32 | 6.63 | 6.64 | A | A | A | 1.12 |
| 166 | 10.7 | 0.6 | 5.94 | 8.17 | A | A | A | 1.00 |
| 167 | 10.1 | 0.7 | 0.00 | 9.13 | A | A | A | 0.00 |
| 169 | 9.58 | 0.87 | -5.15 | 10.85 | A | A | A | 0.87 |
| 171 | 11.2 | 0.6 | 10.89 | 8.00 | A | A | A | 1.83 |
| 172 | 10.18 | 0.64 | 0.79 | 8.65 | A | A | A | 0.13 |
| 173 | 11.42 | 0.62 | 13.07 | 8.05 | A | A | A | 2.20 |
| 175 | 9.9 | 0.7 | -1.98 | 9.24 | A | A | A | 0.33 |
| 177 | 10.8 | 0.6 | 6.93 | 8.13 | A | A | A | 1.17 |
| 178 | 11.0 | 1.2 | 8.91 | 12.42 | A | A | A | 1.50 |
| 179 | 9.2501 | 0.68596 | -8.41 | 9.50 | A | A | A | 1.42 |
| 180 | 9.12 | 0.74 | -9.70 | 10.06 | A | A | A | 1.63 |
| 182 | 9.9 | 0.5 | -1.98 | 7.80 | A | A | A | 0.33 |
| 183 | 10.15 | 0.76 | 0.50 | 9.56 | A | A | A | 0.08 |
| 187 | 10.2 | 0.6 | 0.99 | 8.36 | A | A | A | 0.17 |
| 187 | 10.3 | 0.7 | 1.98 | 9.03 | A | A | A | 0.33 |
| 189 | 9.88 | 0.99 | -2.18 | 11.65 | A | A | A | 0.37 |
| 191 | 10.2 | 0.6 | 0.99 | 8.36 | A | A | A | 0.17 |
| 192 | 6.96 | 1.35 | -31.09 | 20.29 | N | A | N | 5.23 |
| 192 | 9.70 | 1.11 | -3.96 | 12.89 | A | A | A | 0.67 |
| 194 | 4.5 | 25 | -55.45 | 555.59 | N | N | N | 9.33 |
| 195 | 9.8 | 0.42 | -2.97 | 7.33 | A | A | A | 0.50 |
| 196 | 10.2 | 1.42 | 0.99 | 15.14 | A | A | A | 0.17 |
| 198 | 9.93 | 0.64 | -1.68 | 8.77 | A | A | A | 0.28 |
| 201 | 9.2 | 0.9 | -8.91 | 11.45 | A | A | A | 1.50 |
| 202 | 9.71 | 0.52 | -3.86 | 8.00 | A | A | A | 0.65 |

TABLE 24. Evaluation Results for Am-241 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 203 | 10.6 | 0.8 | 4.95 | 9.60 | A | A | A | 0.83 |
| 204 | 10.3 | 0.92 | 1.98 | 10.73 | A | A | A | 0.33 |
| 204 | 10.3 | 0.92 | 1.98 | 10.73 | A | A | A | 0.33 |
| 206 | 9.66 | 0.07 | -4.36 | 5.98 | A | A | A | 0.73 |
| 207 | 9.99 | 2.17 | -1.09 | 22.52 | A | A | A | 0.18 |
| 210 | 9.8 | 0.5 | -2.97 | 7.83 | A | A | A | 0.50 |
| 213 | 9.9 | 0.5 | -1.98 | 7.80 | A | A | A | 0.33 |
| 214 | 9.9 | 0.6 | -1.98 | 8.49 | A | A | A | 0.33 |
| 215 | 9.91 | 0.88 | -1.88 | 10.68 | A | A | A | 0.32 |
| 216 | 10.1 | 0.2 | 0.00 | 6.26 | A | A | A | 0.00 |
| 216 | 10.1 | 0.2 | 0.00 | 6.26 | A | A | A | 0.00 |
| 217 | 10.2 | 1.0 | 0.99 | 11.46 | A | A | A | 0.17 |
| 218 | 10.26 | 1.2 | 1.58 | 13.12 | A | A | A | 0.27 |
| 219 | 9.93 | 0.2 | -1.68 | 6.27 | A | A | A | 0.28 |
| 220 | 9.99 | 1.5 | -1.09 | 16.15 | A | A | A | 0.18 |
| 221 | 10.19 | 0.39 | 0.89 | 7.07 | A | A | A | 0.15 |
| 222 | 10.4 | 1.2 | 2.97 | 12.98 | A | A | A | 0.50 |
| 223 | 10.31 | 0.24 | 2.08 | 6.38 | A | A | A | 0.35 |
| 224 | 10.37 | 0.28 | 2.67 | 6.53 | A | A | A | 0.45 |
| 226 | 8.68 | 0.448 | -14.06 | 7.87 | A | A | A | 2.37 |
| 226 | 8.38 | 0.78 | -17.03 | 11.04 | A | A | A | 2.87 |
| 227 | 9.4 | 0.24 | -6.93 | 6.47 | A | A | A | 1.17 |
| 228 | 8.57 | 1.27 | -15.15 | 15.97 | A | A | A | 2.55 |
| 230 | 10.9 | 0.7 | 7.92 | 8.75 | A | A | A | 1.33 |
| 231 | 9.2 | 0.9 | -8.91 | 11.45 | A | A | A | 1.50 |
| 233 | 4.7 | 0.47 | -53.47 | 11.63 | N | N | N | 9.00 |
| 235 | 10.25 | 0.94 | 1.49 | 10.93 | A | A | A | 0.25 |
| 237 | 9.78 | 0.19 | -3.17 | 6.25 | A | A | A | 0.53 |
| 238 | 9.8 | 0.5 | -2.97 | 7.83 | A | A | A | 0.50 |
| 239 | 9.34 | 1.35 | -7.52 | 15.63 | A | A | A | 1.27 |
| 243 | 10.03 | 0.51 | -0.69 | 7.82 | A | A | A | 0.12 |
| 244 | 10.4 | 1.0 | 2.97 | 11.30 | A | A | A | 0.50 |
| 246 | 9.5 | 0.5 | -5.94 | 7.94 | A | A | A | 1.00 |
| 247 | 9.86 | 0.52 | -2.38 | 7.94 | A | A | A | 0.40 |
| 247 | 10.12 | 0.50 | 0.20 | 7.73 | A | A | A | 0.03 |
| 248 | 10.29 | 0.39 | 1.88 | 7.05 | A | A | A | 0.32 |
| 249 | 27 | 16 | 167.33 | 59.56 | N | N | N | 28.17 |
| 250 | 9.88 | 0.47 | -2.18 | 7.61 | A | A | A | 0.37 |
| 251 | 10.8 | 0.62 | 6.93 | 8.26 | A | A | A | 1.17 |
| 253 | 10.65 | 0.50 | 5.45 | 7.57 | A | A | A | 0.92 |
| 255 | 10.0 | 0.8 | -0.99 | 9.96 | A | A | A | 0.17 |
| 256 | 5.16 | 0.46 | -48.91 | 10.71 | N | N | N | 8.23 |
| 258 | 9.67 | 0.215 | -4.26 | 6.34 | A | A | A | 0.72 |
| 259 | 10.32 | 1.07 | 2.18 | 11.95 | A | A | A | 0.37 |
| 261 | 10.1 | 0.8 | 0.00 | 9.90 | A | A | A | 0.00 |
| 262 | 10.4 | 1.35 | 2.97 | 14.28 | A | A | A | 0.50 |
| 264 | 9.72 | 1.17 | -3.76 | 13.42 | A | A | A | 0.63 |
| 265 | 11.84 | 0.36 | 17.23 | 6.67 | A | N | W | 2.90 |
| 266 | 10.51 | 1.23 | 4.06 | 13.12 | A | A | A | 0.68 |
| 269 | 10.49 | 0.63 | 3.86 | 8.45 | A | A | A | 0.65 |
| 271 | 10.2 | 0.6 | 0.99 | 8.36 | A | A | A | 0.17 |
| 272 | 10.17 | 0.95 | 0.69 | 11.07 | A | A | A | 0.12 |
| 272 | 10.56 | 0.93 | 4.55 | 10.62 | A | A | A | 0.77 |
| 273 | 10.8 | 0.5 | 6.93 | 7.53 | A | A | A | 1.17 |

TABLE 24. Evaluation Results for Am-241 in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 274 | 10.04 | 2.452 | -0.59 | 25.13 | A | A | A | 0.10 |
| 276 | 11.91 | 1.25 | 17.92 | 12.06 | A | A | A | 3.02 |
| 278 | 10.7 | 1.0 | 5.94 | 11.07 | A | A | A | 1.00 |
| 281 | 10.3 | 0.7 | 1.98 | 9.03 | A | A | A | 0.33 |
| 284 | 9.84 | 0.52 | -2.57 | 7.95 | A | A | A | 0.43 |
| 285 | 9.26 | 0.78 | -8.32 | 10.31 | A | A | A | 1.40 |
| 286 | 9.9 | 0.5 | -1.98 | 7.80 | A | A | A | 0.33 |
| 287 | 10.73 | 0.674 | 6.24 | 8.65 | A | A | A | 1.05 |
| 288 | 10.1 | 1.0 | 0.00 | 11.55 | A | A | A | 0.00 |
| 289 | 10.3 | 0.6 | 1.98 | 8.32 | A | A | A | 0.33 |
| 290 | 9.36 | 0.41 | -7.33 | 7.38 | A | A | A | 1.23 |
| 292 | 10.3 | 1.4 | 1.98 | 14.83 | A | A | A | 0.33 |
| 295 | 10.99 | 1.69 | 8.81 | 16.49 | A | A | A | 1.48 |
| 296 | 10.7 | 0.4 | 5.94 | 7.02 | A | A | A | 1.00 |
| 298 | 10.28 | 0.16 | 1.78 | 6.14 | A | A | A | 0.30 |
| 299 | 7.83 | 0.83 | -22.48 | 12.15 | A | A | A | 3.78 |
| 301 | 11.9 | 0.4 | 17.82 | 6.83 | A | N | W | 3.00 |
| 303 | 9.97 | 0.44 | -1.29 | 7.40 | A | A | A | 0.22 |
| 304 | 11.8 | 0.43 | 16.83 | 6.97 | A | A | A | 2.83 |
| 305 | 10.0 | 2.566 | -0.99 | 26.34 | A | A | A | 0.17 |
| 305 | 10.015 | 2.566 | -0.84 | 26.30 | A | A | A | 0.14 |
| 306 | 9.3 | 0.7 | -7.92 | 9.59 | A | A | A | 1.33 |
| 309 | 10.69 | 1.249 | 5.84 | 13.11 | A | A | A | 0.98 |
| 310 | 10.25 | 1.59 | 1.49 | 16.61 | A | A | A | 0.25 |
| 312 | 9.54 | 0.41 | -5.54 | 7.33 | A | A | A | 0.93 |
| 313 | 10.6 | 0.7 | 4.95 | 8.88 | A | A | A | 0.83 |

12

14

Reported Results for Cs-134 Determination in Sample 3

TABLE 25. Target values

| Parameter | Value |
| --- | --- |
| Target Value, Bq/kg | 12.1 |
| UNC, Bq/kg | 0.7 |
| MARB, % | 20 |

Accepted 82%

Not Reported 11%

Warning 2%

Not Accepted 5%

16

FIGURE 25. Percentage of Accepted vs. Warnings vs. Not Accepted vs. Not Reported results

Concentration [ Bq/kg ]

8

10

297

135

42

231

276

137

299

241

307

160

33

226

5

124

138

25

285

52

162

246

109

20

219

259

69

32

163

139

278

132

183

217

167

178

215

7

90

127

87

28

258

192

16

250

224

101

310

301

230

161

223

67

83

152

19

110

18

281

222

97

96

266

55

159

36

13

91

213

251

23

68

244

218

140

46

182

298

58

150

111

234

107

289

238

157

175

115

220

76

123

261

39

204

24

156

22

92

172

201

27

62

65

312

35

221

106

166

296

133

203

247

119

79

53

147

168

17

171

239

233

12

94

274

304

Labcode

FIGURE 26. Reported results and evaluation parameters for Cs-134. Blue points represent accepted scores, whereas yellow and red represent warning and not accepted scores respectively.

TABLE 26. Evaluation Results for Cs-134 in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 11.6 | 0.42 | -4.13 | 6.82 | A | A | A | 0.71 |
| 4 | 12.29 | 0.23 | 1.57 | 6.08 | A | A | A | 0.27 |
| 5 | 10.45 | 0.32 | -13.64 | 6.55 | A | A | A | 2.36 |
| 6 | 12.88 | 0.81 | 6.45 | 8.54 | A | A | A | 1.11 |
| 7 | 11.6 | 0.5 | -4.13 | 7.21 | A | A | A | 0.71 |
| 8 | 12.0 | 1.0 | -0.83 | 10.14 | A | A | A | 0.14 |
| 9 | 12.51 | 0.40 | 3.39 | 6.61 | A | A | A | 0.59 |
| 10 | 14.55 | 2.98 | 20.25 | 21.28 | N | N | N | 3.50 |
| 11 | 11.4 | 1.1 | -5.79 | 11.25 | A | A | A | 1.00 |
| 12 | 13.1 | 0.5 | 8.26 | 6.93 | A | A | A | 1.43 |
| 13 | 12 | 1 | -0.83 | 10.14 | A | A | A | 0.14 |
| 14 | 12.57 | 0.48 | 3.88 | 6.93 | A | A | A | 0.67 |
| 16 | 11.77 | 0.24 | -2.73 | 6.13 | A | A | A | 0.47 |
| 17 | 12.9 | 1.7 | 6.61 | 14.39 | A | A | A | 1.14 |
| 18 | 11.90 | 0.97 | -1.65 | 10.00 | A | A | A | 0.29 |
| 19 | 11.90 | 1.14 | -1.65 | 11.19 | A | A | A | 0.29 |
| 20 | 11 | 0.5 | -9.09 | 7.36 | A | A | A | 1.57 |
| 21 | 12.1 | 0.5 | 0.00 | 7.11 | A | A | A | 0.00 |
| 22 | 12.319 | 0.160 | 1.81 | 5.93 | A | A | A | 0.31 |
| 23 | 12.02 | 0.35 | -0.66 | 6.48 | A | A | A | 0.11 |
| 24 | 12.3 | 0.5 | 1.65 | 7.07 | A | A | A | 0.29 |
| 25 | 10.59 | 0.73 | -12.48 | 9.00 | A | A | A | 2.16 |
| 26 | 11.7 | 0.4 | -3.31 | 6.72 | A | A | A | 0.57 |
| 27 | 12.4 | 0.52 | 2.48 | 7.15 | A | A | A | 0.43 |
| 28 | 11.7 | 0.6 | -3.31 | 7.73 | A | A | A | 0.57 |
| 29 | 12.36 | 0.46 | 2.15 | 6.88 | A | A | A | 0.37 |
| 31 | 12.1 | 1.0 | 0.00 | 10.09 | A | A | A | 0.00 |
| 32 | 11.3 | 0.2 | -6.61 | 6.05 | A | A | A | 1.14 |
| 33 | 10.37 | 0.57 | -14.30 | 7.98 | A | A | A | 2.47 |
| 34 | 12.63 | 0.74 | 4.38 | 8.23 | A | A | A | 0.76 |
| 35 | 12.5 | 0.6 | 3.31 | 7.52 | A | A | A | 0.57 |
| 36 | 12 | 3 | -0.83 | 25.66 | A | N | W | 0.14 |
| 37 | 12.0 | 0.7 | -0.83 | 8.22 | A | A | A | 0.14 |
| 38 | 13 | 0.8 | 7.44 | 8.45 | A | A | A | 1.29 |
| 39 | 12.3 | 0.7 | 1.65 | 8.12 | A | A | A | 0.29 |
| 40 | 12.2 | 0.2 | 0.83 | 6.01 | A | A | A | 0.14 |
| 41 | 12.2 | 0.87 | 0.83 | 9.18 | A | A | A | 0.14 |
| 42 | 5.91 | 0.24 | -51.16 | 7.07 | N | N | N | 8.84 |
| 43 | 12.3 | 0.6 | 1.65 | 7.57 | A | A | A | 0.29 |
| 45 | 12.18 | 0.55 | 0.66 | 7.34 | A | A | A | 0.11 |
| 46 | 12.1 | 0.6 | 0.00 | 7.62 | A | A | A | 0.00 |
| 47 | 11.8 | 1.0 | -2.48 | 10.26 | A | A | A | 0.43 |
| 49 | 11.9 | 0.7 | -1.65 | 8.25 | A | A | A | 0.29 |
| 50 | 12.1 | 0.2 | 0.00 | 6.02 | A | A | A | 0.00 |
| 51 | 12.7 | 0.2 | 4.96 | 6.00 | A | A | A | 0.86 |
| 52 | 10.73 | 0.92 | -11.32 | 10.34 | A | A | A | 1.96 |
| 53 | 12.77 | 0.33 | 5.54 | 6.34 | A | A | A | 0.96 |
| 55 | 11.98 | 0.47 | -0.99 | 6.99 | A | A | A | 0.17 |
| 56 | 11.5 | 0.7 | -4.96 | 8.40 | A | A | A | 0.86 |
| 57 | 11.81 | 0.59 | -2.40 | 7.64 | A | A | A | 0.41 |
| 58 | 12.15 | 0.20 | 0.41 | 6.01 | A | A | A | 0.07 |
| 59 | 11.5 | 0.8 | -4.96 | 9.05 | A | A | A | 0.86 |
| 60 | 12.2 | 1.0 | 0.83 | 10.03 | A | A | A | 0.14 |

TABLE 26. Evaluation Results for Cs-134 in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 61 | 11.8 | 0.54 | -2.48 | 7.38 | A | A | A | 0.43 |
| 62 | 12.4 | 0.51 | 2.48 | 7.10 | A | A | A | 0.43 |
| 63 | 11.83 | 0.51 | -2.23 | 7.21 | A | A | A | 0.39 |
| 64 | 11.9 | 0.6 | -1.65 | 7.67 | A | A | A | 0.29 |
| 65 | 12.41 | 0.17 | 2.56 | 5.95 | A | A | A | 0.44 |
| 67 | 11.88 | 0.85 | -1.82 | 9.20 | A | A | A | 0.31 |
| 68 | 12.05 | 0.54 | -0.41 | 7.32 | A | A | A | 0.07 |
| 69 | 11.25 | 0.10 | -7.02 | 5.85 | A | A | A | 1.21 |
| 70 | 13.1 | 0.3 | 8.26 | 6.22 | A | A | A | 1.43 |
| 71 | 11.78 | 0.26 | -2.64 | 6.19 | A | A | A | 0.46 |
| 72 | 11.8 | 0.8 | -2.48 | 8.91 | A | A | A | 0.43 |
| 74 | 11.85 | 0.77 | -2.07 | 8.70 | A | A | A | 0.36 |
| 75 | 12.8 | 0.6 | 5.79 | 7.45 | A | A | A | 1.00 |
| 76 | 12.3 | 0.30 | 1.65 | 6.28 | A | A | A | 0.29 |
| 78 | 11.9 | 0.4 | -1.65 | 6.69 | A | A | A | 0.29 |
| 79 | 12.7 | 0.9 | 4.96 | 9.15 | A | A | A | 0.86 |
| 80 | 10.55 | 0.30 | -12.81 | 6.45 | A | A | A | 2.21 |
| 81 | 12.3 | 0.6 | 1.65 | 7.57 | A | A | A | 0.29 |
| 83 | 11.89 | 0.50 | -1.74 | 7.15 | A | A | A | 0.30 |
| 84 | 11.974 | 0.561 | -1.04 | 7.44 | A | A | A | 0.18 |
| 85 | 12.2 | 0.40 | 0.83 | 6.65 | A | A | A | 0.14 |
| 86 | 10.9 | 0.855 | -9.92 | 9.75 | A | A | A | 1.71 |
| 87 | 11.7 | 0.45 | -3.31 | 6.95 | A | A | A | 0.57 |
| 88 | 12.0 | 0.6 | -0.83 | 7.65 | A | A | A | 0.14 |
| 90 | 11.6 | 0.34 | -4.13 | 6.49 | A | A | A | 0.71 |
| 91 | 12.0 | 0.6 | -0.83 | 7.65 | A | A | A | 0.14 |
| 92 | 12.36 | 0.41 | 2.15 | 6.67 | A | A | A | 0.37 |
| 93 | 12.3 | 0.17 | 1.65 | 5.95 | A | A | A | 0.29 |
| 94 | 13.4 | 0.7 | 10.74 | 7.79 | A | A | A | 1.86 |
| 95 | 11.72 | 0.26 | -3.14 | 6.20 | A | A | A | 0.54 |
| 96 | 11.96 | 0.16 | -1.16 | 5.94 | A | A | A | 0.20 |
| 97 | 11.91 | 0.82 | -1.57 | 8.99 | A | A | A | 0.27 |
| 98 | 12.4 | 0.7 | 2.48 | 8.08 | A | A | A | 0.43 |
| 99 | 11.43 | 1.37 | -5.54 | 13.31 | A | A | A | 0.96 |
| 101 | 11.8 | 1.2 | -2.48 | 11.70 | A | A | A | 0.43 |
| 102 | 11.6 | 0.654 | -4.13 | 8.08 | A | A | A | 0.71 |
| 103 | 12.4 | 0.56 | 2.48 | 7.34 | A | A | A | 0.43 |
| 105 | 10.50 | 1.20 | -13.22 | 12.81 | A | A | A | 2.29 |
| 106 | 12.57 | 0.52 | 3.88 | 7.11 | A | A | A | 0.67 |
| 107 | 12.2 | 0.47 | 0.83 | 6.95 | A | A | A | 0.14 |
| 109 | 10.90 | 0.42 | -9.92 | 6.95 | A | A | A | 1.71 |
| 110 | 11.9 | 0.761 | -1.65 | 8.62 | A | A | A | 0.29 |
| 111 | 12.2 | 1.17 | 0.83 | 11.20 | A | A | A | 0.14 |
| 113 | 11.58 | 0.12 | -4.30 | 5.88 | A | A | A | 0.74 |
| 114 | 11.4 | 0.6 | -5.79 | 7.82 | A | A | A | 1.00 |
| 115 | 12.21 | 0.66 | 0.91 | 7.92 | A | A | A | 0.16 |
| 117 | 12.0 | 0.5 | -0.83 | 7.13 | A | A | A | 0.14 |
| 118 | 10.6 | 0.2 | -12.40 | 6.09 | A | A | A | 2.14 |
| 119 | 12.659 | 1.329 | 4.62 | 11.99 | A | A | A | 0.80 |
| 120 | 11.9 | 0.5 | -1.65 | 7.15 | A | A | A | 0.29 |
| 121 | 12.083 | 0.479 | -0.14 | 7.01 | A | A | A | 0.02 |
| 123 | 12.3 | 0.8 | 1.65 | 8.70 | A | A | A | 0.29 |
| 124 | 10.46 | 0.30 | -13.55 | 6.46 | A | A | A | 2.34 |
| 126 | 11.77 | 0.86 | -2.73 | 9.32 | A | A | A | 0.47 |

TABLE 26. Evaluation Results for Cs-134 in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 127 | 11.65 | 0.93 | -3.72 | 9.86 | A | A | A | 0.64 |
| 128 | 13.1 | 0.6 | 8.26 | 7.38 | A | A | A | 1.43 |
| 129 | 12.3 | 0.7 | 1.65 | 8.12 | A | A | A | 0.29 |
| 130 | 12.2 | 0.12 | 0.83 | 5.87 | A | A | A | 0.14 |
| 132 | 11.4 | 0.4 | -5.79 | 6.77 | A | A | A | 1.00 |
| 133 | 12.6 | 1.3 | 4.13 | 11.83 | A | A | A | 0.71 |
| 134 | 10.4 | 0.5 | -14.05 | 7.52 | A | A | A | 2.43 |
| 135 | 3.6 | 0.6 | -70.25 | 17.64 | N | N | N | 12.14 |
| 136 | 12.2 | 1.0 | 0.83 | 10.03 | A | A | A | 0.14 |
| 137 | 9.49 | 0.20 | -21.57 | 6.16 | N | N | N | 3.73 |
| 138 | 10.5251 | 0.3968 | -13.02 | 6.91 | A | A | A | 2.25 |
| 139 | 11.4 | 0.17 | -5.79 | 5.97 | A | A | A | 1.00 |
| 140 | 12.1 | 0.8 | 0.00 | 8.79 | A | A | A | 0.00 |
| 143 | 11.8 | 0.54 | -2.48 | 7.38 | A | A | A | 0.43 |
| 145 | 12.0 | 0.4 | -0.83 | 6.68 | A | A | A | 0.14 |
| 146 | 10.77 | 0.0394 | -10.99 | 5.80 | A | A | A | 1.90 |
| 147 | 12.80 | 0.36 | 5.79 | 6.43 | A | A | A | 1.00 |
| 148 | 11.22 | 0.82 | -7.27 | 9.32 | A | A | A | 1.26 |
| 149 | 10.1 | 0.3 | -16.53 | 6.50 | A | A | A | 2.86 |
| 150 | 12.185 | 0.807 | 0.70 | 8.79 | A | A | A | 0.12 |
| 152 | 11.9 | 0.6 | -1.65 | 7.67 | A | A | A | 0.29 |
| 153 | 7.7 | 0.2 | -36.36 | 6.34 | N | N | N | 6.29 |
| 154 | 11.97 | 0.51 | -1.07 | 7.18 | A | A | A | 0.19 |
| 155 | 9.58 | 0.60 | -20.83 | 8.53 | N | A | N | 3.60 |
| 156 | 12.3 | 0.9 | 1.65 | 9.33 | A | A | A | 0.29 |
| 157 | 12.2 | 0.9 | 0.83 | 9.37 | A | A | A | 0.14 |
| 158 | 11.932 | 0.716 | -1.39 | 8.34 | A | A | A | 0.24 |
| 159 | 12.0 | 0.5 | -0.83 | 7.13 | A | A | A | 0.14 |
| 160 | 10.2 | 0.2 | -15.70 | 6.11 | A | A | A | 2.71 |
| 161 | 11.82 | 0.8 | -2.31 | 8.90 | A | A | A | 0.40 |
| 162 | 10.8 | 0.7 | -10.74 | 8.69 | A | A | A | 1.86 |
| 163 | 11.32 | 0.6 | -6.45 | 7.85 | A | A | A | 1.11 |
| 164 | 11.00 | 0.78 | -9.09 | 9.15 | A | A | A | 1.57 |
| 165 | 12.22 | 0.40 | 0.99 | 6.65 | A | A | A | 0.17 |
| 166 | 12.6 | 0.4 | 4.13 | 6.60 | A | A | A | 0.71 |
| 167 | 11.5 | 0.7 | -4.96 | 8.40 | A | A | A | 0.86 |
| 168 | 12.87 | 0.32 | 6.36 | 6.30 | A | A | A | 1.10 |
| 169 | 11.34 | 0.32 | -6.28 | 6.44 | A | A | A | 1.09 |
| 171 | 13.0 | 1.6 | 7.44 | 13.60 | A | A | A | 1.29 |
| 172 | 12.37 | 0.62 | 2.23 | 7.65 | A | A | A | 0.39 |
| 173 | 12.59 | 0.34 | 4.05 | 6.38 | A | A | A | 0.70 |
| 175 | 12.2 | 0.6 | 0.83 | 7.59 | A | A | A | 0.14 |
| 176 | 9.9 | 0.4 | -18.18 | 7.06 | A | A | A | 3.14 |
| 177 | 11.3 | 0.9 | -6.61 | 9.84 | A | A | A | 1.14 |
| 178 | 11.5 | 0.5 | -4.96 | 7.24 | A | A | A | 0.86 |
| 179 | 12.109 | 0.35063 | 0.07 | 6.47 | A | A | A | 0.01 |
| 180 | 11.5 | 0.6 | -4.96 | 7.79 | A | A | A | 0.86 |
| 181 | 11.66 | 0.80 | -3.64 | 8.97 | A | A | A | 0.63 |
| 182 | 12.1 | 0.3 | 0.00 | 6.29 | A | A | A | 0.00 |
| 183 | 11.49 | 0.28 | -5.04 | 6.28 | A | A | A | 0.87 |
| 184 | 12.3 | 0.5 | 1.65 | 7.07 | A | A | A | 0.29 |
| 185 | 11.7 | 1.5 | -3.31 | 14.07 | A | A | A | 0.57 |
| 187 | 11.9 | 0.6 | -1.65 | 7.67 | A | A | A | 0.29 |
| 188 | 11.9 | 0.88 | -1.65 | 9.39 | A | A | A | 0.29 |

TABLE 26. Evaluation Results for Cs-134 in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 189 | 12.14 | 1.00 | 0.33 | 10.07 | A | A | A | 0.06 |
| 191 | 12.0 | 0.7 | -0.83 | 8.22 | A | A | A | 0.14 |
| 192 | 11.75 | 0.49 | -2.89 | 7.13 | A | A | A | 0.50 |
| 193 | 1.351 | 0.084 | -88.83 | 8.49 | N | N | N | 15.36 |
| 194 | 33.1 | 5 | 173.55 | 16.18 | N | N | N | 30.00 |
| 195 | 12.6 | 0.56 | 4.13 | 7.30 | A | A | A | 0.71 |
| 196 | 12.5 | 0.673 | 3.31 | 7.90 | A | A | A | 0.57 |
| 197 | 10.7 | 2.5 | -11.57 | 24.07 | A | N | W | 2.00 |
| 198 | 12.83 | 0.76 | 6.03 | 8.28 | A | A | A | 1.04 |
| 201 | 12.4 | 0.5 | 2.48 | 7.05 | A | A | A | 0.43 |
| 202 | 11.5 | 0.6 | -4.96 | 7.79 | A | A | A | 0.86 |
| 203 | 12.6 | 0.6 | 4.13 | 7.49 | A | A | A | 0.71 |
| 204 | 12.3 | 0.81 | 1.65 | 8.77 | A | A | A | 0.29 |
| 206 | 13.58 | 0.06 | 12.23 | 5.80 | A | A | A | 2.11 |
| 207 | 12.02 | 0.42 | -0.66 | 6.76 | A | A | A | 0.11 |
| 209 | 12.3 | 2.4 | 1.65 | 20.35 | A | N | W | 0.29 |
| 210 | 12.1 | 0.4 | 0.00 | 6.66 | A | A | A | 0.00 |
| 213 | 12.0 | 0.6 | -0.83 | 7.65 | A | A | A | 0.14 |
| 214 | 10.4 | 0.3 | -14.05 | 6.46 | A | A | A | 2.43 |
| 215 | 11.55 | 0.95 | -4.55 | 10.06 | A | A | A | 0.79 |
| 216 | 12.7 | 0.2 | 4.96 | 6.00 | A | A | A | 0.86 |
| 217 | 11.5 | 0.84 | -4.96 | 9.32 | A | A | A | 0.86 |
| 218 | 12.1 | 0.56 | 0.00 | 7.41 | A | A | A | 0.00 |
| 219 | 11.1 | 0.3 | -8.26 | 6.39 | A | A | A | 1.43 |
| 220 | 12.27 | 0.5 | 1.40 | 7.08 | A | A | A | 0.24 |
| 221 | 12.53 | 0.33 | 3.55 | 6.36 | A | A | A | 0.61 |
| 222 | 11.9 | 0.8 | -1.65 | 8.87 | A | A | A | 0.29 |
| 223 | 11.85 | 0.07 | -2.07 | 5.82 | A | A | A | 0.36 |
| 224 | 11.8 | 0.08 | -2.48 | 5.82 | A | A | A | 0.43 |
| 226 | 10.40 | 1.19 | -14.05 | 12.82 | A | A | A | 2.43 |
| 227 | 12.65 | 0.3 | 4.55 | 6.25 | A | A | A | 0.79 |
| 228 | 12.6 | 1.6 | 4.13 | 13.95 | A | A | A | 0.71 |
| 230 | 11.8 | 0.8 | -2.48 | 8.91 | A | A | A | 0.43 |
| 231 | 8.1 | 0.8 | -33.06 | 11.45 | N | N | N | 5.71 |
| 233 | 13.1 | 0.64 | 8.26 | 7.57 | A | A | A | 1.43 |
| 234 | 12.20 | 0.40 | 0.83 | 6.65 | A | A | A | 0.14 |
| 235 | 11.9 | 0.27 | -1.65 | 6.21 | A | A | A | 0.29 |
| 237 | 12.47 | 0.24 | 3.06 | 6.10 | A | A | A | 0.53 |
| 238 | 12.2 | 0.4 | 0.83 | 6.65 | A | A | A | 0.14 |
| 239 | 13.04 | 1.89 | 7.77 | 15.61 | A | A | A | 1.34 |
| 241 | 9.87 | 0.50 | -18.43 | 7.69 | A | A | A | 3.19 |
| 244 | 12.1 | 1.3 | 0.00 | 12.20 | A | A | A | 0.00 |
| 246 | 10.9 | 0.3 | -9.92 | 6.41 | A | A | A | 1.71 |
| 247 | 12.65 | 0.50 | 4.55 | 7.01 | A | A | A | 0.79 |
| 248 | 12.39 | 0.36 | 2.40 | 6.47 | A | A | A | 0.41 |
| 249 | 3.93 | 5 | -67.52 | 127.36 | N | N | N | 11.67 |
| 250 | 11.79 | 0.24 | -2.56 | 6.13 | A | A | A | 0.44 |
| 251 | 12.01 | 0.93 | -0.74 | 9.67 | A | A | A | 0.13 |
| 253 | 12.34 | 0.21 | 1.98 | 6.03 | A | A | A | 0.34 |
| 255 | 13.1 | 0.4 | 8.26 | 6.54 | A | A | A | 1.43 |
| 256 | 11.3 | 0.27 | -6.61 | 6.26 | A | A | A | 1.14 |
| 258 | 11.7 | 0.282 | -3.31 | 6.27 | A | A | A | 0.57 |
| 259 | 11.2 | 0.47 | -7.44 | 7.15 | A | A | A | 1.29 |
| 261 | 12.3 | 0.9 | 1.65 | 9.33 | A | A | A | 0.29 |

TABLE 26. Evaluation Results for Cs-134 in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 262 | 12.6 | 1.63 | 4.13 | 14.17 | A | A | A | 0.71 |
| 263 | 12.033 | 0.852 | -0.55 | 9.14 | A | A | A | 0.10 |
| 264 | 11.8 | 1.16 | -2.48 | 11.41 | A | A | A | 0.43 |
| 266 | 11.97 | 0.53 | -1.07 | 7.29 | A | A | A | 0.19 |
| 269 | 11.07 | 0.64 | -8.51 | 8.18 | A | A | A | 1.47 |
| 271 | 12.4 | 1.2 | 2.48 | 11.27 | A | A | A | 0.43 |
| 272 | 9.78 | 0.12 | -19.17 | 5.91 | A | N | W | 3.31 |
| 274 | 14.03 | 2.309 | 15.95 | 17.44 | A | A | A | 2.76 |
| 276 | 8.88 | 0.65 | -26.61 | 9.33 | N | N | N | 4.60 |
| 278 | 11.4 | 0.5 | -5.79 | 7.26 | A | A | A | 1.00 |
| 281 | 11.9 | 0.7 | -1.65 | 8.25 | A | A | A | 0.29 |
| 284 | 8.45 | 0.38 | -30.17 | 7.33 | N | N | N | 5.21 |
| 285 | 10.68 | 0.74 | -11.74 | 9.03 | A | A | A | 2.03 |
| 286 | 12.2 | 0.5 | 0.83 | 7.09 | A | A | A | 0.14 |
| 287 | 10.455 | 0.43 | -13.60 | 7.10 | A | A | A | 2.35 |
| 289 | 12.2 | 0.8 | 0.83 | 8.74 | A | A | A | 0.14 |
| 290 | 10.29 | 0.50 | -14.96 | 7.56 | A | A | A | 2.59 |
| 292 | 11.2 | 1.6 | -7.44 | 15.41 | A | A | A | 1.29 |
| 295 | 12.90 | 0.36 | 6.61 | 6.42 | A | A | A | 1.14 |
| 296 | 12.6 | 0.5 | 4.13 | 7.02 | A | A | A | 0.71 |
| 297 | 0.39 | 0.04 | -96.78 | 11.78 | N | N | N | 16.73 |
| 298 | 12.13 | 0.15 | 0.25 | 5.92 | A | A | A | 0.04 |
| 299 | 9.69 | 0.49 | -19.92 | 7.68 | A | N | W | 3.44 |
| 301 | 11.8 | 0.3 | -2.48 | 6.32 | A | A | A | 0.43 |
| 303 | 10.88 | 0.20 | -10.08 | 6.07 | A | A | A | 1.74 |
| 304 | 22.8 | 3.1 | 88.43 | 14.78 | N | N | N | 15.29 |
| 305 | 9.4 | 1.687 | -22.31 | 18.86 | N | A | N | 3.86 |
| 306 | 12.2 | 0.4 | 0.83 | 6.65 | A | A | A | 0.14 |
| 307 | 10.00 | 0.20 | -17.36 | 6.12 | A | N | W | 3.00 |
| 309 | 11.88 | 1.167 | -1.82 | 11.40 | A | A | A | 0.31 |
| 310 | 11.8 | 1.3 | -2.48 | 12.44 | A | A | A | 0.43 |
| 312 | 12.48 | 0.42 | 3.14 | 6.69 | A | A | A | 0.54 |
| 313 | 12.3 | 0.8 | 1.65 | 8.70 | A | A | A | 0.29 |

25

Reported Results for Cs-137 Determination in Sample 3

TABLE 27. Target values

| Parameter | Value |
| --- | --- |
| Target Value, Bq/kg | 22.6 |
| UNC, Bq/kg | 1.4 |
| MARB, % | 20 |

Accepted 86%

Not Reported 9%

Warning 2%

Not Accepted 3%

30

FIGURE 27. Percentage of Accepted vs. Warnings vs. Not Accepted vs. Not Reported results

Concentration [ Bq/kg ]

15

20

193

42

231

86

162

137

284

250

251

197

4

56

80

160

134

296

13

113

127

299

204

269

129

117

5

120

292

188

97

71

57

172

149

28

140

143

235

202

154

290

91

46

138

179

287

64

123

306

237

45

153

187

289

213

50

248

83

218

150

176

87

70

133

169

121

163

63

23

158

55

76

40

184

191

43

221

305

74

26

159

107

81

198

303

286

210

102

31

157

8

165

220

72

67

41

126

84

37

145

65

312

88

219

14

181

128

226

278

95

228

25

309

101

263

259

12

9

132

185

186

147

168

125

35

206

Labcode

FIGURE 28. Reported results and evaluation parameters for Cs-137. Blue points represent accepted scores, whereas yellow and red represent warning and not accepted scores respectively.

TABLE 28. Evaluation Results for Cs-137 in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 23.7 | 0.81 | 4.87 | 7.07 | A | A | A | 0.79 |
| 4 | 21.65 | 0.32 | -4.20 | 6.37 | A | A | A | 0.68 |
| 5 | 22.24 | 0.70 | -1.59 | 6.95 | A | A | A | 0.26 |
| 6 | 21.34 | 0.89 | -5.58 | 7.47 | A | A | A | 0.90 |
| 7 | 22.7 | 1.1 | 0.44 | 7.86 | A | A | A | 0.07 |
| 8 | 23.2 | 1.2 | 2.65 | 8.07 | A | A | A | 0.43 |
| 9 | 24.48 | 1.21 | 8.32 | 7.92 | A | A | A | 1.34 |
| 10 | 22.99 | 4.47 | 1.73 | 20.41 | A | N | W | 0.28 |
| 11 | 23.3 | 1.3 | 3.10 | 8.34 | A | A | A | 0.50 |
| 12 | 24.4 | 1.2 | 7.96 | 7.91 | A | A | A | 1.29 |
| 13 | 22 | 1 | -2.65 | 7.68 | A | A | A | 0.43 |
| 14 | 23.51 | 0.89 | 4.03 | 7.26 | A | A | A | 0.65 |
| 16 | 22.39 | 0.48 | -0.93 | 6.56 | A | A | A | 0.15 |
| 17 | 23.1 | 3.0 | 2.21 | 14.39 | A | A | A | 0.36 |
| 18 | 22.08 | 1.32 | -2.30 | 8.61 | A | A | A | 0.37 |
| 19 | 22.32 | 2.12 | -1.24 | 11.34 | A | A | A | 0.20 |
| 20 | 20.8 | 1.1 | -7.96 | 8.15 | A | A | A | 1.29 |
| 21 | 23.3 | 1.43 | 3.10 | 8.72 | A | A | A | 0.50 |
| 22 | 23.287 | 0.338 | 3.04 | 6.36 | A | A | A | 0.49 |
| 23 | 22.99 | 0.71 | 1.73 | 6.92 | A | A | A | 0.28 |
| 24 | 22.9 | 0.8 | 1.33 | 7.11 | A | A | A | 0.21 |
| 25 | 23.87 | 0.98 | 5.62 | 7.43 | A | A | A | 0.91 |
| 26 | 23.1 | 1.4 | 2.21 | 8.67 | A | A | A | 0.36 |
| 27 | 21.9 | 0.86 | -3.10 | 7.33 | A | A | A | 0.50 |
| 28 | 22.4 | 1.1 | -0.88 | 7.91 | A | A | A | 0.14 |
| 29 | 23.04 | 0.55 | 1.95 | 6.64 | A | A | A | 0.31 |
| 31 | 23.2 | 2.2 | 2.65 | 11.33 | A | A | A | 0.43 |
| 32 | 23.7 | 0.5 | 4.87 | 6.54 | A | A | A | 0.79 |
| 33 | 23.45 | 1.51 | 3.76 | 8.94 | A | A | A | 0.61 |
| 34 | 22.88 | 1.36 | 1.24 | 8.59 | A | A | A | 0.20 |
| 35 | 28.3 | 1.5 | 25.22 | 8.15 | N | N | N | 4.07 |
| 36 | 22 | 3 | -2.65 | 14.98 | A | A | A | 0.43 |
| 37 | 23.4 | 1.3 | 3.54 | 8.32 | A | A | A | 0.57 |
| 38 | 22 | 1.6 | -2.65 | 9.55 | A | A | A | 0.43 |
| 39 | 22.8 | 1.1 | 0.88 | 7.85 | A | A | A | 0.14 |
| 40 | 23.0 | 0.2 | 1.77 | 6.26 | A | A | A | 0.29 |
| 41 | 23.3 | 1.74 | 3.10 | 9.70 | A | A | A | 0.50 |
| 42 | 11.82 | 0.47 | -47.70 | 7.36 | N | N | N | 7.70 |
| 43 | 23.0 | 1.0 | 1.77 | 7.57 | A | A | A | 0.29 |
| 45 | 22.79 | 0.47 | 0.84 | 6.53 | A | A | A | 0.14 |
| 46 | 22.6 | 1.0 | 0.00 | 7.61 | A | A | A | 0.00 |
| 47 | 22.8 | 1.4 | 0.88 | 8.72 | A | A | A | 0.14 |
| 49 | 22.7 | 0.7 | 0.44 | 6.92 | A | A | A | 0.07 |
| 50 | 22.8 | 0.4 | 0.88 | 6.44 | A | A | A | 0.14 |
| 51 | 23.5 | 0.3 | 3.98 | 6.32 | A | A | A | 0.64 |
| 52 | 22.34 | 1.78 | -1.15 | 10.09 | A | A | A | 0.19 |
| 53 | 26.62 | 0.62 | 17.79 | 6.62 | A | N | W | 2.87 |
| 55 | 23.0 | 0.78 | 1.77 | 7.06 | A | A | A | 0.29 |
| 56 | 21.7 | 1.1 | -3.98 | 8.00 | A | A | A | 0.64 |
| 57 | 22.33 | 1.41 | -1.19 | 8.85 | A | A | A | 0.19 |
| 58 | 23.07 | 0.32 | 2.08 | 6.35 | A | A | A | 0.34 |
| 59 | 23.4 | 0.8 | 3.54 | 7.08 | A | A | A | 0.57 |
| 60 | 22.6 | 1.4 | 0.00 | 8.76 | A | A | A | 0.00 |

TABLE 28. Evaluation Results for Cs-137 in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 61 | 22.2 | 1.0 | -1.77 | 7.66 | A | A | A | 0.29 |
| 62 | 23.6 | 0.9 | 4.42 | 7.27 | A | A | A | 0.71 |
| 63 | 22.95 | 1.43 | 1.55 | 8.79 | A | A | A | 0.25 |
| 64 | 22.7 | 1.7 | 0.44 | 9.72 | A | A | A | 0.07 |
| 65 | 23.43 | 0.31 | 3.67 | 6.33 | A | A | A | 0.59 |
| 67 | 23.30 | 1.00 | 3.10 | 7.54 | A | A | A | 0.50 |
| 68 | 22.9 | 0.8 | 1.33 | 7.11 | A | A | A | 0.21 |
| 69 | 21.73 | 0.23 | -3.85 | 6.28 | A | A | A | 0.62 |
| 70 | 22.9 | 0.8 | 1.33 | 7.11 | A | A | A | 0.21 |
| 71 | 22.32 | 0.32 | -1.24 | 6.36 | A | A | A | 0.20 |
| 72 | 23.3 | 0.8 | 3.10 | 7.08 | A | A | A | 0.50 |
| 74 | 23.09 | 1.42 | 2.17 | 8.73 | A | A | A | 0.35 |
| 75 | 23.2 | 0.7 | 2.65 | 6.89 | A | A | A | 0.43 |
| 76 | 23.0 | 0.60 | 1.77 | 6.72 | A | A | A | 0.29 |
| 78 | 22.6 | 0.7 | 0.00 | 6.93 | A | A | A | 0.00 |
| 79 | 23.4 | 1.1 | 3.54 | 7.78 | A | A | A | 0.57 |
| 80 | 21.76 | 0.72 | -3.72 | 7.02 | A | A | A | 0.60 |
| 81 | 23.1 | 1.0 | 2.21 | 7.56 | A | A | A | 0.36 |
| 83 | 22.81 | 0.60 | 0.93 | 6.73 | A | A | A | 0.15 |
| 84 | 23.361 | 1.025 | 3.37 | 7.59 | A | A | A | 0.54 |
| 85 | 23.1 | 0.76 | 2.21 | 7.01 | A | A | A | 0.36 |
| 86 | 20.7 | 1.72 | -8.41 | 10.36 | A | A | A | 1.36 |
| 87 | 22.9 | 1.1 | 1.33 | 7.84 | A | A | A | 0.21 |
| 88 | 23.5 | 1.1 | 3.98 | 7.76 | A | A | A | 0.64 |
| 90 | 21.9 | 1.34 | -3.10 | 8.71 | A | A | A | 0.50 |
| 91 | 22.6 | 1.3 | 0.00 | 8.45 | A | A | A | 0.00 |
| 92 | 23.50 | 0.94 | 3.98 | 7.37 | A | A | A | 0.64 |
| 93 | 22.8 | 0.55 | 0.88 | 6.65 | A | A | A | 0.14 |
| 94 | 24.5 | 1.2 | 8.41 | 7.90 | A | A | A | 1.36 |
| 95 | 23.76 | 0.35 | 5.13 | 6.37 | A | A | A | 0.83 |
| 96 | 22.92 | 0.32 | 1.42 | 6.35 | A | A | A | 0.23 |
| 97 | 22.32 | 0.28 | -1.24 | 6.32 | A | A | A | 0.20 |
| 98 | 22.9 | 1.3 | 1.33 | 8.40 | A | A | A | 0.21 |
| 99 | 22.67 | 2.27 | 0.31 | 11.77 | A | A | A | 0.05 |
| 100 | 23.0 | 0.3 | 1.77 | 6.33 | A | A | A | 0.29 |
| 101 | 24.1 | 2.4 | 6.64 | 11.73 | A | A | A | 1.07 |
| 102 | 23.2 | 0.851 | 2.65 | 7.20 | A | A | A | 0.43 |
| 103 | 23.2 | 1.14 | 2.65 | 7.91 | A | A | A | 0.43 |
| 105 | 21.6 | 1.43 | -4.42 | 9.07 | A | A | A | 0.71 |
| 106 | 22.46 | 0.823 | -0.62 | 7.20 | A | A | A | 0.10 |
| 107 | 23.1 | 1.34 | 2.21 | 8.49 | A | A | A | 0.36 |
| 109 | 22.48 | 0.85 | -0.53 | 7.26 | A | A | A | 0.09 |
| 110 | 23.2 | 1.39 | 2.65 | 8.62 | A | A | A | 0.43 |
| 111 | 23.0 | 1.10 | 1.77 | 7.83 | A | A | A | 0.29 |
| 113 | 22.01 | 0.30 | -2.61 | 6.34 | A | A | A | 0.42 |
| 114 | 24.1 | 0.9 | 6.64 | 7.23 | A | A | A | 1.07 |
| 115 | 22.1 | 1.1 | -2.21 | 7.95 | A | A | A | 0.36 |
| 117 | 22.2 | 1.4 | -1.77 | 8.84 | A | A | A | 0.29 |
| 118 | 22.8 | 0.9 | 0.88 | 7.35 | A | A | A | 0.14 |
| 119 | 22.910 | 2.406 | 1.37 | 12.19 | A | A | A | 0.22 |
| 120 | 22.3 | 0.7 | -1.33 | 6.94 | A | A | A | 0.21 |
| 121 | 22.901 | 0.541 | 1.33 | 6.63 | A | A | A | 0.21 |
| 123 | 22.7 | 1.1 | 0.44 | 7.86 | A | A | A | 0.07 |
| 124 | 22.83 | 0.55 | 1.02 | 6.65 | A | A | A | 0.16 |

TABLE 28. Evaluation Results for Cs-137 in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 125 | 25.61 | 1.79 | 13.32 | 9.34 | A | A | A | 2.15 |
| 126 | 23.3 | 1.5 | 3.10 | 8.93 | A | A | A | 0.50 |
| 127 | 22.04 | 1.76 | -2.48 | 10.11 | A | A | A | 0.40 |
| 128 | 23.7 | 0.8 | 4.87 | 7.05 | A | A | A | 0.79 |
| 129 | 22.2 | 1.2 | -1.77 | 8.22 | A | A | A | 0.29 |
| 130 | 23.03 | 0.19 | 1.90 | 6.25 | A | A | A | 0.31 |
| 132 | 24.5 | 1.5 | 8.41 | 8.71 | A | A | A | 1.36 |
| 133 | 22.9 | 2.4 | 1.33 | 12.17 | A | A | A | 0.21 |
| 134 | 21.9 | 0.6 | -3.10 | 6.77 | A | A | A | 0.50 |
| 135 | 20 | 2 | -11.50 | 11.76 | A | A | A | 1.86 |
| 136 | 22.3 | 1.2 | -1.33 | 8.21 | A | A | A | 0.21 |
| 137 | 20.90 | 0.20 | -7.52 | 6.27 | A | A | A | 1.21 |
| 138 | 22.6639 | 0.7498 | 0.28 | 7.02 | A | A | A | 0.05 |
| 139 | 23 | 0.26 | 1.77 | 6.30 | A | A | A | 0.29 |
| 140 | 22.4 | 1.8 | -0.88 | 10.15 | A | A | A | 0.14 |
| 143 | 22.4 | 1.04 | -0.88 | 7.74 | A | A | A | 0.14 |
| 145 | 23.4 | 0.8 | 3.54 | 7.08 | A | A | A | 0.57 |
| 146 | 22.53 | 0.0392 | -0.31 | 6.20 | A | A | A | 0.05 |
| 147 | 25.17 | 0.74 | 11.37 | 6.86 | A | A | A | 1.84 |
| 148 | 22.95 | 0.58 | 1.55 | 6.69 | A | A | A | 0.25 |
| 149 | 22.4 | 1.1 | -0.88 | 7.91 | A | A | A | 0.14 |
| 150 | 22.855 | 1.496 | 1.13 | 9.01 | A | A | A | 0.18 |
| 152 | 21.3 | 1.1 | -5.75 | 8.07 | A | A | A | 0.93 |
| 153 | 22.8 | 0.7 | 0.88 | 6.91 | A | A | A | 0.14 |
| 154 | 22.5 | 1.03 | -0.44 | 7.70 | A | A | A | 0.07 |
| 155 | 22.17 | 1.40 | -1.90 | 8.85 | A | A | A | 0.31 |
| 156 | 23.0 | 1.1 | 1.77 | 7.83 | A | A | A | 0.29 |
| 157 | 23.2 | 1.7 | 2.65 | 9.60 | A | A | A | 0.43 |
| 158 | 22.997 | 0.920 | 1.76 | 7.37 | A | A | A | 0.28 |
| 159 | 23.1 | 1.0 | 2.21 | 7.56 | A | A | A | 0.36 |
| 160 | 21.9 | 0.6 | -3.10 | 6.77 | A | A | A | 0.50 |
| 161 | 24.53 | 1.0 | 8.54 | 7.42 | A | A | A | 1.38 |
| 162 | 20.9 | 1.3 | -7.52 | 8.78 | A | A | A | 1.21 |
| 163 | 22.91 | 1.17 | 1.37 | 8.03 | A | A | A | 0.22 |
| 164 | 20.9 | 1.8 | -7.52 | 10.61 | A | A | A | 1.21 |
| 165 | 23.22 | 0.69 | 2.74 | 6.87 | A | A | A | 0.44 |
| 166 | 22.3 | 0.7 | -1.33 | 6.94 | A | A | A | 0.21 |
| 167 | 22.2 | 1.3 | -1.77 | 8.52 | A | A | A | 0.29 |
| 168 | 25.41 | 0.66 | 12.43 | 6.72 | A | A | A | 2.01 |
| 169 | 22.90 | 0.86 | 1.33 | 7.24 | A | A | A | 0.21 |
| 171 | 25.2 | 3.3 | 11.50 | 14.49 | A | A | A | 1.86 |
| 172 | 22.35 | 0.84 | -1.11 | 7.25 | A | A | A | 0.18 |
| 173 | 24.17 | 0.48 | 6.95 | 6.51 | A | A | A | 1.12 |
| 175 | 22.7 | 1.1 | 0.44 | 7.86 | A | A | A | 0.07 |
| 176 | 22.9 | 0.9 | 1.33 | 7.34 | A | A | A | 0.21 |
| 177 | 21.6 | 1.1 | -4.42 | 8.02 | A | A | A | 0.71 |
| 178 | 22.4 | 1.4 | -0.88 | 8.80 | A | A | A | 0.14 |
| 179 | 22.677 | 0.64953 | 0.34 | 6.82 | A | A | A | 0.05 |
| 180 | 22.8 | 1.1 | 0.88 | 7.85 | A | A | A | 0.14 |
| 181 | 23.65 | 0.99 | 4.65 | 7.48 | A | A | A | 0.75 |
| 182 | 22.8 | 0.9 | 0.88 | 7.35 | A | A | A | 0.14 |
| 183 | 20.37 | 0.64 | -9.87 | 6.95 | A | A | A | 1.59 |
| 184 | 23.0 | 0.9 | 1.77 | 7.33 | A | A | A | 0.29 |
| 185 | 24.7 | 3.6 | 9.29 | 15.84 | A | A | A | 1.50 |

TABLE 28. Evaluation Results for Cs-137 in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 186 | 25.1 | 6.3 | 11.06 | 25.85 | A | N | W | 1.79 |
| 187 | 22.8 | 1.2 | 0.88 | 8.13 | A | A | A | 0.14 |
| 188 | 22.3 | 1.39 | -1.33 | 8.79 | A | A | A | 0.21 |
| 189 | 23.34 | 1.94 | 3.27 | 10.37 | A | A | A | 0.53 |
| 191 | 23.0 | 0.7 | 1.77 | 6.90 | A | A | A | 0.29 |
| 192 | 23.77 | 0.8672 | 5.18 | 7.19 | A | A | A | 0.84 |
| 193 | 3.340 | 0.194 | -85.22 | 8.49 | N | N | N | 13.76 |
| 194 | 84 | 5 | 271.68 | 8.59 | N | N | N | 43.86 |
| 195 | 22.2 | 1.0 | -1.77 | 7.66 | A | A | A | 0.29 |
| 196 | 22.9 | 0.785 | 1.33 | 7.08 | A | A | A | 0.21 |
| 197 | 21.6 | 5.1 | -4.42 | 24.41 | A | N | W | 0.71 |
| 198 | 23.12 | 1.20 | 2.30 | 8.08 | A | A | A | 0.37 |
| 201 | 23.4 | 1.4 | 3.54 | 8.61 | A | A | A | 0.57 |
| 202 | 22.5 | 1.2 | -0.44 | 8.17 | A | A | A | 0.07 |
| 203 | 23.2 | 1.0 | 2.65 | 7.55 | A | A | A | 0.43 |
| 204 | 22.1 | 1.4 | -2.21 | 8.86 | A | A | A | 0.36 |
| 206 | 64.38 | 0.36 | 184.87 | 6.22 | N | N | N | 29.84 |
| 207 | 23.13 | 0.75 | 2.35 | 6.99 | A | A | A | 0.38 |
| 209 | 24.3 | 5 | 7.52 | 21.49 | A | N | W | 1.21 |
| 210 | 23.2 | 1.2 | 2.65 | 8.07 | A | A | A | 0.43 |
| 213 | 22.8 | 1.0 | 0.88 | 7.59 | A | A | A | 0.14 |
| 214 | 22.4 | 0.7 | -0.88 | 6.94 | A | A | A | 0.14 |
| 215 | 23.0 | 1.3 | 1.77 | 8.39 | A | A | A | 0.29 |
| 216 | 23.7 | 0.2 | 4.87 | 6.25 | A | A | A | 0.79 |
| 217 | 23.0 | 1.3 | 1.77 | 8.39 | A | A | A | 0.29 |
| 218 | 22.84 | 0.96 | 1.06 | 7.49 | A | A | A | 0.17 |
| 219 | 23.5 | 0.5 | 3.98 | 6.55 | A | A | A | 0.64 |
| 220 | 23.3 | 0.8 | 3.10 | 7.08 | A | A | A | 0.50 |
| 221 | 23.04 | 0.59 | 1.95 | 6.70 | A | A | A | 0.31 |
| 222 | 22.5 | 0.9 | -0.44 | 7.37 | A | A | A | 0.07 |
| 223 | 22.31 | 0.17 | -1.28 | 6.24 | A | A | A | 0.21 |
| 224 | 22.33 | 0.16 | -1.19 | 6.24 | A | A | A | 0.19 |
| 226 | 23.7 | 1.4 | 4.87 | 8.56 | A | A | A | 0.79 |
| 227 | 24 | 0.47 | 6.19 | 6.50 | A | A | A | 1.00 |
| 228 | 23.8 | 2.8 | 5.31 | 13.30 | A | A | A | 0.86 |
| 230 | 22.9 | 1.5 | 1.33 | 9.02 | A | A | A | 0.21 |
| 231 | 20.1 | 2.0 | -11.06 | 11.72 | A | A | A | 1.79 |
| 233 | 25.1 | 0.75 | 11.06 | 6.88 | A | A | A | 1.79 |
| 234 | 23.30 | 0.60 | 3.10 | 6.71 | A | A | A | 0.50 |
| 235 | 22.48 | 0.44 | -0.53 | 6.50 | A | A | A | 0.09 |
| 237 | 22.76 | 0.33 | 0.71 | 6.36 | A | A | A | 0.11 |
| 238 | 21.7 | 0.7 | -3.98 | 6.98 | A | A | A | 0.64 |
| 239 | 21.13 | 3.06 | -6.50 | 15.75 | A | A | A | 1.05 |
| 241 | 22.69 | 1.29 | 0.40 | 8.41 | A | A | A | 0.06 |
| 244 | 23.2 | 1.6 | 2.65 | 9.27 | A | A | A | 0.43 |
| 246 | 23.2 | 1.0 | 2.65 | 7.55 | A | A | A | 0.43 |
| 247 | 23.5 | 1.1 | 3.98 | 7.76 | A | A | A | 0.64 |
| 248 | 22.80 | 0.53 | 0.88 | 6.62 | A | A | A | 0.14 |
| 249 | 9.5 | 4 | -57.96 | 42.56 | N | N | N | 9.36 |
| 250 | 21.34 | 0.41 | -5.58 | 6.49 | A | A | A | 0.90 |
| 251 | 21.55 | 0.98 | -4.65 | 7.68 | A | A | A | 0.75 |
| 253 | 22.68 | 0.35 | 0.35 | 6.38 | A | A | A | 0.06 |
| 255 | 23.7 | 0.7 | 4.87 | 6.86 | A | A | A | 0.79 |
| 256 | 23.92 | 0.78 | 5.84 | 7.00 | A | A | A | 0.94 |

TABLE 28. Evaluation Results for Cs-137 in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 258 | 22.8 | 0.299 | 0.88 | 6.33 | A | A | A | 0.14 |
| 259 | 24.26 | 0.83 | 7.35 | 7.08 | A | A | A | 1.19 |
| 261 | 23.1 | 1.4 | 2.21 | 8.67 | A | A | A | 0.36 |
| 262 | 23.3 | 3.02 | 3.10 | 14.37 | A | A | A | 0.50 |
| 263 | 24.102 | 1.472 | 6.65 | 8.70 | A | A | A | 1.07 |
| 264 | 22.3 | 2.12 | -1.33 | 11.35 | A | A | A | 0.21 |
| 266 | 22.01 | 1.40 | -2.61 | 8.88 | A | A | A | 0.42 |
| 269 | 22.17 | 1.27 | -1.90 | 8.44 | A | A | A | 0.31 |
| 271 | 23.1 | 1.1 | 2.21 | 7.81 | A | A | A | 0.36 |
| 272 | 23.18 | 0.18 | 2.57 | 6.24 | A | A | A | 0.41 |
| 274 | 25.45 | 4.662 | 12.61 | 19.34 | A | A | A | 2.04 |
| 276 | 23.82 | 1.62 | 5.40 | 9.20 | A | A | A | 0.87 |
| 278 | 23.7 | 1.0 | 4.87 | 7.50 | A | A | A | 0.79 |
| 281 | 22.4 | 1.3 | -0.88 | 8.49 | A | A | A | 0.14 |
| 284 | 21.13 | 0.94 | -6.50 | 7.63 | A | A | A | 1.05 |
| 285 | 22.00 | 1.57 | -2.65 | 9.45 | A | A | A | 0.43 |
| 286 | 23.2 | 0.8 | 2.65 | 7.09 | A | A | A | 0.43 |
| 287 | 22.685 | 0.92 | 0.38 | 7.40 | A | A | A | 0.06 |
| 289 | 22.8 | 1.3 | 0.88 | 8.42 | A | A | A | 0.14 |
| 290 | 22.51 | 1.10 | -0.40 | 7.89 | A | A | A | 0.06 |
| 292 | 22.3 | 3.1 | -1.33 | 15.22 | A | A | A | 0.21 |
| 295 | 22.84 | 1.18 | 1.06 | 8.07 | A | A | A | 0.17 |
| 296 | 22.0 | 0.7 | -2.65 | 6.96 | A | A | A | 0.43 |
| 298 | 22.79 | 0.26 | 0.84 | 6.30 | A | A | A | 0.14 |
| 299 | 22.10 | 1.13 | -2.21 | 8.03 | A | A | A | 0.36 |
| 301 | 24.4 | 0.6 | 7.96 | 6.66 | A | A | A | 1.29 |
| 303 | 23.17 | 0.30 | 2.52 | 6.33 | A | A | A | 0.41 |
| 304 | 56.2 | 1.3 | 148.67 | 6.61 | N | N | N | 24.00 |
| 305 | 23.047 | 1.95 | 1.98 | 10.49 | A | A | A | 0.32 |
| 306 | 22.7 | 0.7 | 0.44 | 6.92 | A | A | A | 0.07 |
| 307 | 22.50 | 0.42 | -0.44 | 6.47 | A | A | A | 0.07 |
| 309 | 23.93 | 2.353 | 5.88 | 11.62 | A | A | A | 0.95 |
| 310 | 25.1 | 2.8 | 11.06 | 12.76 | A | A | A | 1.79 |
| 312 | 23.49 | 0.76 | 3.94 | 6.99 | A | A | A | 0.64 |
| 313 | 23.1 | 1.5 | 2.21 | 8.97 | A | A | A | 0.36 |

5

6

Reported Results for Pu-239 Determination in Sample 3

TABLE 29. Target values

| Parameter | Value |
| --- | --- |
| Target Value, Bq/kg | 5.16 |
| UNC, Bq/kg | 0.31 |
| MARB, % | 30 |

Warning 2%

Not Accepted 5%

Accepted 11%

Not Reported 82%

7

8

FIGURE 29. Percentage of Accepted vs. Warnings vs. Not Accepted vs. Not Reported results

Concentration [ Bq/kg ]

2

3

4

61

196

214

68

163

163

272

83

276

24

94

281

177

92

187

140

52

204

60

164

253

36

157

168

199

57

96

171

143

110

184

216

226

141

16

14

247

41

146

240

99

97

217

42

207

118

7

87

9

13

133

119

71

134

Labcode

FIGURE 30. Reported results and evaluation parameters for Pu-239. Blue points represent accepted scores, whereas yellow and red represent warning and not accepted scores respectively.

TABLE 30. Evaluation Results for Pu-239 in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 7 | 5.99 | 0.35 | 16.09 | 8.38 | A | A | A | 2.68 |
| 9 | 6.06 | 1.17 | 17.44 | 20.22 | A | A | A | 2.90 |
| 13 | 6.1 | 0.4 | 18.22 | 8.89 | A | A | A | 3.03 |
| 14 | 4.97 | 0.16 | -3.68 | 6.82 | A | A | A | 0.61 |
| 16 | 4.79 | 0.5 | -7.17 | 12.04 | A | A | A | 1.19 |
| 24 | 3.11 | 0.28 | -39.73 | 10.82 | N | N | N | 6.61 |
| 36 | 4.2 | 0.4 | -18.60 | 11.26 | A | A | A | 3.10 |
| 41 | 5.05 | 0.5 | -2.13 | 11.58 | A | A | A | 0.35 |
| 42 | 5.5464 | 0.277 | 7.49 | 7.81 | A | A | A | 1.25 |
| 52 | 3.906 | 0.078 | -24.30 | 6.33 | A | N | W | 4.05 |
| 57 | 4.34 | 0.2 | -15.89 | 7.57 | A | A | A | 2.65 |
| 60 | 4.00 | 0.60 | -22.48 | 16.16 | A | A | A | 3.74 |
| 61 | 1.29 | 0.1 | -75.00 | 9.81 | N | N | N | 12.48 |
| 68 | 2.40 | 0.16 | -53.49 | 8.97 | N | N | N | 8.90 |
| 71 | 10.02 | 0.84 | 94.19 | 10.31 | N | N | N | 15.68 |
| 83 | 2.7 | 0.3 | -47.67 | 12.63 | N | N | N | 7.94 |
| 87 | 6.039 | 0.2373 | 17.03 | 7.18 | A | A | A | 2.84 |
| 92 | 3.62 | 0.21 | -29.84 | 8.35 | A | N | W | 4.97 |
| 94 | 3.2 | 0.2 | -37.98 | 8.67 | N | N | N | 6.32 |
| 96 | 4.39 | 0.37 | -14.92 | 10.35 | A | A | A | 2.48 |
| 97 | 5.51 | 0.07 | 6.78 | 6.14 | A | A | A | 1.13 |
| 99 | 5.39 | 0.81 | 4.46 | 16.18 | A | A | A | 0.74 |
| 110 | 4.48 | 0.47 | -13.18 | 12.09 | A | A | A | 2.19 |
| 118 | 5.7 | 0.8 | 10.47 | 15.27 | A | A | A | 1.74 |
| 119 | 6.311 | 1.136 | 22.31 | 18.98 | A | A | A | 3.71 |
| 133 | 6.3 | 1.1 | 22.09 | 18.46 | A | A | A | 3.68 |
| 134 | 10.5 | 2 | 103.49 | 19.97 | N | N | N | 17.23 |
| 140 | 3.9 | 0.95 | -24.42 | 25.09 | A | A | A | 4.06 |
| 141 | 4.69 | 0.45 | -9.11 | 11.32 | A | A | A | 1.52 |
| 143 | 4.43 | 2.29 | -14.15 | 52.04 | A | N | W | 2.35 |
| 146 | 5.13 |  | -0.58 |  | A |  |  | 0.10 |
| 157 | 4.2 | 0.4 | -18.60 | 11.26 | A | A | A | 3.10 |
| 163 | 2.62 | 0.25 | -49.22 | 11.28 | N | N | N | 8.19 |
| 163 | 2.62 | 0.25 | -49.22 | 11.28 | N | N | N | 8.19 |
| 164 | 4.03 | 0.15 | -21.90 | 7.07 | A | N | W | 3.65 |
| 168 | 4.27 | 0.32 | -17.25 | 9.60 | A | A | A | 2.87 |
| 171 | 4.4 | 0.3 | -14.73 | 9.09 | A | A | A | 2.45 |
| 177 | 3.4 | 0.4 | -34.11 | 13.21 | N | N | N | 5.68 |
| 184 | 4.51 | 0.28 | -12.60 | 8.64 | A | A | A | 2.10 |
| 187 | 3.7 | 0.4 | -28.29 | 12.37 | A | A | A | 4.71 |
| 196 | 1.48 | 0.148 | -71.32 | 11.67 | N | N | N | 11.87 |
| 199 | 4.3 | 0.3 | -16.67 | 9.21 | A | A | A | 2.77 |
| 204 | 3.96 | 0.14 | -23.26 | 6.97 | A | N | W | 3.87 |
| 207 | 5.65 | 0.29 | 9.50 | 7.90 | A | A | A | 1.58 |
| 214 | 2.2 | 0.3 | -57.36 | 14.90 | N | N | N | 9.55 |
| 216 | 4.66 | 0.13 | -9.69 | 6.62 | A | A | A | 1.61 |
| 217 | 5.52 | 0.22 | 6.98 | 7.21 | A | A | A | 1.16 |
| 226 | 4.67 | 0.378 | -9.50 | 10.08 | A | A | A | 1.58 |
| 240 | 5.16 | 0.38 | 0.00 | 9.50 | A | A | A | 0.00 |
| 247 | 5.00 | 0.35 | -3.10 | 9.22 | A | A | A | 0.52 |
| 253 | 4.03 | 0.13 | -21.90 | 6.82 | A | N | W | 3.65 |
| 272 | 2.69 | 0.31 | -47.87 | 13.00 | N | N | N | 7.97 |
| 276 | 2.91 | 0.24 | -43.60 | 10.20 | N | N | N | 7.26 |

TABLE 30. Evaluation Results for Pu-239 in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

Labcode	Rep. Value	Rep. Unc.	Rel. Bias	P Test	Accuracy	Precision	Final Score	Z-Score

281	3.34	0.35	-35.27	12.08	N	N	N	5.87

0.8

1.0

Reported Results for Am-241 Determination in Sample 3

TABLE 31. Target values

| Parameter | Value |
| --- | --- |
| Target Value, Bq/kg | 0.902 |
| UNC, Bq/kg | 0.054 |
| MARB, % | 30 |

Accepted 34%

Not Accepted 7%

Warning 1%

Not Reported 58%

1.2

1.4

FIGURE 31. Percentage of Accepted vs. Warnings vs. Not Accepted vs. Not Reported results

Concentration [ Bq/kg ]

0.4

0.6

37

42

272

201

235

106

129

176

113

148

9

164

312

162

71

231

49

58

117

51

118

202

172

4

238

67

237

83

281

93

119

76

195

107

187

28

150

165

31

78

40

160

133

313

140

52

59

213

60

84

87

69

264

16

18

286

115

62

169

197

138

127

68

14

111

261

154

220

298

45

96

8

309

265

227

230

271

123

296

94

204

191

301

216

255

136

221

156

248

32

284

24

26

171

64

218

289

177

20

269

88

121

303

159

262

101

75

247

97

21

173

143

219

250

266

214

5

206

Labcode

FIGURE 32. Reported results and evaluation parameters for Am-241. Blue points represent accepted scores, whereas yellow and red represent warning and not accepted scores respectively.

TABLE 32. Evaluation Results for Am-241 in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4 | 0.816 | 0.087 | -9.53 | 12.23 | A | A | A | 1.59 |
| 5 | 7.81 | 0.21 | 765.85 | 6.56 | N | N | N | 127.93 |
| 8 | 0.96 | 0.15 | 6.43 | 16.73 | A | A | A | 1.07 |
| 9 | 0.73 | 0.25 | -19.07 | 34.77 | A | N | W | 3.19 |
| 14 | 0.937 | 0.044 | 3.88 | 7.61 | A | A | A | 0.65 |
| 16 | 0.91 | 0.1 | 0.89 | 12.51 | A | A | A | 0.15 |
| 18 | 0.919 | 0.135 | 1.88 | 15.86 | A | A | A | 0.31 |
| 20 | 1.1 | 0.2 | 21.95 | 19.14 | A | A | A | 3.67 |
| 21 | 1.24 | 0.27 | 37.47 | 22.58 | N | A | N | 6.26 |
| 24 | 1.03 | 0.10 | 14.19 | 11.41 | A | A | A | 2.37 |
| 26 | 1.04 | 0.2 | 15.30 | 20.14 | A | A | A | 2.56 |
| 28 | 0.88 | 0.07 | -2.44 | 9.96 | A | A | A | 0.41 |
| 31 | 0.89 | 0.1 | -1.33 | 12.73 | A | A | A | 0.22 |
| 32 | 1.03 | 0.06 | 14.19 | 8.35 | A | A | A | 2.37 |
| 37 | 0.5 | 0.2 | -44.57 | 40.45 | N | N | N | 7.44 |
| 40 | 0.9 | 0.1 | -0.22 | 12.62 | A | A | A | 0.04 |
| 42 | 0.51 | 0.19 | -43.46 | 37.73 | N | N | N | 7.26 |
| 45 | 0.96 | 0.15 | 6.43 | 16.73 | A | A | A | 1.07 |
| 49 | 0.78 | 0.07 | -13.53 | 10.79 | A | A | A | 2.26 |
| 51 | 0.8 | 0.2 | -11.31 | 25.71 | A | A | A | 1.89 |
| 52 | 0.9 | 0.07 | -0.22 | 9.82 | A | A | A | 0.04 |
| 58 | 0.79 | 0.14 | -12.42 | 18.71 | A | A | A | 2.07 |
| 59 | 0.9 | 0.15 | -0.22 | 17.71 | A | A | A | 0.04 |
| 60 | 0.901 | 0.090 | -0.11 | 11.65 | A | A | A | 0.02 |
| 62 | 0.92 | 0.06 | 2.00 | 8.85 | A | A | A | 0.33 |
| 64 | 1.1 | 0.1 | 21.95 | 10.89 | A | A | A | 3.67 |
| 67 | 0.83 | 0.10 | -7.98 | 13.45 | A | A | A | 1.33 |
| 68 | 0.931 | 0.089 | 3.22 | 11.28 | A | A | A | 0.54 |
| 69 | 0.91 | 0.15 | 0.89 | 17.54 | A | A | A | 0.15 |
| 71 | 0.77 | 0.04 | -14.63 | 7.93 | A | A | A | 2.44 |
| 75 | 1.2 | 0.4 | 33.04 | 33.87 | N | N | N | 5.52 |
| 76 | 0.85 | 0.18 | -5.76 | 22.01 | A | A | A | 0.96 |
| 78 | 0.89 | 0.07 | -1.33 | 9.88 | A | A | A | 0.22 |
| 83 | 0.84 | 0.05 | -6.87 | 8.44 | A | A | A | 1.15 |
| 84 | 0.905 | 0.0655 | 0.33 | 9.39 | A | A | A | 0.06 |
| 87 | 0.908 | 0.116 | 0.67 | 14.11 | A | A | A | 0.11 |
| 88 | 1.15 | 0.24 | 27.49 | 21.71 | A | A | A | 4.59 |
| 93 | 0.845 | 0.053 | -6.32 | 8.67 | A | A | A | 1.06 |
| 94 | 1.0 | 0.1 | 10.86 | 11.66 | A | A | A | 1.81 |
| 96 | 0.96 | 0.08 | 6.43 | 10.26 | A | A | A | 1.07 |
| 97 | 1.24 | 0.33 | 37.47 | 27.28 | N | A | N | 6.26 |
| 101 | 1.2 | 0.4 | 33.04 | 33.87 | N | N | N | 5.52 |
| 106 | 0.671 | 0.122 | -25.61 | 19.14 | A | A | A | 4.28 |
| 107 | 0.87 | 0.12 | -3.55 | 15.04 | A | A | A | 0.59 |
| 111 | 0.94 | 0.16 | 4.21 | 18.04 | A | A | A | 0.70 |
| 113 | 0.70 | 0.08 | -22.39 | 12.90 | A | A | A | 3.74 |
| 115 | 0.92 | 0.17 | 2.00 | 19.42 | A | A | A | 0.33 |
| 117 | 0.8 | 0.1 | -11.31 | 13.86 | A | A | A | 1.89 |
| 118 | 0.8 | 0.1 | -11.31 | 13.86 | A | A | A | 1.89 |
| 119 | 0.850 | 0.208 | -5.76 | 25.19 | A | A | A | 0.96 |
| 121 | 1.172 | 0.175 | 29.93 | 16.09 | A | A | A | 5.00 |
| 123 | 1.0 | 0.05 | 10.86 | 7.80 | A | A | A | 1.81 |
| 127 | 0.930 | 0.226 | 3.10 | 25.03 | A | A | A | 0.52 |

TABLE 32. Evaluation Results for Am-241 in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 129 | 0.69 | 0.16 | -23.50 | 23.95 | A | A | A | 3.93 |
| 133 | 0.9 | 0.2 | -0.22 | 23.01 | A | A | A | 0.04 |
| 136 | 1.01 | 0.09 | 11.97 | 10.74 | A | A | A | 2.00 |
| 138 | 0.9204 | 0.2421 | 2.04 | 26.98 | A | A | A | 0.34 |
| 140 | 0.9 | 0.2 | -0.22 | 23.01 | A | A | A | 0.04 |
| 143 | 1.27 | 0.23 | 40.80 | 19.07 | N | A | N | 6.81 |
| 148 | 0.71 | 0.21 | -21.29 | 30.18 | A | N | W | 3.56 |
| 150 | 0.885 | 0.1 | -1.88 | 12.79 | A | A | A | 0.31 |
| 154 | 0.944 | 0.077 | 4.66 | 10.12 | A | A | A | 0.78 |
| 156 | 1.02 | 0.12 | 13.08 | 13.20 | A | A | A | 2.19 |
| 159 | 1.19 | 0.24 | 31.93 | 21.04 | N | A | N | 5.33 |
| 160 | 0.9 | 0.2 | -0.22 | 23.01 | A | A | A | 0.04 |
| 162 | 0.77 | 0.11 | -14.63 | 15.49 | A | A | A | 2.44 |
| 164 | 0.75 | 0.15 | -16.85 | 20.88 | A | A | A | 2.81 |
| 165 | 0.89 | 0.10 | -1.33 | 12.73 | A | A | A | 0.22 |
| 169 | 0.92 | 0.12 | 2.00 | 14.35 | A | A | A | 0.33 |
| 171 | 1.05 | 0.18 | 16.41 | 18.16 | A | A | A | 2.74 |
| 172 | 0.81 | 0.21 | -10.20 | 26.61 | A | A | A | 1.70 |
| 173 | 1.27 | 0.49 | 40.80 | 39.04 | N | N | N | 6.81 |
| 176 | 0.70 | 0.08 | -22.39 | 12.90 | A | A | A | 3.74 |
| 177 | 1.1 | 0.2 | 21.95 | 19.14 | A | A | A | 3.67 |
| 187 | 0.87 | 0.07 | -3.55 | 10.03 | A | A | A | 0.59 |
| 191 | 1.0 | 0.1 | 10.86 | 11.66 | A | A | A | 1.81 |
| 195 | 0.86 | 0.14 | -4.66 | 17.34 | A | A | A | 0.78 |
| 197 | 0.92 | 0.29 | 2.00 | 32.09 | A | N | W | 0.33 |
| 201 | 0.6 | 0.2 | -33.48 | 33.87 | N | N | N | 5.59 |
| 202 | 0.81 | 0.05 | -10.20 | 8.60 | A | A | A | 1.70 |
| 204 | 1.00 | 0.15 | 10.86 | 16.15 | A | A | A | 1.81 |
| 206 | 93.4 | 0.71 | 10254.77 | 6.03 | N | N | N | 1712.93 |
| 213 | 0.9 | 0.2 | -0.22 | 23.01 | A | A | A | 0.04 |
| 214 | 2.4 | 0.4 | 166.08 | 17.71 | N | N | N | 27.74 |
| 216 | 1.01 | 0.05 | 11.97 | 7.77 | A | A | A | 2.00 |
| 218 | 1.1 | 0.19 | 21.95 | 18.28 | A | A | A | 3.67 |
| 219 | 1.32 | 0.02 | 46.34 | 6.18 | N | N | N | 7.74 |
| 220 | 0.95 | 0.2 | 5.32 | 21.89 | A | A | A | 0.89 |
| 221 | 1.02 | 0.07 | 13.08 | 9.11 | A | A | A | 2.19 |
| 227 | 0.98 | 0.17 | 8.65 | 18.35 | A | A | A | 1.44 |
| 230 | 0.982 | 0.090 | 8.87 | 10.95 | A | A | A | 1.48 |
| 231 | 0.78 | 0.08 | -13.53 | 11.88 | A | A | A | 2.26 |
| 235 | 0.67 | 0.11 | -25.72 | 17.48 | A | A | A | 4.30 |
| 237 | 0.84 | 0.08 | -6.87 | 11.25 | A | A | A | 1.15 |
| 238 | 0.82 | 0.07 | -9.09 | 10.43 | A | A | A | 1.52 |
| 247 | 1.22 | 0.15 | 35.25 | 13.68 | N | A | N | 5.89 |
| 248 | 1.02 | 0.12 | 13.08 | 13.20 | A | A | A | 2.19 |
| 250 | 1.53 | 0.44 | 69.62 | 29.37 | N | A | N | 11.63 |
| 255 | 1.01 | 0.12 | 11.97 | 13.30 | A | A | A | 2.00 |
| 261 | 0.94 | 0.11 | 4.21 | 13.14 | A | A | A | 0.70 |
| 262 | 1.2 | 0.16 | 33.04 | 14.62 | N | A | N | 5.52 |
| 264 | 0.91 | 0.23 | 0.89 | 25.97 | A | A | A | 0.15 |
| 265 | 0.98 | 0.20 | 8.65 | 21.27 | A | A | A | 1.44 |
| 266 | 2.27 | 0.49 | 151.66 | 22.40 | N | N | N | 25.33 |
| 269 | 1.11 | 0.14 | 23.06 | 13.96 | A | A | A | 3.85 |
| 271 | 1.0 | 0.2 | 10.86 | 20.88 | A | A | A | 1.81 |
| 272 | 0.55 | 0.03 | -39.02 | 8.10 | N | N | N | 6.52 |

TABLE 32. Evaluation Results for Am-241 in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Rel. Bias | P Test | Accuracy | Precision | Final Score | Z-Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 281 | 0.84 | 0.13 | -6.87 | 16.59 | A | A | A | 1.15 |
| 284 | 1.03 | 0.32 | 14.19 | 31.64 | A | N | W | 2.37 |
| 286 | 0.92 | 0.15 | 2.00 | 17.37 | A | A | A | 0.33 |
| 289 | 1.1 | 0.3 | 21.95 | 27.92 | A | A | A | 3.67 |
| 296 | 1.00 | 0.1 | 10.86 | 11.66 | A | A | A | 1.81 |
| 298 | 0.96 | 0.06 | 6.43 | 8.65 | A | A | A | 1.07 |
| 301 | 1.0 | 0.1 | 10.86 | 11.66 | A | A | A | 1.81 |
| 303 | 1.18 | 0.25 | 30.82 | 22.02 | N | A | N | 5.15 |
| 309 | 0.9625 | 0.153 | 6.71 | 16.99 | A | A | A | 1.12 |
| 312 | 0.758 | 0.071 | -15.96 | 11.12 | A | A | A | 2.67 |
| 313 | 0.9 | 0.1 | -0.22 | 12.62 | A | A | A | 0.04 |

Activity [ Bq/kg ]

30

40

Intercomparison  Parameters

Reported Results for Gross alpha Determination in Sample 1

TABLE 33. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 23.98 |
| Robust SD, Bq/kg | 7.78 |
| N | 211 |

10

20

278

194

95

220

100

107

79

216

78

69

10

47

277

281

12

284

96

81

4

103

253

299

138

305

227

30

159

248

80

51

175

276

135

128

60

226

203

98

225

119

133

49

217

76

163

211

124

38

104

31

75

240

28

129

58

199

221

312

289

143

196

42

99

74

183

222

56

205

7

17

109

Labcode

FIGURE 33. Reported results and evaluation parameters for Gross alpha in Sample 1.

TABLE 34. IC Evaluation Results for in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 4 | 18.55 | 1.93 | 0.70 | A |
| 5 | 3.61 | 0.96 | 2.62 | W |
| 7 | 38 | 8 | 1.80 | A |
| 8 | 27.7 | 1.4 | 0.48 | A |
| 9 | 28.83 | 2.22 | 0.62 | A |
| 10 | 13.52 | 0.51 | 1.34 | A |
| 12 | 16.6 | 0.6 | 0.95 | A |
| 13 | 22.3 | 1.1 | 0.22 | A |
| 14 | 27.13 | 5.43 | 0.40 | A |
| 17 | 38.7 | 7.7 | 1.89 | A |
| 24 | 23.0 | 1.2 | 0.13 | A |
| 25 | 18.0639 | 0.2926 | 0.76 | A |
| 26 | 31.8 | 0.4 | 1.01 | A |
| 28 | 29.0 | 2.9 | 0.65 | A |
| 30 | 22.18 | 11.1 | 0.23 | A |
| 31 | 28.1 | 3.9 | 0.53 | A |
| 36 | 26 | 5 | 0.26 | A |
| 38 | 27.5 | 0.3 | 0.45 | A |
| 42 | 31.49 | 7.9 | 0.97 | A |
| 45 | 26.1 | 4.2 | 0.27 | A |

TABLE 34. IC Evaluation Results for in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 47 | 13.8 | 1.3 | 1.31 | A |
| 49 | 26.4 | 0.8 | 0.31 | A |
| 50 | 26.8 | 0.8 | 0.36 | A |
| 51 | 23.033 | 0.309 | 0.12 | A |
| 52 | 9.52 | 0.643 | 1.86 | A |
| 56 | 35.7 | 4.9 | 1.51 | A |
| 58 | 29.1 | 5.1 | 0.66 | A |
| 60 | 25.1 | 1.9 | 0.14 | A |
| 62 | 27.1 | 1.4 | 0.40 | A |
| 64 | 23.6 | 1.18 | 0.05 | A |
| 67 | 25 | 1.4 | 0.13 | A |
| 68 | 24.8 | 1.2 | 0.11 | A |
| 69 | 12.24 | 0.22 | 1.51 | A |
| 74 | 32.2 | 3.6 | 1.06 | A |
| 75 | 28.2 | 1.6 | 0.54 | A |
| 76 | 27.1 | 4.68 | 0.40 | A |
| 78 | 10.41 | 0.44 | 1.74 | A |
| 79 | 8.54 | 0.53 | 1.98 | A |
| 80 | 22.98 | 1.90 | 0.13 | A |
| 81 | 18.3 | 0.3 | 0.73 | A |
| 83 | 19.5 | 2.1 | 0.58 | A |
| 87 | 25.59 | 5 | 0.21 | A |
| 88 | 37.8 | 3.9 | 1.78 | A |
| 90 | 37.2 | 0.79 | 1.70 | A |
| 94 | 20.0 | 1.3 | 0.51 | A |
| 95 | 4.6712 | 0.1939 | 2.48 | W |
| 96 | 17.94 | 0.70 | 0.78 | A |
| 98 | 26.0 | 2.8 | 0.26 | A |
| 99 | 31.79 | 6.36 | 1.00 | A |
| 100 | 6.744 | 0.119 | 2.22 | W |
| 101 | 33.4 | 2 | 1.21 | A |
| 103 | 19.1 | 1.43 | 0.63 | A |
| 104 | 27.77 | 2.36 | 0.49 | A |
| 105 | 22.08 | 1.75 | 0.24 | A |
| 107 | 7.43 | 0.3 | 2.13 | W |
| 109 | 63.27 | 0.14 | 5.05 | N |
| 110 | 16.5 | 1.49 | 0.96 | A |
| 113 | 24.21 | 2.22 | 0.03 | A |
| 118 | 30 | 3 | 0.77 | A |
| 119 | 26.080 | 3.651 | 0.27 | A |
| 120 | 24.5 | 2.5 | 0.07 | A |
| 123 | 27.49 | 1.44 | 0.45 | A |
| 124 | 27.28 | 0.86 | 0.42 | A |
| 126 | 32.7 | 2.5 | 1.12 | A |
| 127 | 7.52 | 1.1 | 2.12 | W |
| 128 | 25.0 | 3.0 | 0.13 | A |
| 129 | 29 | 5 | 0.65 | A |
| 130 | 0.8 | 0.28 | 2.98 | W |
| 133 | 26.1 | 3.7 | 0.27 | A |
| 135 | 24.6 | 0.3 | 0.08 | A |
| 137 | 16.80 | 0.77 | 0.92 | A |
| 138 | 21.17 | 0.20 | 0.36 | A |
| 139 | 31.5 | 0.7 | 0.97 | A |
| 143 | 30.2 | 4.8 | 0.80 | A |

TABLE 34. IC Evaluation Results for in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 146 | 30.31 |  | 0.81 | A |
| 149 | 22.6 | 2 | 0.18 | A |
| 150 | 5.70 | 2.5 | 2.35 | W |
| 155 | 14.56 | 0.82 | 1.21 | A |
| 156 | 29.4 | 2.8 | 0.70 | A |
| 157 | 29.0 | 2.4 | 0.65 | A |
| 158 | 26.176 | 5.111 | 0.28 | A |
| 159 | 22.5 | 4.0 | 0.19 | A |
| 160 | 16.10 | 0.85 | 1.01 | A |
| 161 | 25.9 | 2.3 | 0.25 | A |
| 163 | 27.13 | 3.45 | 0.40 | A |
| 171 | 29.2 | 0.9 | 0.67 | A |
| 173 | 30.67 | 3.16 | 0.86 | A |
| 175 | 24.2 | 3.1 | 0.03 | A |
| 177 | 22.0 | 3.0 | 0.25 | A |
| 183 | 32.98 | 0.41 | 1.16 | A |
| 186 | 26.4 | 4.7 | 0.31 | A |
| 192 | 22.53 | 8.89 | 0.19 | A |
| 194 | 1.91 | 0.22 | 2.84 | W |
| 196 | 30.6 | 2.81 | 0.85 | A |
| 199 | 29.15 | 1.75 | 0.66 | A |
| 202 | 38.4 | 4.0 | 1.85 | A |
| 203 | 25.7 | 1.4 | 0.22 | A |
| 204 | 25.4 | 3.6 | 0.18 | A |
| 205 | 37.606 | 2.969 | 1.75 | A |
| 208 | 10.1666 | 0.00063 | 1.78 | A |
| 211 | 27.2 | 1.9 | 0.41 | A |
| 213 | 30 | 3 | 0.77 | A |
| 214 | 21.44 | 1.07 | 0.33 | A |
| 216 | 9.8 | 0.4 | 1.82 | A |
| 217 | 26.6 | 1.4 | 0.34 | A |
| 220 | 5.74 | 2.2 | 2.34 | W |
| 221 | 29.3 | 4.39 | 0.68 | A |
| 222 | 34.7 | 2.0 | 1.38 | A |
| 223 | 6.9 | 1.8 | 2.20 | W |
| 224 | 18.5 | 5 | 0.70 | A |
| 225 | 26.0 | 1.1 | 0.26 | A |
| 226 | 25.43 | 1.91 | 0.19 | A |
| 227 | 22.04 | 1.39 | 0.25 | A |
| 230 | 26 | 3.3 | 0.26 | A |
| 231 | 5.8 | 0.5 | 2.34 | W |
| 239 | 20.41 | 6.02 | 0.46 | A |
| 240 | 28.5 | 6.7 | 0.58 | A |
| 241 | 28.43 | 0.56 | 0.57 | A |
| 243 | 17.33 | 1.52 | 0.85 | A |
| 246 | 29.1 | 0.3 | 0.66 | A |
| 247 | 29.0 | 2.4 | 0.65 | A |
| 248 | 22.6 | 0.95 | 0.18 | A |
| 250 | 35.25 | 4.23 | 1.45 | A |
| 253 | 19.79 | 0.39 | 0.54 | A |
| 261 | 27.9 | 3.9 | 0.50 | A |
| 262 | 12.0 | 1.5 | 1.54 | A |
| 266 | 39.5 | 1.8 | 1.99 | A |
| 272 | 19.0 | 2.61 | 0.64 | A |

TABLE 34. IC Evaluation Results for in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 276 | 24.4 | 2.8 | 0.05 | A |
| 277 | 15.35 | 1.49 | 1.11 | A |
| 278 | 0.36 | 0.01 | 3.04 | N |
| 281 | 16.2 | 3.3 | 1.00 | A |
| 284 | 16.88 | 0.08 | 0.91 | A |
| 289 | 30.0 | 2.4 | 0.77 | A |
| 290 | 27.25 | 0.50 | 0.42 | A |
| 296 | 28.1 | 3.1 | 0.53 | A |
| 299 | 20.06 | 1.64 | 0.50 | A |
| 303 | 13.59 | 1.1 | 1.34 | A |
| 305 | 21.92 | 3.0262 | 0.26 | A |
| 306 | 12.5 | 0.2 | 1.48 | A |
| 312 | 29.8 | 1.6 | 0.75 | A |

Activity [ Bq/kg ]

150

200

Reported Results for Gross beta Determination in Sample 1

TABLE 35. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 124.75 |
| Robust SD, Bq/kg | 29.46 |
| N | 213 |

50

100

130

80

306

211

25

10

49

30

289

50

79

156

78

155

234

88

52

23

119

230

157

5

235

69

203

246

67

83

223

225

118

126

139

214

204

104

276

149

161

76

222

199

205

28

113

202

60

96

56

128

4

227

192

217

75

14

90

296

120

58

87

107

173

129

220

109

7

41

158

163

42

100

Labcode

FIGURE 34. Reported results and evaluation parameters for Gross beta in Sample 1.

TABLE 36. IC Evaluation Results for in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 4 | 135.3 | 8.4 | 0.36 | A |
| 5 | 109.64 | 17.05 | 0.51 | A |
| 7 | 174 | 36 | 1.67 | A |
| 8 | 126 | 5 | 0.04 | A |
| 9 | 174.03 | 12.79 | 1.67 | A |
| 10 | 82.49 | 2.18 | 1.43 | A |
| 12 | 123 | 4 | 0.06 | A |
| 13 | 139.3 | 6.3 | 0.49 | A |
| 14 | 143.63 | 34.48 | 0.64 | A |
| 17 | 133 | 27 | 0.28 | A |
| 23 | 106.85 | 9.14 | 0.61 | A |
| 24 | 120 | 3 | 0.16 | A |
| 25 | 80.1893 | 2.0084 | 1.51 | A |
| 26 | 186.6 | 1.2 | 2.10 | W |
| 28 | 130.0 | 13.0 | 0.18 | A |
| 30 | 87.28 | 43.69 | 1.27 | A |
| 31 | 132 | 18 | 0.25 | A |
| 34 | 104.67 | 2.43 | 0.68 | A |
| 36 | 120 | 10 | 0.16 | A |
| 38 | 145.7 | 0.7 | 0.71 | A |
| 41 | 178.3 | 71.3 | 1.82 | A |

TABLE 36. IC Evaluation Results for in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 42 | 187.723 | 8.137 | 2.14 | W |
| 45 | 140 | 15 | 0.52 | A |
| 47 | 158 | 14 | 1.13 | A |
| 49 | 87.2 | 1.7 | 1.27 | A |
| 50 | 89.4 | 1.7 | 1.20 | A |
| 51 | 94.077 | 0.493 | 1.04 | A |
| 52 | 105 | 6.53 | 0.67 | A |
| 56 | 133.6 | 14.3 | 0.30 | A |
| 57 | 107.35 | 2.81 | 0.59 | A |
| 58 | 152 | 9 | 0.92 | A |
| 60 | 132.9 | 9.6 | 0.28 | A |
| 62 | 136 | 6 | 0.38 | A |
| 64 | 167.5 | 8.45 | 1.45 | A |
| 65 | 143.61 | 1.39 | 0.64 | A |
| 67 | 116 | 4 | 0.30 | A |
| 68 | 122.3 | 5.6 | 0.08 | A |
| 69 | 111.71 | 0.44 | 0.44 | A |
| 74 | 133.5 | 4.0 | 0.30 | A |
| 75 | 142 | 7 | 0.59 | A |
| 76 | 125.9 | 9.15 | 0.04 | A |
| 78 | 98.43 | 1.68 | 0.89 | A |
| 79 | 90.9 | 2.4 | 1.15 | A |
| 80 | 43.88 | 1.58 | 2.75 | W |
| 81 | 90.4 | 0.2 | 1.17 | A |
| 83 | 117.0 | 12.5 | 0.26 | A |
| 87 | 156.24 | 31 | 1.07 | A |
| 88 | 104 | 10 | 0.70 | A |
| 90 | 144.3 | 1.72 | 0.66 | A |
| 94 | 115.7 | 7.5 | 0.31 | A |
| 95 | 87.2228 | 1.4728 | 1.27 | A |
| 96 | 133.4 | 4.1 | 0.29 | A |
| 98 | 113.8 | 10.2 | 0.37 | A |
| 99 | 117.0 | 17.55 | 0.26 | A |
| 100 | 250.9 | 0.502 | 4.28 | N |
| 101 | 71.5 | 1.7 | 1.81 | A |
| 103 | 173 | 12.6 | 1.64 | A |
| 104 | 121.89 | 1.74 | 0.10 | A |
| 105 | 143.83 | 40.0 | 0.65 | A |
| 107 | 158.3 | 11.3 | 1.14 | A |
| 109 | 172.00 | 0.12 | 1.60 | A |
| 110 | 88.6 | 5.28 | 1.23 | A |
| 113 | 130.20 | 6.82 | 0.18 | A |
| 118 | 119 | 11 | 0.20 | A |
| 119 | 107.320 | 15.025 | 0.59 | A |
| 120 | 148 | 15 | 0.79 | A |
| 123 | 123.88 | 5.96 | 0.03 | A |
| 124 | 109.65 | 0.69 | 0.51 | A |
| 126 | 120 | 10 | 0.16 | A |
| 127 | 89.34 | 8.9 | 1.20 | A |
| 128 | 134.2 | 10.8 | 0.32 | A |
| 129 | 167 | 23 | 1.43 | A |
| 130 | 28.1 | 1.68 | 3.28 | N |
| 133 | 107.3 | 15.0 | 0.59 | A |
| 135 | 31.7 | 0.4 | 3.16 | N |

TABLE 36. IC Evaluation Results for in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 137 | 119.00 | 3.86 | 0.20 | A |
| 138 | 120.20 | 0.37 | 0.15 | A |
| 139 | 120 | 1.4 | 0.16 | A |
| 143 | 128 | 7.3 | 0.11 | A |
| 149 | 123.0 | 1.1 | 0.06 | A |
| 155 | 98.98 | 1.89 | 0.87 | A |
| 156 | 93.1 | 13.3 | 1.07 | A |
| 157 | 108.9 | 8.7 | 0.54 | A |
| 158 | 182.662 | 16.324 | 1.97 | A |
| 159 | 82.5 | 10.0 | 1.43 | A |
| 160 | 127.04 | 5.68 | 0.08 | A |
| 161 | 123.3 | 11 | 0.05 | A |
| 163 | 186.00 | 6.20 | 2.08 | W |
| 171 | 131 | 2 | 0.21 | A |
| 173 | 161.87 | 16.29 | 1.26 | A |
| 175 | 170.8 | 4.2 | 1.56 | A |
| 177 | 109.0 | 15.0 | 0.53 | A |
| 180 | 145 | 9 | 0.69 | A |
| 183 | 111.17 | 1.20 | 0.46 | A |
| 186 | 82.2 | 12.3 | 1.44 | A |
| 192 | 137.7 | 8.1 | 0.44 | A |
| 194 | 91.18 | 1.78 | 1.14 | A |
| 196 | 150 | 12 | 0.86 | A |
| 199 | 127.1 | 5.1 | 0.08 | A |
| 202 | 131 | 14 | 0.21 | A |
| 203 | 112.0 | 11.0 | 0.43 | A |
| 204 | 121 | 17 | 0.13 | A |
| 205 | 128.798 | 8.427 | 0.14 | A |
| 208 | 80.1639 | 0.0169 | 1.51 | A |
| 211 | 80 | 6 | 1.52 | A |
| 213 | 130 | 15 | 0.18 | A |
| 214 | 120.01 | 1.41 | 0.16 | A |
| 216 | 188 | 3 | 2.15 | W |
| 217 | 140 | 7.5 | 0.52 | A |
| 220 | 168.96 | 40.2 | 1.50 | A |
| 221 | 123.05 | 18.46 | 0.06 | A |
| 222 | 126.0 | 8.0 | 0.04 | A |
| 223 | 117.8 | 21 | 0.24 | A |
| 224 | 134.7 | 24 | 0.34 | A |
| 225 | 118.7 | 0.4 | 0.21 | A |
| 226 | 121 | 6.05 | 0.13 | A |
| 227 | 136.25 | 3.14 | 0.39 | A |
| 230 | 108 | 14 | 0.57 | A |
| 231 | 57.44 | 2.5 | 2.28 | W |
| 234 | 102.90 | 5.30 | 0.74 | A |
| 235 | 110.4 | 2.43 | 0.49 | A |
| 239 | 106.5 | 31.4 | 0.62 | A |
| 240 | 183 | 56.1 | 1.98 | A |
| 241 | 181.21 | 1.80 | 1.92 | A |
| 243 | 134.1 | 8.2 | 0.32 | A |
| 246 | 114.7 | 2.2 | 0.34 | A |
| 247 | 119.3 | 6.3 | 0.18 | A |
| 248 | 102 | 4.2 | 0.77 | A |
| 250 | 137.08 | 16.45 | 0.42 | A |

TABLE 36. IC Evaluation Results for in Sample 1, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 253 | 103.26 | 0.81 | 0.73 | A |
| 261 | 129.8 | 11.8 | 0.17 | A |
| 262 | 108.2 | 14.1 | 0.56 | A |
| 272 | 116.35 | 18.03 | 0.29 | A |
| 276 | 122.5 | 8.1 | 0.08 | A |
| 277 | 111.88 | 12.26 | 0.44 | A |
| 284 | 165.55 | 0.32 | 1.38 | A |
| 289 | 88.9 | 3.4 | 1.22 | A |
| 290 | 98.60 | 3.52 | 0.89 | A |
| 296 | 145.5 | 13.2 | 0.70 | A |
| 299 | 160.04 | 11.66 | 1.20 | A |
| 303 | 117.9 | 27.2 | 0.23 | A |
| 306 | 63.8 | 0.8 | 2.07 | W |
| 312 | 153.9 | 11.4 | 0.99 | A |

Activity [ Bq/kg ]

15

20

Reported Results for Gross alpha Determination in Sample 2

TABLE 37. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 12.72 |
| Robust SD, Bq/kg | 3.73 |
| N | 207 |

5

10

130

194

231

290

78

208

220

52

110

306

216

262

281

243

12

64

284

303

227

160

50

299

107

87

186

276

99

158

123

113

47

96

199

135

76

88

62

24

175

36

103

104

60

17

124

31

68

8

4

203

213

312

221

98

74

128

223

239

222

14

42

205

240

94

7

56

202

156

109

Labcode

FIGURE 35. Reported results and evaluation parameters for Gross alpha in Sample 2.

TABLE 38. IC Evaluation Results for in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 4 | 14.93 | 0.24 | 0.59 | A |
| 5 | 5.17 | 0.45 | 2.02 | W |
| 7 | 18.1 | 4.4 | 1.44 | A |
| 8 | 14.8 | 0.9 | 0.56 | A |
| 9 | 15.37 | 1.94 | 0.71 | A |
| 10 | 6.53 | 0.36 | 1.66 | A |
| 12 | 9.06 | 0.4 | 0.98 | A |
| 13 | 12.5 | 0.7 | 0.06 | A |
| 14 | 16.61 | 3.33 | 1.04 | A |
| 17 | 14.2 | 2.8 | 0.40 | A |
| 24 | 14.0 | 0.8 | 0.34 | A |
| 25 | 11.8046 | 0.1914 | 0.25 | A |
| 26 | 14.2 | 0.3 | 0.40 | A |
| 28 | 14.0 | 1.4 | 0.34 | A |
| 30 | 21.88 | 12.63 | 2.46 | W |
| 31 | 14.3 | 2.0 | 0.42 | A |
| 36 | 14 | 3 | 0.34 | A |
| 38 | 13.8 | 0.2 | 0.29 | A |
| 42 | 16.959 | 4.255 | 1.14 | A |
| 45 | 13.6 | 2.1 | 0.24 | A |
| 47 | 13.0 | 0.89 | 0.08 | A |

TABLE 38. IC Evaluation Results for in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 49 | 10.7 | 0.5 | 0.54 | A |
| 50 | 11.2 | 0.5 | 0.41 | A |
| 52 | 6.04 | 0.387 | 1.79 | A |
| 56 | 18.4 | 2.7 | 1.52 | A |
| 58 | 15.1 | 2.6 | 0.64 | A |
| 60 | 14.2 | 1.1 | 0.40 | A |
| 62 | 13.8 | 0.8 | 0.29 | A |
| 64 | 9.38 | 0.46 | 0.90 | A |
| 67 | 15.6 | 1.0 | 0.77 | A |
| 68 | 14.5 | 0.9 | 0.48 | A |
| 69 | 8.20 | 0.16 | 1.21 | A |
| 74 | 15.5 | 2.2 | 0.75 | A |
| 75 | 13.3 | 1.1 | 0.16 | A |
| 76 | 13.7 | 4.07 | 0.26 | A |
| 78 | 4.78 | 0.44 | 2.13 | W |
| 79 | 4.07 | 0.37 | 2.32 | W |
| 80 | 6.87 | 1.23 | 1.57 | A |
| 81 | 17.6 | 0.3 | 1.31 | A |
| 83 | 15.3 | 1.5 | 0.69 | A |
| 87 | 11.86 | 2.36 | 0.23 | A |
| 88 | 13.8 | 1.4 | 0.29 | A |
| 90 | 16.5 | 0.55 | 1.01 | A |
| 94 | 17.9 | 1.2 | 1.39 | A |
| 95 | 2.2578 | 0.1378 | 2.80 | W |
| 96 | 13.09 | 0.62 | 0.10 | A |
| 98 | 15.4 | 1.2 | 0.72 | A |
| 99 | 12.23 | 2.45 | 0.13 | A |
| 100 | 3.622 | 0.2 | 2.44 | W |
| 101 | 18.5 | 3.1 | 1.55 | A |
| 103 | 14.1 | 1.07 | 0.37 | A |
| 104 | 14.10 | 1.13 | 0.37 | A |
| 105 | 11.33 | 1.25 | 0.37 | A |
| 107 | 11.62 | 0.4 | 0.29 | A |
| 109 | 30.00 | 0.07 | 4.63 | N |
| 110 | 6.70 | 0.945 | 1.61 | A |
| 113 | 12.71 | 1.19 | 0.00 | A |
| 118 | 9 | 0.9 | 1.00 | A |
| 119 | 14.050 | 1.967 | 0.36 | A |
| 120 | 15.9 | 1.6 | 0.85 | A |
| 123 | 12.46 | 1.32 | 0.07 | A |
| 124 | 14.24 | 0.45 | 0.41 | A |
| 126 | 17.0 | 1.4 | 1.15 | A |
| 127 | 6.75 | 1.0 | 1.60 | A |
| 128 | 15.5 | 1.9 | 0.75 | A |
| 129 | 15 | 3 | 0.61 | A |
| 130 | 0.3 | 0.17 | 3.33 | N |
| 133 | 14.1 | 1.9 | 0.37 | A |
| 134 | 0.45 | 0.068 | 3.29 | N |
| 135 | 13.3 | 0.2 | 0.16 | A |
| 137 | 11.50 | 0.54 | 0.33 | A |
| 138 | 11.87 | 0.13 | 0.23 | A |
| 143 | 18.1 | 2.89 | 1.44 | A |
| 146 | 7.29 |  | 1.46 | A |
| 149 | 13.2 | 1.2 | 0.13 | A |

TABLE 38. IC Evaluation Results for in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 150 | 5.9 | 2.45 | 1.83 | A |
| 155 | 5.69 | 0.36 | 1.88 | A |
| 156 | 19.9 | 1.9 | 1.92 | A |
| 157 | 12.2 | 1.1 | 0.14 | A |
| 158 | 12.365 | 2.424 | 0.10 | A |
| 159 | 12.2 | 1.9 | 0.14 | A |
| 160 | 10.99 | 0.57 | 0.46 | A |
| 161 | 17.25 | 1.6 | 1.21 | A |
| 163 | 14.43 | 1.75 | 0.46 | A |
| 171 | 14.2 | 0.5 | 0.40 | A |
| 173 | 14.92 | 1.58 | 0.59 | A |
| 175 | 14.0 | 1.1 | 0.34 | A |
| 177 | 11.0 | 2.0 | 0.46 | A |
| 183 | 16.79 | 0.29 | 1.09 | A |
| 186 | 12.1 | 2.1 | 0.17 | A |
| 192 | 13.0 | 4.7 | 0.08 | A |
| 194 | 1.33 | 0.07 | 3.05 | N |
| 196 | 15.4 | 2.24 | 0.72 | A |
| 199 | 13.26 | 0.92 | 0.14 | A |
| 202 | 19.2 | 2.0 | 1.74 | A |
| 203 | 15.0 | 1.4 | 0.61 | A |
| 204 | 8.42 | 1.18 | 1.15 | A |
| 205 | 17.187 | 1.396 | 1.20 | A |
| 208 | 5.1974 | 0.00063 | 2.02 | W |
| 211 | 13.0 | 0.9 | 0.08 | A |
| 213 | 15.2 | 1.6 | 0.66 | A |
| 214 | 14.14 | 0.87 | 0.38 | A |
| 216 | 7.2 | 0.3 | 1.48 | A |
| 217 | 14.3 | 0.82 | 0.42 | A |
| 220 | 5.88 | 2.5 | 1.83 | A |
| 221 | 15.39 | 2.31 | 0.72 | A |
| 222 | 16.3 | 1.0 | 0.96 | A |
| 223 | 15.7 | 4 | 0.80 | A |
| 224 | 9.8 | 2.3 | 0.78 | A |
| 225 | 12.4 | 0.5 | 0.09 | A |
| 227 | 10.46 | 0.97 | 0.61 | A |
| 230 | 16 | 2.3 | 0.88 | A |
| 231 | 2.37 | 0.2 | 2.77 | W |
| 239 | 16.0 | 4.72 | 0.88 | A |
| 240 | 17.4 | 4.36 | 1.25 | A |
| 241 | 13.76 | 0.11 | 0.28 | A |
| 243 | 8.81 | 0.72 | 1.05 | A |
| 246 | 10.2 | 0.3 | 0.68 | A |
| 247 | 14.0 | 1.1 | 0.34 | A |
| 248 | 18.0 | 0.72 | 1.42 | A |
| 250 | 14.00 | 1.68 | 0.34 | A |
| 253 | 9.26 | 0.25 | 0.93 | A |
| 262 | 7.5 | 0.94 | 1.40 | A |
| 266 | 19.3 | 0.9 | 1.76 | A |
| 272 | 15.44 | 1.67 | 0.73 | A |
| 276 | 12.2 | 1.84 | 0.14 | A |
| 277 | 9.521 | 0.89 | 0.86 | A |
| 281 | 8.41 | 1.75 | 1.16 | A |
| 284 | 9.57 | 0.06 | 0.84 | A |

TABLE 38. IC Evaluation Results for in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 289 | 14.7 | 1.5 | 0.53 | A |
| 290 | 3.81 | 0.08 | 2.39 | W |
| 296 | 15.5 | 1.6 | 0.75 | A |
| 299 | 11.38 | 0.91 | 0.36 | A |
| 303 | 10.19 | 1.1 | 0.68 | A |
| 305 | 12.33 | 3.4569 | 0.10 | A |
| 306 | 6.8 | 0.2 | 1.59 | A |
| 312 | 15.3 | 0.8 | 0.69 | A |

Activity [ Bq/kg ]

30

40

50

Reported Results for Gross beta Determination in Sample 2

TABLE 39. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 28.94 |
| Robust SD, Bq/kg | 6.35 |
| N | 209 |

10

20

290

306

134

101

211

186

25

126

235

155

156

127

194

5

88

133

81

149

23

57

34

99

253

183

230

137

138

104

12

24

205

214

124

8

175

171

56

28

109

204

272

38

192

36

94

60

213

64

75

243

14

239

120

96

17

129

105

107

284

173

87

100

296

52

220

7

240

158

248

Labcode

FIGURE 36. Reported results and evaluation parameters for Gross beta in Sample 2.

TABLE 40. IC Evaluation Results for in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 4 | 28.52 | 1.77 | 0.07 | A |
| 5 | 22.58 | 7.3 | 1.00 | A |
| 7 | 43 | 9 | 2.21 | W |
| 8 | 27.9 | 1.4 | 0.16 | A |
| 9 | 41.83 | 5.04 | 2.03 | W |
| 10 | 22.44 | 1.34 | 1.02 | A |
| 12 | 27.1 | 0.9 | 0.29 | A |
| 13 | 31.3 | 1.4 | 0.37 | A |
| 14 | 31.75 | 7.62 | 0.44 | A |
| 17 | 33.2 | 6.6 | 0.67 | A |
| 23 | 24.62 | 2.11 | 0.68 | A |
| 24 | 27.6 | 1.1 | 0.21 | A |
| 25 | 18.9754 | 0.4753 | 1.57 | A |
| 26 | 53 | 1 | 3.79 | N |
| 28 | 28.6 | 2.9 | 0.05 | A |
| 30 | 9.48 | 5.43 | 3.06 | N |
| 31 | 32.0 | 4.4 | 0.48 | A |
| 34 | 25.26 | 0.75 | 0.58 | A |
| 36 | 30 | 4 | 0.17 | A |
| 38 | 29.7 | 0.3 | 0.12 | A |
| 42 | 43.065 | 1.916 | 2.22 | W |

TABLE 40. IC Evaluation Results for in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 45 | 28.2 | 5.2 | 0.12 | A |
| 47 | 35.3 | 3.2 | 1.00 | A |
| 49 | 21.4 | 0.7 | 1.19 | A |
| 50 | 22.2 | 0.7 | 1.06 | A |
| 52 | 38.6 | 2.52 | 1.52 | A |
| 56 | 28.5 | 3.3 | 0.07 | A |
| 57 | 24.78 | 0.74 | 0.66 | A |
| 58 | 39.8 | 3.6 | 1.71 | A |
| 60 | 30.7 | 2.3 | 0.28 | A |
| 62 | 30.9 | 1.7 | 0.31 | A |
| 64 | 31.05 | 1.55 | 0.33 | A |
| 67 | 26.2 | 1.2 | 0.43 | A |
| 68 | 28.8 | 1.8 | 0.02 | A |
| 69 | 24.66 | 0.21 | 0.67 | A |
| 74 | 30.5 | 1.7 | 0.25 | A |
| 75 | 31.2 | 1.2 | 0.36 | A |
| 76 | 29.7 | 4.88 | 0.12 | A |
| 78 | 22.02 | 0.71 | 1.09 | A |
| 79 | 21.1 | 0.8 | 1.23 | A |
| 80 | 20.06 | 0.86 | 1.40 | A |
| 81 | 23.8 | 0.1 | 0.81 | A |
| 83 | 30.0 | 2.5 | 0.17 | A |
| 87 | 37.13 | 7.4 | 1.29 | A |
| 88 | 23.4 | 2.3 | 0.87 | A |
| 90 | 33.8 | 1.11 | 0.77 | A |
| 94 | 30.5 | 2.1 | 0.25 | A |
| 95 | 13.6937 | 1.0917 | 2.40 | W |
| 96 | 32.7 | 1.9 | 0.59 | A |
| 98 | 27.1 | 2.3 | 0.29 | A |
| 99 | 25.54 | 3.83 | 0.54 | A |
| 100 | 37.31 | 0.8672 | 1.32 | A |
| 101 | 15.6 | 2.1 | 2.10 | W |
| 103 | 37.4 | 2.73 | 1.33 | A |
| 104 | 27.05 | 0.41 | 0.30 | A |
| 105 | 34.42 | 2.0 | 0.86 | A |
| 107 | 34.83 | 4.3 | 0.93 | A |
| 109 | 28.76 | 0.05 | 0.03 | A |
| 110 | 23.0 | 2.05 | 0.94 | A |
| 113 | 27.80 | 1.49 | 0.18 | A |
| 118 | 27 | 3 | 0.31 | A |
| 119 | 23.460 | 3.284 | 0.86 | A |
| 120 | 32.6 | 3.3 | 0.58 | A |
| 123 | 28.41 | 1.50 | 0.08 | A |
| 124 | 27.88 | 0.20 | 0.17 | A |
| 126 | 20.2 | 2.8 | 1.38 | A |
| 127 | 22.05 | 2.2 | 1.09 | A |
| 128 | 28.6 | 2.3 | 0.05 | A |
| 129 | 34 | 5 | 0.80 | A |
| 130 | 18.7 | 1.37 | 1.61 | A |
| 133 | 23.5 | 3.3 | 0.86 | A |
| 134 | 13.69 | 1.45 | 2.40 | W |
| 135 | 17.0 | 0.3 | 1.88 | A |
| 137 | 26.20 | 0.87 | 0.43 | A |
| 138 | 26.50 | 0.13 | 0.38 | A |

TABLE 40. IC Evaluation Results for in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 143 | 27.3 | 1.56 | 0.26 | A |
| 149 | 24.2 | 0.5 | 0.75 | A |
| 155 | 21.18 | 0.62 | 1.22 | A |
| 156 | 21.4 | 2.1 | 1.19 | A |
| 157 | 24.3 | 2.1 | 0.73 | A |
| 158 | 48.024 | 4.355 | 3.01 | N |
| 159 | 24.0 | 4.6 | 0.78 | A |
| 160 | 31.07 | 1.41 | 0.34 | A |
| 161 | 59.2 | 5.1 | 4.77 | N |
| 163 | 34.56 | 1.35 | 0.89 | A |
| 171 | 28.4 | 0.7 | 0.09 | A |
| 173 | 36.45 | 3.7 | 1.18 | A |
| 175 | 28.2 | 1.8 | 0.12 | A |
| 177 | 25.0 | 5.0 | 0.62 | A |
| 180 | 38.5 | 3.8 | 1.51 | A |
| 183 | 25.97 | 0.57 | 0.47 | A |
| 186 | 18.5 | 3.3 | 1.64 | A |
| 192 | 29.9 | 1.2 | 0.15 | A |
| 194 | 22.35 | 0.48 | 1.04 | A |
| 196 | 33.1 | 6.83 | 0.66 | A |
| 199 | 27.60 | 1.90 | 0.21 | A |
| 202 | 30.6 | 3.0 | 0.26 | A |
| 203 | 26.0 | 3.0 | 0.46 | A |
| 204 | 28.9 | 4.1 | 0.01 | A |
| 205 | 27.658 | 1.830 | 0.20 | A |
| 208 | 17.8436 | 0.0169 | 1.75 | A |
| 211 | 17.8 | 1.3 | 1.75 | A |
| 213 | 31 | 5 | 0.32 | A |
| 214 | 27.74 | 0.68 | 0.19 | A |
| 216 | 46.0 | 0.6 | 2.69 | W |
| 217 | 37.3 | 0.12 | 1.32 | A |
| 220 | 40.6 | 10.1 | 1.84 | A |
| 221 | 29.85 | 4.48 | 0.14 | A |
| 222 | 28.1 | 1.8 | 0.13 | A |
| 223 | 31 | 5.5 | 0.32 | A |
| 224 | 32.6 | 6.2 | 0.58 | A |
| 225 | 26.0 | 0.2 | 0.46 | A |
| 227 | 31.77 | 1.68 | 0.45 | A |
| 230 | 26 | 3.4 | 0.46 | A |
| 231 | 13.6 | 1.3 | 2.42 | W |
| 234 | 25.60 | 1.30 | 0.53 | A |
| 235 | 20.51 | 1.17 | 1.33 | A |
| 239 | 31.9 | 9.41 | 0.47 | A |
| 240 | 44.2 | 13.6 | 2.40 | W |
| 241 | 34.06 | 0.20 | 0.81 | A |
| 243 | 31.32 | 2.25 | 0.37 | A |
| 246 | 25.9 | 0.9 | 0.48 | A |
| 247 | 27.7 | 1.5 | 0.20 | A |
| 248 | 54.4 | 3.4 | 4.01 | N |
| 250 | 29.43 | 3.53 | 0.08 | A |
| 253 | 25.77 | 0.39 | 0.50 | A |
| 262 | 31.5 | 4.1 | 0.40 | A |
| 272 | 29.46 | 3.0 | 0.08 | A |
| 276 | 23.8 | 2.56 | 0.81 | A |

TABLE 40. IC Evaluation Results for in Sample 2, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 277 | 27.89 | 2.68 | 0.17 | A |
| 284 | 35.48 | 0.11 | 1.03 | A |
| 289 | 20.2 | 0.9 | 1.38 | A |
| 290 | 8.11 | 0.31 | 3.28 | N |
| 296 | 38.1 | 3.1 | 1.44 | A |
| 299 | 37.11 | 2.73 | 1.29 | A |
| 303 | 25.27 | 5.8 | 0.58 | A |
| 306 | 13.4 | 0.2 | 2.45 | W |
| 312 | 35.6 | 4.7 | 1.05 | A |

Activity [ Bq/kg ]

8

10

12

14

16

Reported Results for Gross alpha Determination in Sample 3

TABLE 41. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 8.93 |
| Robust SD, Bq/kg | 3.04 |
| N | 206 |

2

4

6

130

277

220

231

110

78

79

52

208

10

284

262

303

127

305

177

157

272

83

94

137

161

243

5

246

223

87

96

217

225

138

36

81

175

214

123

105

4

312

60

38

99

211

226

50

129

51

7

119

133

24

26

192

221

173

289

76

90

42

30

143

126

56

202

159

240

183

109

Labcode

FIGURE 37. Reported results and evaluation parameters for Gross alpha in Sample 3.

TABLE 42. IC Evaluation Results for in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 4 | 9.42 | 0.33 | 0.16 | A |
| 5 | 7.64 | 1.8 | 0.42 | A |
| 7 | 10.5 | 2.8 | 0.52 | A |
| 8 | 8.89 | 0.53 | 0.01 | A |
| 9 | 10.80 | 1.67 | 0.62 | A |
| 10 | 5.11 | 0.32 | 1.26 | A |
| 12 | 5.71 | 0.3 | 1.06 | A |
| 13 | 9.2 | 0.6 | 0.09 | A |
| 14 | 11.94 | 2.39 | 0.99 | A |
| 17 | 11.5 | 2.3 | 0.85 | A |
| 24 | 10.7 | 0.9 | 0.58 | A |
| 25 | 7.9536 | 0.1293 | 0.32 | A |
| 26 | 10.8 | 0.3 | 0.62 | A |
| 28 | 12.4 | 1.2 | 1.14 | A |
| 30 | 12.15 | 7.54 | 1.06 | A |
| 36 | 9 | 3 | 0.02 | A |
| 38 | 9.7 | 0.1 | 0.25 | A |
| 42 | 11.972 | 3.004 | 1.00 | A |
| 45 | 9.9 | 1.6 | 0.32 | A |
| 47 | 7.38 | 0.52 | 0.51 | A |
| 49 | 9.7 | 0.5 | 0.25 | A |

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 50 | 10.1 | 0.5 | 0.38 | A |
| 51 | 10.295 | 0.198 | 0.45 | A |
| 52 | 3.86 | 0.238 | 1.67 | A |
| 56 | 13.1 | 2.0 | 1.37 | A |
| 60 | 9.69 | 0.71 | 0.25 | A |
| 62 | 9.01 | 0.63 | 0.03 | A |
| 64 | 7.46 | 0.37 | 0.48 | A |
| 67 | 11.0 | 0.9 | 0.68 | A |
| 68 | 10.2 | 0.8 | 0.42 | A |
| 69 | 5.51 | 0.12 | 1.12 | A |
| 74 | 10.9 | 1.4 | 0.65 | A |
| 75 | 9.4 | 0.8 | 0.15 | A |
| 76 | 11.6 | 3.82 | 0.88 | A |
| 78 | 3.18 | 0.37 | 1.89 | A |
| 79 | 3.30 | 0.32 | 1.85 | A |
| 80 | 5.09 | 1.24 | 1.26 | A |
| 81 | 9.06 | 0.21 | 0.04 | A |
| 83 | 6.5 | 0.7 | 0.80 | A |
| 87 | 8.42 | 1.6 | 0.17 | A |
| 88 | 11.4 | 1.2 | 0.81 | A |
| 90 | 11.7 | 0.48 | 0.91 | A |
| 94 | 7.1 | 0.5 | 0.60 | A |
| 95 | 2.510 | 0.1447 | 2.11 | W |
| 96 | 8.52 | 0.54 | 0.13 | A |
| 98 | 11.7 | 0.9 | 0.91 | A |
| 99 | 9.83 | 1.97 | 0.30 | A |
| 100 | 3.281 | 0.92 | 1.86 | A |
| 101 | 10.1 | 0.4 | 0.38 | A |
| 103 | 42.4 | 3.12 | 11.01 | N |
| 104 | 10.59 | 0.84 | 0.55 | A |
| 105 | 9.33 | 1.08 | 0.13 | A |
| 107 | 7.75 | 0.3 | 0.39 | A |
| 109 | 24.70 | 0.05 | 5.19 | N |
| 110 | 2.89 | 0.649 | 1.99 | A |
| 113 | 9.14 | 0.87 | 0.07 | A |
| 118 | 14.4 | 1.5 | 1.80 | A |
| 119 | 10.573 | 1.480 | 0.54 | A |
| 120 | 8.8 | 0.8 | 0.04 | A |
| 123 | 9.27 | 1.07 | 0.11 | A |
| 124 | 9.66 | 0.31 | 0.24 | A |
| 126 | 12.9 | 1.1 | 1.31 | A |
| 127 | 5.73 | 0.86 | 1.05 | A |
| 128 | 16.4 | 2.0 | 2.46 | W |
| 129 | 10.2 | 1.8 | 0.42 | A |
| 130 | 0.3 | 0.17 | 2.84 | W |
| 133 | 10.6 | 1.5 | 0.55 | A |
| 135 | 8.5 | 0.4 | 0.14 | A |
| 137 | 7.25 | 0.34 | 0.55 | A |
| 138 | 8.878 | 0.110 | 0.02 | A |
| 143 | 12.3 | 1.95 | 1.11 | A |
| 146 | 3.12 |  | 1.91 | A |
| 149 | 10.3 | 1.0 | 0.45 | A |
| 150 | 1.43 | 0.45 | 2.47 | W |
| 155 | 3.47 | 0.28 | 1.80 | A |

TABLE 42. IC Evaluation Results for in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

TABLE 42. IC Evaluation Results for in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 156 | 13.3 | 1.3 | 1.44 | A |
| 157 | 6.4 | 0.6 | 0.83 | A |
| 158 | 4.321 | 0.864 | 1.52 | A |
| 159 | 13.9 | 2.2 | 1.63 | A |
| 160 | 9.29 | 0.49 | 0.12 | A |
| 161 | 7.38 | 1.1 | 0.51 | A |
| 163 | 10.13 | 1.52 | 0.39 | A |
| 171 | 10.6 | 0.3 | 0.55 | A |
| 173 | 11.39 | 1.23 | 0.81 | A |
| 175 | 9.1 | 0.9 | 0.06 | A |
| 177 | 6.3 | 1.2 | 0.87 | A |
| 183 | 16.14 | 0.28 | 2.37 | W |
| 186 | 7.6 | 1.5 | 0.44 | A |
| 192 | 11.0 | 2.2 | 0.68 | A |
| 194 | 1.00 | 0.19 | 2.61 | W |
| 196 | 6.47 | 1.04 | 0.81 | A |
| 199 | 10.50 | 1.10 | 0.52 | A |
| 202 | 13.3 | 1.4 | 1.44 | A |
| 203 | 12.9 | 1.0 | 1.31 | A |
| 204 | 6.21 | 0.87 | 0.89 | A |
| 205 | 13.151 | 1.078 | 1.39 | A |
| 208 | 4.6890 | 0.00063 | 1.40 | A |
| 211 | 10.0 | 0.7 | 0.35 | A |
| 213 | 11.2 | 1.2 | 0.75 | A |
| 214 | 9.19 | 0.66 | 0.09 | A |
| 216 | 2.88 | 0.12 | 1.99 | A |
| 217 | 8.75 | 0.52 | 0.06 | A |
| 220 | 1.44 | 0.5 | 2.46 | W |
| 221 | 11.14 | 1.67 | 0.73 | A |
| 222 | 12.2 | 0.8 | 1.08 | A |
| 223 | 8.1 | 2 | 0.27 | A |
| 224 | 8.7 | 2 | 0.08 | A |
| 225 | 8.8 | 0.3 | 0.04 | A |
| 226 | 10.06 | 0.75 | 0.37 | A |
| 227 | 6.41 | 0.8 | 0.83 | A |
| 230 | 12 | 2.1 | 1.01 | A |
| 231 | 2.75 | 0.3 | 2.03 | W |
| 239 | 6.81 | 2.0 | 0.70 | A |
| 240 | 14.5 | 3.78 | 1.83 | A |
| 241 | 8.32 | 0.37 | 0.20 | A |
| 243 | 7.57 | 0.41 | 0.45 | A |
| 246 | 7.95 | 0.13 | 0.32 | A |
| 247 | 9.76 | 0.81 | 0.27 | A |
| 248 | 9.10 | 0.43 | 0.06 | A |
| 250 | 7.20 | 0.86 | 0.57 | A |
| 253 | 6.32 | 0.21 | 0.86 | A |
| 262 | 5.40 | 0.67 | 1.16 | A |
| 266 | 15.5 | 0.8 | 2.16 | W |
| 272 | 6.44 | 1.64 | 0.82 | A |
| 276 | 10.00 | 1.7 | 0.35 | A |
| 277 | 1.021 | 0.95 | 2.60 | W |
| 281 | 5.79 | 1.2 | 1.03 | A |
| 284 | 5.37 | 0.04 | 1.17 | A |
| 289 | 11.5 | 1.2 | 0.85 | A |

TABLE 42. IC Evaluation Results for in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 290 | 9.45 | 0.18 | 0.17 | A |
| 296 | 8.8 | 0.9 | 0.04 | A |
| 299 | 5.40 | 0.53 | 1.16 | A |
| 303 | 5.63 | 0.73 | 1.09 | A |
| 305 | 5.98 | 1.828 | 0.97 | A |
| 306 | 5.3 | 0.2 | 1.19 | A |
| 312 | 9.5 | 0.6 | 0.19 | A |

Activity [ Bq/kg ]

30

40

50

Reported Results for Gross beta Determination in Sample 3

TABLE 43. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 27.63 |
| Robust SD, Bq/kg | 6.78 |
| N | 210 |

10

20

101

30

306

10

186

81

211

208

156

51

50

127

78

49

234

130

235

88

253

57

220

23

67

124

13

137

149

303

62

119

225

138

99

224

247

205

24

31

113

56

171

60

192

296

199

213

90

230

64

76

69

243

38

128

299

217

284

129

196

9

109

173

163

312

83

17

240

100

42

110

Labcode

FIGURE 38. Reported results and evaluation parameters for Gross beta in Sample 3.

TABLE 44. IC Evaluation Results for in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 4 | 30.40 | 1.88 | 0.41 | A |
| 5 | 22.21 | 6.6 | 0.80 | A |
| 7 | 39 | 9 | 1.68 | A |
| 8 | 27.0 | 1.1 | 0.09 | A |
| 9 | 34.57 | 2.49 | 1.02 | A |
| 10 | 13.57 | 1.16 | 2.07 | W |
| 12 | 27.8 | 1.0 | 0.03 | A |
| 13 | 25.6 | 1.2 | 0.30 | A |
| 14 | 31.73 | 7.62 | 0.60 | A |
| 17 | 40.4 | 8.1 | 1.88 | A |
| 23 | 23.72 | 2.03 | 0.58 | A |
| 24 | 27.2 | 1.0 | 0.06 | A |
| 25 | 19.0960 | 0.4784 | 1.26 | A |
| 26 | 47.7 | 1 | 2.96 | W |
| 28 | 30.0 | 3.0 | 0.35 | A |
| 30 | 11.08 | 6.20 | 2.44 | W |
| 31 | 27.2 | 3.7 | 0.06 | A |
| 34 | 24.05 | 0.72 | 0.53 | A |
| 36 | 22 | 3 | 0.83 | A |
| 38 | 31 | 0.3 | 0.50 | A |
| 42 | 49.682 | 2.182 | 3.25 | N |

TABLE 44. IC Evaluation Results for in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 45 | 33.3 | 6.7 | 0.84 | A |
| 47 | 32.9 | 2.8 | 0.78 | A |
| 49 | 20.2 | 0.6 | 1.10 | A |
| 50 | 19.3 | 0.6 | 1.23 | A |
| 51 | 18.977 | 0.252 | 1.28 | A |
| 52 | 17.9 | 1.29 | 1.44 | A |
| 56 | 27.8 | 3.3 | 0.03 | A |
| 57 | 22.93 | 0.74 | 0.69 | A |
| 58 | 32.2 | 2.9 | 0.67 | A |
| 60 | 28.1 | 2.1 | 0.07 | A |
| 62 | 26.1 | 1.5 | 0.23 | A |
| 64 | 29.8 | 1.49 | 0.32 | A |
| 67 | 24.2 | 1.1 | 0.51 | A |
| 68 | 27.5 | 1.8 | 0.02 | A |
| 69 | 30.32 | 0.25 | 0.40 | A |
| 74 | 25.6 | 1.7 | 0.30 | A |
| 75 | 30.8 | 1.6 | 0.47 | A |
| 76 | 30.0 | 4.94 | 0.35 | A |
| 78 | 20.05 | 0.71 | 1.12 | A |
| 79 | 20.2 | 0.7 | 1.10 | A |
| 80 | 12.35 | 0.65 | 2.25 | W |
| 81 | 15.9 | 0.1 | 1.73 | A |
| 83 | 38.8 | 3.1 | 1.65 | A |
| 87 | 27.66 | 5.5 | 0.00 | A |
| 88 | 22.3 | 2.2 | 0.79 | A |
| 90 | 29.2 | 1.08 | 0.23 | A |
| 94 | 22.7 | 1.5 | 0.73 | A |
| 95 | 18.9302 | 1.1583 | 1.28 | A |
| 96 | 34.8 | 1.8 | 1.06 | A |
| 98 | 24.4 | 3.1 | 0.48 | A |
| 99 | 26.62 | 3.99 | 0.15 | A |
| 100 | 44.85 | 0.87 | 2.54 | W |
| 101 | 8.3 | 1 | 2.85 | W |
| 103 | 34.5 | 2.51 | 1.01 | A |
| 104 | 26.66 | 0.40 | 0.14 | A |
| 105 | 35.67 | 2.0 | 1.19 | A |
| 107 | 36.26 | 3.2 | 1.27 | A |
| 109 | 35.54 | 0.05 | 1.17 | A |
| 110 | 82.7 | 4.92 | 8.12 | N |
| 113 | 27.64 | 1.48 | 0.00 | A |
| 118 | 26.3 | 2.4 | 0.20 | A |
| 119 | 26.200 | 3.668 | 0.21 | A |
| 120 | 31.0 | 3.1 | 0.50 | A |
| 123 | 29.44 | 1.55 | 0.27 | A |
| 124 | 24.53 | 0.17 | 0.46 | A |
| 126 | 26.0 | 3.1 | 0.24 | A |
| 127 | 19.52 | 1.95 | 1.20 | A |
| 128 | 31.2 | 1.6 | 0.53 | A |
| 129 | 33 | 4 | 0.79 | A |
| 130 | 21.8 | 1.48 | 0.86 | A |
| 133 | 26.2 | 3.7 | 0.21 | A |
| 135 | 10.7 | 0.2 | 2.50 | W |
| 137 | 25.60 | 0.84 | 0.30 | A |
| 138 | 26.34 | 0.13 | 0.19 | A |

TABLE 44. IC Evaluation Results for in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 143 | 26.4 | 1.51 | 0.18 | A |
| 149 | 25.7 | 0.5 | 0.28 | A |
| 155 | 19.50 | 0.59 | 1.20 | A |
| 156 | 18.8 | 1.7 | 1.30 | A |
| 157 | 25.8 | 2.2 | 0.27 | A |
| 158 | 29.736 | 2.797 | 0.31 | A |
| 159 | 16.6 | 4.0 | 1.63 | A |
| 160 | 28.56 | 0.90 | 0.14 | A |
| 161 | 15.71 | 2 | 1.76 | A |
| 163 | 36.48 | 1.18 | 1.31 | A |
| 171 | 27.8 | 0.7 | 0.03 | A |
| 173 | 35.75 | 3.63 | 1.20 | A |
| 175 | 40.6 | 1.7 | 1.91 | A |
| 177 | 16.0 | 3.0 | 1.72 | A |
| 180 | 36.8 | 3.7 | 1.35 | A |
| 183 | 26.18 | 0.56 | 0.21 | A |
| 186 | 14.9 | 2.5 | 1.88 | A |
| 192 | 28.6 | 1.6 | 0.14 | A |
| 194 | 20.08 | 1.18 | 1.11 | A |
| 196 | 34.3 | 5.79 | 0.98 | A |
| 199 | 28.90 | 1.65 | 0.19 | A |
| 202 | 28.7 | 3.0 | 0.16 | A |
| 203 | 23.0 | 2.0 | 0.68 | A |
| 204 | 22.4 | 3.2 | 0.77 | A |
| 205 | 27.121 | 1.795 | 0.08 | A |
| 208 | 17.4929 | 0.0169 | 1.50 | A |
| 211 | 16.2 | 1.2 | 1.69 | A |
| 213 | 29 | 5 | 0.20 | A |
| 214 | 27.06 | 0.67 | 0.08 | A |
| 216 | 44.2 | 0.6 | 2.44 | W |
| 217 | 31.8 | 2.0 | 0.62 | A |
| 220 | 23.24 | 8.0 | 0.65 | A |
| 221 | 25.08 | 3.76 | 0.38 | A |
| 222 | 28.6 | 1.9 | 0.14 | A |
| 223 | 23.3 | 4 | 0.64 | A |
| 224 | 26.8 | 5 | 0.12 | A |
| 225 | 26.3 | 0.2 | 0.20 | A |
| 226 | 27.98 | 1.4 | 0.05 | A |
| 227 | 29.04 | 1.63 | 0.21 | A |
| 230 | 29.5 | 4.1 | 0.28 | A |
| 231 | 13.2 | 1.3 | 2.13 | W |
| 234 | 21.20 | 2.20 | 0.95 | A |
| 235 | 22.07 | 1.2 | 0.82 | A |
| 239 | 20 | 5.9 | 1.13 | A |
| 240 | 42.3 | 13.0 | 2.16 | W |
| 241 | 31.66 | 1.29 | 0.59 | A |
| 243 | 30.73 | 1.71 | 0.46 | A |
| 246 | 25.7 | 0.9 | 0.28 | A |
| 247 | 27.0 | 1.5 | 0.09 | A |
| 248 | 50.5 | 4.2 | 3.37 | N |
| 250 | 28.99 | 3.48 | 0.20 | A |
| 253 | 22.60 | 0.37 | 0.74 | A |
| 262 | 27.2 | 3.54 | 0.06 | A |
| 272 | 38.75 | 3.32 | 1.64 | A |

TABLE 44. IC Evaluation Results for in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 276 | 30.20 | 2.92 | 0.38 | A |
| 277 | 27.142 | 2.83 | 0.07 | A |
| 284 | 32.65 | 0.11 | 0.74 | A |
| 289 | 13.9 | 0.6 | 2.03 | W |
| 290 | 21.22 | 0.78 | 0.95 | A |
| 296 | 28.7 | 2.2 | 0.16 | A |
| 299 | 31.72 | 2.34 | 0.60 | A |
| 303 | 25.84 | 6.0 | 0.26 | A |
| 306 | 12.4 | 0.2 | 2.25 | W |
| 312 | 37.4 | 4.2 | 1.44 | A |

Activity [ Bq/kg ]

4

5

6

7

Reported Results for Cm-244 Determination in Sample 3

TABLE 45. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 4.51 |
| Robust SD, Bq/kg | 0.66 |
| N | 38 |

2

3

83

272

187

157

119

133

94

247

9

253

146

137

36

84

87

14

217

226

61

96

140

41

71

60

207

Labcode

FIGURE 39. Reported results and evaluation parameters for Cm-244 in Sample 3.

TABLE 46. IC Evaluation Results for in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 9 | 4.04 | 1.35 | 0.71 | A |
| 14 | 4.78 | 0.16 | 0.41 | A |
| 36 | 4.4 | 0.4 | 0.17 | A |
| 41 | 5.2 | 0.5 | 1.05 | A |
| 60 | 5.41 | 0.26 | 1.36 | A |
| 61 | 4.94 | 1.20 | 0.65 | A |
| 71 | 5.39 | 0.36 | 1.33 | A |
| 83 | 0.8 | 0.1 | 5.62 | N |
| 84 | 4.568 | 0.235 | 0.09 | A |
| 87 | 4.745 | 0.1753 | 0.36 | A |
| 94 | 4.0 | 0.2 | 0.77 | A |
| 96 | 5.04 | 0.43 | 0.80 | A |
| 119 | 3.860 | 0.695 | 0.98 | A |
| 133 | 3.9 | 0.7 | 0.92 | A |
| 137 | 4.327 | 0.326 | 0.28 | A |
| 140 | 5.19 | 0.64 | 1.03 | A |
| 146 | 4.23 | 0 | 0.42 | A |
| 157 | 3.5 | 0.4 | 1.53 | A |
| 187 | 3.3 | 0.2 | 1.83 | A |
| 207 | 5.76 | 0.25 | 1.89 | A |
| 217 | 4.80 | 0.19 | 0.44 | A |

TABLE 46. IC Evaluation Results for in Sample 3, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 226 | 4.88 | 0.6 | 0.56 | A |
| 247 | 4.02 | 0.22 | 0.74 | A |
| 253 | 4.22 | 0.18 | 0.44 | A |
| 272 | 0.8 | 0.13 | 5.62 | N |

Reported Results for Gross alpha Determination in Sample 5

TABLE 47. Target values

Parameter	Value

Robust Mean, counts/cm2/second	0.081 Robust SD, counts/cm2/second	0.052

0.15

N	182

Activity [counts/cm^2/second]

0.10

0.00

0.05

6

64

140

128

117

272

260

286

41

18

238

149

306

96

172

19

94

16

221

42

173

44

157

305

130

67

213

186

262

247

203

156

227

92

88

127

45

13

192

24

126

204

261

312

99

171

191

134

26

248

51

264

143

195

52

28

125

183

284

4

296

295

250

Labcode

FIGURE 40. Reported results and evaluation parameters for Gross alpha in Sample 5.

TABLE 48. IC Evaluation Results for in Sample 5, Rep. Value and Rep. Unc. in counts/cm2/second

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 4 | 0.323 | 0.070 | 4.65 | N |
| 6 | 0.000005 |  | 1.56 | A |
| 8 | 0.10 | 0.01 | 0.37 | A |
| 9 | 0.232 | 0.013 | 2.90 | W |
| 10 | 0.2246 | 0.007296 | 2.76 | W |
| 13 | 0.095 | 0.011 | 0.27 | A |
| 14 | 0.059 | 0.007 | 0.42 | A |
| 16 | 0.046 | 0.006 | 0.67 | A |
| 17 | 0.09 | 0.02 | 0.17 | A |
| 18 | 0.0361 | 0.0021 | 0.86 | A |
| 19 | 0.0423 | 0.0030 | 0.74 | A |
| 21 | 0.084 | 0.004 | 0.06 | A |
| 22 | 0.381 | 0.148 | 5.77 | N |
| 24 | 0.097 | 0.008 | 0.31 | A |
| 26 | 0.11 | 0.04 | 0.56 | A |
| 27 | 0.10 | 0.01 | 0.37 | A |
| 28 | 0.22 | 0.02 | 2.67 | W |
| 31 | 0.10 | 0.03 | 0.37 | A |
| 32 | 2.0 | 0.5 | 36.90 | N |
| 36 | 0.031 | 0.002 | 0.96 | A |
| 39 | 0.089 | 0.036 | 0.15 | A |

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 41 | 0.036 | 0.01 | 0.87 | A |
| 42 | 0.052 | 0.005 | 0.56 | A |
| 44 | 0.056 | 0.008 | 0.48 | A |
| 45 | 0.090 | 0.018 | 0.17 | A |
| 47 | 0.124 | 0.010 | 0.83 | A |
| 49 | 0.105 | 0.033 | 0.46 | A |
| 50 | 0.11 | 0.03 | 0.56 | A |
| 51 | 0.112 | 0.017 | 0.60 | A |
| 52 | 0.213 | 0.0102 | 2.54 | W |
| 56 | 0.29 | 0.04 | 4.02 | N |
| 58 | 0.036 | 0.001 | 0.87 | A |
| 60 | 0.041 | 0.004 | 0.77 | A |
| 62 | 0.097 | 0.005 | 0.31 | A |
| 64 | 0.011 | 0.0002 | 1.35 | A |
| 67 | 0.0654 | 0.0082 | 0.30 | A |
| 68 | 0.095 | 0.0050 | 0.27 | A |
| 69 | 0.017 | 0.002 | 1.23 | A |
| 72 | 0.036 | 0.004 | 0.87 | A |
| 74 | 0.037 | 0.004 | 0.85 | A |
| 76 | 0.066 | 0.0264 | 0.29 | A |
| 81 | 0.076 | 0.004 | 0.10 | A |
| 83 | 0.025 | 0.0004 | 1.08 | A |
| 86 | 0.065 | 0.00975 | 0.31 | A |
| 88 | 0.0869 | 0.0094 | 0.11 | A |
| 92 | 0.0853 | 0.0128 | 0.08 | A |
| 93 | 0.0088 | 0.0022 | 1.39 | A |
| 94 | 0.043 | 0.001 | 0.73 | A |
| 95 | 0.0424 | 0.0025 | 0.74 | A |
| 96 | 0.0408 | 0.0004 | 0.77 | A |
| 98 | 0.077 | 0.016 | 0.08 | A |
| 99 | 0.101 | 0.003 | 0.38 | A |
| 101 | 0.083 | 0.007 | 0.04 | A |
| 107 | 0.042 | 0.011 | 0.75 | A |
| 109 | 0.057 | 0.006 | 0.46 | A |
| 110 | 0.219 | 0.00759 | 2.65 | W |
| 114 | 0.0860 | 0.0094 | 0.10 | A |
| 117 | 0.025 | 0.07 | 1.08 | A |
| 120 | 0.053 | 0.001 | 0.54 | A |
| 121 | 0.21 | 0.02 | 2.48 | W |
| 122 | 0.110 | 0.007 | 0.56 | A |
| 123 | 0.052 | 0.005 | 0.56 | A |
| 125 | 0.226 | 0.007 | 2.79 | W |
| 126 | 0.098 | 0.014 | 0.33 | A |
| 127 | 0.0893 | 0.0037 | 0.16 | A |
| 128 | 0.015 | 0.003 | 1.27 | A |
| 130 | 0.0642 | 0.0025 | 0.32 | A |
| 134 | 0.109 | 0.012 | 0.54 | A |
| 138 | 0.0732 |  | 0.15 | A |
| 140 | 0.014 | 0.002 | 1.29 | A |
| 143 | 0.12 | 0.01 | 0.75 | A |
| 147 | 0.026 | 0.003 | 1.06 | A |
| 149 | 0.04 | 0.01 | 0.79 | A |
| 153 | 0.12 | 0.03 | 0.75 | A |
| 156 | 0.080 | 0.016 | 0.02 | A |

TABLE 48. IC Evaluation Results for in Sample 5, Rep. Value and Rep. Unc. in counts/cm2/second

TABLE 48. IC Evaluation Results for in Sample 5, Rep. Value and Rep. Unc. in counts/cm2/second

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 157 | 0.058 | 0.002 | 0.44 | A |
| 158 | 0.061 | 0.0025 | 0.38 | A |
| 159 | 0.056 | 0.006 | 0.48 | A |
| 161 | 0.08 | 0.01 | 0.02 | A |
| 162 | 0.115 | 0.007 | 0.65 | A |
| 164 | 0.0403 | 0.0026 | 0.78 | A |
| 171 | 0.103 | 0.006 | 0.42 | A |
| 172 | 0.041 | 0.005 | 0.77 | A |
| 173 | 0.054 | 0.017 | 0.52 | A |
| 183 | 0.26 | 0.01 | 3.44 | N |
| 186 | 0.07 | 0.01 | 0.21 | A |
| 191 | 0.105 | 0.011 | 0.46 | A |
| 192 | 0.095 | 0.010 | 0.27 | A |
| 195 | 0.16 | 0.032 | 1.52 | A |
| 198 | 0.0407 | 0.0081 | 0.78 | A |
| 199 | 0.044 | 0.005 | 0.71 | A |
| 203 | 0.08 | 0.01 | 0.02 | A |
| 204 | 0.10 | 0.012 | 0.37 | A |
| 213 | 0.070 | 0.008 | 0.21 | A |
| 214 | 0.277 | 0.1 | 3.77 | N |
| 217 | 0.104 | 0.0033 | 0.44 | A |
| 220 | 0.07 | 0.03 | 0.21 | A |
| 221 | 0.05 | 0.005 | 0.60 | A |
| 227 | 0.0833 | 0.0002 | 0.04 | A |
| 230 | 0.095 | 0.010 | 0.27 | A |
| 238 | 0.0371 | 0.0017 | 0.84 | A |
| 239 | 0.05 | 0.02 | 0.60 | A |
| 240 | 0.112 | 0.0125 | 0.60 | A |
| 247 | 0.076 | 0.007 | 0.10 | A |
| 248 | 0.11 | 0.007 | 0.56 | A |
| 250 | 14.82 | 2.15 | 283.44 | N |
| 260 | 0.0307 | 0.0012 | 0.97 | A |
| 261 | 0.10 | 0.01 | 0.37 | A |
| 262 | 0.0745 | 0.0089 | 0.13 | A |
| 264 | 0.12 | 0.03 | 0.75 | A |
| 272 | 0.025 | 0.0002 | 1.08 | A |
| 276 | 0.04 | 0.004 | 0.79 | A |
| 277 | 0.015 | 0.002 | 1.27 | A |
| 280 | 0.1025 | 0.0087 | 0.41 | A |
| 284 | 0.282 | 0.065 | 3.87 | N |
| 286 | 0.0346 | 0.004 | 0.89 | A |
| 289 | 0.012 | 0.001 | 1.33 | A |
| 295 | 0.68 | 0.20 | 11.52 | N |
| 296 | 0.481 | 0.037 | 7.69 | N |
| 303 | 0.569 | 0.026 | 9.38 | N |
| 305 | 0.05920 | 0.01 | 0.42 | A |
| 306 | 0.0407 | 0.0003 | 0.78 | A |
| 308 | 0.091 | 0.028 | 0.19 | A |
| 310 | 0.10 | 0.03 | 0.37 | A |
| 312 | 0.100 | 0.021 | 0.37 | A |

0.15

0.20

Reported Results for Gross beta Determination in Sample 5

TABLE 49. Target values

Parameter	Value

Robust  Mean,  counts/cm2/second	0.158 Robust  SD,  counts/cm2/second	0.084

0.25

0.30

N	189

Activity [counts/cm^2/second]

0.00

0.05

0.10

6

272

173

147

69

74

171

277

164

286

306

262

19

92

158

172

220

96

39

26

120

86

18

276

14

227

99

17

156

126

114

238

130

21

127

240

260

159

122

50

8

67

81

51

43

123

40

42

204

310

13

264

68

62

121

160

45

284

22

303

10

9

295

32

25

Labcode

FIGURE 41. Reported results and evaluation parameters for Gross beta in Sample 5.

TABLE 50. IC Evaluation Results for in Sample 5, Rep. Value and Rep. Unc. in counts/cm2/second

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 4 | 0.249 | 0.059 | 1.08 | A |
| 6 | 0.0101 |  | 1.76 | A |
| 8 | 0.17 | 0.02 | 0.14 | A |
| 9 | 0.365 | 0.054 | 2.46 | W |
| 10 | 0.3425 | 0.01788 | 2.20 | W |
| 13 | 0.212 | 0.030 | 0.64 | A |
| 14 | 0.123 | 0.010 | 0.42 | A |
| 16 | 0.07 | 0.025 | 1.05 | A |
| 17 | 0.14 | 0.03 | 0.21 | A |
| 18 | 0.1199 | 0.0061 | 0.45 | A |
| 19 | 0.0866 | 0.0060 | 0.85 | A |
| 21 | 0.149 | 0.021 | 0.11 | A |
| 22 | 0.301 | 0.026 | 1.70 | A |
| 24 | 0.26 | 0.03 | 1.21 | A |
| 25 | 52 | 2.6 | 617.17 | N |
| 26 | 0.11 | 0.01 | 0.57 | A |
| 27 | 0.19 | 0.03 | 0.38 | A |
| 28 | 0.38 | 0.04 | 2.64 | W |
| 32 | 10 | 0.5 | 117.17 | N |
| 36 | 0.057 | 0.005 | 1.20 | A |
| 39 | 0.11 | 0.04 | 0.57 | A |

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 40 | 0.194 | 0.020 | 0.43 | A |
| 41 | 0.097 | 0.03 | 0.73 | A |
| 42 | 0.198 | 0.025 | 0.48 | A |
| 43 | 0.187 | 0.022 | 0.35 | A |
| 44 | 0.141 | 0.008 | 0.20 | A |
| 45 | 0.26 | 0.04 | 1.21 | A |
| 47 | 0.163 | 0.014 | 0.06 | A |
| 49 | 0.17 | 0.03 | 0.14 | A |
| 50 | 0.17 | 0.03 | 0.14 | A |
| 51 | 0.183 | 0.021 | 0.30 | A |
| 52 | 0.237 | 0.017 | 0.94 | A |
| 56 | 0.32 | 0.04 | 1.93 | A |
| 58 | 0.090 | 0.013 | 0.81 | A |
| 59 | 0.19 | 0.02 | 0.38 | A |
| 60 | 0.115 | 0.016 | 0.51 | A |
| 62 | 0.235 | 0.012 | 0.92 | A |
| 64 | 0.066 | 0.001 | 1.10 | A |
| 67 | 0.174 | 0.035 | 0.19 | A |
| 68 | 0.23 | 0.014 | 0.86 | A |
| 69 | 0.05 | 0.01 | 1.29 | A |
| 72 | 0.34 | 0.034 | 2.17 | W |
| 74 | 0.06 | 0.007 | 1.17 | A |
| 76 | 0.061 | 0.0244 | 1.15 | A |
| 81 | 0.18 | 0.01 | 0.26 | A |
| 83 | 0.025 | 0.0004 | 1.58 | A |
| 86 | 0.116 | 0.0174 | 0.50 | A |
| 88 | 0.142 | 0.015 | 0.19 | A |
| 92 | 0.0959 | 0.0144 | 0.74 | A |
| 93 | 0.0822 | 0.0084 | 0.90 | A |
| 94 | 0.114 | 0.017 | 0.52 | A |
| 95 | 0.1406 | 0.0086 | 0.21 | A |
| 96 | 0.107 | 0.001 | 0.61 | A |
| 98 | 0.168 | 0.026 | 0.12 | A |
| 99 | 0.130 | 0.006 | 0.33 | A |
| 101 | 0.049 | 0.001 | 1.30 | A |
| 107 | 0.15 | 0.068 | 0.10 | A |
| 109 | 0.084 | 0.008 | 0.88 | A |
| 110 | 0.232 | 0.0123 | 0.88 | A |
| 114 | 0.1411 | 0.0116 | 0.20 | A |
| 117 | 0.124 | 0.04 | 0.40 | A |
| 120 | 0.114 | 0.002 | 0.52 | A |
| 121 | 0.24 | 0.03 | 0.98 | A |
| 122 | 0.167 | 0.015 | 0.11 | A |
| 123 | 0.190 | 0.042 | 0.38 | A |
| 125 | 0.299 | 0.003 | 1.68 | A |
| 126 | 0.141 | 0.017 | 0.20 | A |
| 127 | 0.1535 | 0.0056 | 0.05 | A |
| 128 | 0.063 | 0.008 | 1.13 | A |
| 130 | 0.1478 | 0.0038 | 0.12 | A |
| 134 | 0.145 | 0.016 | 0.15 | A |
| 138 | 0.1484 |  | 0.11 | A |
| 140 | 0.13 | 0.01 | 0.33 | A |
| 143 | 0.65 | 0.10 | 5.86 | N |
| 147 | 0.042 | 0.004 | 1.38 | A |

TABLE 50. IC Evaluation Results for in Sample 5, Rep. Value and Rep. Unc. in counts/cm2/second

TABLE 50. IC Evaluation Results for in Sample 5, Rep. Value and Rep. Unc. in counts/cm2/second

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 149 | 0.12 | 0.2 | 0.45 | A |
| 153 | 0.21 | 0.04 | 0.62 | A |
| 156 | 0.14 | 0.028 | 0.21 | A |
| 157 | 0.120 | 0.002 | 0.45 | A |
| 158 | 0.097 | 0.0039 | 0.73 | A |
| 159 | 0.166 | 0.017 | 0.10 | A |
| 160 | 0.25 | 0.02 | 1.10 | A |
| 161 | 0.118 | 0.01 | 0.48 | A |
| 162 | 0.184 | 0.008 | 0.31 | A |
| 164 | 0.0634 | 0.0036 | 1.13 | A |
| 171 | 0.060 | 0.003 | 1.17 | A |
| 172 | 0.1 | 0.005 | 0.69 | A |
| 173 | 0.030 | 0.013 | 1.52 | A |
| 183 | 0.14 | 0.01 | 0.21 | A |
| 186 | 0.16 | 0.02 | 0.02 | A |
| 191 | 0.179 | 0.018 | 0.25 | A |
| 192 | 0.197 | 0.02 | 0.46 | A |
| 195 | 0.11 | 0.031 | 0.57 | A |
| 198 | 0.1347 | 0.0269 | 0.28 | A |
| 199 | 0.107 | 0.016 | 0.61 | A |
| 203 | 0.10 | 0.01 | 0.69 | A |
| 204 | 0.21 | 0.025 | 0.62 | A |
| 213 | 0.217 | 0.018 | 0.70 | A |
| 214 | 0.362 | 0.1 | 2.43 | W |
| 217 | 0.156 | 0.017 | 0.02 | A |
| 220 | 0.1 | 0.05 | 0.69 | A |
| 221 | 0.167 | 0.017 | 0.11 | A |
| 227 | 0.1253 | 0.0002 | 0.39 | A |
| 230 | 0.22 | 0.02 | 0.74 | A |
| 235 | 0.10 |  | 0.69 | A |
| 238 | 0.1421 | 0.0037 | 0.19 | A |
| 239 | 0.06 | 0.02 | 1.17 | A |
| 240 | 0.156 | 0.0175 | 0.02 | A |
| 247 | 0.172 | 0.010 | 0.17 | A |
| 248 | 0.27 | 0.02 | 1.33 | A |
| 250 | 33.54 | 4.86 | 397.40 | N |
| 260 | 0.1611 | 0.0026 | 0.04 | A |
| 262 | 0.083 | 0.010 | 0.89 | A |
| 264 | 0.22 | 0.05 | 0.74 | A |
| 272 | 0.024 | 0.0002 | 1.60 | A |
| 276 | 0.12 | 0.02 | 0.45 | A |
| 277 | 0.062 | 0.007 | 1.14 | A |
| 280 | 0.1828 | 0.0125 | 0.30 | A |
| 284 | 0.284 | 0.042 | 1.50 | A |
| 286 | 0.0672 | 0.007 | 1.08 | A |
| 289 | 0.105 | 0.004 | 0.63 | A |
| 295 | 0.412 | 0.120 | 3.02 | N |
| 296 | 0.041 | 0.004 | 1.39 | A |
| 303 | 0.3246 | 0.0091 | 1.98 | A |
| 305 | 0.02023 | 0.01 | 1.64 | A |
| 306 | 0.077 | 0.001 | 0.96 | A |
| 308 | 0.20 | 0.051 | 0.50 | A |
| 310 | 0.21 | 0.06 | 0.62 | A |

TABLE 50. IC Evaluation Results for in Sample 5, Rep. Value and Rep. Unc. in counts/cm2/second

Labcode	Rep. Value	Rep. Unc.	Z-Score	Z-Score Evaluation

312	0.211	0.015	0.63	A

Activity [Bq/cm^2]

0.3

0.4

0.5

0.6

Reported Results for Cs-137 Determination in Sample 5

TABLE 51. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/cm2 | 0.332 |
| Robust SD, Bq/cm2 | 0.048 |
| N | 196 |

0.0

0.1

0.2

306

6

183

194

265

253

87

45

88

276

16

272

13

162

22

143

239

37

52

21

74

69

150

274

248

83

133

4

227

136

43

152

221

68

312

154

140

94

153

12

218

159

172

62

258

166

167

220

160

305

44

264

251

64

95

58

134

285

14

120

86

130

173

303

233

125

Labcode

FIGURE 42. Reported results and evaluation parameters for Cs-137 in Sample 5.

TABLE 52. IC Evaluation Results for in Sample 5, Rep. Value and Rep. Unc. in Bq/cm2

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 4 | 0.329 | 0.006 | 0.06 | A |
| 6 | 0.0848 | 0.0057 | 5.15 | N |
| 7 | 0.324 | 0.016 | 0.17 | A |
| 9 | 0.344 | 0.058 | 0.25 | A |
| 10 | 0.3683 | 0.0399 | 0.76 | A |
| 12 | 0.34 | 0.04 | 0.17 | A |
| 13 | 0.294 | 0.047 | 0.79 | A |
| 14 | 0.3872 | 0.016 | 1.15 | A |
| 16 | 0.28 | 0.13 | 1.08 | A |
| 17 | 0.38 | 0.06 | 1.00 | A |
| 18 | 0.3278 | 0.0195 | 0.09 | A |
| 20 | 0.301 | 0.015 | 0.65 | A |
| 21 | 0.316 | 0.019 | 0.33 | A |
| 22 | 0.302 | 0.018 | 0.63 | A |
| 24 | 0.335 | 0.019 | 0.06 | A |
| 25 | 0.22 | 0.01 | 2.33 | W |
| 28 | 0.34 | 0.02 | 0.17 | A |
| 33 | 0.31 | 0.02 | 0.46 | A |
| 34 | 0.36 | 0.01 | 0.58 | A |
| 37 | 0.31 | 0.02 | 0.46 | A |
| 39 | 0.36 | 0.05 | 0.58 | A |

TABLE 52. IC Evaluation Results for in Sample 5, Rep. Value and Rep. Unc. in Bq/cm2

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 40 | 0.315 | 0.020 | 0.35 | A |
| 42 | 0.299 | 0.018 | 0.69 | A |
| 43 | 0.331 | 0.019 | 0.02 | A |
| 44 | 0.359 | 0.02 | 0.56 | A |
| 45 | 0.248 | 0.013 | 1.75 | A |
| 47 | 0.493 | 0.041 | 3.35 | N |
| 52 | 0.31 | 0.02 | 0.46 | A |
| 56 | 0.31 | 0.02 | 0.46 | A |
| 57 | 0.339 | 0.02 | 0.15 | A |
| 58 | 0.38 | 0.05 | 1.00 | A |
| 59 | 0.345 | 0.025 | 0.27 | A |
| 60 | 0.331 | 0.020 | 0.02 | A |
| 62 | 0.345 | 0.014 | 0.27 | A |
| 64 | 0.36 | 0.02 | 0.58 | A |
| 68 | 0.336 | 0.010 | 0.08 | A |
| 69 | 0.32 | 0.02 | 0.25 | A |
| 70 | 0.44 | 0.02 | 2.25 | W |
| 72 | 0.35 | 0.03 | 0.37 | A |
| 74 | 0.32 | 0.03 | 0.25 | A |
| 76 | 0.32 | 0.04 | 0.25 | A |
| 83 | 0.325 | 0.0137 | 0.15 | A |
| 84 | 0.3292 | 0.01443 | 0.06 | A |
| 86 | 0.433 | 0.0247 | 2.10 | W |
| 87 | 0.2293 | 0.009 | 2.14 | W |
| 88 | 0.254 | 0.027 | 1.63 | A |
| 94 | 0.34 | 0.01 | 0.17 | A |
| 95 | 0.3668 | 0.0092 | 0.72 | A |
| 96 | 0.336 | 0.016 | 0.08 | A |
| 110 | 0.304 | 0.0175 | 0.58 | A |
| 114 | 0.35 | 0.01 | 0.37 | A |
| 117 | 0.21 | 0.06 | 2.54 | W |
| 118 | 0.34 | 0.03 | 0.17 | A |
| 119 | 0.327 | 0.036 | 0.10 | A |
| 120 | 0.4 | 0.1 | 1.42 | A |
| 121 | 0.219 | 0.004 | 2.35 | W |
| 123 | 0.34 | 0.02 | 0.17 | A |
| 125 | 197.1 | 9.86 | 4099.33 | N |
| 128 | 0.275 | 0.033 | 1.19 | A |
| 130 | 0.48 | 0.009 | 3.08 | N |
| 133 | 0.327 | 0.036 | 0.10 | A |
| 134 | 0.38 | 0.024 | 1.00 | A |
| 136 | 0.33 | 0.02 | 0.04 | A |
| 138 | 0.2498 |  | 1.71 | A |
| 140 | 0.34 | 0.03 | 0.17 | A |
| 143 | 0.307 | 0.021 | 0.52 | A |
| 147 | 0.03 | 0.001 | 6.29 | N |
| 149 | 0.4 | 0.1 | 1.42 | A |
| 150 | 0.320 | 0.022 | 0.25 | A |
| 152 | 0.332 | 0.017 | 0.00 | A |
| 153 | 0.34 | 0.08 | 0.17 | A |
| 154 | 0.339 | 0.015 | 0.15 | A |
| 157 | 0.26 | 0.05 | 1.50 | A |
| 158 | 0.286 | 0.011 | 0.96 | A |
| 159 | 0.341 | 0.010 | 0.19 | A |

TABLE 52. IC Evaluation Results for in Sample 5, Rep. Value and Rep. Unc. in Bq/cm2

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 160 | 0.35 | 0.02 | 0.37 | A |
| 161 | 0.32 | 0.02 | 0.25 | A |
| 162 | 0.30 | 0.02 | 0.67 | A |
| 164 | 0.562 | 0.039 | 4.79 | N |
| 166 | 0.35 | 0.02 | 0.37 | A |
| 167 | 0.35 | 0.02 | 0.37 | A |
| 169 | 0.36 | 0.02 | 0.58 | A |
| 172 | 0.345 | 0.01 | 0.27 | A |
| 173 | 0.51 | 0.01 | 3.71 | N |
| 178 | 0.32 | 0.02 | 0.25 | A |
| 179 | 0.13161 | 0.00061095 | 4.17 | N |
| 180 | 0.354 | 0.014 | 0.46 | A |
| 183 | 0.14 | 0.01 | 4.00 | N |
| 191 | 0.356 | 0.015 | 0.50 | A |
| 192 | 0.58 | 0.02 | 5.17 | N |
| 194 | 0.202 | 0.04 | 2.71 | W |
| 196 | 0.385 | 0.0251 | 1.10 | A |
| 198 | 0.39 | 0.08 | 1.21 | A |
| 201 | 0.23 | 0.01 | 2.12 | W |
| 203 | 0.35 | 0.01 | 0.37 | A |
| 204 | 0.363 | 0.025 | 0.65 | A |
| 207 | 0.33 | 0.03 | 0.04 | A |
| 210 | 0.31 | 0.02 | 0.46 | A |
| 214 | 0.32 | 0.006 | 0.25 | A |
| 217 | 0.337 | 0.017 | 0.10 | A |
| 218 | 0.34 | 0.03 | 0.17 | A |
| 220 | 0.35 | 0.02 | 0.37 | A |
| 221 | 0.335 | 0.033 | 0.06 | A |
| 227 | 0.33 | 0.01 | 0.04 | A |
| 233 | 0.7 | 0.023 | 7.67 | N |
| 234 | 0.35 | 0.10 | 0.37 | A |
| 235 | 0.2 | 0.05 | 2.75 | W |
| 239 | 0.31 | 0.1 | 0.46 | A |
| 240 | 0.332 | 0.0212 | 0.00 | A |
| 247 | 0.345 | 0.023 | 0.27 | A |
| 248 | 0.324 | 0.008 | 0.17 | A |
| 251 | 0.36 | 0.026 | 0.58 | A |
| 253 | 0.22 | 0.02 | 2.33 | W |
| 258 | 0.346 | 0.000438 | 0.29 | A |
| 259 | 0.34 | 0.02 | 0.17 | A |
| 262 | 0.34 | 0.04 | 0.17 | A |
| 264 | 0.36 | 0.09 | 0.58 | A |
| 265 | 0.21 | 0.004 | 2.54 | W |
| 271 | 0.340 | 0.016 | 0.17 | A |
| 272 | 0.29 | 0.02 | 0.88 | A |
| 274 | 0.32 | 0.057 | 0.25 | A |
| 276 | 0.27 | 0.01 | 1.29 | A |
| 284 | 0.38 | 0.019 | 1.00 | A |
| 285 | 0.38 | 0.073 | 1.00 | A |
| 295 | 0.76 | 0.46 | 8.92 | N |
| 303 | 0.5684 | 0.0064 | 4.92 | N |
| 305 | 0.3544 | 0.0512 | 0.47 | A |
| 306 | 0.0021 | 0.0002 | 6.87 | N |
| 309 | 0.3181 | 0.03718 | 0.29 | A |

TABLE 52. IC Evaluation Results for in Sample 5, Rep. Value and Rep. Unc. in Bq/cm2

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 310 | 0.29 | 0.02 | 0.88 | A |
| 312 | 0.338 | 0.025 | 0.13 | A |

Activity [Bq/cm^2]

0.2

0.3

0.4

Reported Results for Pu-239 Determination in Sample 5

TABLE 53. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/cm2 | 0.236 |
| Robust SD, Bq/cm2 | 0.073 |
| N | 79 |

0.0

0.1

306

45

83

272

119

133

247

253

128

310

9

312

207

44

264

117

240

239

153

47

118

168

141

94

95

217

157

14

204

42

227

16

110

97

214

143

24

187

86

68

96

88

76

221

7

60

160

149

295

Labcode

FIGURE 43. Reported results and evaluation parameters for Pu-239 in Sample 5.

TABLE 54. IC Evaluation Results for in Sample 5, Rep. Value and Rep. Unc. in Bq/cm2

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 7 | 0.367 | 0.021 | 1.79 | A |
| 9 | 0.212 | 0.078 | 0.33 | A |
| 14 | 0.250 | 0.008 | 0.19 | A |
| 16 | 0.26 | 0.1 | 0.33 | A |
| 24 | 0.268 | 0.020 | 0.44 | A |
| 42 | 0.259 | 0.0125 | 0.32 | A |
| 44 | 0.221 | 0.02 | 0.21 | A |
| 45 | 0.075 | 0.007 | 2.21 | W |
| 47 | 0.230 | 0.065 | 0.08 | A |
| 60 | 0.440 | 0.042 | 2.79 | W |
| 68 | 0.275 | 0.019 | 0.53 | A |
| 76 | 0.31 | 0.007 | 1.01 | A |
| 83 | 0.12 | 0.002 | 1.59 | A |
| 86 | 0.2705 | 0.02813 | 0.47 | A |
| 88 | 0.280 | 0.030 | 0.60 | A |
| 94 | 0.24 | 0.01 | 0.05 | A |
| 95 | 0.2414 | 0.0014 | 0.07 | A |
| 96 | 0.279 | 0.012 | 0.59 | A |
| 97 | 0.264 | 0.002 | 0.38 | A |
| 110 | 0.261 | 0.0271 | 0.34 | A |
| 117 | 0.23 | 0.07 | 0.08 | A |

TABLE 54. IC Evaluation Results for in Sample 5, Rep. Value and Rep. Unc. in Bq/cm2

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 118 | 0.23 | 0.02 | 0.08 | A |
| 119 | 0.125 | 0.045 | 1.52 | A |
| 128 | 0.198 | 0.030 | 0.52 | A |
| 133 | 0.125 | 0.045 | 1.52 | A |
| 141 | 0.24 | 0.02 | 0.05 | A |
| 143 | 0.266 | 0.011 | 0.41 | A |
| 149 | 1.0 | 0.2 | 10.47 | N |
| 153 | 0.23 | 0.05 | 0.08 | A |
| 157 | 0.25 | 0.03 | 0.19 | A |
| 160 | 0.84 | 0.06 | 8.27 | N |
| 168 | 0.237 | 0.015 | 0.01 | A |
| 187 | 0.27 | 0.03 | 0.47 | A |
| 204 | 0.255 | 0.009 | 0.26 | A |
| 207 | 0.22 | 0.02 | 0.22 | A |
| 214 | 0.266 | 0.09 | 0.41 | A |
| 217 | 0.248 | 0.0094 | 0.16 | A |
| 221 | 0.365 | 0.037 | 1.77 | A |
| 227 | 0.26 | 0.01 | 0.33 | A |
| 239 | 0.23 | 0.7 | 0.08 | A |
| 240 | 0.230 | 0.0167 | 0.08 | A |
| 247 | 0.153 | 0.021 | 1.14 | A |
| 253 | 0.16 | 0.02 | 1.04 | A |
| 264 | 0.23 | 0.05 | 0.08 | A |
| 272 | 0.12 | 0.001 | 1.59 | A |
| 295 | 2.70 | 1.96 | 33.75 | N |
| 306 | 0.0027 | 0.0001 | 3.20 | N |
| 310 | 0.20 | 0.06 | 0.49 | A |
| 312 | 0.2175 | 0.046 | 0.25 | A |

Activity [ Bq/kg ]

400

600

800

Gamma spectrum analysis exercise results (Sample 7)

For Sample 07 (gamma-ray spectrum analysis exercise), the Z-Score evaluation is only calculated for those analytes which were reported by > 30 participants.

Seven analytes have an overall single reporting occurrence; for the WorldWide network, Y-88 was reported as present in the spectrum by one laboratory.

Reported Results for K-40 Determination in Sample 7

TABLE 55. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 449.74 |
| Robust SD, Bq/kg | 31.25 |
| N | 193 |

0

200

13

101

130

122

175

7

153

157

22

47

59

191

95

261

24

187

16

309

158

70

264

156

162

230

57

140

92

121

18

276

107

178

88

217

247

310

68

39

271

303

207

6

147

58

201

155

168

220

143

132

231

198

49

269

297

239

20

305

214

183

299

219

233

Labcode

FIGURE 44. Reported results and evaluation parameters for K-40 in Sample 7.

TABLE 56. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 6 | 454.18 | 17.51 | 0.14 | A |
| 7 | 400 | 20 | 1.59 | A |
| 8 | 443 | 32 | 0.22 | A |
| 13 | 4.5 | 0.3 | 14.25 | N |
| 14 | 446 | 66 | 0.12 | A |
| 16 | 436 | 21 | 0.44 | A |
| 18 | 443.0 | 26.6 | 0.22 | A |
| 20 | 518 | 27 | 2.18 | W |
| 21 | 411 | 17.1 | 1.24 | A |
| 22 | 407.582 | 17.478 | 1.35 | A |
| 24 | 435 | 26 | 0.47 | A |
| 29 | 433.0 | 38.0 | 0.54 | A |
| 31 | 437 | 38 | 0.41 | A |
| 32 | 474 | 9 | 0.78 | A |

TABLE 56. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 33 | 431.32 | 17.37 | 0.59 | A |
| 38 | 559 | 41 | 3.50 | N |
| 39 | 449 | 16 | 0.02 | A |
| 40 | 468 | 20 | 0.58 | A |
| 47 | 412 | 21 | 1.21 | A |
| 49 | 490 | 20 | 1.29 | A |
| 50 | 485 | 15 | 1.13 | A |
| 51 | 422 | 23 | 0.89 | A |
| 52 | 384.8 | 13.46 | 2.08 | W |
| 57 | 439.58 | 19.87 | 0.33 | A |
| 58 | 459 | 7 | 0.30 | A |
| 59 | 428 | 25 | 0.70 | A |
| 60 | 443 | 27 | 0.22 | A |
| 65 | 439.7 | 18.8 | 0.32 | A |
| 66 | 434 | 26 | 0.50 | A |
| 68 | 448.3 | 24.2 | 0.05 | A |
| 69 | 435.96 | 18.65 | 0.44 | A |
| 70 | 437.2 | 16.0 | 0.40 | A |
| 71 | 517.4 | 13.66 | 2.17 | W |
| 72 | 405 | 22 | 1.43 | A |
| 74 | 438 | 19 | 0.38 | A |
| 76 | 452 | 44.0 | 0.07 | A |
| 83 | 406.8 | 13.05 | 1.37 | A |
| 84 | 452.132 | 19.935 | 0.08 | A |
| 88 | 445 | 19 | 0.15 | A |
| 92 | 441 | 19 | 0.28 | A |
| 93 | 437 | 19 | 0.41 | A |
| 94 | 469.0 | 25.1 | 0.62 | A |
| 95 | 432.63 | 2.00 | 0.55 | A |
| 96 | 465 | 7.1 | 0.49 | A |
| 101 | 36 | 1.3 | 13.24 | N |
| 106 | 453.3 | 7.1 | 0.11 | A |
| 107 | 443 | 18.3 | 0.22 | A |
| 110 | 400 | 35.2 | 1.59 | A |
| 113 | 441.3 | 18.9 | 0.27 | A |
| 115 | 455 | 23 | 0.17 | A |
| 117 | 439 | 19 | 0.34 | A |
| 118 | 500 | 20 | 1.61 | A |
| 120 | 443 | 14 | 0.22 | A |
| 121 | 442.379 | 8.374 | 0.24 | A |
| 122 | 382 | 24 | 2.17 | W |
| 123 | 392.3 | 10.0 | 1.84 | A |
| 126 | 444 | 20 | 0.18 | A |
| 128 | 333 | 40 | 3.74 | N |
| 130 | 360 | 15.3 | 2.87 | W |
| 132 | 470 | 20.0 | 0.65 | A |
| 136 | 436 | 36 | 0.44 | A |
| 140 | 440 | 23 | 0.31 | A |
| 143 | 469.00 | 7.35 | 0.62 | A |
| 147 | 455.87 | 11.92 | 0.20 | A |
| 148 | 470.1 | 1.7 | 0.65 | A |
| 153 | 405 | 11 | 1.43 | A |
| 155 | 463.36 | 7.15 | 0.44 | A |
| 156 | 438 | 23 | 0.38 | A |

TABLE 56. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 157 | 405.6 | 21.9 | 1.41 | A |
| 158 | 437 | 18.700 | 0.41 | A |
| 160 | 590.1 | 25.2 | 4.49 | N |
| 162 | 438.7 | 18.8 | 0.35 | A |
| 163 | 362.61 | 18.24 | 2.79 | W |
| 168 | 465.28 | 7.29 | 0.50 | A |
| 169 | 46488.00 | 721.00 | 1473.22 | N |
| 172 | 447.73 | 10.14 | 0.06 | A |
| 175 | 391.6 | 19.7 | 1.86 | A |
| 178 | 444 | 19 | 0.18 | A |
| 183 | 565.10 | 10.31 | 3.69 | N |
| 187 | 436 | 28 | 0.44 | A |
| 191 | 430 | 26 | 0.63 | A |
| 196 | 469.43 | 13.31 | 0.63 | A |
| 198 | 483.94 | 9.97 | 1.09 | A |
| 201 | 461.8 | 19.8 | 0.39 | A |
| 207 | 453.10 | 26.52 | 0.11 | A |
| 210 | 439.4 | 22.9 | 0.33 | A |
| 213 | 440 | 20 | 0.31 | A |
| 214 | 555.2 | 17.2 | 3.37 | N |
| 216 | 512 | 36 | 1.99 | A |
| 217 | 446 | 13 | 0.12 | A |
| 219 | 736.1 | 23.5 | 9.16 | N |
| 220 | 468.49 | 23.4 | 0.60 | A |
| 221 | 428.19 | 42.87 | 0.69 | A |
| 228 | 436 | 18.7 | 0.44 | A |
| 230 | 439 | 25 | 0.34 | A |
| 231 | 472 | 15 | 0.71 | A |
| 233 | 2766 | 69 | 74.12 | N |
| 235 | 448.5 | 10.45 | 0.04 | A |
| 238 | 438 | 19 | 0.38 | A |
| 239 | 516 | 74.8 | 2.12 | W |
| 242 | 445 | 32 | 0.15 | A |
| 247 | 446 | 14 | 0.12 | A |
| 250 | 2444.9 | 35.85 | 63.85 | N |
| 251 | 462.01 | 12.31 | 0.39 | A |
| 253 | 443.9 | 15.2 | 0.19 | A |
| 255 | 446 | 99 | 0.12 | A |
| 259 | 521.79 | 23.05 | 2.31 | W |
| 261 | 433 | 26 | 0.54 | A |
| 264 | 438 | 44 | 0.38 | A |
| 265 | 459.56 | 6.43 | 0.31 | A |
| 266 | 438.60 | 19.20 | 0.36 | A |
| 269 | 494.27 | 7.44 | 1.42 | A |
| 271 | 450.6 | 20.6 | 0.03 | A |
| 276 | 443 | 23.6 | 0.22 | A |
| 284 | 734.12 | 10.59 | 9.10 | N |
| 290 | 491.2 | 33.0 | 1.33 | A |
| 295 | 13.53 | 0.70 | 13.96 | N |
| 297 | 507.97 | 45.76 | 1.86 | A |
| 298 | 456 | 6 | 0.20 | A |
| 299 | 686 | 23.7 | 7.56 | N |
| 303 | 452 | 13 | 0.07 | A |
| 305 | 527.7234 | 7.2868 | 2.50 | W |

TABLE 56. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 306 | 530 | 16 | 2.57 | W |
| 309 | 436.2 | 28.85 | 0.43 | A |
| 310 | 447.1 | 13.9 | 0.08 | A |
| 312 | 450 | 23 | 0.01 | A |
| 500 | 1 | 2 | 14.36 | N |

Activity [ Bq/kg ]

0.6

0.8

1.0

1.2

Reported Results for Mn-54 Determination in Sample 7

TABLE 57. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 0.59 |
| Robust SD, Bq/kg | 0.08 |
| N | 17 |

0.0

0.2

0.4

148

143

299

69

29

158

33

214

83

233

169

Labcode

FIGURE 45. Reported results and evaluation parameters for Mn-54 in Sample 7.

TABLE 58. IC Evaluation Results for Mn-54 in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score |
| --- | --- | --- | --- |
| 29 | 0.56 | 0.1 | 0.37 |
| 33 | 0.58 | 0.11 | 0.13 |
| 69 | 0.56 | 0.11 | 0.37 |
| 83 | 0.76 | 0.05 | 2.13 |
| 143 | 0.52 | 0.10 | 0.87 |
| 148 | 0.2688 | 0.0042 | 4.02 |
| 158 | 0.561 | 0.110 | 0.36 |
| 169 | 491.90 | 5.15 | 6141.38 |
| 214 | 0.63 | 0.12 | 0.50 |
| 233 | 5.05 | 0.12 | 55.75 |
| 299 | 0.539 | 0.113 | 0.64 |

Activity [ Bq/kg ]

150

200

250

Reported Results for Co-60 Determination in Sample 7

TABLE 59. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 123.96 |
| Robust SD, Bq/kg | 8.12 |
| N | 175 |

0

50

100

13

295

297

52

201

153

303

22

309

117

121

155

33

168

143

96

175

95

196

110

32

76

123

83

265

58

128

29

122

231

148

147

51

40

157

221

21

251

37

136

269

88

93

69

253

7

70

158

156

306

239

172

14

118

162

312

261

198

235

18

238

264

47

107

187

66

24

178

140

255

65

210

113

266

74

126

57

220

39

72

230

60

8

213

217

191

310

84

6

92

298

207

271

120

38

59

20

71

247

50

242

68

132

115

214

49

94

259

216

299

290

250

233

169

Labcode

FIGURE 46. Reported results and evaluation parameters for Co-60 in Sample 7.

TABLE 60. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 6 | 127.73 | 4.72 | 0.46 | A |
| 7 | 123.5 | 3.7 | 0.06 | A |
| 8 | 127 | 11 | 0.37 | A |
| 13 | 1.26 | 0.07 | 15.11 | N |
| 14 | 125 | 16 | 0.13 | A |
| 18 | 125.9 | 10.1 | 0.24 | A |
| 20 | 129.1 | 6.7 | 0.63 | A |
| 21 | 120 | 3.6 | 0.49 | A |
| 22 | 109.623 | 3.296 | 1.77 | A |
| 24 | 126 | 7.6 | 0.25 | A |
| 29 | 114.56 | 4.5 | 1.16 | A |
| 32 | 113 | 2 | 1.35 | A |
| 33 | 110.80 | 3.16 | 1.62 | A |
| 37 | 121 | 1 | 0.36 | A |
| 38 | 129 | 10 | 0.62 | A |
| 39 | 127 | 4 | 0.37 | A |
| 40 | 117 | 2 | 0.86 | A |
| 47 | 126 | 6.3 | 0.25 | A |
| 49 | 135 | 6 | 1.36 | A |
| 50 | 131 | 5 | 0.87 | A |
| 51 | 117 | 5 | 0.86 | A |

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 52 | 96.10 | 3.08 | 3.43 | N |
| 57 | 126.66 | 5.24 | 0.33 | A |
| 58 | 114.44 | 0.86 | 1.17 | A |
| 59 | 129 | 7 | 0.62 | A |
| 60 | 127 | 11 | 0.37 | A |
| 65 | 126.1 | 5.4 | 0.26 | A |
| 66 | 126 | 7.6 | 0.25 | A |
| 68 | 131.8 | 4.9 | 0.97 | A |
| 69 | 123.37 | 3.71 | 0.07 | A |
| 70 | 123.6 | 3.0 | 0.04 | A |
| 71 | 129.1 | 2.2 | 0.63 | A |
| 72 | 127 | 7 | 0.37 | A |
| 74 | 126.6 | 3.8 | 0.33 | A |
| 76 | 113 | 1.60 | 1.35 | A |
| 83 | 113.3 | 2.1 | 1.31 | A |
| 84 | 127.316 | 5.388 | 0.41 | A |
| 88 | 123 | 4 | 0.12 | A |
| 92 | 128 | 5 | 0.50 | A |
| 93 | 123 | 4 | 0.12 | A |
| 94 | 135.3 | 7.3 | 1.40 | A |
| 95 | 112.75 | 0.28 | 1.38 | A |
| 96 | 112 | 1.2 | 1.47 | A |
| 107 | 126 | 3.79 | 0.25 | A |
| 110 | 113 | 9.94 | 1.35 | A |
| 113 | 126.5 | 3.8 | 0.31 | A |
| 115 | 134.3 | 6.7 | 1.27 | A |
| 117 | 110 | 4 | 1.72 | A |
| 118 | 125 | 5 | 0.13 | A |
| 120 | 129 | 4 | 0.62 | A |
| 121 | 110.440 | 2.045 | 1.67 | A |
| 122 | 115.1 | 7.4 | 1.09 | A |
| 123 | 113.1 | 1.7 | 1.34 | A |
| 126 | 126.6 | 4.1 | 0.33 | A |
| 128 | 114.5 | 3.5 | 1.17 | A |
| 132 | 134 | 4 | 1.24 | A |
| 136 | 121.8 | 10.1 | 0.27 | A |
| 140 | 126 | 7 | 0.25 | A |
| 143 | 112.00 | 1.17 | 1.47 | A |
| 147 | 116.61 | 3.01 | 0.91 | A |
| 148 | 116.3 | 1.0 | 0.94 | A |
| 153 | 107 | 2 | 2.09 | W |
| 155 | 110.59 | 1.15 | 1.65 | A |
| 156 | 124 | 5.6 | 0.00 | A |
| 157 | 118.5 | 6.4 | 0.67 | A |
| 158 | 123.68 | 3.720 | 0.03 | A |
| 162 | 125.5 | 5.2 | 0.19 | A |
| 168 | 111.7 | 1.173 | 1.51 | A |
| 169 | 11168.00 | 116.60 | 1360.10 | N |
| 172 | 124.79 | 3.29 | 0.10 | A |
| 175 | 112.3 | 5.6 | 1.44 | A |
| 178 | 126 | 4 | 0.25 | A |
| 187 | 126 | 7 | 0.25 | A |
| 191 | 127 | 6 | 0.37 | A |
| 196 | 112.88 | 3.14 | 1.36 | A |

TABLE 60. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

TABLE 60. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 198 | 125.74 | 1.26 | 0.22 | A |
| 201 | 105.6 | 3.4 | 2.26 | W |
| 207 | 128.25 | 7.48 | 0.53 | A |
| 210 | 126.3 | 4.6 | 0.29 | A |
| 213 | 127 | 7 | 0.37 | A |
| 214 | 134.7 | 2.2 | 1.32 | A |
| 216 | 147 | 10 | 2.84 | W |
| 217 | 127 | 3.6 | 0.37 | A |
| 220 | 126.77 | 4.4 | 0.35 | A |
| 221 | 118.79 | 11.88 | 0.64 | A |
| 230 | 127 | 5.9 | 0.37 | A |
| 231 | 116 | 5 | 0.98 | A |
| 233 | 740 | 17.7 | 75.87 | N |
| 235 | 125.8 | 2.34 | 0.23 | A |
| 238 | 126 | 4 | 0.25 | A |
| 239 | 124.5 | 18 | 0.07 | A |
| 242 | 131 | 8.5 | 0.87 | A |
| 247 | 129.9 | 2.8 | 0.73 | A |
| 250 | 633.4 | 8.63 | 62.74 | N |
| 251 | 120.88 | 2.37 | 0.38 | A |
| 253 | 123.4 | 3.0 | 0.07 | A |
| 255 | 126 | 45 | 0.25 | A |
| 259 | 143.63 | 4.40 | 2.42 | W |
| 261 | 125.7 | 6.0 | 0.21 | A |
| 264 | 126 | 11 | 0.25 | A |
| 265 | 113.44 | 1.47 | 1.30 | A |
| 266 | 126.60 | 3.83 | 0.33 | A |
| 269 | 122.6 | 3.5 | 0.17 | A |
| 271 | 128.3 | 6.1 | 0.53 | A |
| 290 | 181.15 | 7.7 | 7.04 | N |
| 295 | 3.36 | 0.17 | 14.85 | N |
| 297 | 18.63 | 1.2 | 12.97 | N |
| 298 | 128.2 | 1.1 | 0.52 | A |
| 299 | 173 | 3.53 | 6.04 | N |
| 303 | 107.1 | 3.0 | 2.08 | W |
| 306 | 124 | 4 | 0.00 | A |
| 309 | 109.8 | 7.487 | 1.74 | A |
| 310 | 127.2 | 2.9 | 0.40 | A |
| 312 | 125.7 | 9.0 | 0.21 | A |

Activity [ Bq/kg ]

60

80

100

Reported Results for Cd-109 Determination in Sample 7

TABLE 61. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 55.5 |
| Robust SD, Bq/kg | 39.4 |
| N | 8 |

0

20

40

29

175

76

83

32

299

Labcode

FIGURE 47. Reported results and evaluation parameters for Cd-109 in Sample 7.

TABLE 62. IC Evaluation Results for Cd-109 in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score |
| --- | --- | --- | --- |
| 29 | 4.7 | 0.89 | 1.29 |
| 32 | 63.8 | 1.4 | 0.21 |
| 76 | 57.2 | 2.50 | 0.04 |
| 83 | 62.1 | 1.8 | 0.17 |
| 175 | 6.9 | 1.0 | 1.23 |
| 299 | 74.5 | 11.3 | 0.48 |

Activity [ Bq/kg ]

2

3

Reported Results for Sn-113 Determination in Sample 7

TABLE 63. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 1.84 |
| Robust SD, Bq/kg | 0.26 |
| N | 27 |

0

1

29

299

76

148

51

96

59

40

259

191

83

33

309

69

187

70

271

158

214

169

Labcode

FIGURE 48. Reported results and evaluation parameters for Sn-113 in Sample 7.

TABLE 64. IC Evaluation Results for Sn-113 in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score |
| --- | --- | --- | --- |
| 29 | 0.87 | 0.15 | 3.73 |
| 33 | 1.90 | 0.18 | 0.23 |
| 40 | 1.7 | 0.2 | 0.54 |
| 51 | 1.6 | 0.2 | 0.92 |
| 59 | 1.7 | 0.3 | 0.54 |
| 69 | 1.99 | 0.17 | 0.58 |
| 70 | 2.0 | 0.1 | 0.62 |
| 76 | 1.46 | 0.18 | 1.46 |
| 83 | 1.88 | 0.13 | 0.15 |
| 96 | 1.65 | 0.08 | 0.73 |
| 148 | 1.492 | 0.017 | 1.34 |
| 158 | 2.009 | 0.169 | 0.65 |
| 169 | 166.79 | 8.10 | 634.42 |
| 187 | 2.0 | 0.2 | 0.62 |
| 191 | 1.8 | 0.3 | 0.15 |
| 214 | 2.1 | 0.2 | 1.00 |
| 259 | 1.70 | 0.17 | 0.54 |
| 271 | 2.0 | 0.1 | 0.62 |
| 299 | 1.38 | 0.112 | 1.77 |
| 309 | 1.902 | 0.2226 | 0.24 |

Activity [ Bq/kg ]

60

80

100

120

Reported Results for Ba-133 Determination in Sample 7

TABLE 65. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 62.13 |
| Robust SD, Bq/kg | 8.76 |
| N | 165 |

0

20

40

13

295

155

32

168

96

143

265

95

58

29

148

76

303

52

147

309

121

110

33

214

201

239

117

253

20

22

299

94

153

123

128

198

172

122

7

93

157

136

37

70

175

259

88

221

158

220

235

156

83

69

290

115

312

49

118

40

178

298

210

21

266

113

187

213

51

74

66

57

238

60

72

24

126

8

207

50

140

255

217

242

251

39

261

120

84

68

269

216

6

107

247

47

18

264

310

132

271

191

65

14

297

250

169

Labcode

FIGURE 49. Reported results and evaluation parameters for Ba-133 in Sample 7.

TABLE 66. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 6 | 68.03 | 2.47 | 0.67 | A |
| 7 | 58.1 | 2.3 | 0.46 | A |
| 8 | 66.7 | 6.4 | 0.52 | A |
| 13 | 0.66 | 0.05 | 7.02 | N |
| 14 | 73.3 | 8.6 | 1.28 | A |
| 18 | 68.65 | 5.37 | 0.74 | A |
| 20 | 54 | 2.9 | 0.93 | A |
| 21 | 64.5 | 3.14 | 0.27 | A |
| 22 | 54.036 | 4.258 | 0.92 | A |
| 24 | 66.2 | 4.0 | 0.46 | A |
| 29 | 43.51 | 5.6 | 2.13 | W |
| 32 | 39.3 | 0.6 | 2.61 | W |
| 33 | 48.87 | 1.28 | 1.51 | A |
| 37 | 59.2 | 0.4 | 0.33 | A |
| 39 | 67.6 | 3.2 | 0.62 | A |
| 40 | 63 | 4 | 0.10 | A |
| 47 | 68.2 | 3.6 | 0.69 | A |
| 49 | 63 | 3 | 0.10 | A |
| 50 | 67 | 3 | 0.56 | A |
| 51 | 65 | 7 | 0.33 | A |
| 52 | 46.37 | 3.09 | 1.80 | A |

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 57 | 65.54 | 5.30 | 0.39 | A |
| 58 | 42.78 | 0.35 | 2.21 | W |
| 60 | 65.6 | 5.4 | 0.40 | A |
| 65 | 73.2 | 8.1 | 1.26 | A |
| 66 | 65.4 | 3.9 | 0.37 | A |
| 68 | 67.9 | 3.4 | 0.66 | A |
| 69 | 61.81 | 2.19 | 0.04 | A |
| 70 | 59.5 | 2.3 | 0.30 | A |
| 72 | 66 | 4 | 0.44 | A |
| 74 | 65.2 | 5.3 | 0.35 | A |
| 76 | 44.6 | 2.50 | 2.00 | A |
| 83 | 61.8 | 0.7 | 0.04 | A |
| 84 | 67.802 | 2.961 | 0.65 | A |
| 88 | 60.3 | 2.1 | 0.21 | A |
| 93 | 58.1 | 1.7 | 0.46 | A |
| 94 | 55.0 | 3.4 | 0.81 | A |
| 95 | 42.75 | 0.14 | 2.21 | W |
| 96 | 41.0 | 0.4 | 2.41 | W |
| 107 | 68.1 | 2.88 | 0.68 | A |
| 110 | 48 | 4.22 | 1.61 | A |
| 113 | 64.9 | 2.7 | 0.32 | A |
| 115 | 62.4 | 3.1 | 0.03 | A |
| 117 | 53.7 | 2.2 | 0.96 | A |
| 118 | 63 | 3 | 0.10 | A |
| 120 | 67.8 | 2.1 | 0.65 | A |
| 121 | 47.656 | 0.896 | 1.65 | A |
| 122 | 57.8 | 4.4 | 0.49 | A |
| 123 | 56.1 | 0.85 | 0.69 | A |
| 126 | 66.6 | 2.6 | 0.51 | A |
| 128 | 56.4 | 7.9 | 0.65 | A |
| 132 | 69.9 | 4 | 0.89 | A |
| 136 | 58.9 | 5.8 | 0.37 | A |
| 140 | 67 | 4 | 0.56 | A |
| 143 | 41.40 | 0.47 | 2.37 | W |
| 147 | 46.77 | 1.04 | 1.75 | A |
| 148 | 44.4 | 2.7 | 2.02 | W |
| 153 | 55.4 | 1.06 | 0.77 | A |
| 155 | 37.97 | 0.41 | 2.76 | W |
| 156 | 61.6 | 4.7 | 0.06 | A |
| 157 | 58.7 | 3.7 | 0.39 | A |
| 158 | 60.822 | 2.602 | 0.15 | A |
| 168 | 40.95 | 0.43 | 2.42 | W |
| 169 | 4407.57 | 49.59 | 496.05 | N |
| 172 | 56.79 | 36.16 | 0.61 | A |
| 175 | 59.8 | 3.0 | 0.27 | A |
| 178 | 64 | 5 | 0.21 | A |
| 187 | 65.0 | 3.9 | 0.33 | A |
| 191 | 71 | 8 | 1.01 | A |
| 198 | 56.72 | 0.82 | 0.62 | A |
| 201 | 52.0 | 4.2 | 1.16 | A |
| 207 | 66.76 | 3.90 | 0.53 | A |
| 210 | 64.5 | 3.3 | 0.27 | A |
| 213 | 65 | 4 | 0.33 | A |
| 214 | 49.5 | 1.2 | 1.44 | A |

TABLE 66. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

TABLE 66. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 216 | 68.0 | 1.5 | 0.67 | A |
| 217 | 67.1 | 1.9 | 0.57 | A |
| 220 | 60.88 | 4.5 | 0.14 | A |
| 221 | 60.57 | 6.06 | 0.18 | A |
| 235 | 61.42 | 2.38 | 0.08 | A |
| 238 | 65.6 | 1.2 | 0.40 | A |
| 239 | 52.32 | 7.6 | 1.12 | A |
| 242 | 67.3 | 4.5 | 0.59 | A |
| 247 | 68.1 | 2.1 | 0.68 | A |
| 250 | 263.17 | 3.91 | 22.95 | N |
| 251 | 67.52 | 1.12 | 0.62 | A |
| 253 | 53.8 | 1.3 | 0.95 | A |
| 255 | 67.0 | 18.6 | 0.56 | A |
| 259 | 59.93 | 3.33 | 0.25 | A |
| 261 | 67.6 | 5.0 | 0.62 | A |
| 264 | 68.7 | 6.9 | 0.75 | A |
| 265 | 41.57 | 0.58 | 2.35 | W |
| 266 | 64.60 | 1.86 | 0.28 | A |
| 269 | 68.0 | 1.96 | 0.67 | A |
| 271 | 70.6 | 3.9 | 0.97 | A |
| 290 | 62.25 | 3.84 | 0.01 | A |
| 295 | 1.24 | 0.07 | 6.95 | N |
| 297 | 130.48 | 7.46 | 7.80 | N |
| 298 | 64.1 | 1.2 | 0.22 | A |
| 299 | 54.5 | 3.40 | 0.87 | A |
| 303 | 45.9 | 1.3 | 1.85 | A |
| 309 | 47.44 | 4.603 | 1.68 | A |
| 310 | 69.1 | 2.7 | 0.80 | A |
| 312 | 62.9 | 2.7 | 0.09 | A |

Activity [ Bq/kg ]

40

60

80

Reported Results for Cs-134 Determination in Sample 7

TABLE 67. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 39.8 |
| Robust SD, Bq/kg | 3.85 |
| N | 175 |

0

20

13

295

231

147

32

95

303

52

155

96

76

143

306

198

148

58

29

265

121

153

117

33

22

201

309

110

38

83

20

128

214

299

175

123

253

118

88

115

221

7

239

158

69

113

136

122

220

70

93

156

251

157

47

238

230

6

37

21

57

94

71

178

50

213

140

39

266

18

264

162

312

217

271

210

74

207

259

60

310

126

255

242

269

298

65

261

235

107

14

172

66

187

24

120

68

8

92

247

51

59

84

132

216

49

191

40

297

290

72

250

233

169

Labcode

FIGURE 50. Reported results and evaluation parameters for Cs-134 in Sample 7.

TABLE 68. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 6 | 40.54 | 1.50 | 0.19 | A |
| 7 | 38.9 | 0.8 | 0.23 | A |
| 8 | 42.8 | 3.6 | 0.78 | A |
| 13 | 0.42 | 0.03 | 10.23 | N |
| 14 | 42.3 | 5.0 | 0.65 | A |
| 18 | 41.27 | 3.25 | 0.38 | A |
| 20 | 35.6 | 1.9 | 1.09 | A |
| 21 | 40.6 | 1.79 | 0.21 | A |
| 22 | 33.111 | 0.692 | 1.74 | A |
| 24 | 42.6 | 2.5 | 0.73 | A |
| 29 | 31.82 | 2.83 | 2.07 | W |
| 32 | 29.1 | 0.5 | 2.78 | W |
| 33 | 32.85 | 2.49 | 1.81 | A |
| 37 | 40.6 | 0.2 | 0.21 | A |
| 38 | 35 | 3 | 1.25 | A |
| 39 | 41.2 | 1.8 | 0.36 | A |
| 40 | 44 | 3 | 1.09 | A |
| 47 | 40.5 | 2.4 | 0.18 | A |
| 49 | 44 | 2 | 1.09 | A |
| 50 | 41 | 2 | 0.31 | A |
| 51 | 43 | 3 | 0.83 | A |

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 52 | 29.6 | 1.19 | 2.65 | W |
| 57 | 40.72 | 1.83 | 0.24 | A |
| 58 | 30.66 | 0.16 | 2.37 | W |
| 59 | 43 | 3 | 0.83 | A |
| 60 | 41.5 | 3.4 | 0.44 | A |
| 65 | 41.8 | 2.1 | 0.52 | A |
| 66 | 42.4 | 2.6 | 0.68 | A |
| 68 | 42.7 | 1.4 | 0.75 | A |
| 69 | 39.17 | 1.00 | 0.16 | A |
| 70 | 39.5 | 0.8 | 0.08 | A |
| 71 | 40.9 | 0.78 | 0.29 | A |
| 72 | 50 | 3 | 2.65 | W |
| 74 | 41.4 | 2.5 | 0.42 | A |
| 76 | 30.0 | 0.60 | 2.55 | W |
| 83 | 35.4 | 0.3 | 1.14 | A |
| 84 | 43.204 | 1.886 | 0.88 | A |
| 88 | 38.4 | 1.1 | 0.36 | A |
| 92 | 42.8 | 1.6 | 0.78 | A |
| 93 | 39.6 | 1.2 | 0.05 | A |
| 94 | 40.9 | 2.4 | 0.29 | A |
| 95 | 29.12 | 0.07 | 2.77 | W |
| 96 | 29.8 | 0.3 | 2.60 | W |
| 107 | 42.3 | 1.48 | 0.65 | A |
| 110 | 34.6 | 3.04 | 1.35 | A |
| 113 | 39.3 | 1.7 | 0.13 | A |
| 115 | 38.4 | 2.0 | 0.36 | A |
| 117 | 32.2 | 1.2 | 1.97 | A |
| 118 | 38 | 2 | 0.47 | A |
| 120 | 42.7 | 1.3 | 0.75 | A |
| 121 | 32.028 | 0.622 | 2.02 | W |
| 122 | 39.4 | 2.7 | 0.10 | A |
| 123 | 37.2 | 0.5 | 0.68 | A |
| 126 | 41.5 | 1.6 | 0.44 | A |
| 128 | 35.8 | 4.7 | 1.04 | A |
| 132 | 43.4 | 1.3 | 0.94 | A |
| 136 | 39.3 | 3.3 | 0.13 | A |
| 140 | 41 | 3 | 0.31 | A |
| 143 | 30.00 | 0.33 | 2.55 | W |
| 147 | 28.65 | 0.75 | 2.90 | W |
| 148 | 30.54 | 0.48 | 2.41 | W |
| 153 | 32.05 | 0.5 | 2.01 | W |
| 155 | 29.79 | 0.34 | 2.60 | W |
| 156 | 40.1 | 2.3 | 0.08 | A |
| 157 | 40.3 | 2.2 | 0.13 | A |
| 158 | 39.167 | 1.030 | 0.16 | A |
| 162 | 41.3 | 2.5 | 0.39 | A |
| 169 | 2982.79 | 32.69 | 764.41 | N |
| 172 | 42.37 | 2.76 | 0.67 | A |
| 175 | 37.1 | 1.9 | 0.70 | A |
| 178 | 41 | 2 | 0.31 | A |
| 187 | 42.5 | 2.4 | 0.70 | A |
| 191 | 44 | 4 | 1.09 | A |
| 198 | 30.16 | 0.36 | 2.50 | W |
| 201 | 33.2 | 1.5 | 1.71 | A |

TABLE 68. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

TABLE 68. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 207 | 41.42 | 2.42 | 0.42 | A |
| 210 | 41.4 | 1.1 | 0.42 | A |
| 213 | 41 | 2 | 0.31 | A |
| 214 | 36.4 | 0.8 | 0.88 | A |
| 216 | 43.7 | 2.2 | 1.01 | A |
| 217 | 41.3 | 1.2 | 0.39 | A |
| 220 | 39.42 | 3.5 | 0.10 | A |
| 221 | 38.81 | 3.88 | 0.26 | A |
| 230 | 40.5 | 2.2 | 0.18 | A |
| 231 | 28.5 | 7 | 2.94 | W |
| 233 | 282 | 7.05 | 62.91 | N |
| 235 | 42.1 | 0.78 | 0.60 | A |
| 238 | 40.5 | 0.8 | 0.18 | A |
| 239 | 39 | 5.6 | 0.21 | A |
| 242 | 41.7 | 3.9 | 0.49 | A |
| 247 | 42.8 | 0.9 | 0.78 | A |
| 250 | 145.81 | 2.08 | 27.54 | N |
| 251 | 40.21 | 0.85 | 0.11 | A |
| 253 | 37.6 | 1.0 | 0.57 | A |
| 255 | 41.6 | 9.5 | 0.47 | A |
| 259 | 41.48 | 1.12 | 0.44 | A |
| 261 | 42.0 | 3.1 | 0.57 | A |
| 264 | 41.3 | 4.2 | 0.39 | A |
| 265 | 31.91 | 0.45 | 2.05 | W |
| 266 | 41.20 | 0.98 | 0.36 | A |
| 269 | 41.74 | 1.20 | 0.50 | A |
| 271 | 41.3 | 5.8 | 0.39 | A |
| 290 | 49.59 | 2.3 | 2.54 | W |
| 295 | 1.00 | 0.04 | 10.08 | N |
| 297 | 45.99 | 3.85 | 1.61 | A |
| 298 | 41.8 | 0.7 | 0.52 | A |
| 299 | 36.4 | 1.16 | 0.88 | A |
| 303 | 29.48 | 0.89 | 2.68 | W |
| 306 | 30.1 | 0.9 | 2.52 | W |
| 309 | 34.29 | 2.701 | 1.43 | A |
| 310 | 41.5 | 0.7 | 0.44 | A |
| 312 | 41.3 | 1.4 | 0.39 | A |

Activity [ Bq/kg ]

100

150

Reported Results for Cs-137 Determination in Sample 7

TABLE 69. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 83.2 |
| Robust SD, Bq/kg | 4.79 |
| N | 175 |

0

50

13

297

295

32

29

95

123

175

265

155

40

290

147

143

52

303

128

110

96

231

83

198

168

58

72

148

121

196

122

157

94

51

239

21

115

153

107

221

271

47

6

269

136

57

120

178

310

210

84

264

261

253

156

22

88

66

74

7

158

162

251

39

266

309

238

230

70

117

18

69

60

8

217

113

24

50

213

140

306

93

220

126

65

207

187

92

20

255

312

247

298

191

33

172

235

242

14

49

59

216

201

68

38

132

214

299

118

259

71

250

233

169

Labcode

FIGURE 51. Reported results and evaluation parameters for Cs-137 in Sample 7.

TABLE 70. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 6 | 83.26 | 2.96 | 0.01 | A |
| 7 | 84.4 | 3.5 | 0.25 | A |
| 8 | 84.8 | 6.1 | 0.33 | A |
| 13 | 0.85 | 0.05 | 17.19 | N |
| 14 | 87 | 13 | 0.79 | A |
| 18 | 84.74 | 5.03 | 0.32 | A |
| 20 | 85.3 | 4.5 | 0.44 | A |
| 21 | 81.6 | 4.97 | 0.33 | A |
| 22 | 84.382 | 3.493 | 0.25 | A |
| 24 | 85.0 | 5.1 | 0.38 | A |
| 29 | 72.7 | 2.69 | 2.19 | W |
| 32 | 72.1 | 1.4 | 2.32 | W |
| 33 | 86.05 | 5.17 | 0.59 | A |
| 38 | 89 | 7 | 1.21 | A |
| 39 | 84.6 | 2.8 | 0.29 | A |
| 40 | 74 | 4 | 1.92 | A |
| 47 | 83.2 | 4.4 | 0.00 | A |
| 49 | 87 | 4 | 0.79 | A |
| 50 | 85 | 3 | 0.38 | A |
| 51 | 79 | 6 | 0.88 | A |
| 52 | 74.27 | 2.85 | 1.86 | A |

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 57 | 83.81 | 5.12 | 0.13 | A |
| 58 | 75.79 | 1.18 | 1.55 | A |
| 59 | 87 | 7 | 0.79 | A |
| 60 | 84.8 | 5.1 | 0.33 | A |
| 65 | 85.2 | 4.4 | 0.42 | A |
| 66 | 84.4 | 5.1 | 0.25 | A |
| 68 | 88.6 | 4.5 | 1.13 | A |
| 69 | 84.77 | 5.17 | 0.33 | A |
| 70 | 84.7 | 3.2 | 0.31 | A |
| 71 | 100.0 | 2.36 | 3.51 | N |
| 72 | 75.9 | 1.4 | 1.52 | A |
| 74 | 84.4 | 5.2 | 0.25 | A |
| 83 | 75.4 | 0.5 | 1.63 | A |
| 84 | 84.162 | 3.628 | 0.20 | A |
| 88 | 84.4 | 5.2 | 0.25 | A |
| 92 | 85.3 | 4.4 | 0.44 | A |
| 93 | 85.0 | 4.4 | 0.38 | A |
| 94 | 78.6 | 4.5 | 0.96 | A |
| 95 | 72.76 | 0.21 | 2.18 | W |
| 96 | 74.8 | 0.8 | 1.75 | A |
| 107 | 82.5 | 4.68 | 0.15 | A |
| 110 | 74.7 | 6.56 | 1.77 | A |
| 113 | 84.9 | 5.2 | 0.35 | A |
| 115 | 82.1 | 4.1 | 0.23 | A |
| 117 | 84.7 | 5.2 | 0.31 | A |
| 118 | 97 | 4 | 2.88 | W |
| 120 | 83.9 | 2.5 | 0.15 | A |
| 121 | 77.754 | 1.436 | 1.14 | A |
| 122 | 78.1 | 5.3 | 1.06 | A |
| 123 | 73.6 | 1.0 | 2.00 | A |
| 126 | 85.1 | 3.6 | 0.40 | A |
| 128 | 74.6 | 2.3 | 1.80 | A |
| 132 | 89.2 | 5.4 | 1.25 | A |
| 136 | 83.4 | 6.9 | 0.04 | A |
| 140 | 85 | 5 | 0.38 | A |
| 143 | 74.20 | 0.86 | 1.88 | A |
| 147 | 74.15 | 1.92 | 1.89 | A |
| 148 | 76.5 | 1.1 | 1.40 | A |
| 153 | 82.1 | 2.5 | 0.23 | A |
| 155 | 73.98 | 0.86 | 1.92 | A |
| 156 | 84.3 | 5.1 | 0.23 | A |
| 157 | 78.5 | 4.6 | 0.98 | A |
| 158 | 84.45 | 5.146 | 0.26 | A |
| 162 | 84.5 | 5.21 | 0.27 | A |
| 168 | 75.55 | 0.938 | 1.60 | A |
| 169 | 7475.26 | 91.24 | 1543.23 | N |
| 172 | 86.50 | 2.48 | 0.69 | A |
| 175 | 73.8 | 3.7 | 1.96 | A |
| 178 | 84 | 5 | 0.17 | A |
| 187 | 85.3 | 6.7 | 0.44 | A |
| 191 | 86 | 7 | 0.58 | A |
| 196 | 78.07 | 2.22 | 1.07 | A |
| 198 | 75.40 | 1.12 | 1.63 | A |
| 201 | 87.8 | 5.3 | 0.96 | A |

TABLE 70. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

TABLE 70. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 207 | 85.26 | 4.98 | 0.43 | A |
| 210 | 84.1 | 4.3 | 0.19 | A |
| 213 | 85 | 4 | 0.38 | A |
| 214 | 91 | 2.8 | 1.63 | A |
| 216 | 87.6 | 6.1 | 0.92 | A |
| 217 | 84.8 | 2.4 | 0.33 | A |
| 220 | 85.09 | 3.0 | 0.39 | A |
| 221 | 82.53 | 8.26 | 0.14 | A |
| 230 | 84.7 | 5.2 | 0.31 | A |
| 231 | 75 | 3.5 | 1.71 | A |
| 233 | 797 | 7.3 | 149.02 | N |
| 235 | 86.51 | 1.55 | 0.69 | A |
| 238 | 84.7 | 3.4 | 0.31 | A |
| 239 | 80.13 | 11.62 | 0.64 | A |
| 242 | 86.8 | 7.3 | 0.75 | A |
| 247 | 85.7 | 2.6 | 0.52 | A |
| 250 | 307.45 | 4.2 | 46.82 | N |
| 251 | 84.56 | 1.61 | 0.28 | A |
| 253 | 84.3 | 4.3 | 0.23 | A |
| 255 | 85.6 | 31.3 | 0.50 | A |
| 259 | 97.43 | 6.01 | 2.97 | W |
| 261 | 84.3 | 5.1 | 0.23 | A |
| 264 | 84.3 | 7.6 | 0.23 | A |
| 265 | 73.82 | 0.96 | 1.96 | A |
| 266 | 84.63 | 3.52 | 0.30 | A |
| 269 | 83.36 | 2.38 | 0.03 | A |
| 271 | 83.0 | 3.8 | 0.04 | A |
| 290 | 74.01 | 3.6 | 1.92 | A |
| 295 | 2.19 | 0.11 | 16.91 | N |
| 297 | 1.67 | 0.09 | 17.02 | N |
| 298 | 85.9 | 1.4 | 0.56 | A |
| 299 | 96.60 | 6.69 | 2.80 | W |
| 303 | 74.3 | 2.0 | 1.86 | A |
| 306 | 85 | 3 | 0.38 | A |
| 309 | 84.67 | 6.69 | 0.31 | A |
| 310 | 84 | 2.7 | 0.17 | A |
| 312 | 85.7 | 4.4 | 0.52 | A |

Activity [ Bq/kg ]

15

20

25

Reported Results for Tl-208 Determination in Sample 7

TABLE 71. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 13.25 |
| Robust SD, Bq/kg | 1.92 |
| N | 90 |

0

5

10

13

96

155

76

148

14

128

121

303

22

221

20

247

122

110

123

72

198

59

175

40

191

33

115

136

271

157

70

88

140

158

210

60

178

21

264

162

18

217

126

312

6

68

84

255

39

94

120

113

7

231

251

253

132

233

Labcode

FIGURE 52. Reported results and evaluation parameters for Tl-208 in Sample 7.

TABLE 72. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 6 | 13.73 | 0.55 | 0.25 | A |
| 7 | 14.7 | 0.5 | 0.76 | A |
| 13 | 0.14 | 0.01 | 6.83 | N |
| 14 | 10.2 | 1.3 | 1.59 | A |
| 18 | 13.47 | 1.13 | 0.11 | A |
| 20 | 10.8 | 0.6 | 1.28 | A |
| 21 | 13.3 | 0.81 | 0.03 | A |
| 22 | 10.638 | 0.486 | 1.36 | A |
| 33 | 12.21 | 1.66 | 0.54 | A |
| 39 | 14.0 | 0.9 | 0.39 | A |
| 40 | 12.1 | 0.8 | 0.60 | A |
| 59 | 12.1 | 1.1 | 0.60 | A |
| 60 | 13.3 | 1.2 | 0.03 | A |
| 68 | 13.8 | 0.7 | 0.29 | A |
| 70 | 12.9 | 0.4 | 0.18 | A |
| 72 | 12 | 1 | 0.65 | A |
| 76 | 9.96 | 0.40 | 1.71 | A |
| 84 | 13.818 | 0.737 | 0.30 | A |
| 88 | 13.0 | 0.5 | 0.13 | A |
| 94 | 14.5 | 0.9 | 0.65 | A |
| 96 | 9.25 | 0.14 | 2.08 | W |

TABLE 72. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 110 | 11.7 | 1.15 | 0.81 | A |
| 113 | 14.7 | 0.7 | 0.76 | A |
| 115 | 12.65 | 0.80 | 0.31 | A |
| 120 | 14.7 | 0.5 | 0.76 | A |
| 121 | 10.221 | 0.230 | 1.58 | A |
| 122 | 11.7 | 1.1 | 0.81 | A |
| 123 | 11.8 | 0.2 | 0.76 | A |
| 126 | 13.62 | 0.57 | 0.19 | A |
| 128 | 10.2 | 1.2 | 1.59 | A |
| 132 | 43.9 | 1.9 | 15.96 | N |
| 136 | 12.7 | 1.1 | 0.29 | A |
| 140 | 13 | 1 | 0.13 | A |
| 148 | 10.09 | 0.14 | 1.65 | A |
| 155 | 9.46 | 0.14 | 1.97 | A |
| 157 | 12.9 | 0.8 | 0.18 | A |
| 158 | 13.03 | 0.651 | 0.11 | A |
| 162 | 13.4 | 0.83 | 0.08 | A |
| 175 | 12.1 | 0.6 | 0.60 | A |
| 178 | 13.3 | 0.7 | 0.03 | A |
| 191 | 12.2 | 1.0 | 0.55 | A |
| 198 | 12.01 | 0.42 | 0.65 | A |
| 210 | 13.3 | 0.6 | 0.03 | A |
| 217 | 13.5 | 0.40 | 0.13 | A |
| 221 | 10.7 | 1.08 | 1.33 | A |
| 231 | 26 | 2.6 | 6.64 | N |
| 233 | 104 | 0.73 | 47.27 | N |
| 247 | 11.14 | 0.35 | 1.10 | A |
| 251 | 35.12 | 1.11 | 11.39 | N |
| 253 | 39.4 | 1.4 | 13.62 | N |
| 255 | 13.9 | 1.4 | 0.34 | A |
| 264 | 13.4 | 1.4 | 0.08 | A |
| 271 | 12.8 | 0.5 | 0.23 | A |
| 303 | 10.34 | 0.33 | 1.52 | A |
| 312 | 13.65 | 0.73 | 0.21 | A |

Activity [ Bq/kg ]

600

800

1000

1200

Reported Results for Pb-210 Determination in Sample 7

TABLE 73. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 621.79 |
| Robust SD, Bq/kg | 80.1 |
| N | 126 |

0

200

400

13

231

128

76

110

303

29

123

96

121

299

155

198

233

83

58

52

214

221

148

207

216

239

51

21

217

213

153

69

59

191

264

57

172

247

107

40

18

94

113

88

33

60

242

210

220

312

158

178

84

70

187

115

126

271

253

238

14

162

298

136

310

120

235

66

132

24

309

68

74

39

156

6

20

71

32

49

118

169

Labcode

FIGURE 53. Reported results and evaluation parameters for Pb-210 in Sample 7.

TABLE 74. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 6 | 712.80 | 27.13 | 1.14 | A |
| 13 | 6.3 | 0.7 | 7.68 | N |
| 14 | 647 | 97 | 0.31 | A |
| 18 | 636.6 | 55.6 | 0.18 | A |
| 20 | 754 | 39 | 1.65 | A |
| 21 | 618 | 88.7 | 0.05 | A |
| 24 | 667 | 40 | 0.56 | A |
| 29 | 409.2 | 60.56 | 2.65 | W |
| 32 | 865 | 26 | 3.04 | N |
| 33 | 640.86 | 64.11 | 0.24 | A |
| 39 | 685 | 42 | 0.79 | A |
| 40 | 636 | 40 | 0.18 | A |
| 49 | 980 | 40 | 4.47 | N |
| 51 | 606 | 47 | 0.20 | A |
| 52 | 545.79 | 66.7 | 0.95 | A |
| 57 | 634.15 | 92.59 | 0.15 | A |
| 58 | 520 | 6 | 1.27 | A |
| 59 | 629 | 53 | 0.09 | A |
| 60 | 641 | 56 | 0.24 | A |
| 66 | 663 | 40 | 0.51 | A |
| 68 | 668.8 | 34.2 | 0.59 | A |

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 69 | 625.54 | 90.93 | 0.05 | A |
| 70 | 645.8 | 81.6 | 0.30 | A |
| 71 | 755.2 | 67.3 | 1.67 | A |
| 74 | 678 | 68 | 0.70 | A |
| 76 | 387 | 6.70 | 2.93 | W |
| 83 | 514.3 | 18.5 | 1.34 | A |
| 84 | 644.053 | 97.092 | 0.28 | A |
| 88 | 638 | 93 | 0.20 | A |
| 94 | 636.9 | 67.1 | 0.19 | A |
| 96 | 416 | 5.9 | 2.57 | W |
| 107 | 636 | 93.9 | 0.18 | A |
| 110 | 394 | 34.8 | 2.84 | W |
| 113 | 637.9 | 92.9 | 0.20 | A |
| 115 | 646 | 33 | 0.30 | A |
| 118 | 1750 | 150 | 14.09 | N |
| 120 | 659 | 50 | 0.46 | A |
| 121 | 429.409 | 1.458 | 2.40 | W |
| 123 | 416.0 | 22.0 | 2.57 | W |
| 126 | 646 | 31 | 0.30 | A |
| 128 | 372 | 53 | 3.12 | N |
| 132 | 665 | 97 | 0.54 | A |
| 136 | 652 | 57 | 0.38 | A |
| 148 | 560.4 | 2.9 | 0.77 | A |
| 153 | 625.4 | 84.1 | 0.05 | A |
| 155 | 435.33 | 8.39 | 2.33 | W |
| 156 | 695 | 95 | 0.91 | A |
| 158 | 643.38 | 92.584 | 0.27 | A |
| 162 | 647 | 94 | 0.31 | A |
| 169 | 47801.17 | 1784.20 | 589.01 | N |
| 172 | 634.30 | 43.26 | 0.16 | A |
| 178 | 644 | 93 | 0.28 | A |
| 187 | 646 | 99 | 0.30 | A |
| 191 | 631 | 50 | 0.11 | A |
| 198 | 488.70 | 23.23 | 1.66 | A |
| 207 | 569.00 | 87.06 | 0.66 | A |
| 210 | 642.8 | 33.4 | 0.26 | A |
| 213 | 620 | 40 | 0.02 | A |
| 214 | 548.8 | 44.8 | 0.91 | A |
| 216 | 577 | 40 | 0.56 | A |
| 217 | 619 | 17 | 0.03 | A |
| 220 | 643.1 | 103.1 | 0.27 | A |
| 221 | 554.00 | 55.42 | 0.85 | A |
| 231 | 333 | 16 | 3.61 | N |
| 233 | 508 | 12.7 | 1.42 | A |
| 235 | 662.4 | 44.9 | 0.51 | A |
| 238 | 647 | 27 | 0.31 | A |
| 239 | 586 | 84.97 | 0.45 | A |
| 242 | 641 | 56 | 0.24 | A |
| 247 | 635 | 26 | 0.16 | A |
| 253 | 646.7 | 33.8 | 0.31 | A |
| 264 | 633 | 79 | 0.14 | A |
| 271 | 646.6 | 29.5 | 0.31 | A |
| 298 | 648 | 12 | 0.33 | A |
| 299 | 432.60 | 20.45 | 2.36 | W |

TABLE 74. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

TABLE 74. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 303 | 408.4 | 9.2 | 2.66 | W |
| 309 | 668.7 | 76.85 | 0.59 | A |
| 310 | 652 | 74 | 0.38 | A |
| 312 | 643.2 | 33.4 | 0.27 | A |

Activity [ Bq/kg ]

40

60

Reported Results for Pb-212 Determination in Sample 7

TABLE 75. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 38.24 |
| Robust SD, Bq/kg | 3.99 |
| N | 96 |

0

20

13

231

96

123

175

72

76

110

69

148

33

210

128

198

303

21

178

213

18

70

271

88

121

255

22

68

50

312

126

264

162

217

74

115

20

157

122

136

60

140

253

247

39

158

221

84

120

6

94

7

113

14

132

214

233

169

299

Labcode

FIGURE 54. Reported results and evaluation parameters for Pb-212 in Sample 7.

TABLE 76. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 6 | 42.28 | 1.59 | 1.01 | A |
| 7 | 42.5 | 3.3 | 1.07 | A |
| 13 | 0.4 | 0.02 | 9.48 | N |
| 14 | 44.0 | 5.6 | 1.44 | A |
| 18 | 36.20 | 2.04 | 0.51 | A |
| 20 | 38.5 | 2.1 | 0.07 | A |
| 21 | 35.95 | 2.90 | 0.57 | A |
| 22 | 37.523 | 2.288 | 0.18 | A |
| 33 | 34.89 | 3.92 | 0.84 | A |
| 39 | 39.6 | 1.8 | 0.34 | A |
| 50 | 38 | 3 | 0.06 | A |
| 60 | 39.0 | 2.5 | 0.19 | A |
| 68 | 37.6 | 1.9 | 0.16 | A |
| 69 | 34.42 | 1.68 | 0.96 | A |
| 70 | 36.3 | 1.4 | 0.49 | A |
| 72 | 33 | 1 | 1.31 | A |
| 74 | 38.4 | 3.1 | 0.04 | A |
| 76 | 33.7 | 0.80 | 1.14 | A |
| 84 | 41.804 | 1.919 | 0.89 | A |
| 88 | 36.5 | 2.2 | 0.44 | A |
| 94 | 42.5 | 2.7 | 1.07 | A |

TABLE 76. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 96 | 30.7 | 0.3 | 1.89 | A |
| 110 | 34.1 | 3.00 | 1.04 | A |
| 113 | 43.4 | 3.6 | 1.29 | A |
| 115 | 38.5 | 2.1 | 0.07 | A |
| 120 | 42.2 | 1.4 | 0.99 | A |
| 121 | 36.696 | 0.687 | 0.39 | A |
| 122 | 38.7 | 3.0 | 0.12 | A |
| 123 | 32.3 | 0.8 | 1.49 | A |
| 126 | 38.2 | 2.1 | 0.01 | A |
| 128 | 34.9 | 4.2 | 0.84 | A |
| 132 | 46.6 | 3.8 | 2.10 | W |
| 136 | 38.8 | 2.9 | 0.14 | A |
| 140 | 39 | 3 | 0.19 | A |
| 148 | 34.60 | 0.24 | 0.91 | A |
| 157 | 38.6 | 2.6 | 0.09 | A |
| 158 | 39.842 | 3.165 | 0.40 | A |
| 162 | 38.3 | 3.1 | 0.02 | A |
| 169 | 2791.38 | 36.50 | 690.01 | N |
| 175 | 32.3 | 1.6 | 1.49 | A |
| 178 | 36 | 3 | 0.56 | A |
| 198 | 35.44 | 0.69 | 0.70 | A |
| 210 | 34.9 | 1.8 | 0.84 | A |
| 213 | 36 | 2 | 0.56 | A |
| 214 | 54.4 | 1.3 | 4.05 | N |
| 217 | 38.4 | 1.1 | 0.04 | A |
| 221 | 40.64 | 4.07 | 0.60 | A |
| 231 | 26.5 | 7 | 2.94 | W |
| 233 | 214 | 1.49 | 44.05 | N |
| 247 | 39.1 | 1.2 | 0.22 | A |
| 253 | 39.0 | 2.1 | 0.19 | A |
| 255 | 37.4 | 8.9 | 0.21 | A |
| 264 | 38.3 | 3.9 | 0.02 | A |
| 271 | 36.4 | 1.6 | 0.46 | A |
| 299 | 53800.00 | 4860.00 | 13474.13 | N |
| 303 | 35.7 | 1.0 | 0.64 | A |
| 312 | 38.2 | 2.0 | 0.01 | A |

Activity [ Bq/kg ]

40

60

80

Reported Results for Bi-212 Determination in Sample 7

TABLE 77. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 39.39 |
| Robust SD, Bq/kg | 5.02 |
| N | 81 |

0

20

13

96

69

22

33

303

121

14

76

253

122

110

264

68

115

217

136

128

175

70

7

148

210

60

157

18

231

158

39

247

84

120

113

50

21

198

162

271

312

178

140

6

255

132

94

297

169

299

Labcode

FIGURE 55. Reported results and evaluation parameters for Bi-212 in Sample 7.

TABLE 78. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 6 | 43.60 | 2.34 | 0.84 | A |
| 7 | 38.4 | 1.6 | 0.20 | A |
| 13 | 0.43 | 0.07 | 7.76 | N |
| 14 | 33.0 | 4.6 | 1.27 | A |
| 18 | 39.58 | 3.60 | 0.04 | A |
| 21 | 41.3 | 2.5 | 0.38 | A |
| 22 | 22.692 | 1.273 | 3.33 | N |
| 33 | 23.25 | 1.54 | 3.22 | N |
| 39 | 40.0 | 6.8 | 0.12 | A |
| 50 | 41 | 3 | 0.32 | A |
| 60 | 38.7 | 3.8 | 0.14 | A |
| 68 | 37.6 | 1.9 | 0.36 | A |
| 69 | 21.62 | 1.27 | 3.54 | N |
| 70 | 38.4 | 1.7 | 0.20 | A |
| 76 | 33.6 | 1.60 | 1.15 | A |
| 84 | 40.431 | 3.467 | 0.21 | A |
| 94 | 47.2 | 3.2 | 1.56 | A |
| 96 | 19.9 | 0.7 | 3.88 | N |
| 110 | 37.2 | 4.69 | 0.44 | A |
| 113 | 40.8 | 2.3 | 0.28 | A |
| 115 | 37.9 | 2.2 | 0.30 | A |

TABLE 78. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 120 | 40.5 | 4.5 | 0.22 | A |
| 121 | 23.744 | 0.976 | 3.12 | N |
| 122 | 36.4 | 4.4 | 0.60 | A |
| 128 | 38.2 | 4.6 | 0.24 | A |
| 132 | 46.2 | 2.3 | 1.36 | A |
| 136 | 38.1 | 3.3 | 0.26 | A |
| 140 | 42 | 3 | 0.52 | A |
| 148 | 38.42 | 0.28 | 0.19 | A |
| 157 | 39.4 | 3.1 | 0.00 | A |
| 158 | 39.778 | 6.775 | 0.08 | A |
| 162 | 41.6 | 2.8 | 0.44 | A |
| 169 | 2038.03 | 42.77 | 398.14 | N |
| 175 | 38.2 | 2.3 | 0.24 | A |
| 178 | 42 | 3 | 0.52 | A |
| 198 | 41.39 | 1.51 | 0.40 | A |
| 210 | 38.6 | 2.3 | 0.16 | A |
| 217 | 37.9 | 1.6 | 0.30 | A |
| 231 | 39.6 | 9 | 0.04 | A |
| 247 | 40.0 | 1.6 | 0.12 | A |
| 253 | 35.0 | 2.0 | 0.87 | A |
| 255 | 45.2 | 3.0 | 1.16 | A |
| 264 | 37.3 | 4.4 | 0.42 | A |
| 271 | 41.9 | 2.4 | 0.50 | A |
| 297 | 47.88 | 3.78 | 1.69 | A |
| 299 | 7070000.00 | 428000.00 | 1408358.69 | N |
| 303 | 23.7 | 1.3 | 3.13 | N |
| 312 | 42.0 | 2.5 | 0.52 | A |

Activity [ Bq/kg ]

30

40

50

60

Reported Results for Bi-214 Determination in Sample 7

TABLE 79. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 31.49 |
| Robust SD, Bq/kg | 3.39 |
| N | 100 |

0

10

20

13

14

76

128

231

96

303

198

32

121

148

22

58

20

239

123

72

210

175

247

69

113

253

110

70

122

140

157

21

33

158

310

94

115

57

312

162

264

50

40

84

6

213

217

271

178

251

255

39

132

120

49

68

59

191

216

83

207

297

221

250

233

169

Labcode

FIGURE 56. Reported results and evaluation parameters for Bi-214 in Sample 7.

TABLE 80. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 6 | 32.38 | 1.24 | 0.26 | A |
| 13 | 0.33 | 0.02 | 9.19 | N |
| 14 | 22.1 | 2.5 | 2.77 | W |
| 20 | 27.6 | 1.5 | 1.15 | A |
| 21 | 31.1 | 1.9 | 0.12 | A |
| 22 | 26.639 | 1.118 | 1.43 | A |
| 32 | 25.3 | 0.4 | 1.83 | A |
| 33 | 31.28 | 0.99 | 0.06 | A |
| 39 | 33.1 | 1.5 | 0.47 | A |
| 40 | 32 | 2 | 0.15 | A |
| 49 | 33.7 | 1.5 | 0.65 | A |
| 50 | 32 | 1 | 0.15 | A |
| 57 | 31.68 | 0.80 | 0.06 | A |
| 58 | 27.01 | 2.01 | 1.32 | A |
| 59 | 34 | 4 | 0.74 | A |
| 68 | 33.7 | 1.7 | 0.65 | A |
| 69 | 29.43 | 0.65 | 0.61 | A |
| 70 | 30.8 | 0.6 | 0.20 | A |
| 72 | 28 | 2 | 1.03 | A |
| 76 | 23.1 | 0.60 | 2.47 | W |
| 83 | 35.4 | 1.1 | 1.15 | A |

TABLE 80. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 84 | 32.320 | 1.418 | 0.24 | A |
| 94 | 31.6 | 1.8 | 0.03 | A |
| 96 | 24.6 | 0.3 | 2.03 | W |
| 110 | 30.5 | 2.72 | 0.29 | A |
| 113 | 30.2 | 0.8 | 0.38 | A |
| 115 | 31.6 | 2.0 | 0.03 | A |
| 120 | 33.6 | 1.1 | 0.62 | A |
| 121 | 25.515 | 0.531 | 1.76 | A |
| 122 | 30.9 | 2.3 | 0.17 | A |
| 123 | 28.0 | 0.6 | 1.03 | A |
| 128 | 23.7 | 3.4 | 2.30 | W |
| 132 | 33.3 | 0.8 | 0.53 | A |
| 140 | 31 | 2 | 0.14 | A |
| 148 | 26.4 | 2.6 | 1.50 | A |
| 157 | 31.1 | 1.9 | 0.12 | A |
| 158 | 31.360 | 2.509 | 0.04 | A |
| 162 | 31.8 | 1.9 | 0.09 | A |
| 169 | 2588.92 | 30.97 | 754.40 | N |
| 175 | 29.2 | 1.5 | 0.68 | A |
| 178 | 32.8 | 1.1 | 0.39 | A |
| 191 | 35 | 3 | 1.04 | A |
| 198 | 24.74 | 2.22 | 1.99 | A |
| 207 | 35.44 | 2.20 | 1.17 | A |
| 210 | 29.0 | 0.8 | 0.73 | A |
| 213 | 32.5 | 1.9 | 0.30 | A |
| 216 | 35.1 | 1.9 | 1.06 | A |
| 217 | 32.6 | 0.95 | 0.33 | A |
| 221 | 37.53 | 3.77 | 1.78 | A |
| 231 | 24 | 5 | 2.21 | W |
| 233 | 286 | 6.6 | 75.08 | N |
| 239 | 27.66 | 4.01 | 1.13 | A |
| 247 | 29.20 | 0.59 | 0.68 | A |
| 250 | 118.27 | 1.83 | 25.60 | N |
| 251 | 32.98 | 1.01 | 0.44 | A |
| 253 | 30.3 | 0.7 | 0.35 | A |
| 255 | 33.0 | 4.4 | 0.45 | A |
| 264 | 31.9 | 3.8 | 0.12 | A |
| 271 | 32.6 | 1.1 | 0.33 | A |
| 297 | 35.55 | 2.58 | 1.20 | A |
| 303 | 24.70 | 0.88 | 2.00 | A |
| 310 | 31.4 | 0.7 | 0.03 | A |
| 312 | 31.8 | 1.2 | 0.09 | A |

Activity [ Bq/kg ]

30

40

50

60

Reported Results for Pb-214 Determination in Sample 7

TABLE 81. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 32.86 |
| Robust SD, Bq/kg | 2.5 |
| N | 94 |

0

10

20

231

96

76

58

123

110

175

72

303

128

121

32

94

198

69

33

210

122

216

148

20

157

213

207

22

247

162

264

115

178

50

21

70

158

312

113

68

255

271

140

40

84

49

74

39

217

251

120

14

6

83

59

253

132

191

221

297

169

Labcode

FIGURE 57. Reported results and evaluation parameters for Pb-214 in Sample 7.

TABLE 82. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 6 | 34.83 | 1.31 | 0.79 | A |
| 14 | 34.8 | 4.4 | 0.78 | A |
| 20 | 31.7 | 1.7 | 0.46 | A |
| 21 | 33.1 | 2.5 | 0.10 | A |
| 22 | 32.228 | 1.971 | 0.25 | A |
| 32 | 30.0 | 0.6 | 1.14 | A |
| 33 | 31.18 | 0.22 | 0.67 | A |
| 39 | 34.2 | 1.8 | 0.54 | A |
| 40 | 34 | 2 | 0.46 | A |
| 49 | 34.1 | 1.5 | 0.50 | A |
| 50 | 33 | 1 | 0.06 | A |
| 58 | 27.43 | 0.56 | 2.17 | W |
| 59 | 35 | 4 | 0.86 | A |
| 68 | 33.7 | 1.7 | 0.34 | A |
| 69 | 30.72 | 1.47 | 0.86 | A |
| 70 | 33.4 | 1 | 0.22 | A |
| 72 | 29 | 2 | 1.54 | A |
| 74 | 34.1 | 2.8 | 0.50 | A |
| 76 | 25.8 | 0.15 | 2.82 | W |
| 83 | 34.9 | 0.3 | 0.82 | A |
| 84 | 34.003 | 2.031 | 0.46 | A |

TABLE 82. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 94 | 30.3 | 1.9 | 1.02 | A |
| 96 | 25.0 | 0.3 | 3.14 | N |
| 110 | 28.1 | 2.48 | 1.90 | A |
| 113 | 33.7 | 2.6 | 0.34 | A |
| 115 | 32.9 | 1.7 | 0.02 | A |
| 120 | 34.8 | 1.1 | 0.78 | A |
| 121 | 29.981 | 0.616 | 1.15 | A |
| 122 | 31.4 | 2.4 | 0.58 | A |
| 123 | 27.9 | 0.6 | 1.98 | A |
| 128 | 29.7 | 4.2 | 1.26 | A |
| 132 | 35.4 | 2.1 | 1.02 | A |
| 140 | 34 | 2 | 0.46 | A |
| 148 | 31.65 | 0.59 | 0.48 | A |
| 157 | 32.0 | 2.0 | 0.34 | A |
| 158 | 33.69 | 2.695 | 0.33 | A |
| 162 | 32.5 | 2.5 | 0.14 | A |
| 169 | 2769.54 | 34.55 | 1094.67 | N |
| 175 | 28.2 | 1.4 | 1.86 | A |
| 178 | 33.0 | 2.0 | 0.06 | A |
| 191 | 36 | 3 | 1.26 | A |
| 198 | 30.53 | 2.74 | 0.93 | A |
| 207 | 32.02 | 1.89 | 0.34 | A |
| 210 | 31.2 | 1.1 | 0.66 | A |
| 213 | 32 | 2 | 0.34 | A |
| 216 | 31.6 | 2.2 | 0.50 | A |
| 217 | 34.4 | 1.0 | 0.62 | A |
| 221 | 42.95 | 4.30 | 4.04 | N |
| 231 | 19.5 | 2 | 5.34 | N |
| 247 | 32.47 | 0.72 | 0.16 | A |
| 251 | 34.48 | 1.11 | 0.65 | A |
| 253 | 35.1 | 0.9 | 0.90 | A |
| 255 | 33.9 | 4.8 | 0.42 | A |
| 264 | 32.6 | 3.9 | 0.10 | A |
| 271 | 33.9 | 1.1 | 0.42 | A |
| 297 | 44.81 | 3.12 | 4.78 | N |
| 303 | 29.1 | 1.0 | 1.50 | A |
| 312 | 33.7 | 1.2 | 0.34 | A |

Activity [ Bq/kg ]

40

60

80

Reported Results for Ra-224 Determination in Sample 7

TABLE 83. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 39.91 |
| Robust SD, Bq/kg | 5.74 |
| N | 27 |

0

20

214

175

110

217

255

115

312

126

14

158

84

94

251

299

Labcode

FIGURE 58. Reported results and evaluation parameters for Ra-224 in Sample 7.

TABLE 84. IC Evaluation Results for Ra-224 in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score |
| --- | --- | --- | --- |
| 14 | 39.0 | 5.8 | 0.16 |
| 84 | 42.393 | 3.344 | 0.43 |
| 94 | 44.8 | 3.2 | 0.85 |
| 110 | 32.1 | 3.17 | 1.36 |
| 115 | 37.1 | 2.0 | 0.49 |
| 126 | 38 | 1.3 | 0.33 |
| 158 | 39.962 | 6.458 | 0.01 |
| 175 | 32.0 | 1.9 | 1.38 |
| 214 | 17.6 | 3.4 | 3.89 |
| 217 | 35.2 | 1.7 | 0.82 |
| 251 | 52.20 | 1.58 | 2.14 |
| 255 | 36.0 | 2.5 | 0.68 |
| 299 | 2430.00 | 257.00 | 416.39 |
| 312 | 37.8 | 2.1 | 0.37 |

Activity [ Bq/kg ]

40

60

Reported Results for Ra-226 Determination in Sample 7

TABLE 85. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 38 |
| Robust SD, Bq/kg | 10.91 |
| N | 146 |

0

20

14

233

155

231

76

163

96

168

52

93

265

123

72

175

228

266

276

183

153

158

117

115

143

156

217

198

306

31

74

16

83

66

261

309

24

213

50

178

271

251

68

32

310

239

49

242

269

157

214

122

120

71

305

58

110

247

118

312

94

69

47

33

126

160

84

39

221

88

7

6

201

238

259

297

22

264

29

113

253

210

130

220

128

40

255

59

191

51

106

132

219

284

101

169

Labcode

FIGURE 59. Reported results and evaluation parameters for Ra-226 in Sample 7.

TABLE 86. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 6 | 42.25 | 2.28 | 0.39 | A |
| 7 | 42 | 7 | 0.37 | A |
| 14 | 12.8 | 5.1 | 2.31 | W |
| 16 | 32.43 | 1.9 | 0.51 | A |
| 22 | 47.852 | 3.519 | 0.90 | A |
| 24 | 32.8 | 1.2 | 0.48 | A |
| 29 | 48.45 | 3.92 | 0.96 | A |
| 31 | 32.2 | 4.0 | 0.53 | A |
| 32 | 33.7 | 0.8 | 0.39 | A |
| 33 | 37.46 | 3.08 | 0.05 | A |
| 39 | 39.6 | 2.9 | 0.15 | A |
| 40 | 56 | 6 | 1.65 | A |
| 47 | 36.4 | 2.4 | 0.15 | A |
| 49 | 34.4 | 1.5 | 0.33 | A |
| 50 | 33 | 1 | 0.46 | A |
| 51 | 61 | 6 | 2.11 | W |
| 52 | 26.47 | 0.98 | 1.06 | A |
| 58 | 35.57 | 1.83 | 0.22 | A |
| 59 | 60 | 8 | 2.02 | W |
| 66 | 32.6 | 2.1 | 0.49 | A |
| 68 | 33.7 | 1.7 | 0.39 | A |

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 69 | 36.31 | 8.60 | 0.15 | A |
| 71 | 35.16 | 1.69 | 0.26 | A |
| 72 | 28 | 6 | 0.92 | A |
| 74 | 32.3 | 2.0 | 0.52 | A |
| 76 | 24.5 | 0.40 | 1.24 | A |
| 83 | 32.5 | 2.4 | 0.50 | A |
| 84 | 39.179 | 4.958 | 0.11 | A |
| 88 | 41.5 | 6.8 | 0.32 | A |
| 93 | 27.2 | 0.6 | 0.99 | A |
| 94 | 36.2 | 2.8 | 0.16 | A |
| 96 | 24.8 | 0.3 | 1.21 | A |
| 101 | 94.5 | 4 | 5.18 | N |
| 106 | 61.90 | 1.35 | 2.19 | W |
| 110 | 35.9 | 5.46 | 0.19 | A |
| 113 | 49.3 | 8.0 | 1.04 | A |
| 115 | 30.0 | 2.2 | 0.73 | A |
| 117 | 29.9 | 0.8 | 0.74 | A |
| 118 | 36 | 2 | 0.18 | A |
| 120 | 35.1 | 1.8 | 0.27 | A |
| 122 | 34.9 | 3.1 | 0.28 | A |
| 123 | 27.9 | 1.7 | 0.93 | A |
| 126 | 37.9 | 5 | 0.01 | A |
| 128 | 55.3 | 6.7 | 1.59 | A |
| 130 | 51.94 | 3.9 | 1.28 | A |
| 132 | 64.4 | 5.30 | 2.42 | W |
| 143 | 30.30 | 2.51 | 0.71 | A |
| 153 | 29.7 | 3.06 | 0.76 | A |
| 155 | 22.09 | 0.36 | 1.46 | A |
| 156 | 31.0 | 1.3 | 0.64 | A |
| 157 | 34.9 | 3.5 | 0.28 | A |
| 158 | 29.870 | 5.970 | 0.75 | A |
| 160 | 38.1 | 0.9 | 0.01 | A |
| 163 | 24.61 | 1.19 | 1.23 | A |
| 168 | 26.11 | 0.33 | 1.09 | A |
| 169 | 2769.54 | 34.55 | 250.37 | N |
| 175 | 28.2 | 1.7 | 0.90 | A |
| 178 | 33 | 3 | 0.46 | A |
| 183 | 29.67 | 0.41 | 0.76 | A |
| 191 | 61 | 6 | 2.11 | W |
| 198 | 31.70 | 2.85 | 0.58 | A |
| 201 | 43.4 | 3.9 | 0.49 | A |
| 210 | 51.4 | 7.9 | 1.23 | A |
| 213 | 33 | 2 | 0.46 | A |
| 214 | 34.9 | 0.8 | 0.28 | A |
| 217 | 31.5 | 1.8 | 0.60 | A |
| 219 | 81.8 | 2.6 | 4.01 | N |
| 220 | 53.18 | 7.29 | 1.39 | A |
| 221 | 40.24 | 4.03 | 0.21 | A |
| 228 | 28.3 | 2.9 | 0.89 | A |
| 231 | 24.3 | 2.4 | 1.26 | A |
| 233 | 17.8 | 0.12 | 1.85 | A |
| 238 | 44.2 | 6.3 | 0.57 | A |
| 239 | 34.13 | 4.95 | 0.35 | A |
| 242 | 34.5 | 4.4 | 0.32 | A |

TABLE 86. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

TABLE 86. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 247 | 36.0 | 1.7 | 0.18 | A |
| 251 | 33.45 | 1.11 | 0.42 | A |
| 253 | 51.3 | 7.2 | 1.22 | A |
| 255 | 56.2 | 3.8 | 1.67 | A |
| 259 | 45.45 | 3.66 | 0.68 | A |
| 261 | 32.7 | 3.0 | 0.49 | A |
| 264 | 48.1 | 5.8 | 0.93 | A |
| 265 | 27.61 | 0.61 | 0.95 | A |
| 266 | 29.30 | 0.52 | 0.80 | A |
| 269 | 34.66 | 1.76 | 0.31 | A |
| 271 | 33.3 | 0.8 | 0.43 | A |
| 276 | 29.3 | 0.81 | 0.80 | A |
| 284 | 92.827 | 3.765 | 5.03 | N |
| 297 | 45.86 | 3.48 | 0.72 | A |
| 305 | 35.3891 | 1.1988 | 0.24 | A |
| 306 | 32 | 1 | 0.55 | A |
| 309 | 32.74 | 2.386 | 0.48 | A |
| 310 | 33.9 | 1.1 | 0.38 | A |
| 312 | 36.1 | 4.1 | 0.17 | A |

Activity [ Bq/kg ]

1.5

2.0

2.5

3.0

Reported Results for Ac-227 Determination in Sample 7

TABLE 87. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 1.56 |
| Robust SD, Bq/kg | 0.21 |
| N | 5 |

0.0

0.5

1.0

84

309

298

132

Labcode

FIGURE 60. Reported results and evaluation parameters for Ac-227 in Sample 7.

TABLE 88. IC Evaluation Results for Ac-227 in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score |
| --- | --- | --- | --- |
| 84 | 1.484 | 0.245 | 0.36 |
| 132 | 1.79 | 0.28 | 1.10 |
| 298 | 1.67 | 0.26 | 0.52 |
| 309 | 1.561 | 0.274 | 0.00 |

Activity [ Bq/kg ]

1.5

2.0

2.5

3.0

Reported Results for Th-227 Determination in Sample 7

TABLE 89. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 1.65 |
| Robust SD, Bq/kg | 0.41 |
| N | 15 |

0.0

0.5

1.0

253

110

7

84

217

312

69

169

Labcode

FIGURE 61. Reported results and evaluation parameters for Th-227 in Sample 7.

TABLE 90. IC Evaluation Results for Th-227 in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score |
| --- | --- | --- | --- |
| 7 | 1.46 | 0.19 | 0.46 |
| 69 | 2.16 | 0.23 | 1.24 |
| 84 | 1.464 | 0.242 | 0.45 |
| 110 | 1.29 | 0.322 | 0.88 |
| 169 | 196.73 | 12.82 | 475.80 |
| 217 | 1.49 | 0.38 | 0.39 |
| 253 | 0.8 | 0.2 | 2.07 |
| 312 | 1.60 | 0.22 | 0.12 |

Activity [ Bq/kg ]

40

60

Reported Results for Ra-228 Determination in Sample 7

TABLE 91. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 37.77 |
| Robust SD, Bq/kg | 2.2 |
| N | 29 |

0

20

309

238

74

310

21

126

230

68

66

24

207

271

298

84

71

216

214

169

Labcode

FIGURE 62. Reported results and evaluation parameters for Ra-228 in Sample 7.

TABLE 92. IC Evaluation Results for Ra-228 in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score |
| --- | --- | --- | --- |
| 21 | 36.05 | 1.73 | 0.78 |
| 24 | 37.8 | 1.3 | 0.01 |
| 66 | 37.8 | 2.4 | 0.01 |
| 68 | 37.6 | 1.9 | 0.08 |
| 71 | 39.1 | 1.03 | 0.60 |
| 74 | 35.3 | 1.8 | 1.12 |
| 84 | 38.613 | 2.289 | 0.38 |
| 126 | 36.5 | 1.3 | 0.58 |
| 169 | 3071.99 | 25.21 | 1379.19 |
| 207 | 38.21 | 2.61 | 0.20 |
| 214 | 42.8 | 1 | 2.29 |
| 216 | 40.6 | 1.2 | 1.29 |
| 230 | 37.2 | 1.8 | 0.26 |
| 238 | 35.3 | 0.7 | 1.12 |
| 271 | 38.5 | 1.1 | 0.33 |
| 298 | 38.6 | 1.0 | 0.38 |
| 309 | 34.54 | 2.575 | 1.47 |
| 310 | 35.7 | 0.8 | 0.94 |

Activity [ Bq/kg ]

40

60

80

Reported Results for Th-228 Determination in Sample 7

TABLE 93. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 38.98 |
| Robust SD, Bq/kg | 4.11 |
| N | 27 |

0

20

14

7

310

83

191

59

40

238

271

126

207

216

298

84

309

255

143

Labcode

FIGURE 63. Reported results and evaluation parameters for Th-228 in Sample 7.

TABLE 94. IC Evaluation Results for Th-228 in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score |
| --- | --- | --- | --- |
| 7 | 31.5 | 4.7 | 1.82 |
| 14 | 29.7 | 8.3 | 2.26 |
| 40 | 36 | 2 | 0.73 |
| 59 | 36 | 4 | 0.73 |
| 83 | 35.0 | 0.7 | 0.97 |
| 84 | 42.393 | 3.344 | 0.83 |
| 126 | 37.9 | 1.3 | 0.26 |
| 143 | 81.90 | 3.42 | 10.44 |
| 191 | 36 | 3 | 0.73 |
| 207 | 38.30 | 2.3 | 0.17 |
| 216 | 39.5 | 3.1 | 0.13 |
| 238 | 36.1 | 0.8 | 0.70 |
| 255 | 47.6 | 3.7 | 2.10 |
| 271 | 37.0 | 1.0 | 0.48 |
| 298 | 42.3 | 0.9 | 0.81 |
| 309 | 43.07 | 4.102 | 1.00 |
| 310 | 34.2 | 0.9 | 1.16 |

Activity [ Bq/kg ]

40

60

Reported Results for Ac-228 Determination in Sample 7

TABLE 95. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 36.27 |
| Robust SD, Bq/kg | 3.03 |
| N | 118 |

0

20

13

51

121

83

110

59

178

303

69

76

22

128

96

93

175

92

70

58

123

191

156

253

88

60

72

140

40

33

231

239

198

264

136

122

7

158

221

21

210

312

157

247

162

115

126

251

148

14

49

57

213

118

113

261

68

217

271

120

84

255

50

6

94

39

132

297

20

250

233

169

299

Labcode

FIGURE 64. Reported results and evaluation parameters for Ac-228 in Sample 7.

TABLE 96. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 6 | 39.77 | 2.09 | 1.16 | A |
| 7 | 35.7 | 1.0 | 0.19 | A |
| 13 | 0.38 | 0.03 | 11.84 | N |
| 14 | 36.8 | 4.2 | 0.17 | A |
| 20 | 41.4 | 2.2 | 1.69 | A |
| 21 | 36.05 | 1.73 | 0.07 | A |
| 22 | 32.977 | 1.411 | 1.09 | A |
| 33 | 35.17 | 1.25 | 0.36 | A |
| 39 | 39.9 | 2 | 1.20 | A |
| 40 | 35 | 2 | 0.42 | A |
| 49 | 36.8 | 1.7 | 0.17 | A |
| 50 | 39 | 1 | 0.90 | A |
| 51 | 31 | 2 | 1.74 | A |
| 57 | 36.99 | 1.93 | 0.24 | A |
| 58 | 33.51 | 1.1 | 0.91 | A |
| 59 | 32 | 3 | 1.41 | A |
| 60 | 34.9 | 2.9 | 0.45 | A |
| 68 | 37.6 | 1.9 | 0.44 | A |
| 69 | 32.68 | 0.72 | 1.18 | A |
| 70 | 33.5 | 0.6 | 0.91 | A |
| 72 | 35 | 2 | 0.42 | A |

TABLE 96. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 76 | 32.8 | 1.00 | 1.15 | A |
| 83 | 31.9 | 0.24 | 1.44 | A |
| 84 | 38.613 | 2.289 | 0.77 | A |
| 88 | 34.8 | 0.9 | 0.49 | A |
| 92 | 33.4 | 0.7 | 0.95 | A |
| 93 | 33.2 | 0.8 | 1.01 | A |
| 94 | 39.8 | 2.3 | 1.17 | A |
| 96 | 33.1 | 0.4 | 1.05 | A |
| 110 | 32.0 | 2.87 | 1.41 | A |
| 113 | 37.2 | 1.3 | 0.31 | A |
| 115 | 36.5 | 1.9 | 0.08 | A |
| 118 | 37 | 2 | 0.24 | A |
| 120 | 38.6 | 1.3 | 0.77 | A |
| 121 | 31.095 | 0.789 | 1.71 | A |
| 122 | 35.7 | 2.6 | 0.19 | A |
| 123 | 34.0 | 0.5 | 0.75 | A |
| 126 | 36.5 | 1.3 | 0.08 | A |
| 128 | 33.0 | 3.7 | 1.08 | A |
| 132 | 40.2 | 1.2 | 1.30 | A |
| 136 | 35.6 | 2.8 | 0.22 | A |
| 140 | 35 | 2 | 0.42 | A |
| 148 | 36.61 | 0.42 | 0.11 | A |
| 156 | 34.3 | 1.9 | 0.65 | A |
| 157 | 36.3 | 2.1 | 0.01 | A |
| 158 | 35.76 | 0.784 | 0.17 | A |
| 162 | 36.4 | 1.7 | 0.04 | A |
| 169 | 3071.99 | 25.21 | 1001.89 | N |
| 175 | 33.3 | 1.7 | 0.98 | A |
| 178 | 32.1 | 1.4 | 1.38 | A |
| 191 | 34 | 2 | 0.75 | A |
| 198 | 35.26 | 0.41 | 0.33 | A |
| 210 | 36.3 | 1.4 | 0.01 | A |
| 213 | 37 | 2 | 0.24 | A |
| 217 | 38.0 | 1.2 | 0.57 | A |
| 221 | 36.03 | 3.64 | 0.08 | A |
| 231 | 35.2 | 3.5 | 0.35 | A |
| 233 | 328 | 8.09 | 96.28 | N |
| 239 | 35.25 | 5.11 | 0.34 | A |
| 247 | 36.39 | 0.71 | 0.04 | A |
| 250 | 147.28 | 3.22 | 36.64 | N |
| 251 | 36.53 | 1.20 | 0.09 | A |
| 253 | 34.4 | 0.7 | 0.62 | A |
| 255 | 38.7 | 3.0 | 0.80 | A |
| 261 | 37.3 | 1.8 | 0.34 | A |
| 264 | 35.6 | 4.3 | 0.22 | A |
| 271 | 38.5 | 1.1 | 0.74 | A |
| 297 | 40.36 | 3.45 | 1.35 | A |
| 299 | 187000.00 | 10300.00 | 61704.20 | N |
| 303 | 32.5 | 1.1 | 1.24 | A |
| 312 | 36.3 | 1.9 | 0.01 | A |

Activity [ Bq/kg ]

40

60

80

Reported Results for Th-230 Determination in Sample 7

TABLE 97. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 39.65 |
| Robust SD, Bq/kg | 4.58 |
| N | 4 |

0

20

255

Labcode

FIGURE 65. Reported results and evaluation parameters for Th-230 in Sample 7.

TABLE 98. IC Evaluation Results for Th-230 in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

Labcode	Rep. Value	Rep. Unc.	Z-Score

255	36.7	8.9	0.64

Activity [ Bq/kg ]

10

15

Reported Results for Th-231 Determination in Sample 7

TABLE 99. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 7.3 |
| Robust SD, Bq/kg | 6.82 |
| N | 5 |

0

5

69

169

Labcode

FIGURE 66. Reported results and evaluation parameters for Th-231 in Sample 7.

TABLE 100. IC Evaluation Results for Th-231 in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score |
| --- | --- | --- | --- |
| 69 | 4.79 | 0.52 | 0.37 |
| 169 | 1116.88 | 24.84 | 162.70 |

Activity [ Bq/kg ]

40

60

Reported Results for Th-232 Determination in Sample 7

TABLE 101. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 36.55 |
| Robust SD, Bq/kg | 4.41 |
| N | 11 |

0

20

266

52

69

38

49

264

50

306

29

Labcode

FIGURE 67. Reported results and evaluation parameters for Th-232 in Sample 7.

TABLE 102. IC Evaluation Results for Th-232 in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score |
| --- | --- | --- | --- |
| 29 | 96.65 | 14.5 | 13.63 |
| 38 | 36 | 3 | 0.12 |
| 49 | 36.8 | 1.7 | 0.06 |
| 50 | 39 | 1 | 0.56 |
| 52 | 31.70 | 1.54 | 1.10 |
| 69 | 32.68 | 0.72 | 0.88 |
| 264 | 37.1 | 4.4 | 0.12 |
| 266 | 30.40 | 0.52 | 1.39 |
| 306 | 41 | 1 | 1.01 |

Activity [ Bq/kg ]

30

40

50

Reported Results for Th-234 Determination in Sample 7

TABLE 103. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 28.6 |
| Robust SD, Bq/kg | 6.56 |
| N | 66 |

0

10

20

110

76

40

59

191

210

128

175

255

178

88

69

113

312

7

39

84

126

247

271

68

158

94

213

92

251

217

132

14

157

148

122

118

143

269

52

Labcode

FIGURE 68. Reported results and evaluation parameters for Th-234 in Sample 7.

TABLE 104. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 7 | 27.1 | 2.2 | 0.23 | A |
| 14 | 34.9 | 4.9 | 0.96 | A |
| 39 | 27.2 | 1.8 | 0.21 | A |
| 40 | 17 | 2 | 1.77 | A |
| 52 | 992.96 | 99.2 | 147.01 | N |
| 59 | 18 | 3 | 1.62 | A |
| 68 | 28.6 | 2.9 | 0.00 | A |
| 69 | 25.27 | 2.59 | 0.51 | A |
| 76 | 11.3 | 1.80 | 2.64 | W |
| 84 | 27.382 | 1.928 | 0.19 | A |
| 88 | 24.2 | 1.8 | 0.67 | A |
| 92 | 29.7 | 1.7 | 0.17 | A |
| 94 | 29.0 | 2.6 | 0.06 | A |
| 110 | 7.98 | 1.18 | 3.14 | N |
| 113 | 26.0 | 2.7 | 0.40 | A |
| 118 | 60 | 3 | 4.79 | N |
| 122 | 44.5 | 4.8 | 2.42 | W |
| 126 | 27.5 | 1.9 | 0.17 | A |
| 128 | 19.5 | 2.4 | 1.39 | A |
| 132 | 34.8 | 2.8 | 0.95 | A |
| 143 | 478.00 | 11.20 | 68.51 | N |

TABLE 104. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 148 | 40.12 | 0.13 | 1.76 | A |
| 157 | 37.3 | 4.0 | 1.33 | A |
| 158 | 28.81 | 2.753 | 0.03 | A |
| 175 | 19.9 | 1.3 | 1.33 | A |
| 178 | 23 | 3 | 0.85 | A |
| 191 | 19 | 2 | 1.46 | A |
| 210 | 19.3 | 4.1 | 1.42 | A |
| 213 | 29 | 6 | 0.06 | A |
| 217 | 34.4 | 1.5 | 0.88 | A |
| 247 | 27.6 | 1.2 | 0.15 | A |
| 251 | 31.55 | 1.36 | 0.45 | A |
| 255 | 22.0 | 1.6 | 1.01 | A |
| 269 | 591.82 | 23.06 | 85.86 | N |
| 271 | 27.8 | 6.8 | 0.12 | A |
| 312 | 26.2 | 1.6 | 0.37 | A |

Activity [ Bq/kg ]

30

40

50

Reported Results for Pa-234m Determination in Sample 7

TABLE 105. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 26.57 |
| Robust SD, Bq/kg | 10.19 |
| N | 35 |

0

10

20

214

96

160

231

155

47

71

163

83

253

216

168

84

7

228

14

115

16

297

130

233

Labcode

FIGURE 69. Reported results and evaluation parameters for Pa-234m in Sample 7.

TABLE 106. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 7 | 28 | 5 | 0.14 | A |
| 14 | 29.2 | 9.0 | 0.26 | A |
| 16 | 31.2 | 2.2 | 0.45 | A |
| 47 | 18.1 | 10 | 0.83 | A |
| 71 | 18.54 | 3.83 | 0.79 | A |
| 83 | 21.2 | 0.74 | 0.53 | A |
| 84 | 27.382 | 1.928 | 0.08 | A |
| 96 | 0 |  | 2.61 | W |
| 115 | 29.2 | 8.8 | 0.26 | A |
| 130 | 40.32 | 2.94 | 1.35 | A |
| 155 | 17.29 | 0.99 | 0.91 | A |
| 160 | 0.35 | 0.12 | 2.57 | W |
| 163 | 20.19 | 2.81 | 0.63 | A |
| 168 | 26.11 | 0.33 | 0.05 | A |
| 214 | -9.2 | 59 | 3.51 | N |
| 216 | 25.0 | 1.8 | 0.15 | A |
| 228 | 28.3 | 15.5 | 0.17 | A |
| 231 | 7.75 | 1 | 1.85 | A |
| 233 | 57.9 | 1.44 | 3.07 | N |
| 253 | 22.0 | 1.4 | 0.45 | A |
| 297 | 33.99 | 2.86 | 0.73 | A |

TABLE 106. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

Labcode	Rep. Value	Rep. Unc.	Z-Score	Z-Score Evaluation

500	5	2.5	2.12	W

Activity [ Bq/kg ]

1.5

2.0

2.5

3.0

Reported Results for U-235 Determination in Sample 7

TABLE 107. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 1.46 |
| Robust SD, Bq/kg | 0.55 |
| N | 117 |

0.0

0.5

1.0

295

233

76

219

96

210

253

40

214

59

191

7

220

110

101

29

49

143

259

175

238

217

198

265

247

126

39

88

50

123

312

83

163

213

148

115

16

84

271

178

120

32

310

68

157

239

122

6

33

158

269

305

52

221

94

72

309

69

266

251

303

117

297

130

93

306

228

118

47

14

276

160

121

155

147

168

290

284

169

Labcode

FIGURE 70. Reported results and evaluation parameters for U-235 in Sample 7.

TABLE 108. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 6 | 1.62 | 0.40 | 0.29 | A |
| 7 | 0.96 | 0.33 | 0.91 | A |
| 14 | 2.56 | 0.44 | 2.00 | A |
| 16 | 1.44 | 0.28 | 0.04 | A |
| 29 | 1.1 | 0.33 | 0.65 | A |
| 32 | 1.50 | 0.05 | 0.07 | A |
| 33 | 1.62 | 0.13 | 0.29 | A |
| 39 | 1.3 | 0.4 | 0.29 | A |
| 40 | 0.79 | 0.15 | 1.22 | A |
| 47 | 2.36 | 0.31 | 1.64 | A |
| 49 | 1.1 | 0.1 | 0.65 | A |
| 50 | 1.3 | 0.1 | 0.29 | A |
| 52 | 1.67 | 0.1 | 0.38 | A |
| 59 | 0.86 | 0.19 | 1.09 | A |
| 68 | 1.506 | 0.298 | 0.08 | A |
| 69 | 1.75 | 0.39 | 0.53 | A |
| 72 | 1.7 | 0.3 | 0.44 | A |
| 76 | 0.58 | 0.33 | 1.60 | A |
| 83 | 1.4 | 0.1 | 0.11 | A |
| 84 | 1.449 | 0.264 | 0.02 | A |
| 88 | 1.30 | 0.16 | 0.29 | A |

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 93 | 1.97 | 0.11 | 0.93 | A |
| 94 | 1.7 | 0.4 | 0.44 | A |
| 96 | 0.64 | 0.35 | 1.49 | A |
| 101 | 1.1 | 0.04 | 0.65 | A |
| 110 | 1.09 | 0.285 | 0.67 | A |
| 115 | 1.44 | 0.28 | 0.04 | A |
| 117 | 1.9 | 0.3 | 0.80 | A |
| 118 | 2.3 | 0.4 | 1.53 | A |
| 120 | 1.5 | 0.4 | 0.07 | A |
| 121 | 3.523 | 0.139 | 3.75 | N |
| 122 | 1.60 | 0.41 | 0.25 | A |
| 123 | 1.32 | 0.08 | 0.25 | A |
| 126 | 1.27 | 0.1 | 0.35 | A |
| 130 | 1.92 | 0.14 | 0.84 | A |
| 143 | 1.18 | 0.14 | 0.51 | A |
| 147 | 3.82 | 0.16 | 4.29 | N |
| 148 | 1.440 | 0.018 | 0.04 | A |
| 155 | 3.64 | 0.09 | 3.96 | N |
| 157 | 1.6 | 0.6 | 0.25 | A |
| 158 | 1.630 | 0.650 | 0.31 | A |
| 160 | 3.2 | 0.6 | 3.16 | N |
| 163 | 1.41 | 0.25 | 0.09 | A |
| 168 | 4.14 | 0.101 | 4.87 | N |
| 169 | 365.08 | 6.95 | 661.13 | N |
| 175 | 1.2 | 0.1 | 0.47 | A |
| 178 | 1.5 | 0.2 | 0.07 | A |
| 191 | 0.89 | 0.14 | 1.04 | A |
| 198 | 1.23 | 0.09 | 0.42 | A |
| 210 | 0.7 | 0.4 | 1.38 | A |
| 213 | 1.43 | 0.11 | 0.05 | A |
| 214 | 0.8 | 0.43 | 1.20 | A |
| 217 | 1.22 | 0.30 | 0.44 | A |
| 219 | 0.6 | 0.02 | 1.56 | A |
| 220 | 1.0 | 0.4 | 0.84 | A |
| 221 | 1.68 | 0.28 | 0.40 | A |
| 228 | 2.14 | 0.37 | 1.24 | A |
| 233 | 0.51 | 0.003 | 1.73 | A |
| 238 | 1.2 | 0.4 | 0.47 | A |
| 239 | 1.6 | 0.31 | 0.25 | A |
| 247 | 1.27 | 0.1 | 0.35 | A |
| 251 | 1.84 | 0.46 | 0.69 | A |
| 253 | 0.7 | 0.4 | 1.38 | A |
| 259 | 1.20 | 0.12 | 0.47 | A |
| 265 | 1.26 | 0.16 | 0.36 | A |
| 266 | 1.80 | 0.16 | 0.62 | A |
| 269 | 1.65 | 0.14 | 0.35 | A |
| 271 | 1.5 | 0.1 | 0.07 | A |
| 276 | 2.61 | 0.25 | 2.09 | W |
| 284 | 16.54 | 1.50 | 27.42 | N |
| 290 | 4.75 | 0.28 | 5.98 | N |
| 295 | 0.07 | 0.01 | 2.53 | W |
| 297 | 1.91 | 0.26 | 0.82 | A |
| 303 | 1.89 | 0.61 | 0.78 | A |
| 305 | 1.6548 | 0.4201 | 0.35 | A |

TABLE 108. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

TABLE 108. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 306 | 2.0 | 0.3 | 0.98 | A |
| 309 | 1.708 | 0.2548 | 0.45 | A |
| 310 | 1.5 | 0.2 | 0.07 | A |
| 312 | 1.34 | 0.17 | 0.22 | A |

Activity [ Bq/kg ]

30

40

50

Reported Results for U-238 Determination in Sample 7

TABLE 109. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 28 |
| Robust SD, Bq/kg | 6.45 |
| N | 16 |

0

10

20

49

50

107

84

126

214

38

115

29

14

Labcode

FIGURE 71. Reported results and evaluation parameters for U-238 in Sample 7.

TABLE 110. IC Evaluation Results for U-238 in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score |
| --- | --- | --- | --- |
| 14 | 525 | 98 | 77.05 |
| 29 | 343.7 | 103.1 | 48.95 |
| 38 | 29 | 2 | 0.16 |
| 49 | 20 | 1 | 1.24 |
| 50 | 25 | 2 | 0.47 |
| 84 | 27.382 | 1.928 | 0.10 |
| 107 | 25.6 | 2.60 | 0.37 |
| 115 | 29.9 | 1.9 | 0.29 |
| 126 | 27.5 | 1.9 | 0.08 |
| 214 | 28.28 | 0.66 | 0.04 |

Activity [ Bq/kg ]

100

150

Reported Results for Am-241 Determination in Sample 7

TABLE 111. Target values

| Parameter | Value |
| --- | --- |
| Robust Mean, Bq/kg | 78.89 |
| Robust SD, Bq/kg | 7.59 |
| N | 169 |

0

50

13

295

231

29

143

110

40

121

96

123

76

128

265

290

198

196

72

175

147

303

148

299

58

83

239

115

269

221

51

50

94

247

21

33

57

162

216

271

153

230

312

310

255

264

210

178

140

7

22

220

74

69

172

253

60

158

217

261

238

187

93

126

88

213

191

59

298

70

113

235

242

8

309

92

18

84

66

120

266

24

207

136

47

6

68

201

156

39

37

157

306

132

52

122

117

20

214

71

49

259

251

297

118

233

169

Labcode

FIGURE 72. Reported results and evaluation parameters for Am-241 in Sample 7.

TABLE 112. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 6 | 83.40 | 2.96 | 0.59 | A |
| 7 | 80 | 8 | 0.15 | A |
| 8 | 81.5 | 8.2 | 0.34 | A |
| 13 | 0.83 | 0.09 | 10.28 | N |
| 18 | 82.22 | 7.13 | 0.44 | A |
| 20 | 86.7 | 4.5 | 1.03 | A |
| 21 | 77.8 | 7.91 | 0.14 | A |
| 22 | 80.148 | 5.871 | 0.17 | A |
| 24 | 82.9 | 5.0 | 0.53 | A |
| 29 | 56.9 | 2.85 | 2.90 | W |
| 33 | 78.12 | 7.81 | 0.10 | A |
| 37 | 84.5 | 1.1 | 0.74 | A |
| 39 | 84 | 5 | 0.67 | A |
| 40 | 58 | 4 | 2.75 | W |
| 47 | 83.4 | 4.5 | 0.59 | A |
| 49 | 95 | 4 | 2.12 | W |
| 50 | 75 | 5 | 0.51 | A |
| 51 | 74 | 8 | 0.64 | A |
| 52 | 85.81 | 5.88 | 0.91 | A |
| 57 | 78.36 | 8.15 | 0.07 | A |
| 58 | 66.76 | 1.14 | 1.60 | A |

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 59 | 81 | 10 | 0.28 | A |
| 60 | 80.5 | 7.1 | 0.21 | A |
| 66 | 82.7 | 5.0 | 0.50 | A |
| 68 | 83.4 | 4.3 | 0.59 | A |
| 69 | 80.27 | 8.20 | 0.18 | A |
| 70 | 81.2 | 6.6 | 0.30 | A |
| 71 | 94.6 | 6.9 | 2.07 | W |
| 72 | 61 | 3 | 2.36 | W |
| 74 | 80.2 | 8.1 | 0.17 | A |
| 76 | 59.1 | 1.50 | 2.61 | W |
| 83 | 67.1 | 0.8 | 1.55 | A |
| 84 | 82.359 | 5.153 | 0.46 | A |
| 88 | 81.0 | 8.3 | 0.28 | A |
| 92 | 81.6 | 4.2 | 0.36 | A |
| 93 | 80.9 | 4.2 | 0.26 | A |
| 94 | 75.2 | 6.3 | 0.49 | A |
| 96 | 58.4 | 0.6 | 2.70 | W |
| 110 | 57.8 | 5.08 | 2.78 | W |
| 113 | 81.3 | 8.3 | 0.32 | A |
| 115 | 72.5 | 3.6 | 0.84 | A |
| 117 | 86.1 | 8.7 | 0.95 | A |
| 118 | 204 | 8 | 16.48 | N |
| 120 | 82.8 | 3.1 | 0.52 | A |
| 121 | 58.239 | 1.079 | 2.72 | W |
| 122 | 85.9 | 8.9 | 0.92 | A |
| 123 | 58.7 | 0.91 | 2.66 | W |
| 126 | 80.9 | 3.7 | 0.26 | A |
| 128 | 59.3 | 4.8 | 2.58 | W |
| 132 | 85.8 | 8.8 | 0.91 | A |
| 136 | 83.1 | 6.9 | 0.55 | A |
| 140 | 80 | 7 | 0.15 | A |
| 143 | 57.60 | 0.74 | 2.81 | W |
| 147 | 61.17 | 1.15 | 2.33 | W |
| 148 | 63.79 | 0.27 | 1.99 | A |
| 153 | 79.1 | 6.3 | 0.03 | A |
| 156 | 83.8 | 8.5 | 0.65 | A |
| 157 | 84.7 | 8.4 | 0.77 | A |
| 158 | 80.57 | 8.491 | 0.22 | A |
| 162 | 78.8 | 8 | 0.01 | A |
| 169 | 5864.51 | 76.62 | 762.27 | N |
| 172 | 80.29 | 7.69 | 0.18 | A |
| 175 | 61.0 | 3.1 | 2.36 | W |
| 178 | 80 | 8 | 0.15 | A |
| 187 | 80.8 | 9.2 | 0.25 | A |
| 191 | 81 | 8 | 0.28 | A |
| 196 | 60.65 | 1.74 | 2.40 | W |
| 198 | 60.26 | 1.06 | 2.45 | W |
| 201 | 83.5 | 8.5 | 0.61 | A |
| 207 | 83.08 | 8.68 | 0.55 | A |
| 210 | 80.0 | 4.5 | 0.15 | A |
| 213 | 81 | 4 | 0.28 | A |
| 214 | 89.27 | 2 | 1.37 | A |
| 216 | 78.8 | 5.5 | 0.01 | A |
| 217 | 80.6 | 2.3 | 0.23 | A |

TABLE 112. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

TABLE 112. IC Evaluation Results for in Sample 7, Rep. Value and Rep. Unc. in Bq/kg

| Labcode | Rep. Value | Rep. Unc. | Z-Score | Z-Score Evaluation |
| --- | --- | --- | --- | --- |
| 220 | 80.2 | 14.2 | 0.17 | A |
| 221 | 73.44 | 7.35 | 0.72 | A |
| 230 | 79.3 | 4.9 | 0.05 | A |
| 231 | 56.4 | 2.3 | 2.96 | W |
| 233 | 734 | 18.3 | 86.31 | N |
| 235 | 81.4 | 7.36 | 0.33 | A |
| 238 | 80.8 | 3.3 | 0.25 | A |
| 239 | 70.28 | 10.19 | 1.13 | A |
| 242 | 81.4 | 6.2 | 0.33 | A |
| 247 | 76.1 | 2.3 | 0.37 | A |
| 251 | 100.12 | 1.35 | 2.80 | W |
| 253 | 80.4 | 4.1 | 0.20 | A |
| 255 | 79.6 | 31.4 | 0.09 | A |
| 259 | 99.27 | 33.47 | 2.69 | W |
| 261 | 80.6 | 8.0 | 0.23 | A |
| 264 | 79.7 | 9.6 | 0.11 | A |
| 265 | 59.31 | 0.77 | 2.58 | W |
| 266 | 82.80 | 6.08 | 0.52 | A |
| 269 | 72.51 | 2.28 | 0.84 | A |
| 271 | 78.9 | 4.1 | 0.00 | A |
| 290 | 59.55 | 2.6 | 2.55 | W |
| 295 | 2.01 | 0.09 | 10.13 | N |
| 297 | 114.12 | 9.45 | 4.64 | N |
| 298 | 81.0 | 1.4 | 0.28 | A |
| 299 | 65 | 3.16 | 1.83 | A |
| 303 | 61.3 | 1.4 | 2.32 | W |
| 306 | 85 | 3 | 0.81 | A |
| 309 | 81.58 | 9.124 | 0.35 | A |
| 310 | 79.3 | 5.1 | 0.05 | A |
| 312 | 79.3 | 4.1 | 0.05 | A |
| 500 | 87 | 65 | 1.07 | A |

- References References

[1]  International Organization for Standardization (ISO). (2010). Conformity assessment - General requirements for

proficiency testing, ISO/IEC 17043:2010. Geneva: Switzerland.

[2]  International Organization for Standardization (ISO). (2015). Statistical methods for use in proficiency testing by interlaboratory comparison, ISO 13528:2015. Geneva: Switzerland.

# Contributors to evaluation and report

- Nadalut, S. Patterson, B. Seslak, A. Trinkl: Terrestrial Environmental Radiochemistry Laboratory, Division of Phys- ical and Chemical Sciences, Department of Nuclear Sciences and Applications

## Contributors to sample preparation and parcel distribution:

- Abraham-Ponti, A. Kazmierska, B. Massinger, L. Rovan, Z. Sera: Terrestrial Environmental Radiochemistry Labo- ratory, Division of Physical and Chemical Sciences, Department of Nuclear Sciences and Applications